ACTION PLAN FOR

RIVER YAMUNA

31.01.2019

(OA No. 673 of 2018-"More river stretches are critically polluted now: CPCB")

Government of Haryana

Index

| Sr. No. | Topic | Page No. |
| --- | --- | --- |
| 1.0 | Introduction | 4 |
| 1.1 | O. A No. 673 of 2018 - "More river stretches are critically polluted now: CPCB" | 4 |
| 1.2 | O. A No. 6 of 2012 - Manoj Mishra Vs Union of India & Ors. | 4 |
| 1.3 | Objective of the Action Plan | 5 |
| 2.0 | The River Yamuna | 5 |
| 2.1 | Religious Sanctity of River Yamuna | 5 |
| 2.2 | The Course of River Yamuna | 5 |
| 2.3 | River Yamuna and its course in Haryana | 8 |
| 3. | Main Sources of Pollution in River Yamuna | 8 |
| 3.1 | Major drains of River Yamuna in Haryana, their status and action plan for their treatment | 9 |
| 3.2. | Measurement of Flow Rate of Drains joining in the River Yamuna | 10 |
| 4. | Estimation of sewage in towns in catchment of river Yamuna | 11 |
| 5.1 | Industrial effluent Management | 13 |
| 5.2 | Region/sector wise number of industries | 14 |
| 5.3 | Geo Mapping of Industries | 19 |
| 6.1 | Regular monitoring of industries by SESTF and action against violators | 20 |
| 6.2 | Closure action against illegal industries | 20 |
| 7. | Prevention of pollution of river Yamuna due to mixing of water of drain no.06 and Diversion Drain no. 08. | 20 |
| 8. | Interception of sewage in un-sewered area of unapproved colonies | 20 |
| 8.1 | Plan for laying of sewerage in approved colonies along river Yamuna | 23 |
| 9. | Plan for Leg-I, Leg-II and Leg-III (Badshahpur Drain) of Gurugram. | 34 |
| 10. | Action Plan for STPs | 44 |
| 10.1 | Action plan for STPs for the year 2018-19. | 44 |
| 10.1.1 | Action plan for existing/under upgradation STPs (2018-19) | 44 |
| 10.1.2 | Action plan for under construction STPs (2018-19) | 49 |
| 10.2 | Action plan for STPs for the year 2019-20. | 51 |
| 10.2.1 | Action plan for existing/under upgradation STPs (2019-20) | 51 |
| 10.2.2 | Action plan for under construction STPs (2019-20) | 52 |
| 10.3 | Action plan for STPs for the year 2020-21. | 56 |
| 10.3.1 | Action plan for existing/under upgradation STPs (2020-21) | 56 |
| 10.4 | Action plan for proposed STPs | 57 |
| 10.5 | Monitoring of STPs / Compliance status | 57 |
| 10.6 | STP sludge | 57 |
| 11. | Action Plan for CETPs | 58 |
| 11.1 | Monitoring of CETPs / Compliance status |  |
| 12. | Online Monitoring Devices in Yamuna Catchment | 60 |
| 12.1 | Online Monitoring Devices on STPs | 60 |
| 12.2 | Online Monitoring Devices on CETPs | 62 |
| 12.3 | Online Monitoring Devices by industries | 62 |
| 13.1 | Industry Plan for Integrated Solid Waste Management (ISWM) of 7 Clusters | 63 |
| 13.2 | ISWM Plan for year 2019 | 65 |
| 13.3 | ISWM Plan for year 2020 | 69 |
| 13.4 | ISWM Plan for year 2021 | 71 |
| 14. | Plan for e-waste management. | 73 |
| 15. | Plan for plastic waste management | 74 |
| 16. | Plan for Bio-Medical Waste Management. | 75 |
| 17. | Hazardous Waste Management in Haryana | 76 |
| 18. | Agriculture Practices | 79 |
| 18.1 | Crop Diversification/Inter Cropping | 79 |
| 18.2 | Water Efficient Agriculture Practices | 81 |
| 19. | Increasing the Water Storage Capacity | 86 |
| 20. | Greenery Development Plan | 91 |
| 21. | Ground Water Management | 93 |
| 22. | Open defecation in Districts | 118 |
| 23. | Septage Management/Disposal by sewages through tankers | 120 |
| 24. | Involvement of Civil Society/Creation of awareness | 121 |
| 25. | Organizing of Health Camps. | 125 |
| 26. | Dredging & de-silting of drains in the cities | 128 |
| 27. | Concluding Remarks | 128 |
| Annexures |
| Annexure-1 | Order dated 08.11.2018 | 129 |
| Annexure-2 | Quality of River Yamuna | 132 |
| Annexure-3 | Water Quality of the Drains falling out in River Yamuna in the State of Haryana | 136 |
| Annexure-4 | Waste water consumption/ waste water generation by industries in Yamuna catchment | 139 |
| Annexure-5 | List of industries inspected alongwith compliance status | 168 |
| Annexure-6 | List of Closed industries | 291 |
| Annexure-7 | Monitoring of STPs | 298 |
| Annexure-8 | Monitoring of CETPs | 310 |
| Annexure-9 | List of industries installed OMD | 313 |
| Annexure-10 | Compliance Status of E- Waste Dismantlers amd recyclers units | 327 |
| Annexure-11 | Compliance status of CBWTFs | 329 |
| Annexure-12 | Action Plan of Irrigation Department for de-silting of drains | 330 |
| Annexure-13 | Action Plan of ULBD for de-silting of drains | 341 |

1. INTRODUCTION

1.1 O. A No. 673 of 2018 - "More river stretches are critically polluted now: CPCB"

In the matter of OA No. 673 of 2018-"More river stretches are critically polluted now: CPCB", the Hon'ble NGT has passed order dated 20.09.2018 for constitution of River Rejuvenation Committee (RRC) and SpecialEenvironment Surveillance Task Force (SESTFs). It has been mandated to prepare Action Plan for River Stretches and make them pollution free. In compliance of the orders of the Hon'ble NGT, the State Goverment has constituted RRC and SESTFs vide order dated 08.11.2018 and the same is attached as Annexure-1. The Hon'ble NGT has further directed vide roder dated 19.12.2018 that the Action Plan to be prepared by 31.1.2019 and submitted to the CPCB.

1.2 O. A No. 6 of 2012 - Manoj Mishra Vs Union of India & Ors.

Besides above, an application was filed in Hon'ble NGT by environmentalist Shri Manoj Mishra  in the matter of prevention of pollution of Yamuna river, and in this case, a study was conducted by Expert Committee of Scientists of MoEF and IIT Delhi, as per the directions of NGT. The reports filed by the Expert Committee in 2014 were made integral part of NGT's directions and the Tribunal envisaged this as ‘Maily Se Nirmal Yamuna’ Revitalization Project, 2017. The Yamuna river was to be made pollution free by December, 2017.

The State of Haryana was also issued directions alongwith other States vide Order dated 13.01.2015. Since, then various orders relevant to Haryana were passed on 02.03.2015, 08.05.2015, 11.06.2015, 28.07.2015, 02.02.2016, 24.07.2017, 08.08.2017, 16.02.2018, 25.07.2018 and 26.07.2018. The State of Haryana has been implementing the directions of the Tribunal by preparing an action plan to control pollution in river Yamuna, involving the stakeholder Departments. The timelines for various activities to control the pollution were submitted but the same could not be adhered to and as a result the pollution in river Yamuna could not be prevented.  Vide order dated 26.07.2018, the  Hon'ble NGT has passed stringent remarks regarding the failure of the administration in handling the situation and the repeated failure in carrying out the binding directions in various orders. Accordingly, the NGT has constituted a two member Monitoring Committee comprising of Mrs. Shailaja Chandra, Former Chief Secretary, Delhi and Mr. BS Sajwan, former Expert Member, NGT. The NGT also directed the State to constitute a full time Monitoring Committee at State level and accordingly, the State of Haryana constituted a full time Monitoring Committee comprising of Sh. PKMK Das, Sr. Scientist, HSPCB (now retired) and Sh. YK Garg, Superintending Engineer, PHED (Retd.). The Monitoring Committee has been given the mandate to take stock of all the actions taken so far and proposed action plan to control pollution in river Yamuna. The Monitoring Committee is also entrusted to ensure the requisite level of standards of water at the entry and exit points of river Yamuna as well as in the drains joining river Yamuna.

The State of Haryana took a series of steps to religiously implement the directions of Hon'ble NGT.  Chief Secretary of Haryana held a meeting with the Monitoring Committee of Yamuna, appointed by the Tribunal to discuss the issues and finalization of the strategy for implementation of the directions of the Tribunal.  Accordingly a series of meetings were held at the level of Chief Secretary of Government of Haryana and other senior officials with the administrative Secretaries and senior officials of various stakeholder Departments including Irrigation, Public Health, Urban Local Bodies, Environment, State Pollution Control Board and Town and Country Planning.  Accordingly, the following plan has been finalized and approved by the RRC, Additional Chief Secretary, Enviornment and Chief Secretary, Haryana at State level, including short and long term actions, with specific time frames, as identified by the agencies concerned.

1.3	Objective of the Action Plan

The objective/goal of the action plan is that the quality of river water should meet with the required value as given under:-

| Quality parameter | Standard to be achived |
| --- | --- |
| BOD | 3.0 mg/l. |
| Dissolved Oxygen (DO) | More than 5.0 mg/l. |
| Faecal Coliform | Less than 500 MPN/100ml. |

2.0 The River Yamuna

The Yamuna also known as the Jumna or Jamuna is the second largest tributary river of the Ganga and the longest tributary in India. Originating from the Yamunotri Glacier at a height of 6,387 metres (20,955 ft) on the southwestern slopes of Banderpooch peaks of the Lower Himalaya in Uttarakhand, it travels a total length of 1,376 kilometres (855 mi) and has a drainage system of 366,223 square kilometres (141,399 sq mi), 40.2% of the entire Ganges Basin. It merges with the Ganges at Triveni Sangam, Allahabad,

It crosses several states: Haryana and Uttar Pradesh, passing by Uttarakhand and later Delhi, and meeting its tributaries on the way, including Tons, its largest tributary, Chambal, its longest tributary which has its own large basin, followed by Sindh, the Betwa, and Ken. The Yamuna does not pass across Himachal Pradesh, but receives water from that state via the Tons. It helps create the highly fertile alluvial Yamuna-Ganges Doab region between itself and the Ganges in the Indo-Gangetic plain. Nearly 57 million people depend on the Yamuna's waters. With an annual flow of about 10,000 cubic billion metres (cbm; 8.1 billion acre⋅ft) and usage of 4,400 cbm (of which irrigation constitutes 96 per cent), the river accounts for more than 70 per cent of Delhi's water supply.

2.1 Religious Sanctity of River Yamuna

Like the Ganges, the Yamuna is highly venerated in Hinduism and worshipped as the goddess Yamuna. In Hindu mythology she is the daughter of the Sun God, Surya, and the sister of Yama, the God of Death, hence also known as Yami. According to popular legends, bathing in its sacred waters frees one from the torments of death.

2.2 The Course of River Yamuna

In Haryana, popular cities of Yamuna Nagar, Panipat and Sonepat lie on its banks.  On the basis of hydrological and ecological conditions, the river has been classified into five segments, viz., Himalayan Segment, Upper Segment, Delhi Segment, Eutriphicated Segment and Diluted Segment (Misra 2010).  The Upper Segment consisting of 224 Km includes the Haryana part of the river and it enters into Delhi after crossing Sonepat.  In Delhi, it runs for around 22 Km and then re enters into Haryana and leaves out for Uttar Pradesh through the Eutriphicated Segment and finally joins in Ganga after traversing about 950 Km.

The Yamuna sub-basin extends over an area of 3,63,082 sq. Km and its drainage comprises the parts of the States of Himachal Pradesh, Haryana, Rajasthan, Madhya Pradesh and Uttar Pradesh and the entire Union Territory of Delhi.  The distribution of the basis area in each of these States is as below.

| S No. | State | Catchment area (in Sq. Km) | % of basin in the State |
| --- | --- | --- | --- |
| 1 | Uttaranchal | 3771 | 1.1 |
| 2 | Uttar Pradesh | 70437 | 20.4 |
| 3 | Himachal Pradesh | 5799 | 1.7 |
| 4 | Haryana | 21465 | 6.1 |
| 5 | Delhi | 1485 | 0.4 |
| 6 | Rajasthan | 102883 | 29.7 |
| 7 | Madhya Pradesh | 140208 | 40.6 |

# (Source : CPCB 2006)

Yamuna River in Haryana

2.3  River Yamuna and its course in Haryana

In Haryana, the river emerges from the hills near village Kalesar where its water is tapped at Hathnikund Barrage for irrigating vast areas in Haryana and Uttar Pradesh.  During its course in Haryana, it passes through the districts of Yamuna Nagar, Karnal, Panipat, Sonepat, Faridabad and Palwal.  At Hatnikund, heavy silt laden water is received from river Yamuna and no flood or erosion occurs at the entry point as the water of river Yamuna is being tapped against the irrigation and drinking requirements. The Western Yamuna Canal (WJC) originates from the right bank of Yamuna River at Hathnikund / Tajewala barrage and the carrying capacity of main canal is 509 cubic meter / sec and irrigates an area of about 4,86,000 ha annually in Haryana.  This irrigation system is more than 100 years (CPCB 2006). At the Hathni Kund Barrage, its waters are diverted into two large canals: the Western Yamuna Canal flowing towards Haryana and the Eastern Yamuna Canal towards Uttar Pradesh. Beyond that point the Yamuna is joined only by the Somb, a seasonal rivulet from Haryana, and by the highly polluted Hindon River near Noida, so that it continues only as a trickling sewage-bearing drain before joining the Chambal at Pachnada in the Etawah District of Uttar Pradesh.[4] The water of Yamuna is of "reasonably good quality" through its length from Yamunotri in the Himalayas to Wazirabad barrage in Delhi, about 375 kilometres (233 mi); below this, the discharge of wastewater through 63 drains between Wazirabad barrage and Okhla barrage renders the river severely polluted.There is a heavy fluctuation in the river from Hathnikund Barrage to Wazirabad Barrage mainly in non-monsoon season.  Major towns falling on the bank of river Yamuna in Haryana are Kalesar, Raiyanwala, Tajewala, Khizrabad, Karkauli, Chhachhrauli, Jagadhri, Indri, Karnal, Basdhara, Panipat, Sonepat, Kehera Kaipur, Jaitpur, Faridabad and Palwal.

| Average flow | Dry Months (Feb-Jun) | Normal Months (Jul-Sep) | Lean Months (Oct-Jan) |
| --- | --- | --- | --- |
| (In cs per month) |
| 2007-08 | 3388 | 16344 | 4847 |
| 2008-09 | 4609 | 27010 | 5127 |
| 2009-10 | 3245 | 14040 | 2835 |
| 2010-11 | 7145 | 60259 | 2866 |
| 2011-12 | 4801 | 38222 | 4887 |
| 2012-13 | 4408 | 22283 | 3563 |
| 2013-14 | 5685 | 29163 | 15577 |
| 2014-15 | 3477 | 18608 | 6109 |
| 2015-16 | 3203 | 18307 | 6347 |
| 2016-17 | 3352 | 22123 | 2984 |
| 2017-18 | - | - | 3731 |

Flow of the river during different periods of the year are as above

(Source Irrigation Department, Haryana)

3. Main Sources of Pollution in River Yamuna

The River Yamuna as well as the major drain outfalls into the river are being monitored regularly by the Central Pollution Control Board (CPCB), Central Water Commission (CWC), Delhi Pollution Control Committee (DPCC), State Pollution Control Boards (SPCB) at different locations (Sharma and Kansal 2011). The Biochemical Oxygen Demand (BOD) level does not conform to the prescribed norms in many points and the river shows fluctuations in dissolved oxygen (DO) levels from ‘Nil’ to ‘above saturation’ levels, thereby indicating the presence of organic pollution load and prevalence of eutrophic conditions.  The entire stretch of Yamuna is witnessed with significant level of contamination of bacteria and amongst the heavy metals, Cadmium, Nickel and Lead are scantly present whereas Zinc and Iron are generally present.  During dry seasons, micro pollutants are observed which are declining over a period of years (Ibid).

According to CPCB (2006), the domestic pollution contributes to 85% of the total pollution in River Yamuna which is caused by urban centres, which include the cities of Panipat, Sonepat, Delhi, Ghaziabad, Mathura, Agra, Etawah and Allahabad.   While the impact of this domestic pollution on the river depends upon the efficiency of its collection and type and length of its transportation system, which contribute to the level of pollution load as the water consists mainly of organic matter and microbes, a reasonable amount of total salts, chlorides, nutrients, detergents, oil and grease is also contributed by the domestic sources.  Waste from unsewered areas, where the water directly joins the river without any treatment also contributes significantly to the pollution load of the river.

As far as the industrial pollution is concerned, there are large clusters of industries belonging to the categories of pulp and paper, sugar, distilleries, textiles, leather, chemical, pharmaceuticals, oil refineries, thermal power plants, food, etc., located at Kota, Gwalior, Indore, Nagda, Khetri, Yamuna Nagar, Panipat, Sonepat, Delhi, Baghpat, Ghaziabad, Gautam Budha Nagar, Faridabad, Mathura and other places (CPCB 2006).  Though there is a strict provision of environmental compliance system, the contribution of these industries to the pollution load of the river deserves attention – due to non-compliance of standards of discharge by industries as well as illegal establishment of certain industries.

The HSPCB has been monitoring the water quality of river Yamuna and the results are given at Annexure-2. It has been observed that the River Yamuna is polluted after the mixing of effluent from Dhanaura Escape in Karnal District and Panipat Drain No. 2 in Panipat District. The range of the BOD in the river water is approx. 5-20 mg/l. The River Yamuna recieved heavy load of polluted in the territory of Delhi alongwith effluent from towns of Haryana. The BOD value of River Yamuna downstream of Delhi is in the range of approx. 35-50 mg/l. The Board has also issued directions and started conducting micro-biological test to analyise the limit of Faecal Coliform and shall be part of all analysis reports subsequent to February, 2019. Similarly, the value of Dissolved Oxygen (DO) shall also be analysed.

3.1  Major drains of River Yamuna in Haryana, their status and action plan for their treatment

There are 11 major drains, i.e., Dhanaura escape, Main Drain No. 2, Drain No 6, Drain no. 8, KCB drain, Mungheshpur drain, Leg I, Leg II, LegIII, Buriya Nallah drain and Gaunchi drain, falling out in River Yamuna in the State of Haryana.  Another drain called Ali Link drain, which drains into Yamuna near village Meethapur in Faridabad in the jurisdiction of Haryana runs totally through Delhi and this is not counted as a drain of Haryana. The water quality of all the drains is regularly being monitored by HSPCB and the water quality status is shown in the table enclosed at Annexure-3. All the Drains carry effluent with BOD value exceeding the desired limits. The most polluting drains of the Haryana are Drain No. 2, KCB Drain, Mungeshpur Drain and Budhiya Nallah and  these carries effuent having BOD more than 100 mg/l.

3.2. Measurement of Flow Rate of Drains joining in the River Yamuna

The details of flow of water in the eleven drains outfalling in river Yamuna and the quality of 	water, as measured by Irrigation Department and HSPCB are given as below.

Statement of flow and quality of drains outfalling directly/indirectly into river Yamuna

| Sr. No. | Name of drain | Flow (MLD) Sept., 2017 | Flow (MLD) March, 2018 | Flow (MLD) July, 2018 | Flow (MLD) Aug, 2018 | Flow (MLD) Sept. 2018 | Flow (MLD) Oct. 2018 | Flow (MLD) Nov. 2018 | Flow (MLD) Dec. 2018 | Flow (MLD) Jan., 2019 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Dhanura Escape | 98 | 110 | 53 | 186 | 123 | 101.2 | 379.7 | 105.35 | 98 |
| 2 | Drain No.2 | 62 | 113 | 245 | 118.73 | 121.25 | 2092.5 | 1390 | 107.5 | 102.5 |
| 3 | Drain No.6 | 49 | 120 | 210 | 160 | 175 | 153 | 169 | 158 | 108 |
| 4 | Mungeshpur | 36.75 | 36.75 | 390 | 50 | 784 | 833 | 98 | 122.5 | 73.5 |
| 5 | KCB Drain | 135 | 135 | 339 | 0 | 2083 | 1837 | 318.5 | 220.5 | 367.5 |
| 6 | Drain No.8 | 196 | 0 | 0 | 0 | 1323 | 2590 | 0 | 318.5 | 472.85 |
| 7 | Leg I | 11.15 | - | 12.5 | 24.5 | 34 | 23 | 25.7 | 8.84 | 16.44 |
| 8 | Leg II | 108 | - | 110 | 9.18 | 92 | 51 | 88.6 | 57.88 | 75.29 |
| 9 | Leg III | 334 | - | 336 | 165.27 | 411 | 409 | 295.9 | 517.53 | 342.7 |
| 10 | Budhiya Nalah | 50 | 122 | 55 | 60 | 55 | 46 | 44 | 40 | 45 |
| 11 | Guanchi | 20 | 171 | 43.2 | 52 | 49 | 39 | 26 | 26 | 9.7 |

4. Estimation of sewage in towns encachment of river Yamuna.

There is a gap in treatment capacity of 0.1 MLD in Beri, 0.8 MLD in Indri, 1.7 MLD in Gharaunda, 8.7 MLD in Palwal, 0.3 MLD in Samlakha, 18.1 MLD in Yamuna Nagar  and 50 MLD in Faridabad as in Year 2019. But the STPs in these towns/cities are already under construction or proposal stage. There is no gap in treatment capacityod sewage in rest of the towns. There is also a gap as per proposed polulation upto year 2040 in Samlakha and Kalanaur Towns but this shall be covered up by installation of STPs in coming years.  The estimation for generation of sewage for population upto year 2040 and the gap in treatment capacity is given in the table.

| Sr. No. | Name of Town | Present Population 2019 | Projected Population for the year 2040 | Treatment Capacity (in MLD) | Treatment Capacity required upto 2019 (In MLD) | Gap in treatment upto 2019 (In MLD) | Treatment Capacity required upto 2040 (In MLD) | Gap in treatment upto 2040 (In MLD) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Existing | Under Construction | In planning stage | Total |  |  |  |  |
|  | Pataudi | 22868 | 28814 | 4.5 | 0 | 0 | 4.5 | 2.5 | 0 | 3.1 | - |
|  | Farrukhnagar | 15135 | 19070 | 3 | 0 | 0 | 3 | 1.6 | 0 | 2.1 | - |
|  | Sohna | 43862 | 55266 | 6 | 0 | 0 | 6 | 4.7 | 0 | 6 | - |
|  | Narnaund | 19311 | 24332 | 4 | 0 | 0 | 4 | 2.1 | 0 | 2.6 | - |
|  | Beri | 19178 | 24164 | 2 | 0 | 3 | 5 | 2.1 | 0.1 | 2.6 | - |
|  | Bahadurgarh | 241533 | 304332 | 64 | 0 | 0 | 64 | 26.1 | 0 | 32.9 | - |
|  | Jhajjar | 58321 | 73484 | 10.5 | 0 | 0 | 10.5 | 6.3 | 0 | 7.9 | - |
|  | Nilokheri | 20859 | 26282 | 6 | 0 | 0 | 6 | 2.3 | 0 | 2.8 | - |
|  | Taraori | 30168 | 38012 | 5.5 | 0 | 0 | 5.5 | 3.3 | 0 | 4.1 | - |
|  | Indri | 20984 | 26440 | 1.5 | 4 | 6 | 11.5 | 2.3 | 0.8 | 2.9 | - |
|  | Karnal | 338397 | 426380 | 58 | 38 | 0 | 56 | 36.5 | 0 | 46 | - |
|  | Nissing | 20276 | 25548 | 4 | 0 | 0 | 4 | 2.2 | 0 | 2.8 | - |
|  | Assandh | 32550 | 41013 | 5 | 0 | 0 | 5 | 3.5 | 0 | 4.4 | - |
|  | Gharaunda | 43970 | 55402 | 3 | 7 | 0 | 10 | 4.7 | 1.7 | 6 | - |
|  | Ladwa | 34664 | 43677 | 7 | 0 | 0 | 7 | 3.7 | 0 | 4.7 | - |
|  | Nuh | 20896 | 26329 | 3.6 | 0 | 0 | 3.6 | 2.3 | 0 | 2.8 | - |
|  | Ferozepur jhirka | 31807 | 40077 | 5 | 0 | 0 | 5 | 3.4 | 0 | 4.3 | - |
|  | Palwal | 163588 | 206121 | 9 | 0 | 27.5 | 27.5 | 17.7 | 8.7 | 22.3 | - |
|  | Hathin | 16728 | 21077 | 4.5 | 0 | 3 | 7.5 | 1.8 | 0 | 2.3 | - |
|  | Hassan Pur | 14338 | 18066 | 3 | 0 | 0 | 3 | 1.5 | 0 | 2 | - |
|  | Hodal | 62177 | 78343 | 9 | 0 | 0 | 9 | 6.7 | 0 | 8.5 | - |
|  | Panipat | 728020 | 917305 | 120 | 0.8 | 0 | 120.8 | 78.6 | 0 | 99.1 | - |
|  | Samalkha | 49490 | 62357 | 5 | 0 | 0 | 5 | 5.3 | 0.3 | 6.7 | 1.7 |
|  | Maham | 24581 | 30972 | 5 | 0 | 0 | 5 | 2.7 | 0 | 3.3 | - |
|  | Rohtak | 563233 | 709674 | 93.5 | 37 | 10 | 140.5 | 60.8 | 0 | 76.6 | - |
|  | Kalanaur | 27050 | 34083 | 3.5 | 0 | 0 | 3.5 | 2.9 | 0 | 3.7 | 0.2 |
|  | Sampla | 24676 | 31092 | 4 | 0 | 0 | 4 | 2.7 | 0 | 3.4 | - |
|  | Gohana | 78850 | 99351 | 11.3 | 0 | 3 | 14.3 | 8.5 | 0 | 10.7 | - |
|  | Ganaur | 44148 | 55626 | 7 | 0 | 0 | 7 | 4.8 | 0 | 6 | - |
|  | Sonipat | 324053 | 408307 | 62.5 | 0 | 15 | 77.5 | 35 | 0 | 44.1 | - |
|  | Kharkhoda | 28057 | 35352 | 4.5 | 0 | 0 | 4.5 | 3 | 0 | 3.8 | - |
|  | Jagadhri | 149873 | 188840 | 25 | 49 | 0 | 74 | 16.2 | 0 | 20.4 | - |
|  | Yamunanagar | 260485 | 328211 | 10 | 30 | 0 | 40 | 28.1 | 18.1 | 35.4 | - |
|  | Radaur | 15333 | 19320 | 3.5 | 0 | 0 | 3.5 | 1.7 | 0 | 2.1 | - |
|  | Chhachhrauli | 11797 | 14864 | 3 | 0 | 0 | 3 | 1.3 | 0 | 1.6 | - |
|  | Gurugram | 1800000 | 5876000 | 443 | 0 | 1079 | 1522 | 420 | 0 | 1518 | - |
|  | Faridabad | 1827770 | 2218000 | 160 | 7.5 | 174 | 341.5 | 210 | 50 | 334 | - |

5. Industrial effluent Management

The industrial pollution is controlled by the HSPCB through consent Management system. The Industries applies for obtaining consent in prescribed form. They submit detail of effluent to be generated and the capacity of Effluent Treatment Plant (ETP). The industries are either installed in Industrial Area or outside the industrial area. Most of Industrial areas are having CETP for the treatment of effluent generated from the industries (Trade + Domestic). There are 2254 industries in catachment of river Yamuna having industrial discharge. The sector wise and region wise detail of industries is given in the table as under. The indstries polluted in catchment of Yamuna consume 137399 KLD water and generate waste water of 124489 KLD. The industries have installed their ETPs and treating the effluent before discharge. The detail of water consumption and waste water genaration has been given at Annexure-4 (and the list of industries inspected alongwith their complaince status is given at Annexure-5 Page -20- 6.1).

5.2 	Region/sector wise number of industries

| Sr. No. | Industry Sector | Name of Regions |
| --- | --- | --- |
|  |  | Ballabgarh | Bahdurgarh | Yamuna Nagar | Panipat | Sonipat | Gurugram (N) | Gurugram (S) | Faridabad | Total |
| 1 | Readymade Garments |  |  |  |  |  | 80 | 74 | 31 | 185 |
| 2 | Service Station | 2 |  | 9 |  | 2 | 13 |  | 17 | 43 |
| 3 | Sample Testing Lab |  |  |  |  |  | 9 |  |  | 9 |
| 4 | Electroplating | 213 | 31 | 7 |  |  | 20 | 48 | 24 | 343 |
| 5 | Phosphating |  | 3 |  |  | 11 | 1 |  |  | 15 |
| 6 | Formulation | 1 |  |  |  |  | 2 |  |  | 3 |
| 7 | Auto Part |  |  |  |  |  | 6 | 63 |  | 69 |
| 8 | Beverages |  |  |  |  |  | 1 |  |  | 1 |
| 9 | Food & Food processing | 1 |  |  |  | 57 | 2 | 17 | 1 | 78 |
| 10 | Forging |  | 1 |  |  |  | 1 |  |  | 2 |
| 11 | Printing |  |  |  |  | 20 | 2 | 15 | 1 | 38 |
| 12 | Bulk drugs |  |  |  |  |  | 1 |  |  | 1 |
| 13 | Malt |  |  |  |  |  | 2 |  |  | 2 |
| 14 | Home Furnish Item |  |  |  |  |  | 1 | 22 |  | 23 |
| 15 | DG repair |  |  |  |  |  | 1 |  |  | 1 |
| 16 | Auto Mobile |  |  |  |  |  | 1 |  |  | 1 |
| 17 | Rubber Product |  |  |  |  | 10 | 1 |  |  | 11 |
| 18 | Shauglter House |  |  |  |  |  | 1 |  |  | 1 |
| 19 | Metal |  |  | 95 |  |  |  |  |  | 95 |
| 20 | HCF |  |  | 29 |  | 3 |  |  |  | 32 |
| 21 | Hotel |  |  |  |  |  |  |  | 1 | 1 |
| 22 | Pupl and Paper |  |  | 1 |  |  |  |  |  | 1 |
| 23 | Distillery |  |  | 1 |  | 1 |  |  |  | 2 |
| 24 | Sugar Mill |  |  | 1 |  |  |  |  |  | 1 |
| 25 | Starch Mill |  |  | 1 |  |  |  |  |  | 1 |
| 26 | Engineering and fabrication unit |  |  |  |  | 2 |  |  |  | 2 |
| 27 | Formulations of Medicines |  |  | 6 |  |  |  |  |  | 6 |
| 28 | Agriculture Implements |  |  | 1 |  |  |  |  |  | 1 |
| 29 | Lead Ingots |  | 16 |  |  |  |  |  |  | 16 |
| 30 | Lubricant Oil |  | 2 |  |  | 2 |  |  |  | 4 |
| 31 | Solvent extraction |  | 1 |  |  |  |  |  |  | 1 |
| 32 | Wire Drawing |  | 1 |  |  | 2 |  |  |  | 3 |
| 33 | Zinc Snelter |  | 2 |  |  |  |  |  |  | 2 |
| 34 | Acid Pickling |  | 11 |  |  |  |  |  |  | 11 |
| 35 | Acid Slury |  | 2 |  |  |  |  |  |  | 2 |
| 36 | Barrium Nitrate |  | 2 |  |  |  |  |  |  | 2 |
| 37 | Zinc Ingots |  | 1 |  |  |  |  |  |  | 1 |
| 38 | Formulations of Pesticides |  | 12 |  |  |  |  |  |  | 12 |
| 39 | Used Oil |  | 3 |  |  |  |  |  |  | 3 |
| 40 | Footwear |  | 21 |  |  |  |  |  |  | 21 |
| 41 | Cotton Coated Fabric |  | 25 |  |  |  |  |  |  | 25 |
| 42 | Lead Acid Battery |  | 2 |  |  | 1 |  |  |  | 3 |
| 43 | Milk & Milk Products | 1 | 1 |  |  | 8 |  |  |  | 10 |
| 44 | Chemical reaction | 2 | 1 |  |  | 10 |  |  |  | 13 |
| 45 | Casting |  | 1 |  |  |  |  |  |  | 1 |
| 46 | Aluminium based product |  | 6 |  |  |  |  | 13 |  | 19 |
| 47 | C.I. casting |  | 15 |  |  |  |  |  |  | 15 |
| 48 | Dyeing | 34 | 13 |  | 346 |  |  |  | 51 | 444 |
| 49 | Leather |  | 9 |  |  |  |  |  | 1 | 10 |
| 50 | Surface treatment | 80 |  |  |  |  |  |  |  | 80 |
| 51 | Expandable polystyrene resin | 1 |  |  |  |  |  |  |  | 1 |
| 52 | Washing of Drum | 1 |  |  |  |  |  |  |  | 1 |
| 53 | Plastic Components |  |  |  |  | 38 |  | 12 |  | 50 |
| 54 | Medical Products |  |  |  |  | 2 |  | 12 |  | 14 |
| 55 | sheet metal component |  |  |  |  |  |  | 4 |  | 4 |
| 56 | fasteners |  |  |  |  |  |  | 1 |  | 1 |
| 57 | Powder coating |  |  |  |  |  |  | 11 |  | 11 |
| 58 | Job Work |  |  |  |  |  |  | 20 |  | 20 |
| 59 | Ferrous & Non-ferrous metal extraction involving different furnaces |  |  |  |  | 20 |  |  |  | 20 |
| 60 | Manufacturing of Glass |  |  |  |  | 2 |  |  |  | 2 |
| 61 | Metal surface treatment |  |  |  |  | 77 |  |  |  | 77 |
| 62 | Pharmaceuticals |  |  |  |  | 12 |  |  |  | 12 |
| 63 | Physical mixing. |  |  |  |  | 6 |  |  |  | 6 |
| 64 | Recycling / reprocessing/ recovery/reuse of Hazardous Waste | 1 |  |  |  | 5 |  |  |  | 6 |
| 65 | Synthetic resins |  |  |  |  | 3 |  |  |  | 3 |
| 66 | Tannery |  |  |  |  | 3 |  |  |  | 3 |
| 67 | textile |  |  |  |  | 87 |  |  |  | 87 |
| 68 | Wooden Furniture. |  |  |  |  | 2 |  |  |  | 2 |
| 69 | Cold storage |  |  |  |  | 20 |  |  |  | 20 |
| 70 | Foam Mfg. |  |  |  |  | 7 |  |  |  | 7 |
| 71 | Formaldehyde |  |  |  |  | 1 |  |  |  | 1 |
| 72 | Insulation and other coated papers |  |  |  |  | 1 |  |  |  | 1 |
| 73 | Power press. |  |  |  |  | 3 |  |  |  | 3 |
| 74 | Rice Sheller |  |  |  |  | 3 |  |  |  | 3 |
| 75 | Thermocol |  |  |  |  | 1 |  |  |  | 1 |
| 76 | Corrugated boxes |  |  |  |  | 1 |  |  |  | 1 |
| 77 | Dismantling of E-waste |  |  |  |  | 3 |  |  |  | 3 |
| 78 | Ayurvedic and homeopathic medicine |  |  |  |  |  |  |  | 1 | 1 |
| 79 | Others | 11 | 145 |  |  |  | 27 | 41 | 3 | 227 |
| Total | 348 | 327 | 151 | 346 | 426 | 172 | 353 | 131 | 2254 |

5.3	Geo Mapping of Industries

Haryana State Pollution Control Board has established Geo Informatic Cell in Head Office. This Cell has located the Geo Co-ordinated of all the industries given consnet by teh Board and mapped the same on state map. The major clusters has been mapped and given in the map herewith.

6. 1	Regular monitoring of industries by SESTF and action against violators

The State Government has already constituted Special Environment Surveillance Task Force (SESTF) at District level, with a nominee of Deputy Commissioner of the concerned District as Chairman and Nominees of Superintendent of Police and District Judge and Regional Officer of HSPCB as Members of the task force.  This SESTF has been mandated to identify persons responsible for violation of law and norms relating to pollution in rivers and to conduct surprise inspections of polluting sources.

6.2	Closure action against illegal industries

The HSPCB has been regularly identifying illegal industries operating without consent of the board. The closure orders are issued against such illegal industries and electric connection are disconnected. The action traken in this regard has been compiled and attached as Annexure-6. This is ongoing activity and more such industries shall be closed as and when adentified by the HSPCB

7.	Prevention of pollution of river Yamuna due to mixing of water of drain 	no.06and Diversion 	Drain no. 08.

The common wall between drain no. 8 and drain no. 6 is being regularly monitored by the officers of Irrigation Department to identify the location of leakage.  Further, the Irrigation Department has undertaken to strengten the common wall between drain no. 8 and drain no. 6  to prevent leakage.

8. Interception of sewage in un-sewered area of unapproved colonies

There are many unapproved areas in most of the towns where sewage has not been tapped.  The task of tapping and treat the same before its outfall into the drain/ river, the ULBD was directed to provide a time bound plan and it has prepared the following plan with specific time frames for specific towns of Haryana, as below.

Town wise action plan for interception/tapping of sewage of unapproved colonies

| Tapping of Sewage of Unapproved Colonies |
| --- |
| Sr.No | Name of Locations/Points | Quantum of Sewage | Target date to tap the points |
| Name of Town: MC Yamunanagar |
|  | Azad Nagar , Munda Majra | 18.75 MLD | 31.12.2019 |
|  | Workshop Road/ ITI Road | 11.80 MLD | 31.12.2019 |
|  | Yamuna Gali | 2.75 MLD | 31.12.2019 |
|  | Old Hamida | 12.75 MLD | 31.12.2019 |
|  | Buria + Dyalgarh | 4.6 MLD | 31.12.2019 |
|  | Jagadhri near Bus Stand | 5.0 MLD | 31.12.2019 |
|  | Jammu Colony | 6.20 MLD | 31.12.2019 |
|  | Jagadhri near Gupta Place/ Matka Chowk | 5.0 MLD | 31.12.2019 |
| Name of Town: MC Rohtak |
|  | Peer Mohodi Mohalla | 6 MLD | 30.11.2019 |
|  | Sher Vihar Mohalla | 2 MLD | 30.11.2019 |
| Name of Town: MC Sonepat |
|  | STP Rathdhana to Bandepur Bridge |  | 31.03.2019 |
|  | Bandepur Bridge to ITI/Rohtak Bye-pass road |  | 30.06.2019 |
|  | ITI/Rohtak Bye-pass road to Kabirpur |  | 15.06.2019 |
|  | Kabirpur to Sikka Colony Bridge |  | 15.06.2019 |
|  | Sikka Colony Bridge to Delhi Road Bridge |  | 30.03.2019 |
|  | Delhi Road Bridge to Bawa Tarana Bridge |  | 30.03.2019 |
|  | Bawa Tarana Bridge to Aadarsh Nagar Bridge |  | 30.04.2019 |
|  | Aadarsh Nagar Bridge to Murthal Road Bridge |  | 30.04.2019 |
|  | Murthal Road to Rishi Colony Bridge/Disposal |  | 30.05.2019 |
| Name of Town: MC Kharkhoda |
|  | Kharkhoda drain near Partap School, Kharkhoda | 5 Cusec | 30.04.2019 |
| Name of Town: MC Tarori |
|  | Near Mannat Dairy to Kurak Minor both side | 0.1 MLD | 31.12.2019 |
|  | Goyal Kariyana Store, Dayanagar to Kurak Minor | 0.1 MLD | 31.12.2019 |
|  | Subhash Kariyana Store to Dayanagar, to Kurak Minor | 0.21 MLD | 31.12.2019 |
|  | Near Ravidas Dharmshala Dayanagar to Kurak Minor | 0.12 MLD | 31.12.2019 |
|  | Water Disposal Dayanagar Ward No 7, to Kurak Minor | 0.2 MLD | 31.12.2019 |
|  | Futti Taraori Road Near Punjabi Kesri, to Kurak Minor | 0.1 MLD | 31.12.2019 |
|  | Near Govt. Girls School Ward No 1, Kurak Minor | 0.11 MLD | 31.12.2019 |
|  | Near Balmiki Mandir (Both Side) Ward No 2 to Indri | 0.13 MLD | 31.12.2019 |
|  | Near CSC Centre Karnali Gate to Indri | 0.1 MLD | 31.12.2019 |
|  | Near Karnali Gate | 0.11 MLD | 31.12.2019 |
| Name of Town: MC Gohana |
|  | Drain Bridge near Panipat Chungi | 2 Cusec | 31.03.2019 |
|  | Near Pumping Station (P.H) near Gumar Dharamshala | 3 Cusec | 31.03.2019 |
|  | Near Chander Shekar Azad park | 2 Cusec | 31.03.2019 |
| Name of Town: Jhajjar |
|  | Sampla Road | 750 KLD | 28.02.2019 |
|  | Gaji Kamal Road | 500 KLD | 28.02.2019 |
|  | Babra Road | 400 KLD | 31.03.2019 |
|  | Rewari Road | 600 KLD | 31.03.2019 |
| Name of Town: Hodal |
|  | Mini Secretariat Colony Part 1 | 0.5 MLD | 31.06.2019 |
|  | Mini Secretariat Colony Part II | 0.3 MLD | 31.06.2019 |
|  | Extension Padwan Colony | 0.5 MLD | 31.06.2019 |
|  | Extension of Charan Singh Colony Part II | 1 MLD | 31.06.2019 |
| Name of Town: Nilokheri |
|  | Nilokheri Drain along Railway line | 0.25 MLD | 30.11.2019 |
|  | Rakshi Distrubutry | 1.05 MLD | 30.11.2019 |
| Name of Town: Panipat |
|  | Ambala- Delhi Rly line, Geeta Colony | 0.2 MLD | 31.05.2019 |
|  | Abrahim Lodhi | 0.12 MLD | 31.05.2019 |
|  | Arti Hospital | 0.1 MLD | 31.05.2019 |
|  | Devi Mandir | 0.1 MLD | 31.05.2019 |
|  | Desraj Colony , Sh.Ram Chowk | 0.065 MLD | 31.05.2019 |
|  | Rajiv Colony | 0.14 MLD | 31.05.2019 |
|  | Rajiv Colony, | 0.05 MLD | 31.05.2019 |
|  | Noorwala | 0.05 MLD | 31.05.2019 |
|  | Kutani Road | 0.11 MLD | 31.05.2019 |
|  | Saini Colony | 0.12 MLD | 31.05.2019 |
|  | Choturam Chowk | 0.15 MLD | 31.05.2019 |
|  | Choturam Chowk | 0.1 MLD | 31.05.2019 |
|  | 11 Ward | 0.14 MLD | 31.05.2019 |

8.1 Plan for laying of sewerage in approved colonies along river Yamuna

The sewerage network is being laid in the towns to carry the sewage to STPs for treatment. The status and the action plan alongwith target date is given in the table.

Plan of PHED and ULBD for laying of sewerage for the year 2018-19.

| Sr. No. | Name of town | Deptt. | % sewered area | % unsewered area | Total Length to be laid (in Mtrs.) | Length (in Mtr.) to be laid in year 2018-2019 | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Approved | Un-approved |  | Jan., 19 | Feb., 19 | March, 19 |  |
| 1 | Assandh | PHED | 85 | 5 | 10 |  | 200 | 200 | 200 | completed by 30.04.2019 |
| 2 | Bahadurgarh | ULB | 88 | 12 | - | 93460 | 4000 | 7000 | 7000 | completed by 31.03.2020 |
| 3 | Beri | PHED | 77 | 23 | - |  | - | - | - | completed by 31.12.2020. |
| 4 | Gohana | PHED | 87 | 13 | - |  | 1500 | 1500 | 1500 | completed by 31.03.2020. |
| 5 | Indri | PHED | 80 | 10 | 10 |  |  |  |  | completed by 31.12.2019 |
| 6 | Jagadhri | ULB | 70 | 5 | 25 | 34290 | 0 | 0 | 3000 | completed by 31.03.2020 |
| 7 | Nilokheri | PHED | 80 | 10 | 10 |  | 100 | 200 | 250 | completed by 30.06.2019 |
| 8 | Palwal | ULB | 80 | 10 | 10 | 129485 | 3000 | 8000 | 9000 | completed by 31.03.2020. |
| 9 | Panipat | ULB | 80 | 20 | - | 115197 | 0 | 5000 | 6000 | completed by 31.03.2020. |
| 10 | Rohtak | ULB | 80 | 12 | 8 | 174690 | 2000 | 5000 | 6000 | completed by 31.03.2020. |
| 11 | Ferozepur Jhirka | PHED | 80 | 20 | - |  | - | - | - | completed by 31.12.2020. |
| 12 | Sonepat | ULB | 85 | 10 | 5 | 134000 | 5000 | 6000 | 9000 | completed by 31.12.2019. |
| 13 | Yamuna Nagar | ULB | 85 | 5 | 10 | 74870 | 0 | 2000 | 2000 | completed by 31.03.2020. |
| 14 | Nuh | PHED | 88 | 12 |  |  | 80 | 100 | 600 | completed by 30.09.2019 |
| 15 | Gannaur | PHED | 95 |  | 5 |  |  |  |  | - |
| 16 | Gharaunda | PHED | 80 |  | 20 |  |  |  |  | - |
| 17 | Hodal | PHED | 83 | 7 | 10 |  | 1500 | 1500 | 1500 | completed by 31.12.2019 |
| 18 | Jhajjar | PHED | 80 | 15 | 5 |  | 300 | 300 | 300 | completed by 31.03.2020 |
| 19 | Kalanaur | PHED | 87 | 8 | 5 |  | 500 | 500 | 500 | completed by 31.05.2019 |
| 20 | Karnal | PHED | 82 | 3 | 15 |  | 800 | 1000 | 1500 | completed by 31.03.2019. |
| 21 | Kharkhoda | PHED | 80 | 15 | 5 |  | - | - | - | completed by 31.12.2020. |
| 22 | Ladwa | PHED | 74 | 8 | 18 |  | 500 | 600 | 800 | completed by 30.06.2019 |
| 23 | Samalkha | PHED | 88 | 12 | - |  | 300 | 300 | 506 | completed by 31.12.2019. |
| 24 | Sampla | PHED | 80 | 10 | 10 |  | 500 | 600 | 600 | completed by 30.06.2019 |
| 25 | Sohna | PHED | 87 | 13 | - |  | 1588 | 1500 | 1500 | completed by 31.03.2020 |
| 26 | Taraori | PHED | 85 | 5 | 10 |  | 400 | 800 | 300 | completed by 31.03.2019 |
| 27 | Hathin | PHED | 90 | 10 | - |  | - | 300 | 300 | completed by 30.06.2019 |
| 28 | Hassanpur | PHED | 80 | 20 | - |  | - | - | - | completed by 31.03.2020. |

Plan of PHED and ULBD for laying of sewerage for the year 2019-20

| Sr. No. | Name of town | Deptt. | % sewered area | % unsewered area | Length (in Mtr.) to be laid in year 2019-2020 | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Approved | Un-approved | Apr, 19 | May, 19 | June, 19 | July, 19 | Aug., 19 | Sept., 19 | Oct., 19 | Nov., 19 | Dec., 19 | Jan.20 | Feb., 20 | Mar 20 |  |
| 1 | Assandh | PHED | 85 | 5 | 10 | 100 | - | - | - | - | - | - | - | - | - | - | - | completed by 30.04.2019 |
| 2 | Bahadurgarh | ULB | 88 | 12 | - | 7500 | 7000 | 6000 | 4500 | 4500 | 5500 | 8000 | 8000 | 7000 | 6000 | 6000 | 5500 | completed by 31.03.2020 |
| 3 | Beri | PHED | 77 | 23 | - | - | - | - | 200 | 200 | 350 | 550 | 550 | 550 | 750 | 850 | 850 | completed upto 31.12.2020. |
| 4 | Gohana | PHED | 87 | 13 | - | 1000 | 1000 | 1000 | 500 | 500 | 500 | 1000 | 1000 | 1000 | 500 | 500 | 500 | completed by 31.03.2020. |
| 5 | Indri | PHED | 80 | 10 | 10 |  |  |  |  |  |  |  |  |  |  |  |  | completed by 31.12.2019 |
| 6 | Jagadhri | ULB | 70 | 5 | 25 | 3500 | 3500 | 2500 | 2000 | 1500 | 2000 | 2500 | 3000 | 3000 | 2500 | 2800 | 2500 | completed by 31.03.2020 |
| 7 | Nilokheri | PHED | 80 | 10 | 10 | 200 | 200 | 200 |  |  |  |  |  |  |  |  |  | completed by 30.06.2019 |
| 8 | Palwal | ULB | 80 | 10 | 10 | 10000 | 11000 | 10000 | 8000 | 7000 | 8000 | 9000 | 11000 | 11000 | 10000 | 8000 | 6500 | completed by 31.03.2020 |
| 9 | Panipat | ULB | 80 | 20 | - | 7500 | 9000 | 10000 | 8000 | 7000 | 6500 | 8500 | 11000 | 11000 | 11000 | 9000 | 5700 | completed by 31.03.2020 |
| 10 | Rohtak | ULB | 80 | 12 | 8 | 9000 | 12000 | 12000 | 10000 | 9000 | 12000 | 15000 | 17000 | 18000 | 18000 | 17000 | 12700 | completed by 31.03.2020 |
| 11 | Ferozepur Jhirka | PHED | 80 | 20 | - | - | - | - | 100 | 150 | 150 | 200 | 200 | 200 | 250 | 250 | 250 | completed by 31.12.2020. |
| 12 | Taoru | PHED | 80 | 20 | - | 1400 | 1400 | 1600 | 1800 | 800 | 800 |  |  |  |  |  |  | completed by 30.09.2019 |
| 13 | Sonepat | ULB | 85 | 10 | 5 | 14000 | 14000 | 15000 | 14000 | 13000 | 14000 | 12000 | 10000 | 8000 | - | - | - | completed by 31.12.2019 |
| 14 | Yamuna Nagar | ULB | 85 | 5 | 10 | 4000 | 6000 | 6500 | 5000 | 5000 | 7000 | 8000 | 7000 | 7000 | 6000 | 6000 | 3400 | completed by 31.03.2020 |
| 15 | Nuh | PHED | 88 | 12 |  | 600 | 800 | 800 | 677 | 800 | 400 |  |  |  |  |  |  | completed by 30.09.2019 |
| 16 | Punhana | PHED | 82 | 18 |  | 1600 | 1500 | 1900 | 1000 | 1000 | 1000 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | completed by 30.04.2020. |
| 17 | Hodal | PHED | 83 | 7 | 10 | 1500 | 1500 | 1490 | 700 | 700 | 700 | 1500 | 1500 | 1400 |  |  |  | completed by 31.12.2019 |
| 18 | Jhajjar | PHED | 80 | 15 | 5 | 300 | 200 | 300 | 250 | 200 | 200 | 200 | 300 | 300 | 150 | 150 | 150 | completed by 31.03.2020 |
| 19 | Kalanaur | PHED | 87 | 8 | 5 | 500 | 300 |  |  |  |  |  |  |  |  |  |  | completed by 31.05.2019 |
| 20 | Kharkhoda | PHED | 80 | 15 | 5 | - | - | - | 500 | 500 | 500 | 800 | 1000 | 1000 | 1500 | 1000 | 900 | completed by 31.12.2020. |
| 21 | Ladwa | PHED | 74 | 8 | 18 | 900 | 800 | 800 |  |  |  |  |  |  |  |  |  | completed by 30.06.2019 |
| 22 | Samalkha | PHED | 88 | 12 |  | 200 | 200 | 150 | 150 | 300 | 300 | 300 | 350 | 350 |  |  |  | completed by 31.12.2019. |
| 23 | Sampla | PHED | 80 | 10 | 10 | 600 | 700 | 220 |  |  |  |  |  |  |  |  |  | completed by 30.06.2019 |
| 24 | Sohna | PHED | 87 | 13 |  | 2500 | 3000 | 2500 | 1000 | 1000 | 2500 | 2500 | 4000 | 3000 | 3000 | 3000 | 3000 | completed by 31.03.2020 |
| 25 | Taraori | PHED | 85 | 5 | 10 |  |  |  |  |  |  |  |  |  |  |  |  | completed by 31.03.2019 |
| 26 | Hathin | PHED | 90 | 10 |  | 400 | 400 | 487 | - | - |  |  |  |  |  |  |  | completed by 30.06.2019 |
| 27 | Hassanpur | PHED | 80 | 20 |  |  |  |  |  |  |  | 500 | 500 | 500 | 500 | 1000 | 1000 | completed by 31.03.2020. |

Plan of PHED and ULBD for laying of sewerage for the year 2020 onwards

| Sr. No. | Name of town | Deptt. | %age sewered area | % age unsewered area | Length (in Mtr.) to be laid in year 2020-2021 | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Approved | Un-approved | April, 20 | May, 20 | June, 20 | Jul., 20 | Aug., 20 | Sept. 20 | Oct., 20 | Nov., 20 | Dec., 20 |  |
| 1 | Beri | PHED | 77 | 23 | - | 1000 | 850 | 350 | 200 | 150 | 450 | 600 | 170 | 100 | completed by 31.12.2020. |
| 2 | Ferozepur Jhirka | PHED | 80 | 20 | - | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | completed by 31.12.2020. |
| 3 | Kharkhoda | PHED | 80 | 15 | 5 | 800 | 900 | 900 | 500 | 500 | 850 | 900 | 1000 | 1000 | completed by 31.12.2020. |

Plan of Municipal Corporation, Faridabad for laying of sewerage network

I) 	Along the River Yamuna, there are 3 villages namely: BasantPur, Ismail Pur, AgwanPur and some adjoining colonies under the jurisdiction of Municipal Corporation Faridabad. The work for providing sewerage system in this area has been allocated under AMRUT scheme and the likely date of its completion is 31st December 2020. Work orders have been given and survey work is under progress.

ii)  The New Industrial town Faridabad came into existence in the year 1950 at the time of partition of India and Pakistan. The sewerage system of this area is existing ever since then and no up-gradation has taken place till date. Keeping in view the present demand, Hon’ble CM Haryana made an announcement for revamping of the sewerage system. Therefore, an EOI was invited for preparing DPR for this purpose. The tentative cost of this work is INR 100 crores.

iii) The trunk sewer line from Sector-18 disposal to Mirzapur STP was laid more than 40 years ago and its life span has been expired, hence its revamping or relaying is required for which a financial outlay of INR 55 crores is required . An EOI is being called for preparation of DPR and the likely date of completion of work is 31st December 2020 subject to allotment of funds.

IV) The work of providing sewerage system in un-sewered area of 66 approved colonies which were declared as civic amenities deficit area in the 	year 2014 is in progress under AMRUT scheme. The detail of the area is given below:-

List of Authorised Colonies under MCF Limits

| Sr No | Name Of Colony | Total Area (Acres) | Proposed Landuse Zone in Development Plan | Name of Revenue Estate | Location of the Colony |
| --- | --- | --- | --- | --- | --- |
|  | NIT Zone |  |  |  |  |
| 1. | Ankhir Village EXT. | 13.7 | Open Space ( Regional - Recreational) | Ankhir | Recreational Zone |
| 2. | DabuaColony Extension-II | 106.5 | Residential | Dabua | Sector-49 |
| 3. | DabuaColony Extension-1 A&B | 34.4 | Residential | Gajipur | Sector-49 |
| 4. | Extended Abadi Of village Badkhal Part-I Extended Abadi Of village Badkhal Part-II | 82.2 5.8 | Open Space ( Regional - Recreational) | Badkhal | Recreational Zone |
| 5. | Extended Abadi Of Village Saran | 7.85 | Residential | Saran | Sector-50 |
| 6. | Gazipur Colony | 36.8 | Residential | Gajipur | Sector-49 |
| 7. | Nangla Enclave Part-II | 122.8 | Residential | NanglaGujran | Sector-52 |
| 8. | Navada Extension | 4.9 | Residential | Navada | Sector-49 |
| 9. | S.G.M Nagar Block-P | 15 | Residential | Badkhal | Sector-21D |
| 10. | S.G.M Nagar F,G,H Block | 31.6 | Residential | Fatehpur Chandela, Badkhal | Sector-48 |
|  | OLD Faridabad ZONE |  |  |  |  |
| 11. | Ajronda Extended Abadi | 3.1 | Residential | Ajronda | Sector-15A |
| 12. | Anangpur Dairy | 15 | Residential | Anangpur | Sector-37 |
| 13. | Bharat Colony | 209 | Residential | Baselwa, Wazirpur | Sector-87 |
| 14. | Bhoor Colony extension | 18 | Residential | Faridabad | Sector-18 |
| 15. | Baselwa Colony Extension. | 14.6 | Residential | Faridabad | Sector-18 |
| 16. | Budena Extended Aabadi | 21.3 | Residential | Budena | Sector-86 |
| 17. | Chhajjan Nagar Part –I Chhajjan Nagar Part-II ChhajjanNagarPart-III | 30.1 1.7 2.5 | Residential | Palla | Sector-91 |
| 18. | Deepawali Enclave | 19.2 | Residential | Ismilpur | Sector-91 |
| 19. | Hari Nagar Colony | 6.7 | Residential | Baselva | Sector-87 |
| 20. | Indra Complex Extension Muvai Road Part- I Part-II Part- III Part- IV Part - V | 2 11.5 7.8 0.5 12.3 |  | Muvai, Faridabad, Baselwa | Sector-87 |
| 21. | MewlaMaharajpur Extension | 12.1 | Residential | Mewla Maharaj- -pur | Sector-46 |
| 22. | New Saiyadwara | 3.3 | Residential | Faridabad | Sector-18 |
| 23 | Nikhil Enclave | 17 | Residential | Ismailpur, Agvanpur | Sector-91 |
| 24 | Numberdar Colony | 25.7 | Residential | Sehatpur | Sector-91 |
| 25 | Om Enclave | 38.8 | Residential | Ismilpur | Sector-91 |
| 26 | PanchsheelEnclave | 46 | Residential | Ismilpur | Sector-91 |
| 27 | Pathwari Colony | 5.8 | Residential | Faridabad | Sector-18 |
| 28 | Power House Colony | 7.5 | Residential | Palla | Sector-34 |
| 29 | Puran Enclave | 0.4 | Residential | Faridabad | Sector-18 |
| 30. | Rao Sultan Singh Colony | 2.4 | Residential | Sarai Khwaza Palla | Sector-36 |
| 31. | Saraswati Colony Part-I Saraswati Colony Part-II | 49.7 5.45 | Residential | Sehatpur | Sector-91 |
| 32 | Shiv Colony | 56.5 | Residential | Palla | Sector-91 |
| 33. | Shiv Durga Vihar | 86.3 | Residential | Lakkarpur | Sector-39 |
| 34. | Shyam Colony | 48.54 | Residential | Sehatpur | Sector-91 |
| 35 | Surpanch Colony | 1.9 | Commercial/ Institutional | Ajronda | Sector-20 A |
| 36 | Surya Colony | 42.5 | Residential | Sehatpur | Sector-91 |
| 37. | Suryavihar | 84.4 | Residential | Sehatpur Agwanpur | Sector-91 |
| 38. | Yadav Colony | 11.2 | Residential | Sarai Khawaja, Palla | Sector-35 |
| 39. | Chetram Colony | 0.76 | Residential | Lakkarpur | Sector-39 |
| 40. | Sant Nagar | 28.9 | Institutional | Daultabad, Fatehpur -Chandila | Sector-20A |
|  | Ballabgarh ZONE |  |  |  |  |
| 41. | Krishna Colony | 6.7 | Residential | RanheraKhera | Sector-56A |
| 42. | Adarsh Nagar- I | 18.81 | Residential | Uncha Gaon | Sector-63 |
| 43. | Adarsh Nagar- II Part – I Part-II Part-III | 32.56 2.26 1.1 | Residential | Uncha Gaon | Sector-63 |
| 44. | Bhagat Singh Colony | 11.317 | Residential | Sihi | Sector-4 |
| 45. | Navlu Colony | 0.150 | Commercial | Ballabgarh | Sector-26 |
| 46. | Sanjay Colony Extn. | 1.725 | Industrial | Jharsetaly | Sector-59 |
| 47. | Bhikam ColonyExtn. | 7.736 | Residential | Ballabgarh | Sector-1 |
| 48. | Bhatia colony Extn. | 5.455 | Residential | Ballabgarh | Sector-1 |
| 49. | Ajji Colony | 3.513 | Residential | RanehraKhera | Sector-1 |
| 50 | Arya Nagar extn | 22.484 | Residential | Unchagaon | Sector-63 |
| 51 | Jain Colony | 3.728 | Residential | Ballabgarh | Sector-1 |
| 52 | Mukesh Colony Extn. | 1.946 | Residential | Ballabgarh | Sector-1 |
| 53 | Vijay Nagar | 13.020 | Residential |  | Sector-63 |
| 54 | Jiwan Nagar | 61.218 | Residential | Gaunchhi | Sector-53 |
| 55 | Hari Vihar | 66.411 | Residential | Ballabgarh | Sector-63 |
| 56 | Kundan Colony Extn. | 3.005 | Residential | Unchagaon | Sector-63 |
| 57 | Mahavir Colony | 5.694 | Residential | Unchagaon | Sector-63 |
| 58 | Raja Nahar Singh Colony | 32.054 | Residential | Sihi | Sector-4 |
| 59 | Shiv Colony Extn. | 0.279 | Residential | Ballabgarh | Sector-4 |
| 60 | Shyam Colony Extn. | 6.937 | Residential | Ballabgarh | Sector-1 |
| 61. | Subhash Nagar | 16.594 | Residential | Ballabgarh | Sector-1 |
| 62. | Subedar Colony | 18.884 | Residential | Unchagaon | Sector-63 |
| 63. | Tirkha Colony | 23.886 | Residential | Sihi | Sector-2 |
| 64. | Rajiv Colony | 79.164 | Residential / Industrial | Jharsaintly, Gaunchhi, RanehraKhera | Sector-59 |
| 65. | Extended Abadi Gaunchhi | 3.03 | Residential | Gaunchhi | Sector-54 |
| 66 | RAO Raghuvir colony | 4.032 | Residential | Ballabgarh | Sector-63 |
|  | Total | 1862.2 |  |  |  |

9.	Plan for Leg-I, Leg-II and Leg-III (Badshahpur Drain) of Gurugram.

The Leg-1, Leg-II and Leg-III (Badshahpur Drain) drains carry the effluent of Gurugram and have out fall in Nazafgarh Drain which ultimately joins river Yamuna in territory of Delhi. The sources of pollution having out fall in the drains have been indentified and the time bound action plan for each point is given in the table.

ACTION PLAN FOR CONTROLLING AND TREATMENT OF DISCHARGE IN LEG NO.  I

| Sr. No. | Location where waste water falls into Leg No.-I | Discharge in MLD | Connection | Name of Deptt. | Proposed date of completion of work | Action Plan (in-cumulative %) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Jan, 19 | Feb, 19 | Mar, 19 | Apr, 19 | May, 19 | Jun, 19 | Jul, 19 | Aug, 19 | Sept,.19 | Oct, 19 | Nov, 19 | Dec, 19 |
| 1 | At Cyber Park near Underpass towards Sikanderpur | 2.00 | 1 No. connection | GMDA | Action completed | NA |
| 2 | Near Rapid Metro Pillar 92 Near NH-8 Culvert | 2.70 | 2 Nos. connection | GMDA | Action completed | NA |
| 3 | Near Furniture Market, Mehrauli Road, Sikanderpur | 1.50 | 2 Nos. connection | GMDA | Action completed | NA |
| 4 | At Sikanderpur flyover near temple in village Sikanderpur | 0.30 | 1 No. connection | MCG | Action completed | NA |
| 5 | M/s Sea Hawk, Udyog Vihar, Sec-18 | 0.50 | 1 No. connection | MCG | Action completed | NA |
| 6 | Nagarro Building, Plot No. 36, Udyog Vihar, Sec-18 | 0.70 | 1 No. connection | MCG | Action completed | NA |
| 7 | Green Belt near NH-8 Udyog Vihar | 1.50 | 1 No. connection | HSIIDC | Action completed | NA |
| 8 | Rao market Udyog Vihar, Sec-18 | 0.50 | 1 No. connection | HSIIDC | Action completed | NA |
| 9 | MCG Road side drain connections (02 Nos.) near Bajghera Road, Gurgaon | 0.06 | I No. Connection | MCG | 8.12.2019 |  | 30 | 40 | 50 | 60 | 70 | 75 | 80 | 85 | 90 | 100 |  |
|  | Total | 9.76 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

ACTION PLAN FOR CONTROLLING AND TREATMENT OF DISCHARGE IN LEG NO. II

| Sr. No. | Location where waste water falls into Leg No.-II | Discharge in MLD | Connection | Name of Deptt. | Proposed date of completion of work | Action Plan (in-cumulative %) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Jan, 19 | Feb, 19 | Mar, 19 | Apr, 19 | May, 19 | Jun, 19 | Jul, 19 | Aug, 19 | Sept,.19 | Oct, 19 | Nov, 19 | Dec, 19 |
| 1 | DLF phase-IV in-front of H. No. 6510 | 1.50 | 1 No. connection | GMDA | Action completed | NA |
| 2 | Sukhrali & MDI | 2.00 | 1 No. connection of 450 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 3 | M. R Motor at Mata Road | 0.50 | 2 Nos. connection of 150 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 4 | Plot No.999, Mata Road Near Kataria Chowk | 0.50 | 2 Nos. connection of 100 mm &150 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 5 | Invitation Garden at Mata Road | 0.25 | 1 No. connection of 200 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 6 | Near Mata Temple near Village Gurugram | 0.25 | 1 No. | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 7 | Satija Steel near petrol pump | 0.01 | 1 No. connection of 150 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 8 | Akshi Sweets near petrol pump | 0.01 | 1 No. connection of 150 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 9 | Near GAV Academy Gate (Sheetla Colon) | 2.00 | 1 No. Connection | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 10 | Pet Zone Mata road | 0.10 | 2 Nos. connection of 100 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 11 | Prince Vatika Mata Road | 0.10 | 1 No. connection of 100 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 12 | Dream Garden | 0.10 | 2 Nos. connection of 100 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 13 | Shop No.28 at Mata Road | 0.01 | 1 No. connection of 200 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 14 | Shop No. 18 & 19 | 0.01 | 1 No. connection of 200 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 15 | Near Sector-5 Chowk | 1.00 | 1 No. connection of 200 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 16 | Near Sheetla Clinic | 2.00 | 1 No. connection of 300 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 17 | Tee Junction carrier and master SWD opposite Petrol Pump | 2.00 | Carrier Drain | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 18 | Bhimgarh Kheri | 1.20 | 2 Nos. connection of 250 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 19 | Palam Vihar C-2 Block | 3.00 | 1 No. connection | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 20 | Near Palam Vihar | 0.5 | 1 No. connection of 200 mm i/d | MCG | 31.05.19 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |
| 21 | Sarai Alawardi | 0.6 | 1 No. connection of 300 mm i/d | MCG | 30.11.19 |  | 30 | 40 | 50 | 60 | 70 | 75 | 80 | 85 | 90 | 100 |  |
| 22 | Dharampur Village | 0.5 | 1 No. connection | Panchayat Deptt |  | Estimate of Rs. 1.8 crore prepared for STP |
|  | Total | 18.14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

ACTION PLAN FOR CONTROLLING AND TREATMENT OF DISCHARGE IN LEG NO. III

| Sr. No. | Location where waste water falls into leg No. III | Discharge (MLD) | Connection | Name of Deptt. | Proposed action plan with date | Action Plan (in-cumulative %) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Jan, 19 | Feb, 19 | Mar, 19 | Apr, 19 | May, 19 | Jun, 19 | Jul, 19 | Aug, 19 | Sept,.19 | Oct, 19 | Nov, 19 | Dec, 19 | Jan, 20 | Feb, 20 | Mar, 20 |
| 1 | Vatika Chowk, Badshahpur | 7.50 | - | MCG | 28.02.2019 |  | 100 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Village Tikri |  | 1 no. | MCG/GMDA | Action completed | NA |
| 3 | Industrial discharge of Industries (Setup through C L U) Sector-34 and adjoining area | 0 | - | MCG | Action completed | NA |
| 4 | Naharpur Roopa & unapproved area Rajiv Colony, Nitin Vihar, Khandsa Enclave etc. | 4.00 | - | MCG | 31.03.2019 |  | 50 | 100 |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Discharge through RCC Drain of MCG Coming from Anaj Mandi to culvert at NH-8/ Mohammadpur Jharsa / Narsinghpur | 2.00 | - | MCG | 31.03.2020 |  |  |  | 5 | 15 | 25 | 35 | 45 | 55 | 60 | 65 | 70 | 80 | 90 | 100 |
| 6 | RCC Drain of MCG Village Khandsa | 2.00 | - | MCG | 31.03.2020 |  |  |  | 5 | 15 | 25 | 35 | 45 | 55 | 60 | 65 | 70 | 80 | 90 | 100 |
| 7 | Discharge coming from Village Gadauli through drain of MCG | 1.35 | - | MCG | 30.11.2019 |  | 30 | 40 | 50 | 60 | 70 | 80 | 85 | 90 | 95 | 100 |  |  |  |  |
| 9 | Discharge from Village Dhankot | 0.50 | - | Panchayat Department GMDA | Land has been assured by Panchayat Deptt and Estimate shall be prepared by GMDA for STP |
| New Points |
| 10 | Culvert of SPR Sector-57 (CGHS-1 Society) | 2.00 | 1 No. connection of Carrier Drain | GMDA | 31.03.19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | At Sikanderpur, Village | 0.30 | 1 No. connection of 300 mm i/d | MCG | 31.05.2019 |  | 100 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | Near Railway culvert No. 47, Palam Vihar | 2.40 | 1 No. connection of size 900mm X 1200 mm | MCG | 31.05.2019 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |  |  |  |
| 13 | Near New Cambridge Public School, Choma Road, New Palam Vihar | 2.00 | 1 No. connection of size 600mm X 900 mm | MCG | 31.05.2019 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |  |  |  |
| 14 | Near Mother Dairy, Palam Vihar | 0.70 | 1 No. connection of size 600mm X 900 mm | MCG | 31.05.2019 |  | 20 | 40 | 70 | 100 |  |  |  |  |  |  |  |  |  |  |
| 15 | M/s Sea hawk, Udyog Vihar, Sector-18 | 0.50 | 1 No. connection | MCG | Action completed | NA |
| 16 | Nagarro Building, Plot No. 36, Udhyog Vihar, Sector-18 | 0.70 | 1 No. connection | MCG | Action completed | NA |
| 17 | Village Ghata | 4.00 | 1 No. connection | MCG | 30.06.19 |  |  | 10 | 30 | 50 | 100 |  |  |  |  |  |  |  |  |  |
| 18 | Wazirabad | 2.00 | 1 No. connection | MCG | Action completed | NA |
| 19 | Fazilpur Jharsa | 1.50 | 1 No. connection of Carrier drain | MCG | 15.05.2019 |  | 100 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | Village Islampur | 4.00 | 3 Nos. connection of 200 mm 600mm, 300mm & 300mm i/d | MCG | 30.04.19 |  | 20 | 50 | 100 |  |  |  |  |  |  |  |  |  |  |  |
| 21 | Sector- 33 & 34 | 4.00 | 5 Nos. connection of 150 mm i/d | MCG | 31.3.2019 |  | 50 | 100 |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | Khoh | 0.50 | 1 No. connection | Panchayat | 31.12.2020 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 | Bas Khussla | 0.25 | 1 No. connection | Panchayat | 31.12.2020 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | Kasan | 0.50 | 1 No. connection | Panchayat | 31.12.2020 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 | Manesar | 5.50 | 1 No. connection | PHED | 31.12.2020 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 | Naharpur Kasan | 3.25 | 1 No. connection | PHED | 31.12.2020 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 | Sector-1, Manesar | 0.50 | 1 No. connection | HSIIDC | 31.03.2019 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 | Sihi & Kherki Daula | 2.00 | 1 No. connection | MCG | 31.12.2020 |  |  | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 |  |  |  |
| 30 | STP Behrampur | 170 |  | GMDA | No action required |
| 31 | STP Dhanwapur | 168 |  | GMDA | No action required |
| 32 | CETP IMT Manesar | 55 |  | HSIIDC | No action required |
|  | Total | 450.36 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

10.      Action Plan for STPs

10.1 Action plan for STPs for the year 2018-19.

10.1.1 Action plan for existing/under upgradation STPs (2018-19)

Some of the existing STPs do not meet with the prescribed discharge standards. The STP are being upgraded and the proposed date for such STPs has been 	mentioned in the table given below for 2018-19.

Action plan for Existing/under upgradation  STPs (In cumulative Percentage) for the year 2018-19

| Sr. No. | Name of town/city | Deptt. | Capacity (MLD) | Date of commissioning/ proposed date of completion | Jan., 19 % | Feb., 19 % | March, 19 % | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Dhanaura Escape |
| 1 | Yamuna Nagar | PHED | 25 | March, 2001/ 31.05.2020 | 25 | 30 | 35 | completed upto 31.05.2020 |
| 2 | Yamuna Nagar | PHED | 10 | March, 2000/ 30.06.2020 | 10 | 15 | 20 | completed upto 30.06.2020 |
| 3 | Parwaloo Jagadhri | PHED | 24 | 31.12.2018 | - | - | - | - |
| 2. Main Drain No. 2 |
| 1 | Sewah, Panipat | PHED | 35 | 31.12.2017 | - | - | - | - |
| 2 | Sewah, Panipat | PHED | 25 | 30.04.2016 | - | - | - | - |
| 3 | Gharaunda | PHED | 3 |  | - | - | - | - |
| 4 | Asandh | PHED | 5 | 15.06.2014 / 31.10.2019 | 50 | 55 | 60 | completed upto 31.10.2019 |
| 5 | Nissing | PHED | 4 | 31.03.2016 /31.12.2019 | 20 | 30 | 40 | completed upto 31.12.2019 |
| 6 | Sector-19 Panipat | HSVP | 30 | 1.11.2018 |  |  |  | - |
| 3. Drain No. 6 |
| 1 | Jattal Road, Panipat | PHED | 10 | 31.07.2017 | - | - | - | - |
| 2 | Jattal Road, Panipat | PHED | 20 | 31.10.2016 | - | - | - | - |
| 3 | Samalkha | PHED | 5 | 30.09.2013 | - | - | - | - |
| 4 | Kakroi Road Sonipat | PHED | 25 | 31.07.2017 | - | - | - | - |
| 5 | Rathdana Road Sonipat | PHED | 30 | March, 2003/ Dec, 2017 | - | - | - | - |
| 6 | Rajiv Gandhi Edu. City, Phase-I, Sonepat | HSVP | 7.5 | December, 2015 |  |  |  | - |
| 7 | Ganaur | PHED | 7 | 01.01.2012 | - | - | - | - |
| 4. Drains falling out in Najafgarh Drain (i) Drain No. 8 |
| 1 | Gohana | PHED | 8.3 | 02.07.2012 | - | - | - | - |
| 2 | Gohana | PHED | 3 | 01.11.2015 | - | - | - | - |
| 3 | Jhajjar | PHED | 5.5 | March, 2007 | - | - | - | - |
| 4 | Jhajjar | PHED | 5 | 03.11.2014 | - | - | - | - |
| 5 | Beri | PHED | 2 | 10.1.2010 | - | - | - | - |
| 7 | Singhpura, Rohtak | PHED | 10 | Feb. 12 | - | - | - | - |
| 8 | Singhpura, Rohtak | PHED | 14 | 31.03.2015 | - | - | - | - |
| 9 | PGI Rohtak | PHED | 19.5 | 31.03.2016 | - | - | - | - |
| 10 | Sonaria, Rohtak | PHED | 40 | 31.03.2016 | - | - | - | - |
| 11 | Sampla | PHED | 4 | Oct. 11 | - | - | - | - |
| 12 | Kalanaur | PHED | 3.5 | 01.10.2010 | - | - | - | - |
| 13 | Meham | PHED | 5 | Jan. 13 | - | - | - | - |
| (ii) Mungeshpur Drain |
| 1 | Bahadurgarh | PHED | 18 | Oct. 12 | - | - | - | - |
| 2 | Bahadurgarh | PHED | 36 | 01.04.2014 | - | - | - | - |
| (iii) KCB Drain |
| 1 | Bahadurgarh | HSVP | 10 | 2.2.2013 |  |  |  | - |
| (iv) Leg-III |
| 1 | Dhanwapur, Gurugram | GMDA | 68 | January, 2004/ April, 2019 is it being upgraded |  |  |  | completed upto April, 2019 |
| 2 | Dhanwapur, Gurugram | GMDA | 100 | 01.12.2014 |  |  |  | - |
| 3 | Gurugram | ULBD/ MCG | 30 | 01.08.1998 |  |  |  | - |
| 4 | Behrampur, Gurugram | GMDA | 50 | August, 2010 |  |  |  | - |
| 5 | Behrampur, Gurugram | GMDA | 120 | July, 2014 |  |  |  | - |
| 6 | Gurugram | ULBD | 50 | 1.10.2018 |  |  |  | - |
| 5. Budhiya Nallah |
| 1 | Badshahpur, Faridabad | ULBD | 20 | 09.1.2011 |  |  |  | - |
| 2 | Badshahpur, Faridabad | ULBD | 45 | 09.1.2011 |  |  |  | - |
| 6. Gaunchi Drain |
| 1 | Partapgarh, Ballabgarh | ULBD | 50 | March, 2000 | - | - | - | - |
| 2 | Punhana | PHED | 4.5 | 31.12.2015 | - | - | - | - |
| 3 | Nuh | PHED | 3.6 | 25.11.2016 | - | - | - | - |
| 4 | Hassanpur | PHED | 3 | 01.03.2016 | - | - | - | - |
| 5 | Hathin | PHED | 4.5 | 31.12.2015 | - | - | - | - |
| 6 | Hodal | PHED | 9 | July, 2017 | - | - | - | - |
| 7 | Palwal | PHED | 9 | June, 2007 | - | - | - | - |

10.1.2 Action plan for under construction STPs (2018-19)

The action plan for the under construction STPs along river Yamuna is given in the table:-

Action plan for STPs under construction   (In cumulative Percentage) for the year 2018-2019

| Sr. No. | Name of town/city | Deptt. | Capacity (MLD) | Proposed date of Completion | Jan., 19 | Feb., 19 | Mar, 19 | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Dhanaura Escape |
| 1 | Radaur Road Yamuna Nagar | PHED | 20 | 31.07.2019 | 50 | 60 | 70 | completed upto 31.07.2019 |
| 2 | Baddi Majra, Yamuna Nagar | PHED | 10 | 30.05.2019 | 50 | 60 | 75 | completed upto 30.05.2019 |
| 2. Main Drain No. 2 |
| 1 | Gharaunda | PHED | 7 | 31.05.2019 | 85 | 88 | 92 | Completed upto 31.05.2019. |
| 2 | Sector-6, Panipat | HSVP | 0.8 | 31.01.2019 | 100 |  |  | Completed upto 31.01.2019 |
| 3 | Shiv Colony, Karnal | ULBD | 8 | 26.09.2019 | 31 | 8 | 9 | Completed upto 26.09.2019 |
| 4 | Phooshgarh, Karnal | ULBD | 20 | 11.10.2019 | 31 | 7 | 9 | Completed upto 11.10.2019 |
| 5 | Transport Nagar, Karnal | ULBD | 50 | 26.10.2019 | 44 | 6 | 7 | Completed upto 26.10.2019 |
| 3. Drains falling out in Najafgarh Drain (i) Drain No. 8 |
| 1 | Garhi Bohar, Rohak | ULBD | 12 | 31.12.2019 |  | 2 | 7 | Completed upto 31.12.2019 |
| 2 | Singhpura, Rohtak | ULBD | 10 | 31.12.2019 |  | 3 | 6 | Completed upto 31.12.2019 |
| 3 | Peer Bodhi, Rohak | ULBD | 15 | 31.12.2019 |  | 3 | 6 | Completed upto 31.12.2019 |
| (ii) Leg-I |
| 1 | Sarai Alawardi | ULBD | 1 | 20.11. 2019 | 25 | 9 | 10 | Completed upto 20.11. 2019 |
| (iii) Leg-III (Badshahpur Drain) |
| 1 | Garoli Khurd | ULBD | 1 | 31.03.2020 |  |  |  | Site not available. Completed upto 31.03.2020 |
| 2 | Sihi (Gurugram) | ULBD | 1 | 31.03.2020 |  |  |  | Site not available. Completed upto 31.03.2020 |
| 3 | Garoli Kalan | ULBD | 1 | 20.11.2019 | 40 | 8 | 10 | completed upto 20.11.2019 |
| 4 | Ghata | ULBD | 2 | 31.03.2020 |  |  |  | Completed upto 31.03.2020 |
| 5 | Gwalpahadi | ULBD | 1 | 20.11.2019 | - | 8 | 10 | completed upto 20.11.2019 |
| 5. Gaunchi Drain |
| 1 | Firozepur Jhirka | PHED | 5 | 31.03.2020 | - | - | - | Completed by March 2020. |
| 2 | Kithwari, Palwal | ULBD | 10 | 2.11.2019 | - | 5 | 9 | Completed upto 2.11.2019 |
| 3 | Jodhpur Road, Palwal | ULBD | 15 | 2.11.2019 | - | 5 | 8 | Completed upto 2.11.2019 |
| 4 | Ferozpur, Palwal | ULBD | 2.5 | 2.11.2019 | - | 5 | 9 | Completed upto 2.11.2019 |

10.2 Action plan for STPs for the year 2019-20.

10.2.1 Action plan for existing/under upgradation STPs (2019-20)

The action plan for the existing/under upgradation STPs along river Yamuna is given in the table:-

Action plan for Existing/ under upgradation STPs (In cumulative Percentage for the year 2019-2020)

| Sr. No. | Name of town/city | Deptt. | Capacity (MLD) | Date of commissioning/ proposed date of completion | Apr, 19 | May, 19 | June, 19 | July, 19 | Aug, 19 | Sept, 19 | Oct, 19 | Nov, 19 | Dec, 19 | Jan, 20 | Feb, 20 | Mar, 20 | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Dhanaura Escape |
| 1 | Yamuna Nagar | PHED | 25 | March, 2001/ 31.05.2020 | 40 | 45 | 50 | 53 | 58 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | completed upto 31.05.2020 |
| 2 | Yamuna Nagar | PHED | 10 | March, 2000/ 30.06.2020 | 25 | 35 | 40 | 45 | 48 | 50 | 53 | 60 | 65 | 70 | 75 | 80 | completed upto 30.06.2020 |
| 2. Main Drain No. 2 |
| 1 | Asandh | PHED | 5 | 15.06.2014 / 31.10.2019 | 70 | 75 | 80 | 85 | 88 | 93 | 100 | - | - | - | - | - | completed upto 31.10.2019 |
| 2 | Nissing | PHED | 4 | 31.03.2016 /31.12.2019 | 45 | 50 | 60 | 65 | 70 | 75 | 85 | 95 | 100 | - | - | - | completed upto 31.12.2019 |

10.2.2 Action plan for under construction STPs (2019-20)

The action plan for the under construction STPs along river Yamuna is given in the table:-

Action plan for STPs under construction  (In cumulative Percentage for the year 2019-2020

| Sr. No. | Name of town/city | Deptt. | Capacity (MLD) | proposed date of completion | Apr, 19 | May, 19 | June, 19 | July, 19 | Aug, 19 | Sept, 19 | Oct, 19 | Nov, 19 | Dec, 19 | Jan, 20 | Feb, 20 | Mar, 20 | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Dhanaura Escape |
| 1 | Radaur Road Yamuna Nagar | PHED | 20 | 31.07.2019 | 80 | 90 | 95 | 100 | - | - | - | - | - | - | - | - | completed upto 31.07.2019 |
| 2 | Baddi Majra, Yamuna Nagar | PHED | 10 | 30.05.2019 | 90 | 100 | - | - | - | - | - | - | - | - | - | - | completed upto 30.05.2019 |
| 2. Main Drain No. 2 |
| 1 | Gharaunda | PHED | 7 | 31.05.2019 | 95 | 100 | - | - | - | - | - | - | - | - | - | - | Completed upto 31.05.2019. |
| 2 | Shiv Colony, Karnal | ULBD | 8 | 26.09.2019 | 12 | 10 | 10 | 7 | 7 | 6 |  |  |  |  |  |  | Completed upto 26.09.2019 |
| 3 | Phooshgarh, Karnal | ULBD | 20 | 11.10.2019 | 12 | 10 | 8 | 8 | 7 | 5 | 3 |  |  |  |  |  | Completed upto 11.10.2019 |
| 4 | Transport Nagar, Karnal | ULBD | 50 | 26.10.2019 | 7 | 8 | 6 | 6 | 6 | 6 | 6 |  |  |  |  |  | Completed upto 26.10.2019 |
| 3. Drains falling out in Najafgarh Drain (i) Drain No. 8 |  |  |  |  |  |  |  |  |  |
| 1 | Garhi Bohar, Rohak | ULBD | 12 | 31.12.2019 | 10 | 12 | 15 | 12 | 12 | 10 | 8 | 7 | 5 |  |  |  | Completed upto 31.12.2019 |
| 2 | Singhpura, Rohtak | ULBD | 10 | 31.12.2019 | 12 | 14 | 15 | 12 | 12 | 7 | 7 | 8 | 4 |  |  |  | Completed upto 31.12.2019 |
| 3 | Peer Bodhi, Rohak | ULBD | 15 | 31.12.2019 | 12 | 14 | 14 | 10 | 10 | 10 | 9 | 7 | 5 |  |  |  | Completed upto 31.12.2019 |
| (ii) Leg-I |  |  |  |  |  |  |  |  |  |
| 1 | Sarai Alawardi | ULBD | 1 | 20.11.2019 | 10 | 12 | 10 | 7 | 5 | 4 | 2 | 1 |  |  |  |  | Completed upto 20.11.2019 |
| (iii) Leg-III (Badshahpur Drain) |  |  |  |  |  |  |  |  |  |
| 1 | Garoli Khurd | ULBD | 1 | 31.03.2020 |  |  |  |  |  |  |  |  |  |  |  |  | Site not available. Completed upto 31.03.2020 |
| 2 | Sihi (Gurugram) | ULBD | 1 | 31.03.2020 |  |  |  |  |  |  |  |  |  |  |  |  | Site not available. Completed upto 31.03.2020 |
| 3 | Garoli Kalan | ULBD | 1 | 20.11.2019 | 9 | 8 | 6 | 5 | 5 | 5 | 2 | 2 |  |  |  |  | completed upto 20.11.2019 |
| 4 | Ghata | ULBD | 2 | 31.03.2020 |  |  |  |  |  |  |  |  |  |  |  |  | Completed upto 31.03.2020 |
| 5 | Gwalpahadi | ULBD | 1 | 20.11.2019 | 12 | 15 | 15 | 12 | 12 | 8 | 5 | 3 |  |  |  |  | completed upto 20.11.2019 |
| 4. Gaunchi Drain |
| 1 | Firozepur Jhirka | PHED | 5 | 31.03.2020 | - | - | - | - | - | - | - | - | - | - | - | - | Completed by March 2020. |
| 2 | Kithwari, Palwal | ULBD | 10 | 2.11.2019 | 12 | 14 | 15 | 12 | 12 | 12 | 9 |  |  |  |  |  | Completed upto 2.11.2019 |
| 3 | Jodhpur Road, Palwal | ULBD | 15 | 2.11.2019 | 12 | 15 | 15 | 12 | 12 | 12 | 9 |  |  |  |  |  | Completed upto 2.11.2019 |
| 4 | Ferozpur, Palwal | ULBD | 2.5 | 2.11.2019 | 12 | 14 | 15 | 12 | 12 | 12 | 9 |  |  |  |  |  | Completed upto 2.11.2019 |

10.3 Action plan for STPs for the year 2020-21.

10.3.1 Action plan for existing/under upgradation STPs (2020-21)

The action plan for the existing/under upgradation STPs along river Yamuna is given in the table:-

Action plan for existing / under upgradation STPs (In cumulative Percentage for the year 2020-21)

| Sr. No. | Name of town/city | Deptt. | Capacity (MLD) | Date of commissioning/ proposed date of completion | Apr., 20 | May, 20 | June, 20 | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Dhanaura Escape |
| 1 | Yamuna Nagar | PHED | 25 | March, 2001/ 31.05.2020 | 98 | 100 | - | completed upto 31.05.2020 |
| 2 | Yamuna Nagar | PHED | 10 | March, 2000/ 30.06.2020 | 85 | 95 | 100 | completed upto 30.06.2020 |

10.4	 Action plan for proposed STPs

The action plan for the proposed STPs along river Yamuna is given in the table:-

Action plan for proposed STPs

| Sr. No. | Name of town/city | Deptt. | Capacity (MLD) | proposed date of completion | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1. Drain No. 6 |
| 1 | Sonepat | HSVP | 15 | 31.12.2022 |  |
| 2. Drains falling out in Najafgarh Drain (i) Drain No. 8 |
| 1 | Rohtak | HSVP | 10 | 30.09.2023 |  |
| 2 | Gohana | HSVP | 3 | 31.10.2021 |  |
| (ii) KCB Drain |
| 1 | Jhajjar | HSVP | 5 | 31.10.2021 |  |
| (iii) Leg-II |
| 1 | Sector-107, Gurugram | HSVP | 175 | Land acquisition under process |  |
| (iv) Leg-III, Badshahpur Drain |
| 1 | Gurugram (Dhankot) | Panchayat | 0.5 | yet to be decided |  |
| 3. Budhiya Nallah |
| 1 | Faridabad | HSVP | 42.5 | 31.10.2023 |  |
| 2 | Faridabad | HSVP | 7.5 | 30.06.2022 |  |
| 4. Gaunchi Drain |
| 1 | Hathin | HSVP | 5 | 31.03.2022 |  |
| 2 | Palwal | HSVP | 10 | 30.06.2022 |  |

10.5	Monitoring of STPs / Compliance status

The STPs are being montiored on quarterly basis and the samples from STPs are collected. The results of the analysis report for effluent samples of the STPs have been compiled and placed as Annexure-7.

10.6	STP sludge

Presently the sludge generated in the STPs is used as manure.The HSPCB has issued directions for collection of sludge samples from STPs and the officers of the Board have started collecting the sludge samples from STPs. This exercise shall be completed for all STPs by 31.3.2019.

11.	Action Plan for CETPs

The action plan for each CETP is given in the table.

| Sr. No. | District | Town | Existing /Under Construction/ Proposed | Dept | Capacity (in MLD) | Date of Commissioning/ Proposed date of completion |
| --- | --- | --- | --- | --- | --- | --- |
| 1. Dhanaura Escape No CETP in this stretch |  |  |  |  |
| 2. Main Drain No. 2 |
| 1 | Panipat | Panipat | Existing | HSVP | 21 | October 2008 |
| 2 | Panipat | IE Panipat | Construction completed | HSIIDC | 2.5 | Shall be commissioned when discharge is available |
| 3 | Panipat | Panipat | Construction Completed | HSVP | 21 | Shall be commissioned after EC |
| 3. Drain No. 6 |
| 1 | Sonepat | IE Barhi, Sonepat | Existing | HSIIDC | 16 | 15.4.2017 |
| 2 | Sonepat | IE Rai, Sonepat | Existing | HSIIDC | 5 | 10.11.2008 |
| 3 | Sonepat | IE Kundli, Sonepat | Existing | HSIIDC | 4 | 19.3.2008 |
| 4 | Sonepat | IE Murthal, Sonepat | Existing | HSIIDC | 0.2 | 1.1.2003 |
| i.) Drain No. 8 |
| 1 | Rohtak | IMT Rohtak | Existing | HSIIDC | 10 | February 2017 |
| 2 | Rohtak | IE Kutana Rohtak | Existing | HSIIDC | 3 | October, 2018 |
| (ii) Mungeshpur Drain |
| 1 | Jhajjar | MIE Bahadurgarh | Proposed | HSIIDC | 5 | 30.06.2020 |
| (iii) KCB Drain |
| 2 | Jhajjar | IE Bahadurgarh | Under Construction | HSIIDC | 12.5 | Feb 2019 |
| (iv) Leg 3 ( Badshapur Drain) |
| 1 | Gurgaon | IMT Manesar Gurgaon HSIIDC | Existing | HSIIDC | 55 | April, 2004 and upgraded in Feb 2017 |
| 2 | Gurgaon | Sec-37, Gurgaon | Existing | Private Party | 0.2 | 2008 |
| 4. Budhiya Nallah No CETP in this stretch |
| 5.Gaunchi Drain |
| 1 | Faridabad | Faridabad Electroplaters Association,Sec-58,Faridabad | Existing | Private Party | 0.35 | 1.1.2004 |

11.1	Monitoring of CETPs / Compliance status

The CETPs are being montiored on quarterly basis and the samples from CETPs are collected. The results of the analysis report for effluent samples of the CETPs have been compiled and placed as Annexure-8.

12.	Online Monitoring Devices in Yamuna Catchment

The State of Haryana has already decided for installtion of Real Time Online Monitoring Devices on the STPs. The plan for installation of Online Monitoring Devices at STPs in given as under.

12.1	STPs (Online Monitoring Devices)

| Sr. No. | Name of the district | Name of the town/ city | Deptt. | Existing STP and Capacity (MLD) | Status of Online Devices |
| --- | --- | --- | --- | --- | --- |
| 1 | Yamuna Nagar | Yamuna Nagar | PHED | 25 | Installed & Connection with CPCB under process. |
| 2 | Yamuna Nagar | Yamuna Nagar | PHED | 10 | 31.03.2019 |
| 3 | Karnal | Ghogari Road, Karnal | ULBD | 10 | 28.02.2019 |
| 4 | Karnal | Gharaunda | PHED | 3 | 31.03.2019 |
| 5 | Karnal | Indri | PHED | 1.5 | 31.03.2019 |
| 6 | Karnal | Assandh | PHED | 5 | 31.03.2019 |
| 7 | Karnal | Nilokheri | PHED | 6 | 31.03.2019 |
| 8 | Karnal | Nissing | PHED | 4 | 31.03.2019 |
| 9 | Karnal | Tarori | PHED | 5.5 | 31.03.2019 |
| 10 | Panipat | Sewah, Panipat | PHED | 35 | Installed & Connection with CPCB under process. |
| 11 | Panipat | Jattal Road, Panipat | PHED | 10 | Installed & Connection with CPCB under process. |
| 12 | Panipat | Samalkha | PHED | 5 | 31.03.2019 |
| 13 | Panipat | Sewah, Panipat | PHED | 25 | Installed and has been Connected with CPCB & HSPCB |
| 14 | Panipat | Jattal Road, Panipat | PHED | 20 | Installed and has been Connected with CPCB & HSPCB |
| 15 | Sonepat | Rathdana Road, Sonepat | ULBD | 30 | 28.2.2019 |
| 16 | Sonepat | Kakroi Road, Sonepat | ULBD | 25 | 28.2.2019 |
| 17 | Sonepat | Kharkhoda | PHED | 4.5 | 31.03.2019 |
| 18 | Sonepat | Ganaur | PHED | 7 | 31.03.2019 |
| 19 | Sonepat | Gohana | PHED | 3 | 31.03.2019 |
| 20 | Sonepat | Gohana | PHED | 8.3 | 31.03.2019 |
| 21 | Jhajjar | Jhajjar | PHED | 5.5 | 31.03.2019 |
| 22 | Jhajjar | Jhajjar | PHED | 5 | 31.03.2019 |
| 23 | Jhajjar | Beri | PHED | 2 | 31.03.2019 |
| 24 | Rohtak | PGI Rohtak | PHED | 19.5 | 31.03.2019 |
| 25 | Rohtak | Kalanaur | PHED | 3.5 | 31.03.2019 |
| 26 | Rohtak | Meham | PHED | 5 | 31.03.2019 |
| 27 | Rohtak | Singhpura, Rohtak | PHED | 14 | 31.03.2019 |
| 28 | Rohtak | Sampla | PHED | 4 | 31.03.2019 |
| 29 | Gurgaon | Sohna | PHED | 6 | 31.03.2019 |
| 30 | Gurgaon | Pataudi | PHED | 4.5 | 31.03.2019 |
| 31 | Gurgaon | Farrukhnagar | PHED | 3 | 31.03.2019 |
| 32 | Mewat | Punhana | PHED | 4.5 | 31.03.2019 |
| 33 | Mewat | Nuh | PHED | 3.6 | 31.03.2019 |
| 34 | Faridabad | Munjheri, Ballabgarh | ULBD | 45 | 28.02.2019 |
| 35 | Palwal | Hassanpur | PHED | 3 | 31.03.2019 |
| 36 | Palwal | Hathin | PHED | 4.5 | 31.03.2019 |
| 37 | Palwal | Hodal | PHED | 9 | 31.03.2019 |
| 38 | Kurukshetra | Indri Road, Ladwa | PHED | 7 | 31.03.2019 |
|  | HSVP |  |  |  |  |
| 1 | Sonepat | Rajiv Gandhi Edu. City, Phase-I, Sonepat | HSVP | 7.5 | Installed but not functional as no discharge yet. |
| 2 | Panipat | Sector-13, Panipat | HSVP | 30 | 31.05.2019 |
| 3 | Jhajjar | Sec-36, Bahadurgarh | HSVP | 10 | 31.03.2019 |
| 4 | Rohtak | Sec-25, Rohtak | HSVP | 10 | 31.03.2019 |
|  | GMDA |  |  |  |  |
| 1 | Gurgaon | Dhanwapur, Gurgaon | GMDA | 68 | 28.2.2019 |
| 2 | Gurgaon | Dhanwapur, Gurgaon | GMDA | 100 | 28.2.2019 |
| 3 | Gurgaon | Behrampur | GMDA | 50 | 28.2.2019 |
| 4 | Gurgaon | Behrampur, Gurgaon | GMDA | 120 | 28.2.2019 |
|  | ULBD |  |  |  |  |
| 1 | Gurgaon | Gurgaon | MCG | 50 | March, 2019 |
| 2 | Faridabad | Badshahpur, Faridabad | ULB | 20 | 28.2.2019 |
| 3 | Faridabad | Badshahpur, Faridabad | ULB | 45 | 28.2.2019 |
| 4 | Karnal | Near Sector-4, Karnal | ULBD | 40 | 28.2.2019 |
| 5 | Karnal | Kaithal Road, Karnal | ULBD | 8 | 28.2.2019 |
| 6 | Faridabad | Partapgarh, Ballabgarh | ULBD | 50 | 28.02.2019 |

12.2	CETPs (Online Monitoring Devices)

| S No. | Name of the district | Name of the town/city | Deptt. | Existing CETP and Capacity (MLD) | Online data |
| --- | --- | --- | --- | --- | --- |
| 1 | Sonepat | IE Barhi, Sonepat | HSIIDC | 8 | To be installed by December, 2018 |
| 2 | Sonepat | IE Barhi, Sonepat | HSIIDC | 16 | Installed |
| 3 | Sonepat | IE Rai, Sonepat | HSIIDC | 5 | To be installed by December, 2018 |
| 4 | Sonepat | IE Kundli, Sonepat | HSIIDC | 4 | To be installed by December, 2018 |
| 5 | Sonepat | IE Murthal, Sonepat | HSIIDC | 0.2 | To be installed by December, 2018 |
| 6 | Gurgaon | IMT Manesar Gurgaon HSIIDC | HSIIDC | 55 | Installed |
| 7 | Faridabad | IMT Faridabad | HSIIDC | 10.5 | installed |
| 8 | Panchkula | IE Barwala, Panchkula | HSIIDC | 0.5 | To be installed by December, 2018 |
| 9 | Ambala | Ambala Cantt. | HSIIDC | 0.5 | To be installed by December, 2018 |
| 10 | Ambala | Saha | HSIIDC | 5 | installed |
| 11 | Jind | I. E. Jind | HSIIDC | 0.1 | To be installed by December, 2018 |
| 12 | Rohtak | IMT Rohtak | HSIIDC | 10 | Installed |
| 13 | Panipat | Panipat | HUDA | 21 | Installed |
| 14 | Gurgaon | Sec-37, Gurgaon | Private Party | 0.2 | March, 2019 |
| 15 | Faridabad | Faridabad Electroplaters Association,Sec-58,Faridabad | Private Party | 0.35 | March, 2019 |

12.3	Online Monitoring Devices by the industries in Yamuna Catchment:-

The HSPCB has been persuading the industries having discharge directly or indirectly into rivers. The HSPCB has also got developed its own Central Software for receiving the data from Online Monitoring Devices installed by the industries 170, industires have already installed Continous Online Effluent Monitoring Devices. In the initial phase only large and medium water polluting units have been directed to install the Real Time Online Monitoring Devices. The Action Plan regarding installation of Online Monitoring Devices by industries has been given in Annexure-9.

13.1	Plan for Integrated Solid Waste Management (ISWM) of 7 Clusters (Falling in 		Yamuna Catchment Area)

The ISWM projects for towns along river Yamuna are being implemented by ULBD. The action plan is given in the table.

| Sr. No | Name of Cluster & Cluster ULBs | Waste Generated (In TPD)/ Technology | Expected Release Date of Tender | Expected Completion Date of Project | Current Status/ Justification |
| --- | --- | --- | --- | --- | --- |
| 1 | Faridabad (Bhandwari Gurugram) For Gurgaon Faridabad | 1275 Waste to Energy | Concessionaire Selected | 24 months from the date of signing of agreement | The Project is awarded to M/s ECOGREEN ENERGY Pvt. Ltd. dated 14th August 2017. Leachate Treatment plant construction completed at Bhandwari Site. The construction of the plant will be started after obtaining the Environmental Clearance. EIA Report has been submitted to MoEF&CC for appraisal of the project. The Door to Door Collection and Transportation has commenced from 14 December 2017 Onwards. Power Purchase Agreement (PPA) signing is under approval stage from Haryana Electricity Regulatory Commission (HERC). |
| 2 | Sonepat (Murthal, Sonipat) For Gannaur Panipat Sonepat Samalkha | 450 Waste to Energy | Concessionaire Selected | 26.09.2019 | The Project is awarded to M/s Neel Metal Products Ltd. dated 26th September 2017. The Door to Door Collection and Transportation has been commenced. PPA signing on 21.09.2018. The construction of the plant will be started after obtaining the Environmental Clearance. EIA Report will be submitted soon to MoEF& CC for appraisal of the project. |
| 3 | Rohtak For Bahadurgarh Beri Gohana Jhajjar Julana Kalanaur Kharkhoda Meham Rohtak Sampla | 437 Waste to Energy | November, 2018 | 24 months from the date of signing of agreement | There is an existing Waste to Compost plant in Rohtak. The tender for Rohtak Cluster intimated solid management shall be invited soon and the existing plant will be upgraded to a 500 TPD waste to energy processing plant to cater the waste of all the cluster ULBD. Until ISWM project is awarded door to door collection segregation, pit composting and MRF facility will be developed in the ULBD for which time bound strategy is being formulated. |
| 4 | Karnal (Karnal) For Gharaunda Indri Karnal Nilokheri Nissing Pundri Taraori | 250 Waste to Compost + RDF | November, 2018 | No bids were received tenders will be floated again | The clusters will have separated processing facility and the RDF generated in karnal will be transported to Ambala Waste to Energy plant. There is an existing waste to composed plant in Karnal (150 TPD). The tender for Ambala ISWM shall be invited again and existing plant in Karnal will be modernized and upgraded to cater the waste of all the clusters ULBD and a new plant in Ambala will be setup. Until ISWM project is awarded, door to door collection, segregation, pit composting and MRF facilities will be developed in the ULBD for which time bound strategy is being formulated. |
| 5 | Yamunanagar (Yamuna nagar) For Yamunanagar Jagadari Ladwa Barara Radaur | 291 Waste to Compost+RDF | Nov. 2018 | 12 Months from the date of signing of agreement | The tender will be invited Soon, TFR under finalization. Processing and Scientific Disposal Site: New plant will come at the defunct municipal waste processing plant site in Yamuna Nagar. Total area of land is 14.2 Acres. Until ISWM project is awarded, door to door collection, segregation, pit composting and MRF facilities will be developed in the ULBD for which time bound strategy is being formulated. |
| 6 | Farukhnagar (Farukhnagar) For Farukhnagar Haily Mandi Nuh Pataudi Sohna Taoru | 72 Waste to Compost+RDF | December 2018 | 12 Months from the date of signing of agreement | The tender will be invited Soon, TFR under finalization. Until ISWM project is awarded, door to door collection, segregation, pit composting and MRF facilities will be developed in the ULBD for which time bound strategy is being formulated. |
| 7 | Punhana (Punhana) For F/Jhirkha Hathin Hodel Palwal Punhana | 136 Waste to Compost+RDF | Nov, 2018 | 12 Months from the date of signing of agreement | The tender will be invited Soon, TFR under finalization. Until ISWM project is awarded, door to door collection, segregation, pit composting and MRF facilities will be developed in the ULBD for which time bound strategy is being formulated. |

13.2	ISWM Plan for year 2019

Proposed Monthly Milestone for Development of Waste Processing Site Under ISWM Cluster Project

| Sr. | Cluster/ULB | Wsate Generated (In TPD)/Tecnology | Current status | Feb | March | April | May | June | July | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Gurugram ULB: Gurgaon Faridabad | 1275 waste to engery | Project Awarded, EC approval for MSW site at Bhandwari under process. | ToR Ammednment Presentation | Approval of ToR | Public Hearing | Submission of Final EIA Report | Final Presentation in MoEF&CC & Award of EC | Start of Project Construction activities. Boundary Wall, foundation, Sanitary Landfill, Leachate Treatment Plant, Compost Pad, Waste to Compost Plant Building, RDF Plant etc. (With subject to Environment Clearance) | 5% completion of civil works | 10% completion of civil works | 20% completion of civil works | 30% completion of civil works |
| 2 | Sonepat ULB: Sonepat Gannaur Panipat Smalkha | 450 waste to engery | Project Awarded, EC approval for MSW site at Murthal under process | Public Hearing Proceedings/ | Submission of Final EIA Report | Final Presentation in MoEF&CC | Award of EC | Start of Project Construction activities. Boundary Wall, foundation, Sanitary Landfill, Leachate Treatment Plant, Compost Pad, Waste to Compost Plant Building, RDF Plant etc. (With subject to Environment Clearance) | 5% completion of civil works | 10% completion of civil works | 20% completion of civil works | 30% completion of civil works | 40% completion of civil works |
| 3 | Ambala – Karnal ULB: Ambala Thanesar Shahabad Pehowa Cheeka Karnal Gharaunda Indri Nilokheri Nissing Pundri Tarori | 250 waste to compost + RDF | Tender documents have been prepared and will be floated in February 2019. EC approval under process. ToR application submitted. EDS reply on ToR to be submitted for approval. | Bid Process Management (Issue of tender) | Pre-Bid Meeting | Final Bid Submission | Technical Evaluation | Financial Evaluation | Issue of LOI | Signing of CA | Condition precedent: Handover of relevant documents & sites | Condition precedent: Financial Closure & Procurement of equipments/ vehicles etc. |
| 4 | Rohtak ULB: Rohtak Bahadurgarh Beri Gohana Jhajjar Julana Kalanaur Kharkhoda Meham Sampla | 437 waste to engery | Tender documents have been prepared and will be floated in February 2019. ToR application to be submitted for approval. | Bid Process Management (Issue of tender) | Pre-Bid Meeting | Final Bid Submission | Technical Evaluation | Financial Evaluation | Issue of LOI | Signing of CA | Condition precedent: Handover of relevant documents & sites | Condition precedent: Financial Closure & Procurement of equipments/ vehicles etc. |
| 5 | Punhana ULB: Punhana F/jhirkha Hatin Hodel Palwal | 136 waste to compost + RDF | Tender documents have been prepared and will be floated in February 2019. ToR application to be submitted for approval. | Bid Process Management (Issue of tender) | Pre-Bid Meeting | Final Bid Submission | Technical Evaluation | Financial Evaluation | Issue of LOI | Signing of CA | Condition precedent: Handover of relevant documents & sites | Condition precedent: Financial Closure & Procurement of equipments/ vehicles etc. |
| 6 | Yamunanagar ULB: Yamunanagar Jagardri Ladwa Barara Radaur | 291 waste to compost + RDF | Tender documents have been prepared and will be floated in June 2019. ToR application to be submitted for approval. | (Finalization and approval of Tender Documents) | Bid Process Management (Issue of tender) | Pre-Bid Meeting | Final Bid Submission | Technical Evaluation | Financial Evaluation | Issue of LOI | Signing of CA |
| 7 | Farukhnagar ULB: Faruknagar Haily Mandi Nuh Pataudi Sohna Taoru | 72 waste to compost + RDF | Tender documents have been prepared and will be floated in June 2019. ToR application to be submitted for approval. | (Finalization and approval of Tender Documents) | Bid Process Management (Issue of tender) | Pre-Bid Meeting | Final Bid Submission | Technical Evaluation | Financial Evaluation | Issue of LOI | Signing of CA |

13.3	ISWM Plan for year 2020

Proposed Monthly Milestone for Development of Waste Processing Site Under ISWM Cluster Project

| Sr. | Cluster | Jan | Feb | March | April | May | June | July | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Gurugram | 40% completion of civil works | 50% completion of civil works | 60% completion of civil works | 70% completion of civil works | 80% completion of civil works and completion of SLF | 90% completion ofcivil works | 95% completion of civil works | 100% completion of civil works and completion of installation of pre-processing unit , Start of Power plant installation | Commissioning of Pre-processing plant | 70% completion of Power Plant | 80% completion of Power Plant |
| 2 | Sonepat | 50% completion of civil works | 60% completion of civil works | 70% completion of civil works | 80% completion of civil works and completion of SLF | 90% completion ofcivil works | 95% completion of civil works | 100% completion of civil works and completion of installation of pre-processing unit , Start of Power plant installation | Commissioning of Pre-processing plant | 70% completion of Power Plant | 80% completion of Power Plant | 90% completion of Power Plant |
| 3 | Ambala - Karnal |  | Condition precedent: Start of Collection and Transportation activities along with Source Segregation activities. | Start of Project Construction activities. Boundary Wall, foundation, Sanitary Landfill, Leachate Treatment Plant, Compost Pad, Waste to Compost Plant Building, RDF Plant etc. (With subject to Environment Clearance) | 5% ompletion oof cicil works | 10% ompletion oof cicil works | 20% ompletion oof cicil works | 30% ompletion oof cicil works | 40% completion of civil works | 50% ompletion oof cicil works | 60% completion of civil works |
| 4 | Rohtak |  | Condition precedent: Start of Collection and Transportation activities along with Source Segregation activities. | Start of Project Construction activities. Boundary Wall, foundation, Sanitary Landfill, Leachate Treatment Plant, Compost Pad, Waste to Compost Plant Building, RDF Plant etc. (With subject to Environment Clearance) | 5% completion oof cicil works | 10% completion oof cicil works | 20% completion of civil works | 30% completion of civil works | 40% completion of civil works | 50% ompletion oof cicil works | 60% completion of civil works |
| 5 | Punhana |  | Condition precedent: Start of Collection and Transportation activities along with Source Segregation activities. | Start of Project Construction activities. Boundary Wall, foundation, Sanitary Landfill, Leachate Treatment Plant, Compost Pad, Waste to Compost Plant Building, RDF Plant etc. (with subject to environment clearance) | 10% completion of civil works | 20% completion of civil works | 30% completion ofcivil works | 40% completion of Civil Works | 50% completion of Civil Works | 70% completion of Civil Works | 90% completion of Civil Works and completion of SLF |
| 6 | Yamuna Nagar |  | Condition precedent: Handover of relevant documents & sites | Condition precedent: Financial Closure & Procurement of equipments/ vehicles etc. | Condition precedent: Start of Collection and Transportation activities along with Source Segregation activities. | Start of Project Construction activities. Boundary Wall, foundation, Sanitary Landfill, Leachate Treatment Plant, Compost Pad, Waste to Compost Plant Building, RDF Plant etc. (with subject to environment clearance) | 10% completion of civil works | 20% completion of civil works | 30% completion ofcivil works |
| 7 | Farukhnagar |  | Condition precedent: Handover of relevant documents & sites | Condition precedent: Financial Closure & Procurement of equipments/ vehicles etc. | Condition precedent: Start of Collection and Transportation activities along with Source Segregation activities. | Start of Project Construction activities. Boundary Wall, foundation, Sanitary Landfill, Leachate Treatment Plant, Compost Pad, Waste to Compost Plant Building, RDF Plant etc. (with subject to environment clearance) | 10% completion of civil works | 20% completion of civil works | 30% completion ofcivil works |

13.4	ISWM Plan for year 2021

Proposed Monthly Milestone for Development of Waste Processing Site Under ISWM Cluster Project

| Sr. No. | Cluster | Jan | Feb | Feb | March | April | May | June | July | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Gurugram | 90% completion of Power Plant | 100% completion of Power Plant by 20th Month | Trial Run and Commissiong of Power Plant |  |  |  |  |  |  |  |  |  |
| 2 | Sonepat | 100% completion of Power Plant by 20th Month | Trial Run and Commissiong of Power Plant |  |  |  |  |  |  |  |  |  |  |
| 3 | Ambala - Karnal | 70% completion of civil works | 80% completion of civil works and completion of SLF | 90% completion ofcivil works | 95% completion of civil works | 100% completion of civil works and completion of installation of pre-processing unit , Start of Power plant installation | Commissioning of Pre-processing plant | 60% completion of Power Plant | 70% completion of Power Plant | 80% completion of Power Plant | 90% completion of Power Plant | 100% completion of Power Plant by 20th Month | Trial Run and Commissiong of Power Plant |
| 4 | Rohtak | 70% completion of civil works | 80% completion of civil works and completion of SLF | 90% completion ofcivil works | 95% completion of civil works | 100% completion of civil works and completion of installation of pre-processing unit , Start of Power plant installation | Commissioning of Pre-processing plant | 60% completion of Power Plant | 70% completion of Power Plant | 80% completion of Power Plant | 90% completion of Power Plant | 100% completion of Power Plant by 20th Month | Trial Run and Commissiong of Power Plant |
| 5 | Punhana | 100% of completion of Civil Works and start of Installation of plant equipments | 100% completion of installation of plant equipments | Commissiong of the Waste to Compsot/RDF Plant | Commissiong of the Waste to Compsot/RDF Plant |  |  |  |  |  |  |
| 6 | Yamunanagar | 40% completion of Civil Works | 50% completion of Civil Works | 70% completion of Civil Works | 90% completion of Civil Works and completion of SLF | 100% of completion of Civil Works and start of Installation of plant equipments | 100% completion of installation of plant equipments | Commissiong of the Waste to Compsot/RDF Plant | Commissiong of the Waste to Compsot/RDF Plant |  |  |
| 7 | Farukhnagar | 40% completion of Civil Works | 50% completion of Civil Works | 70% completion of Civil Works | 90% completion of Civil Works and completion of SLF | 100% of completion of Civil Works and start of Installation of plant equipments | 100% completion of installation of plant equipments | Commissiong of the Waste to Compsot/RDF Plant | Commissiong of the Waste to Compsot/RDF Plant |  |  |

14.	Plan for e-waste management by HSPCB/ULBD.

Present Scenario

Rapid growth of technology, upgradation of technical innovations, and a high rate of obsolescence in the electronics industry have led to one of the fastest growing waste streams in the world which consist of end of life electrical and electronic equipment product such as : Refrigerator, Washing machines, Computers and Printers, Televisions, Mobiles, Ipods etc. many of which contain toxic materials.

The main sources of electronic waste in India are the government, public and private (Industrial) sectors approx. 70%. The contribution of individual house hold is 15% and rest being contributed by manufacturers.

There are 24 no. of authorized dismantlers/recyclers of E-waste with treatment capacity of 6773 MT/month in the State. Presently these E-waste dismantlers/recyclers are treating 495 MT/month of E-waste and have sufficient capacity to treat the E-waste manifolds than the E-waste received presently for treatment. The details of the authorised E-waste dismantlers and recylers alongwith their compliance status is attached at Annexure-10.

Action points to be implemented

| Sr. No. | Action points | Concerned Stakeholders | Present status | Action to be taken | Target time |
| --- | --- | --- | --- | --- | --- |
|  | Inspection of E- waste recycler/ dismantlers | HSPCB | The inspection of E-waste units are carried out by Regional officers at the time of grant of authorization and as mandatory inspections | Holistic inspection of E-waste recycler/ dismantlers vis-a-vis E-Waste Rules will be conducted. | 31.03.2019 |
|  | Inventorization of bulk consumers of e waste | HSPCB | RO have been asked to inventorise the Bulk waste of electrical/ electronic items | Inventory of Bulk waste of electrical/ electronic items to be created | 31.03.2019 |
|  | Study regarding E-waste generation in the State. | HSPCB | No such study carried out | A study will be given to any expert of the field to access the actual quantity of E-waste generated from the State. | 31.03.2019 |

15.	Plan for Plastic Waste Management.

Draft Policy and Plan for plastic waste management has been prepared by the ULBD and accordingly plastic waste shall be collected from un-organized sectors and from house hold/commercial sectors. The challans are issued to the violators.

Action plan has been prepared by ULB Department for Plastic Waste Management and target dates have been given for each towns are given as under:-

| Sr.No | Name of MC | Mechanism of Plastic Waste Management | Target Date |
| --- | --- | --- | --- |
|  | MC Rohtak | M/s Parwati Enterprises, Rohtak is the service provider agency at SWMP, Rohtak for operation and mtc. This firm has executed an agreement on 15.11.2017 with M/s Sakshi Enteriprises for segregation of garbbage being dumped at SWMP, Rohtak. The Second party after segregation has been authorised to take away the recyclable plastic waste items to be recycled by the second firm. |  |
|  | MC Gohana |  | 31.03.2019 |
|  | Asandh | For Plastic waste management 30 nos of rag pickers have been working to separate the plastic from garbage and selling the plastic for recycling process |  |
|  | Indri |  | 30.04.2019 |
|  | Kalanaur | 7 Rag pickers are working with MC Kalanaur for Plastic Waste Management |  |
|  | Radaur | 2 rag pickers are working with MC Radaur for Plastic Waste Management |  |
|  | Hodal | Tender in process |  |
|  | Samalkha |  | 25.09.2019 |

16.	Plan for Bio-Medical Waste Management.

There are 3412 number of Health Care Facilities (HCFs) in the State including 2410 number Bedded HCFs and 1061 number Non Bedded HCFs. In all Bedded HCFs of State total numbers of Beds are 48357. Total Bio Medical Waste (BMW) generated by all HCFs is 11662.91 Kg/day (i.e. 213.12 gram per bed per day). For the collection and disposal of this BMW, there are 11 no. of authorized Common Bio Medical Waste Treatment Facilities (CBWTDF). All the HCFs must have to do agreement with these CBWTDFs for disposal of their Bio Medical Waste. Total Incineration Capacity of these CBWTFs is 1650 Kg/hr. All the CBWTDFs have provided online continuous monitoring system on their incinerator for monitoring of their emission standards. All the CBWTF have already upgraded their incinerator to meet revised emissions standards as per MOEF Notification 2016. All the CBWTFs have provided GPS on transportation vehicle used for collection of BMW from HCFs to track the movement of vehicles from HCF to CBWTDF facility.

A State Level Advisory Committee has been constituted by Govt. of Haryana regarding Bio Medical Waste Management Rules, 2016 vide order dated 25.4.2018. 1st Meeting of State level Advisory Committee was held on 16.8.2018 under the Chairmanship of ACS, Health Department, Haryana to review the compliance of conditions of BMW Rules, 2016.

All the CBWTFs are inspected on quarterly basis by the concerned Regional Officer. Health care facilities are also inspected by Regional officers at the time of grant of authorization and as mandatory inspections. The status of inspections is enclosed as Annexure-11.

Proposed Action Points

| Sr. No. | Action Point | Concerned Stakeholders | Present Status | Action to be taken | Time Target |
| --- | --- | --- | --- | --- | --- |
| 1. | Implementation of the Barcode system | CBWTDFs and HCFs | The CBWTDFs are doing agreement with service providers for Bar coding. | Establish a Bar- Code System for bags or containers containing bio-medical waste to be sent out of the premises by HCFs and CBWTDFs | 27.3.2019 |
| 2. | Gap analysis study of of CBWTDFs | HSPCB, CBWTDFs | Sanction has been accorded to PGIMER, Chandigarh for study. | Gap analysis study with respect to coverage area of BMW generation and projection over a period of next ten years | 31.08.2019 |
| 3. | Quarterly inspection of CBWTF | HSPCB, CBWTDFs | Quarterly inspection of CBWTF has already conducted by concerned Regional Officer. 01 no. CBWTF was found non- complying. The status of these CBWTFs is attached as Annexure-11. | Show cause notice issued to M/s Maruti Bio Medical Waste Plant, Vill. Hetampura, Bhiwani for non-compliance on 28.12.2018. Unit removed deficiencies and submitted reply of SCN which will be verified shortly. | 31.01.2019 |
| 4 | up- gradation of incinerators as per BMW Rules, 2016. | HSPCB | All the CBWTFs have already upgraded their incinerators | The inspection regarding verification of up- gradation of incinerators at the site of CBWTDFs will be carried out. | 31.03.2019 |
| 5. | All the HCFs like Veterinary Hospitals as per definition of BMW Rules, 2016 will be covered under the ambient of the Rules | HSPCB, HCFs | Regional officers are doing inspections and also asked to Animal Husbandary department to provide the list of veterinary hospitals. One No. Of Veterinary hospital i.e. Veterinary Poly Clinic, Near S.P residence, Hansi Road, Bhiwani inspected on 23.10.2018 and found non complying BMW Rules 2016. | A SCN has already been issued to the said unit. | 31.03.2019 |
| 6. | GPS on transporting vehicles of CBWTFs | HSPCB, CBWTFs | GPS already installed by CBWTF on transporting vehicles | To be connected with HSPCB server | 31.03.2019 |

17. Hazardous Waste Management in Haryana

The inventory of hazardous waste generating industries and hazardous waste generated has been prepared out by the Haryana State Pollution Control Board in the State. Currently, there are around 3941 industries generating hazardous waste of the order of approximately 58829.43 42 Tonnes per annum. All these industries have been given authorization under HOWM Rules, 2016 for generation of 64896.63 tonnes total wastes per annum.

The inventory has also brought out detailed information on quantum of waste in terms of recyclable, reusable, landfillable and incinerable components.

As per the Hazardous Waste Rules, industries have to store hazardous waste properly, and in accordance with authorization issued by HSPCB. The Hazardous Waste either has to be disposed in captive or common Treatment, Storage and Disposal Facility (TSDF) available in the State, or incinerated in a captive incinerator of its own, or in the common TSDF having incineration facility, based on type of waste.

At present, there are 35 recyclers of non-ferrous metal wastes/used oil/ waste oil registered/authorized under the Hazardous Waste Management Rules. The capacity registered/authorized for re-refining/ recycling of used oil & waste oil is 127882.5 MTA; that for non-ferrous metal wastes other than lead is 229022 Tonnes per annum and for lead based waste is 207822 Tonnes per annum. Registrations/Authorization have been granted to 117 no. of recycling units based on their processing facilities for environmentally sound re-processing technologies.

Safe disposal of hazardous waste

A Common Hazardous Waste Treatment & Disposal Facility has been developed at Pali (Faridabad) by Haryana Environment Management Society with the assistance of State Govt. and HSPCB, which is being operated by M/s Gujarat Enviro Protection and Infrastructure (Haryana) Pvt. Ltd. Waste processing capacity of the facility is 25000 MTs/per annum including incineration having incinerator of capacity 12 to 14 tons per day with the estimated life of 30 years of the landfill site. The above common facility has been equipped with laboratory facilities to verify waste characteristics so as to decide upon treatment and disposal options including secured land filling or incineration. The facility has also developed the preprocessing arrangements for the incinerable wastes which is further sent for co-processing in the cement kilns. The facility has its own effluent treatment plant based on zero liquid discharge and also air pollution control measures installed on the incinerator with online monitoring devices.

The industries of the State are sending their Hazardous Waste other then recycling waste, to the facility under agreement with the operator of the facility, for disposal of the same in the secured land fill or for the incineration purpose.

The collection and transportation of the Hazardous Waste is done by the operator of the facility itself to bring the same to the facility for its treatment and safe disposal in environmentally sound manner. The vehicle used for transportation of Hazardous Waste is equipped with GPS system for online tracking of the same.

Proposed Action Plan Hazardous Waste Management in the State

| Sr. No. | Action Point | Concerned Stake Holders | Present status | Proposed action | Time target |
| --- | --- | --- | --- | --- | --- |
|  | Awareness Programmes | HSPCB/ Operator of CTSDF/ HEMS/Industrial Associations | The awareness activities including workshops are being organized by the Board from time to time. | Quarterly meetings with all industrial associations at District level to sensitize the industries about the Rules including waste minimization technologies and disposal facility. | Ongoing activity to be started from 01.02.2019. |
|  | Inspection of CTSDF | HSPCB | Quarterly inspections being done. | Regular inspection will be done to ensure the compliance of environmental safe guards and standards and alongwith CPCB guidelines followed by strict action in case of default. | Quarterly (as per inspection dated 10.12.2018 CTSDF found complying) |
|  | Inspection of recycling facilities | HSPCB | Inspection carried out at the time of authorization or in case of any complaint. | Six monthly inspections to be done to ensure the compliance of environmental safe guards and standards and alongwith CPCB guidelines followed by strict action in case of default. | Six month |
|  | Online tracking of Hazardous Waste | HSPCB/ Operator of CTSDF/ Recyclers of Hazardous Waste | GPS system has been provided on transporting vehicles of operator of CTSDF but not connected with server of the Board. GPS system not provided on transporting vehicles of recyclers/co-processors of Hazardous Waste. | Online tracking system is under development. Online tracking system is under proposal. | 28.02.2019 30.06.2019 |
|  | Manifest system for movement of Hazardous Waste | HSPCB/ Operator of CTSDF/ Industries | Manifest system is not being followed holistically by the units. | Manifest system will be made compulsory by all units generating or transporting of Hazardous Waste. | 31.03.2019 |
|  | Strengthening of Infrastructure and manpower. | HSPCB/ Government | Proposal is pending with Government for approval of manpower. Creation of testing facilities in the Laboratories is under proposal. | Persuasion with the Government for sanction of the posts. Creating testing facilities in the Laboratories of the Board for Hazardous Waste. | 31.03.2019 31.08.2019 |

18.	 Agriculture Practices

18.1	Crop Diversification/Inter Cropping

Diversification in Agriculture refers to the shift from the regional dominance of one crop to regional production of a number of crop, to meet ever increasing demand of cereals, pulses, vegetables, fruits, oil seeds, fibers, and grasses. It aims to improve soil health and dynamic equilibrium of the agro- ecosystem. Crop diversification is intended to promote ethnological innovation with sustainable agriculture and enable farmers to choose crop alternatives for increasing productivity and income. The over exploitation of ground water in the original green revolution States has occurred due to three number of reasons:

- A continuous cultivation of water guzzling crop in rice wheat cropping system.

- Ground water withdrawal has outpaced its recharge that take place from annual precipitation.

- The method of irrigation in the rice and wheat crop result in excess watering and wastage of water.

In addition to above, micro irrigation system namely, Sprinkler and Drip irrigation couldn’t find farmers’ acceptance in the original green revolution States to the required extent.

The scope of Crop Diversification Program (CDP) is determined on the basis of total area under rice and sugarcane exceeding 50,000 hect. in a district. In our State, 10 number of districts (Paddy- Wheat  Rotation System) have been indentified under CDP keeping in view the above said  criteria. The program of crop diversification envisions the following long term goal:-

a) 	Reduction of the area water guzzling crops.

b)	Induction of technological innovation for establishing alternate crops for sustainable agriculture.

c) 	Resource conservation, restoration of water table, reduction in soil fatigue and pollution levels besides sustaining enhanced farm income.

There are four number of activates covered under Crop Diversification Program (CDP) as followings:-

i)	Cluster demonstration of alternate crop: Cluster Demonstration of Maize, Pluses, Pigeon Pea (Arhar), Urd, Cotton, Agro Forestry System as a sole crop and inter cropping with Agro forestry system displayed on farmers field by providing financial assistance.

ii)	Farm mechanization and value addition: Different farm implements like maize planter, multi crop planter, spray pumps, raised bed planter, zero till seed cum fertilizer drip and lazer land leveler are distributed among the farmers on subsidized rates.

iii)	Site specific activities: Underground Pipelines and Distribution of Dhaincha seed are promote for water saving as well as improving of soil health by providing financial assistance to the farmers.

iv)	Contingency for awareness, tanning, implementation and monitoring etc: Awareness activities like Kisan Melas, Kisan Goshthies are conducted for disseminating information for the promotion of different activities along with monitoring and evaluation of the scheme.

The Crop Diversification Program (CDP) is a sub scheme of Rashtriya krishi Vikas Yojana (RKVY) and was started from 2013-14 with 100% assistance by Govt. of India. The funding pattern has been changed from 100% to 60:40 (Centre: State) w.e.f. 2015-16. The 10 districts (Ambala, Yamuna Nagar, Kurukshetra, Kaithal, Karnal, Panipat, Sonepat, Jind, Faridabad and Sirsa) are covered under CDP (RKVY) in the State. The State is also promoting crop diversification in the districts other than the CDP (RKVY) by implementing a state scheme viz “Scheme for Promotion of Crop Diversification in Haryana”.

There is regular decline of 1.0 Meter water table per year in the Paddy growing areas because to produce 1 Kg of Rice about 3000 Litre of water is required. As we are cultivating Paddy in 13 lac hectare, so it is our prime objective to replace Paddy with some less water consuming crops such as Maize. We are regularly promoting Crop Diversification as an alternate crop of Rice since 2013-14 and able to cultivate Maize as an alternate crop of Rice is about 13000 hectare. Last year we have grown Maize in more than 18000 hectare by replacing Paddy. The Department is regularly planning to diversify a sizable area of Paddy by propagation of Maize. The productivity of Maize is very high and the left over portion in the form of straw may be utilized in preparation of silage as one of the nutritive stuff for the animals. If proper procurement system of Maize could be introduced, there is no doubt that we can replace paddy by maize upto 40% of the total paddy grown area, Following are the year wise/scheme wise expenditure incurred by the department is as under:-

Crop Diversification Programme

| Sr. No. | Year | CDP(RKVY) | CDP(State Plan) |
| --- | --- | --- | --- |
|  |  | Budget Released | Expenditure | Budget Released | Expenditure |
| 1 | 2013-2014 | 49.25 | 49.25 | 5.15 | 4.99 |
| 2 | 2014-2015 | 58.10 | 58.01 | 8.00 | 5.13 |
| 3 | 2015-2016 | 82.91 | 55.11 | 4.00 | 3.86 |
| 4 | 2016-2017 | 28.28 | 25.70 | 4.00 | 3.47 |
| 5 | 2017-2018 | 12.58 | 12.57 | 6.59 | 6.59 |
| 6 | 2018-2019 | 5.02 | 2.51(Tentative) | 20.00 | 20.00 |

Note:-

The Department has also planned through a project “Climate Resilience Building in Rural Areas through Crop Residue Management-Sanction under NAFCC for Haryana State” for promotion of Maize Crop by distributing the recommended Maize variety seed of high productivity free of cost subject to a maximum cost of Rs. 5000/- per hectare )2 hectare maximum per farmer) as Crop Diversification in 10 districts (Ambala, Yamuna Nagar, Kurukshetra, Kaithal, Karnal, Panipat, Sonepat, Jind, Faridabad and Sirsa) for replacement of paddy which also leads to significant water conservation in view of the depleting ground water level. Following are the year wise/scheme wise expenditure incurred by the department is as under:-

Climate Resilience Building in Rural Areas through Crop Residue Management

| Sr. No. | Year | Total Cost/Fund Released by NABARD | Expenditure |
| --- | --- | --- | --- |
| 1. | 2018-2019 | 7.56 | 5.99 |

18.2 	Water Efficient Agriculture Practices

The major demand for river water is for Irrigation purposes and accordingly the State of Haryana has taken initiatives for water efficient farming practices which are given in succeeding paras and these are expected to reduce the pressure on river water.

(A)	Pilot Project for installation of solar/grid powered micro irrigation	infrastructure on sewage treatment plants for utilizing treated water for 	Irrigation.

With a view of augmenting water of assured supply to the every field, a new intervention has been proposed for the reuse of treated waste water from the existing Sewage Treatment Plants for the use of water in the best alternative which will help in enhancing the irrigation. Working on these lines this pilot project has been prepared on over exploited & critical blocks by selecting STPs of Ladwa, Shahabad and Pehowa towns for irrigation. The farmers of the area are to be benefited from this water have already formed Water User Associations and also given an undertaking to the effect that their area, to be covered under this project, is not covered by any canal command and they are willing to adopt this technology. The common Micro Irrigation Infrastructure will be provided for each STP outlet for supplying pressurized water supply at farm gate by providing pumping unit (grid/solar powered), filtration, HDPE pipe network etc. the water will be provided under pressure of 2-2.5 Kg/cm2 So that farmers may utilize this for sprinkler and drip system. Farmers will be provided hydrant for every 4 acres or less if the holding of the farmers is less than four acres. In this manner the treated water, which was otherwise going unutilized in drain, will be put to proper use. It is also reported that sewage water from all these STPs is being properly monitored and tested by Public Health Engineering Department and parameters of this treated water meet with the standards for irrigation.

ADVANTAGES OF THE PROJECTS

1.	New area will be brought under irrigation with optimum 				utilization of the available surplus water.

2.	The project will encourage use of Micro Irrigation technologies.

3.	Saving of power & diesel for farmers.

4.	Increase in yield as nutrient rich water will be supplied.

5.	The water, which was otherwise going waste, will be put to 			proper use.

6.	No land acquisition will be involved.

Accordingly, a project has been prepared for using the treated water in Irrigation in district Kuruksheta. A common infrastructure has been provided with the following components in the command are of each outlet to be covered under Model Command Area of Jal Kranti Abhiyan:-

1.	Water storage tank near outlet head.

2.	Pumping Unit (Grid/Solar Powered).

3.	Filtration units.

4.	HDPE pipe network.

5.	Hydrant/Outlet assembly.

6.	Valves

Drip/Sprinkler irrigation sets will be provided 2 no./per 15 HP pump and individual farmers can also install the drip/sprinkler sets in their farm holdings by availing the benefits of subsidy from the State Horticulture/Agriculture Departments as per their existing schemes of promoting the Drip/Micro Sprinkler Systems.

The cost of common infrastructure has been worked out as Rs. 109000/- (Approx.) per hectare of CCA and the total estimated cost of the project is Rs. 3.65 Crore. Detail list of site wise schemes taken up is as under:-

| Sr. No. | Name of District | Name of Block | CCA in Hectare | Cost {CCA (hct.) X 1.09 lakh} |
| --- | --- | --- | --- | --- |
| 1. | Kurukshetra | Pehowa | 76 | 8676084 |
| 2. | Kurukshetra | Ladwa | 63 | 7192017 |
| 3. | Kurukshetra | Shahabad | 151 | 17238009 |
|  |  | Total | 290 | 33106110 |

=33106110

Add 1% Contingency Chares		=    165531

Add 15% Tender Premium		=  3310611

=36582252

SALIENT FEATURES

- Total Cost of Project				Rs. 3.65 Crore

- CCA to be covered in Acre/Ha.			715/290

- No. of Sprinkler sets				01 No./ 15 HP pump

- Benefit Cost Ratio 					1.3:1

- Total number of schemes				3

- Number of Districts/Villages covered		1/5

- Name of villages: Pehowa- (Pehowa, Morthli, Bhatt Majra), Ladwa- (Baraichpur) & Shahabad-(Chhapra).

(B)	Project of Recycle and Ruse of Treated Wastewater for Irrigation Purpose in 	Fatehabad, Hisar, Sirsa & Jind Districts of Haryana.

Project was prepared under the guidelines of the scheme for "Ïncentivization Scheme for Bridging Irrigation Gap (ISBIG) of Ministry of water Resources, River Development and Ganga Rejuvenation, govt. of India" under components infrastructure for conveyance and additional treatment of municipal and industrial wastewater for augmenting water for the farm use "Project Under newly created Irrigation Efficiency in phasing during the financial year 2018-19 to 2020-2021 for amounting in Rs. 235.94 Crore only.

This office planned to carry out the work of Recycle and Reuse of Treated Wastewater of Irrigation Purposes from the STPs of Fatehabad, Sirsa, Hisar and Jind districts having the capacity 29.50, 15.00, 22.50 & 20.00 MLD respectively amounting to Rs. 87.00 Crore in 1st phase as planned for the year 2018-19. The estimate for this project will be prepared on the basis of already approved item rates of CADA for re-use of wastewater which are the part of the estimate and remaining item rates will be prepared on the basis of HSR and market rates. Thereafter, e-tender will be called on EPC basis towards successful commissioning plus 1 year of assured performance demonstration after commissioning and comprehensive O & M of the schemes for 3 years thereafter. A new concept A.P.O.P treatment technology for Advanced Photo Oxidation Processes at STPs be adopted an intervention for disinfection, removal of endocrine disruptors and other hazardous compounds. This intervention is essentially required because all the composition of the waste water has been addressed effectively and efficiently by the MBBR & SBR treatment technologies except toxic chemical and pathogens. A high concentration of pathogens such as viruses, becteria, helminthes eggs and fecal coliforms have the potential to cause diseases if present in a human host insufficient quantity.

District wise list of STPs provided in the project

| Sr. No. | Name of District | Name of STO | Capacity of STP (In MLD) | Treatment Technology |
| --- | --- | --- | --- | --- |
| 1. | Ambala | Barara | 6.00 | MBBR |
| 2. | Ambala | Narayangarh | 5.00 | MBBR |
| 3. | Bhiwani | Badra | 10.00 | MBBR |
| 4. | Bhiwani | Kairu | 10.00 | MBBR |
| 5. | Charkhi Dadri | Charkhi Dadri | 5.00 | MBBR |
| 6. | Faridabad | Balhabgarh | 18.00 | MBBR |
| 7. | Gurugram | Behrampur | 50.00 | MBBR |
| 8. | Hisar | Hansi | 12.50 | MBBR |
| 9. | Hisar | Hisar, Sector 3 | 10.00 | MBBR |
| 10. | Jhajjar | Jhajjar | 5.50 | MBBR |
| 11. | Jhajjar | Salhwas | 5.00 | MBBR |
| 12. | Jind | Jind | 15.00 | MBBR |
| 13. | Jind | Narwana | 5.00 | MBBR |
| 14. | Rewari | Rewari | 6.50 | MBBR |
| 15. | Rewari | Rewari | 8.00 | MBBR with Dual Mode Filter |
| 16. | Kaithal | Gulha | 10.00 | SBR |
| 17. | Kaithal | Kaithal | 10.00 | SBR |
| 18. | Fatehabad | Fatehabad | 10.00 | MBBR |
| 19. | Fathehabad | Tohana | 10.00 | MBBR |
| 20. | Fatehabad | Jakhal | 3.00 | SBR |
| 21. | Fatehabad | Ratia | 6.50 | MBBR |
| 22. | Karnal | Karnal | 10.00 | SBR |
| 23. | Karnal | Karnal | 8.00 | MBBR |
| 24. | Mahendergarh | Nangal Chaudhary | 6.50 | MBBR |
| 25. | Mahendergarh | Narnaul | 7.50 | MBBR |
| 26. | Mewat | Punhana | 4.50 | MBBR |
| 27. | Mewat | Nuh | 3.60 | MBBR |
| 28. | Panipat | Panipat | 25.00 | SBR |
| 29. | Palwal | Hathin | 4.50 | MBBR |
| 30. | Panchkula | Kalka | 4.75 | MBBR |
| 31. | Panchkula | Pinjor | 5.00 | MBBR |
| 32. | Rohtak | Rohtak | 10.00 | MBBR |
| 33. | Sirsa | Sirsa | 15.00 | SBR |
| 34. | Sonipat | Sector 23 | 10.00 | MBBR |
| 35. | Ghaggar Nagar | Radaur | 3.50 | MBBR |
|  | Total |  | 338.85 |  |

(C)	Installatin of Community Based Solar/Grid Powered Mirco Irrigaton 	nfrastructure In Existing Canal Commands

The Pilot Project has been prepared by CADA for Rs. 30.60 Crore with provision for installation of community based MI schemes in commands of the 14 different canal outlets spread over 13 different district of the State covering area 2231 Hectare. The concept of community based micro-irrigation has been introduced in the first instance on pilot basis on some of the canal outlets in the command of the ongoing CADWM Projects. Common Micro Irrigation infrastructure will be provided for each canal outlet command for supplying pressurised water supply at the farm fate of each farmer of the outlet chak instead of constructing lines filed channels. Community based water storage tank, pumping unit (Grid/solar powered), filtration unit, HDPE pipe network, hydrant/outlet assemblies, valves, etc. shall be will be constructed by the department. Drip/Sprinkler irrigation sets will be installed by the individual farmers in their farm holdings by availing the benefits of subsidy from the State Horticulture/Agriculture Departments as per their existing schemes of promoting the Drip/Sprinkler Systems.

Water User Associations (WUA have been framed for all the water courses. The WUAs have committed to provide land for construction of community pond for storing water from outlet and supplying further to individual farmers. Further the management of the water at outlet will be completely done by the shareholders. The WUAs will help in creating healthy and cordial atmosphere between the shareholders themselves. Moreover, this will also help in developing a sense of ownership amongst the shareholders and also facilitate implementation of warabandi. A better co-ordination will emerge between the end users and the CADA department for planning, execution and monitoring of the pilot project thereby initiating proper transfer of management to farmers.

The Solar Power Systems to be installed on the various schemes under the project are proposed to be connected with the utility power grid so that the energy generated by the solar modules, whenever not required for operation of the pumping system or is in excess of requirement, can be sent to the Utility Grid and when the solar power system in producing lesser power than needed for operation of the pumping system or is not producing any power at all, additional power for operation of the pumping system can be drawn from the Grid. The provision has also been made for interconnection of the solar power systems with the utility power grid through 11 KV independent feeder lines from the nearest Sub Stations for each scheme with provision of import/export (BI-directional) meter. The excess energy produced from the solar power systems and transferred to the utility power grid will be credited on the rate mutually agreed between the Department/WUA and DISCOM as per Government Policy against the power supplied from the utility grid.

The project will help in making an assessment of the workability of the proposed model in the State and evaluating its actual impact and benefits. The project will demonstrate to the farmers of the State the value of water and help in changing their mindset and motivating them to adopt the water efficient MI technology in canal commands on a large scale.

The main objectives of the project are to improve water use efficiency and increase crop productively. The water use efficiency will be achieved by adopting integrated approach in water management:-

- Supply management - By increasing the available supply by reduction in conveyance losses.

- Demand Management - By increasing the field application efficiency with the use of water efficient Sprinkler & Drip Irrigation technology.

Detail list of sites:-

| Sr. No. | Name of District | Name of villages | Name of outlet | Outlet RD | CCA in acre | CCA in Hectare |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Kurukshetra | Gumthala Garhu | Sandhola Minor | 25220/L | 147 | 59 |
| 2 | Kaithal | Kakrala Anayat, Kakeor Majra | Paharpur Minor | 44600/R | 417 | 169 |
| 3 | Sirsa | Shahpuria | Gegorani Minor | 45800/R | 705 | 285 |
| 4 | Hisar | Masudpur | Singhwa Disty | 25300/L | 392 | 159 |
| 5 | Ambala | Mallour | Mallour Disty | 5775-R | 138 | 56 |
| 6 | Jind | Behbalpur | Ramkali Minor | 53620-L | 98 | 40 |
|  |  |  |  | Total |  |  |

19.	Increasing the Water Storage Capacity

The construction of ponds/dams/reservoir along the rivers has been explored and the action taken so far in this regard has been given by the Irrigation Department with future course of action. This will help maintaining water table. The same has been given in the Table 1. The State Government has also linked the village ponds with nearby existing channels for revival of ponds. The number of ponds for each circle have been given in the Table-2:-

Table .1

| Sr. No. | Particulars | Adibadri Dam | Darpur Dam | Nagli Dam | Chikan Dam | Kansli Dam on Kansll Khol | Khilanwala Dam on Khllanwal Khol | Ambawali Dam on Ambawali Khol | Lohgarh Dam on Lohgarhki Khol | Dhanaura Dam |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Name of river/nallah | Somb Nadi-trivutary of river Yamuna | Palasi Khol-tributary of Pathrala Nadi | Nagli ki Khol- tributary of Pathrala Nadi | Chikan Khol- tributary of Pathrala Nadi | Trivutary of Pathrala Nadi | Tributary of Pathrala Nadi | Tributary of Pathrala Nadi | Trivutary of Somb-Pathrala Nadi | Somb Nadi |
| 2 | Gross storage capacity | 2604.9 acre feet | 1414.84 acre feet | 2557.69 acre feet | 1405.22 acre feet | 1220.71 acre feet | 2715.10 acre feet | 3212.17 acre feet | 2819.82 acre feet |  |
| 3 | Total land required | 96 acres | 83.5 acres | 84.0 acres | 76.5 acres | 57.5 acres | 141.0 acres | 139.0 acres | 139.0 acres |  |
| 4 | No. of villages benefitted | 05 No. districts | 7 Nos. | 12 Nos. | 6 Nos. | 5 Nos. | 9 Nos. | 6 Nos. | 20 Nos. |  |
| 5 | Command area | Main proposal is for revival of Holy Sarasvati River and recharge of Ground water | 1500 acres CCA | 4000 acres CCA | 1750 acres CCA | 1467 acres CCA | 3200 acres CCA | 2660 acres CCA | 6708 acres CCA |  |
| 6 | Village Benefitted | 1) Yamuna Nager 2) Kurukshetar 3)Kaithal 4)Jind 5)Fatehabad. | 1) Darpur 2) Jatanwal 3) Siplanwala 4) Chuharpur 5)Shahabuddinpur Kalan 6)Shahabuddinpur Khurd 7) Muqaribpur | 1) Nagli 2) Sanderpur 3) Ganrabani 4) Rajpur 5) Rampur Jat 6) Chabutaran 7) Pirthlpur 8) Tarpur 9) Bir-Tarpur 10) Haidarpur 11) jaitpur 12) Mehran | 1) Chikan 2) Kalsia 3) Shazadwala 4) Daulatpur 5) Dhakwal 6) Tibbi | 1) Kansli 2) Banlawala 3) Khilanwala 4) Meghowala 5) Nhangera | 1) Bagpat 2) Bhangeri 3) Bhangera 4) Musafat Khurad 5) Bari Musafat 6) Bakarwala 7) Muhabatwala 8) Lahasabad 9) Hafizpur | 1) Ambawali 2) Chandpur 3) Nagal 4) Tibrian 5) Khizri 6) Khizrabad | 1. Bahadurpur 2. Gandwan 3. alisherpur Majra 4. Ramgarh 5. Chholi 6. Katarwall 7. Jogiwara 8. Manakpur 9. Nari Lalhari 10. Chhoti Lalhari 11. Bankat 12. Chantpur 13. Manipur 14. Khanuwala 15. Tugalpur 16. Barauli Majra 17. Arjan Majra 18. Kot Basawar Singh 19. Kothmustarka 20. Ghisarpari |  |
| 7 | Jurisdiction of reservoir land | Himachal Pradesh | Haryana | Haryana | Haryana | Haryana | Haryana | Haryana | Himachal Pradesh | Himachal Pradesh |
| 8 | Environment clearance | Required | Not required | Not required | Not required | Not required | Not required | Not required | Required | --- |
| 9 | Total Cost | Rs. 108.70 Crores | Rs. 18.37 Crores | Rs. 24.92 crores | Rs. 19.56 crores | Rs. 15.15 crores | Rs. 19.65 crores | Rs. 29.70 crores | Rs. 63.40 crores |  |
| 10 | Benefit Cost Ratio | NA | 0.74:1 | 1.06:1 | 0.94:1 | 1.01:1 | 1.42:1 | 1.29:1 | 0.93:1 |  |
| 11 | Status of Projects | DPR is in process and likely to be completed upto 31.12.2018. Tenders for environment impact assessment have been approved and work is under process | Feasibility report approved by Govt. and Interstate clearance has been received from UYRB. Case submitted to Forest Dept for Forest & Wildlife clearance. | Feasibility report approved by Govt. and Interstate clearance has been received from UYRB. Case submitted to Forest Dept. for Forest & Wildlife clearance | Feasibility report approved by Govt. and interstate clearance has been received from UYRB. Case submitted the Forest Dept. for Forest & Wildlife clearance | Feasibility report approved by Govt. and interstate clearance has been received from UYRB. Case submitted the Forest Dept. for Forest & Wildlife clearance | Feasibility report approved by Govt. and interstate clearance has been received from UYRB. Case submitted the Forest Dept. for Forest & Wildlife clearance | Feasibility report approved by Govt. and interstate clearance has been received from UYRB. Case submitted the Forest Dept. for Forest & Wildlife clearance | Feasibility report approved by Govt. and interstate clearance has been received from UYRB. Case submitted the Forest Dept. for Forest & Wildlife clearance | Feasibility report submitted by WAPCOS and is under examination |

Table : 2.

| Progress report of ponds sanctioned by Department & Panchayat Department under HRDFA |
| --- |
| Sr. No. | Name of the circle | Name of District | No. Of Village Ponds | Tender called/allotted | Work in progress | Completed | Yet to Start | Not feasible | Tender to be called | Not Required | Amount Sanctioned in Rs. | Amount Released by HRDFA in Rs. | Amount released by Irrigation Department |
| 1 | JWS Circle, Jhajjar | Jhajjar | 63 | 46 | 1 | 31 | 10 | 16 | 0 | 5 | 42256556 | 41490864 | 21472362 |
|  |  | Gurgaon | 5 | 0 | 1 | 3 | 0 | 1 | 0 | 0 | 5576932 | 5576932 | 3577118 |
| 2 | YWS Circle Rohtak | Jhajjar | 28 | 28 | 3 | 18 | 6 | 0 | 0 | 1 | 49641000 | 40810500 | 25015026 |
|  |  | Rohtak | 14 | 14 | 0 | 4 | 10 | 0 | 0 | 0 | 22406998 | 18540000 | 1874380 |
|  |  | Sonepat | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2393000 | 2000000 | 0 |
| 3 | JLN Circle Namaul | Jhajjar | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 279000 | 279000 | 0 |
| 4 | YWS Circle Karnal | Sonepat | 23 | 10 | 1 | 1 | 8 | 13 | 0 | 0 | 59216000 | 38471000 | 1012000 |
| 5 | YWS Circle Karnal | Karnal | 2 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 440000 | 440000 | 372000 |
| 6 | YWS Circle Karnal | Panipat | 29 | 20 | 0 | 0 | 18 | 11 | 0 | 0 | 42771000 | 36913000 | 0 |
| 7 | YWS Circle Sonepat | Sonepat | 9 | 7 | 0 | 3 | 4 | 0 | 0 | 2 | 7005000 | 6772000 | 4058020 |

The Plan of Municipal Corporation, Faridabad to increase storage capacity.

As per the NGT order on 20th July 2018 to Govt. of Haryana to provide unique identification No. to all its water bodies, MCF undertook this documentation study and allotted the work to M/s Development 2050 for survey of 76 water bodies with the municipal limits. Out of them around

- 17 water bodies require judicial intervention

- 20 water bodies require encroachment removal drive

- 18 water bodies require inter department coordination due to ownership issues

- 56 water bodies have dried up, 8 are seasonal and 12 have perennial presence of water

- 48 water bodies can be restored after overcoming above hurdles

As per the report received there are 20 water bodies of around 60 Acres area in total within city under direct ownership of MCF that can be restored without much administrative hurdles like encroachment, legal disputes, other department ownership etc.

List of Water bodies with Restoration Priorities

| Sl. No. | Name | Area in Acres |
| --- | --- | --- |
| 01 | NanglaGujaran 48 | 2.59 |
| 02 | JharSentli 117 | 1.16 |
| 03 | JharSentli 163 | 5.34 |
| 04 | Sihi 163 | 8.79 |
| 05 | Uncha Gaon 101 | 2.77 |
| 06 | Gounchi 146 | 4.08 |
| 07 | Gounchi 148 | 2.25 |
| 08 | Gounchi 149 | 3.84 |
| 09 | Agwanpur 66 | 1.06 |
| 10 | Budena 22 | 3.12 |
| 11 | Budena 46 | 2.69 |
| 12 | Wazirpur 43 | 0.7 |
| 13 | Sehatpur 37 | 1.18 |
| 14 | Sarai Khwaja 96 | 1.88 |
| 15 | Gazipur 31 & 32 | 2.02 |
| 16 | Bajri 30 | 3.67 |
| 17 | Bajri 31 & 32 | 5.84 |
| 18 | Dabua 65 | 3.44 |
| 19 | Bhankhri 199 | 0.56 |
| 20 | Ankheer 72 | 1.39 |
|  | Total Area in Acres | 58.37 |

The Municipal Corporation, Faridabad is in stage of preparing detailed project report (DPR) and we would require a budget of around INR 40 Crores for restoration of these water bodies (including 10% for capacity building) to maximize the recharge of ground water on the concept of sponge cities and redevelop them as social spots promoting tourism and culture.

The authorities are exploring the option of construction of check dams along the river Yamuna for recharge of sub surface water for recharge of Rainey Wells. Feasibility reports are being prepared for highlighting of water logged areas within the municipal limits to identify the water harvesting potential and proposal of additional Rain water harvesting pits for recharge of ground water.

MCF limits the use of borewell for extracting ground water and systematically checks and closes as well as seals all such illegal bore wells with hefty fines. Before monsoon 2018, MCF took initiative for restoration of 180 choked rainwater harvesting within Municipal Limits of Faridabad. More than 50 locations were covered and maintenance- restorations were carried out. Now there is a proposal to upgrade these rainwater harvesting systems with innovative design solutions and we need funds of around INR 10 Cr for the restoration of these systems.

20.	Greenery Development Plan

The action plan for greenery development by HSVP in towns along river Yamuna.

| Sr. No. | Name of U/E | Plantation done | Plantation to be done |
| --- | --- | --- | --- |
|  |  | Year 2015-16 | Year 2016-17 | Year 2017-18 | Year 2018-19 | Year 2019-20 |
| 1 | Jagadhri / Yamunagar | 90 | 1905 | 1746 | 500 | 500 |
| 2 | Karnal | 5400 | 6819 | 10038 | 5000 | 5500 |
| 3 | Faridabad | 16113 | 22073 | 26513 | 14300 | 12300 |
| 4 | Palwal | 0 | 1125 | 950 | 100 | 100 |
| 5 | Hathin | 0 | 0 | 0 | 100 | 100 |
| 6 | Gurugram | 21525 | 21628 | 53315 | 39850 | 24200 |
| 7 | Rohtak | 9100 | 10497 | 3373 | 4000 | 3000 |
| 8 | Bahadurgarh | 1852 | 2145 | 4035 | 2350 | 2000 |
| 9 | Jhajjar | 150 | 500 | 354 | 500 | 200 |
| 10 | Sonepat | 7660 | 1655 | 3784 | 3000 | 2000 |
| 11 | Panipat | 4200 | 3153 | 2584 | 2500 | 2800 |
| 12 | Total | 21603 | 31922 | 39247 | 72200 | 52700 |

The action plan for greenery development by Municipal Corporation, Faridabad in towns along river Yamuna.

Since plants play an important role in reducing the environment pollution load, vegetal acts as a pollution scavenger and absorbs gasses and filter dust, smoke and other pollutants in the air, this Corporation during the year 2018, in order to make Faridabad green, has planted more than 34,400 plants of tree species of (i) Alstoniascholaris. (ii) Neem (iii) Chakresia (iv) Peepal retusa (v) Mango (vi) Polyalthialongifolia (vii) Mahua (vii) Gulmohar (viii) Amaltash (ix) Ficus (x) Ficus Benjamina in various green belts, parks, Government premises, Colleges, Schools, Hospitals, Tube-wells, Disposals, Boosting Stations and other alike premises.  Main area of plantation are as below:-

Faridabad NIT area

| Sr. No | Area | No. of trees | No. of shrubs | Total |
| --- | --- | --- | --- | --- |
| 1 | BK to NH-5 Thana | 100 | - | 100 |
| 2 | NH-5 Thana to Bata Flyover | 284 | - | 284 |
| 3 | Chimni Bai Dharamshala to Tikona park. | 258 | 805 | 1063 |
| 4 | Outer periphery NH-3 & NH-2 | 26 | 1500 | 1526 |
| 5 | Pyali chowk to FCI Godown | 385 | - | 385 |
| 6 | Rose garden | 183 | 1200 | 1383 |
| 7 | Sector-21B road near Nallah | 100 | - | 100 |
| 8 | Pali crusher zone | 225 | 250 | 475 |
|  | Total | 1561 | 3855 | 5416 |

In total 11815 shrubs and trees have been planted in parks, green belts, road sides etc. of NIT sub-division.

Ballabgarh Area

10460 plants have been planted in various road sides, parks, old green belts of Ballabgarh sub-division.

Old Faridabad Area.

12125 plants have been planted in various road sides, parks, old green belts of Old Faridabad sub-division.

It is proposed to increase tree cover along important roads of whole of MCF area. Plantation of 35000 shrubs and trees will be done in 2019. Shrubs will be planted on central verges, road sides, greenbelts and parks of MCF with active participation of voluntary agencies and RWAs. Beautification of junctions and corners will be done by planting grass and ground covers. More than 350 parks have been handed over to RWA for maintenance under PPP Scheme and it is proposed to involve voluntary agencies for adoption of parks, roundabouts under CSR.

In addition to above:

- Under the “Nagar Vanikaran Yojna- “Ek Kadam Haryali ki Aur”, a Programme for Climate Smart Green Cities, having been launched by Government of India under which 200 city Forest/Nagar van in the Corporation Cities across the Country are proposed to be developed, a site along the bye-pass right from Delhi Border to Keli Gaon already stands selected for development of a “City Forest” for providing wholesome living, environment and contributing to Smart, Clean, Green and Healthy Faridabad.

- An area of 200 acres on the Aravali Hills is also proposed to be devolved as “Oxy Park”.

- This Corporation has also a  proposal to develop the area from pillar to pillar of Metro Rail running from Delhi Boarder up to Ballbgarh by planting trees upto the height of Metro track and develop the area as green.

- There is a proposal for revival of Badhkhal lake under one of the Smart City projects. While carrying out the said work, the area around the said lake is proposed to be developed as green by planning different trees.

21.	Ground Water Management

All the task force have been mandated to prevent the exposure of ground water with industrial effluent. The industries found reverse pumping are closed and power of closure has already been delegated to the Regional Officers of HSPCB.

The STFs have also been directed to close down the contaminated sources of drinking water and also place sign boards near by the respective contaminated source regarding "Water is not fit for Drinking ourpose". The monthly action taken reports are being sought in this regard from District Level Task Forces constituted in this matter by the State Government.

Ground water quality in the catchment area of river Yamuna is given below in the table:-

| Panipat |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sr. No. | Sampling Location | Analysis Report No. | Date of Collection | Colour & Intensity | Odour | Human Activities around | pH (6.5- 8.5 limits) | Conductivity | BOD mg/l | COD mg/l | Ammonia | TDS mg/l (500 limits) | TSS mg/l |
| 1 | 25 MLD STP, Village Sewah, Panipat | 4463 | 19/04/2018 | - | - | - | 7.73 | - | 2.6 | 37.6 | - | 900 | ND |
| 2 | 21 MLD CETP, HUDA, Sector-29, Part-II, Panipat | 4464 | 19/04/2018 | - | - | - | 7.58 | 1779 | ND | 78 | - | 1080 | ND |
| 3 | 35 MLD STP, PHED, Dadola Road, Sewah, Panipat | 4466 | 19/04/2018 | - | - | - | 7.52 | 2880 | 3.5 | 47.6 | - | 1740 | ND |
| 4 | 25 MLD STP, Village Sewah, Panipat | 4954 | 08/08/2018 | - | - | - | 7.87 | 1392 | ND | 56.4 | - | 850 | 13 |
| 5 | 35 MLD STP, PHED, Dadola Road, Sewah, Panipat | 4955 | 08/08/2018 | - | - | - | 8.3 | 1652 | ND | 73.2 | - | 1010 | ND |
| 6 | Punjab Himachal Vaishno Dhaba, G.T. Road, Panipat | 5432 | 11/12/2018 | - | - | - | 7.36 | 1290 | ND | 42.4 | - | 780 | ND |
| 7 | 25 MLD STP, Sewah, Panipat | 5433 | 11/12/2018 | - | - | - | 7.46 | 1038 | ND | 43.2 | - | 630 | ND |
| 8 | 05 MLD STP, Samalkha, Panipat | 5435 | 11/12/2018 | - | - | - | 7.31 | 1016 | ND | 46.4 | - | 610 | ND |
| 9 | Assam Oil Petrol Pump, Near Rohtak Road Byepass, Panipat | 5436 | 11/12/2018 | - | - | - | 7.85 | 840 | ND | 22.8 | - | 510 | ND |
| Panipat |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Total Hardness mg/l (300 limits) | Fluoride mg/l (1.0 limits) | Chloride mg/l (250 limits) | Sulphate mg/l (200 limits) | Calcium mg/l (75 limits) | Magnesium mg/l | Nickel mg/l | Copper mg/l (0.05 limits) | Chromium mg/l (0.05 limits) | Zinc mg/l ( 5 limits) | Lead mg/l (0.05 limits) | Iron mg/l (0.3 limits) |
| 1 | 25 MLD STP, Village Sewah, Panipat | 660 | - | 198 | - | 140 | 75.33 | - | - | ND | - | - | 0.05 |
| 2 | 21 MLD CETP, HUDA, Sector-29, Part-II, Panipat | 840 | - | 220 | - | 204 | 80.19 | - | - | ND | - | - | ND |
| 3 | 35 MLD STP, PHED, Dadola Road, Sewah, Panipat | 1070 | - | 664 | - | 216 | 128.79 | - | - | ND | - | - | - |
| 4 | 25 MLD STP, Village Sewah, Panipat | 444 | - | 210 | - | 104 | 44.712 | - | - | ND | - | - | 0.63 |
| 5 | 35 MLD STP, PHED, Dadola Road, Sewah, Panipat | 632 | - | 268 | - | 130.4 | 74.358 | - | - | ND | - | - | 0.746 |
| 6 | Punjab Himachal Vaishno Dhaba, G.T. Road, Panipat | 267 | - | 140 | - | 72 | 21.141 | - | - | ND | - | - | - |
| 7 | 25 MLD STP, Sewah, Panipat | 443 | - | 223 | - | 120 | 34.749 | - | - | ND | - | - | - |
| 8 | 05 MLD STP, Samalkha, Panipat | 438 | - | 128 | - | 116 | 35.964 | - | - | ND | - | - | - |
| 9 | Assam Oil Petrol Pump, Near Rohtak Road Byepass, Panipat | 248 | - | 30 | - | 69.6 | 17.982 | - | - | ND | - | - | - |
| Gurugram (South) |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Analysis Report No. | Date of Collection | Colour & Intensity | Odor | Human Activities around | pH (6.5- 8.5 limits) | Conductivity | BOD mg/l | COD mg/l | Ammonia | TDS mg/l (500 limits) | TSS mg/l |
| 1 | Borewell of HSIIDC Park, Sector-1, IMT Manesar, Gurgaon | 103 | 08-06-18 | - | - | - | 7.9 | 680 | ND | 16 | - | 365 | 4 |
|  |  | 756 | 31.12.2018 |  |  |  | 7.6 | 710 | ND | 16 |  | 375 | 5 |
| 2 | Tubewell No. 6 of HSIIDC, Near Plot No. 237, Sector-8, IMT Manesar, Gurgaon | 104 | 08-06-18 | - | - | - | 7.5 | 660 | ND | 12 | - | 355 | 6 |
|  |  | 757 | 31.12.2018 |  |  |  | 7.4 | 680 | ND | 8 |  | 365 | 4 |
| 3 | Tubewell No. 4, Haileymandi, Tehsil-Pataudi, (PWD- Public Health Department), Gurgaon | 105 | 08-06-18 | - | - | - | 7.9 | 310 | ND | 8 | - | 170 | 5 |
|  |  | 758 | 31.12.2018 |  |  |  | 7.8 | 315 | ND | 12 |  | 175 | 6 |
| 4 | HSIIDC Tubewell, Near Plot No. 7, Sector-37, Gurgaon | 106 | 08-06-18 | - | - | - | 7.8 | 210 | 3 | 24 | - | 115 | 8 |
|  |  | 759 | 31.12.2018 |  |  |  | 7.9 | 220 | 4 | 26 |  | 120 | 8 |
| Gurugram (South) |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Total Hardness mg/l (300 limits) | Fluoride mg/l (1.0 limits) | Chloride mg/l (250 limits) | Sulphate mg/l (200 limits) | Calcium mg/l (75 limits) | Magnesium mg/l | Nickel mg/l | Copper mg/l (0.05 limits) | Chromium mg/l (0.05 limits) | Zinc mg/l ( 5 limits) | Lead mg/l (0.05 limits) | Iron mg/l (0.3 limits) |
| 1 | Borewell of HSIIDC Park, Sector-1, IMT Manesar, Gurgaon | 155 | - | 45 | 24 | - | - | ND | - | - | - | - | ND |
|  |  | 160 | ND | 50 | 26 |  |  | ND |  |  |  |  | ND |
| 2 | Tubewell No. 6 of HSIIDC, Near Plot No. 237, Sector-8, IMT Manesar, Gurgaon | 180 | - | 40 | 22 | - | - | - | - | - | - | - | - |
|  |  | 185 | ND | 45 | 24 |  |  | ND |  |  |  |  | ND |
| 3 | Tubewell No. 4, Haileymandi, Tehsil-Pataudi, (PWD- Public Health Department), Gurgaon | 40 | ND | 35 | 26 | - | - | ND | - | - | - | - | ND |
|  |  | 45 | ND | 40 | 28 |  |  | ND |  |  |  |  | ND |
| 4 | HSIIDC Tubewell, Near Plot No. 7, Sector-37, Gurgaon | 45 | ND | 30 | 14 | - | - | ND | - | - | - | - | ND |
|  |  | 50 | ND | 35 | 16 |  |  | ND |  |  |  |  | ND |
| Panchkula |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Analysis Report No. | Date of Collection | Colour & Intensity | Odor | Human Activities around | pH (6.5- 8.5 limits) | Conductivity | BOD mg/l | COD mg/l | Ammonia | TDS mg/l (500 limits) | TSS mg/l |
| 1 | Hand Pump 500 m from Ghaggar River Near Pir Khwaja At Sarala Khurd. | 4897, 11.05.2018 | 2.05.2018 | Colourless | Odourless | -- | 7.92 | 2330 | ND | 33.2 | ND | 1416 | 15 |
| 2 | Hand Pump 12 meter away from River Ghaggar at Vill- Tiwana | 4592, 11.05.2018 | 2.05.2018 | Light Yellowish | Odourless | -- | 7.71 | 666 | ND | 16.4 |  | 410 | 7 |
| 3 | Borewell of Sh. Ram Chander Leather Units, Shiwala Mandi, Ambala. | 4652, 14.05.2018 | 7.05.2018 | Colourless | Odourless | -- | 7.51 | 8800 | ND | 139.2 |  | 5300 | ND |
| 4 | Hand Pump no. 1 at Vill- Tiwana | 4598, 11.05.2018 | 2.05.2018 | Colourless | Odourless | -- | 7.94 | 2350 | ND | 48.4 |  | 1422 | 15 |
| 6 | Hand Pump Sh. Mehar Singh, at vil- Rampur, Ambala | 4593, 11.5.2018 | 2.05.2018 | Yellowish | Odourless | -- | 8.26 | 840 | ND | 14.8 |  | 520 | ND |
| 7 | Hand Pump Sh. Surinder Singh At vill Rampur, Ambala | 4594, 11.05.2018 | 02.05.2018 | Colourless | Odourless | -- | 8.26 | 835 | ND | 15.6 | ND | 530 | ND |
| 8 | Tubewell NO. 2, Sector-24, HUDA, Panchkula | 4451, 12.04.2018 | 06.04.2018 | Colourless | Odourless | -- | 7.87 | 593 | ND | 11.6 | ND | 370 | ND |
|  |  | 5365, 14.11.2018 | 02.11.2018 | Colourless | Odourless | -- | 7.54 |  | ND | 8.8 |  |  | ND |
| Panchkula |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Analysis Report No. | Date of Collection | Colour & Intensity | Odor | Human Activities around | pH (6.5- 8.5 limits) | Conductivity | BOD mg/l | COD mg/l | Ammonia | TDS mg/l (500 limits) | TSS mg/l |
| 9 | Tubewell NO. 3, Sector-24, HUDA, Panchkula | 4452, 12.04.2018 | 06.04.2018 | Colourless | Odourless | -- | 7.85 | 610 | ND | 12.8 |  | 380 | ND |
|  |  | 5319, 12.11.2018 | 30.10.2018 | Colourless | Odourless | -- | 7.21 |  | ND | 17.2 |  |  | ND |
| 10 | Tubewell No. 1, (HUDA division No. 3) Near dumping ground sector-23, Panchkula | 4450, 12.04.2018 | 06.04.2018 | Colourless | Odourless | -- | 8.31 | 655 | ND | 10.4 |  | 400 | ND |
|  |  | 5318, 12.11.2018 | 30.10.2018 | Colourless | Odourless | -- | 6.91 |  | ND | 14 |  |  | ND |
| 11 | Tubewell No. 5, Sector-24, HUDA, Panchkula | 4454, 12.04.2018 | 06.04.2018 | Almost Colourless | Almost Odourless | -- | 7.71 |  | ND | 19.2 |  |  | ND |
|  |  | 5321, 12.11.2018 | 30.10.2018 | Almost Colourless | Almost Odourless | -- | 7.18 |  | ND | 14.8 |  |  | ND |
| 12 | Tubewell No. 4, Sector-24, HUDA, Panchkula | 4453, 12.04.2018 | 06.04.2018 | Almost Colourless | Almost Odourless | -- | 7.78 |  | ND | 10.8 |  |  | ND |
|  |  | 5320, 12.11.2018 | 30.10.2018 | Almost Colourless | Almost Odourless | -- | 7.02 |  | ND | 15.6 |  |  | ND |
| 13 | Tubewell No. 9, Sector-4, HUDA, Panchkula | 4455, 12.04.2018 | 06.04.2018 | Almost Colourless | Almost Odourless | -- | 7.63 |  | ND | 18 |  |  | ND |
|  |  | 5366, 14.11.2018 | 02.11.2018 | Almost Colourless | Odourless | -- | 7.52 |  | ND | 10.4 |  |  | ND |
| Panchkula |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Analysis Report No. | Date of Collection | Colour & Intensity | Odor | Human Activities around | pH (6.5- 8.5 limits) | Conductivity | BOD mg/l | COD mg/l | Ammonia | TDS mg/l (500 limits) | TSS mg/l |
| 14 | Tubewell No. 6, Div-II, Sector-24, Panchkula | 5322, 12.11.2018 | 30.10.2018 | Almost Colourless | Almost Odourless | -- | 6.9 |  | ND | 16 | -- |  | ND |
| Sr. No. | Sampling Location | Total Hardness mg/l (300 limits) | Fluoride mg/l (1.0 limits) | Chloride mg/l (250 limits) | Sulphate mg/l (200 limits) | Calcium mg/l (75 limits) | Magnesium mg/l | Nickel mg/l | Copper mg/l (0.05 limits) | Chromium mg/l (0.05 limits) | Zinc mg/l ( 5 limits) | Lead mg/l (0.05 limits) | Iron mg/l (0.3 limits) |
| 1 | Hand Pump 500 m from Ghaggar River Near Pir Khwaja At Sarala Khurd. | 684 |  | 262 |  | 149.6 | 75.33 | ND | ND | - | 0.017 |  | 0.04 |
| 2 | Hand Pump 12 meter away from River Ghaggar at Vill- Tiwana | 222 |  | 20 |  | 71.2 | 10.692 | ND | ND |  | 0.007 |  | ND |
| 3 | Borewell of Sh. Ram Chander Leather Units, Shiwala Mandi, Ambala. | 1070 |  | 2630 |  | 252 | 106.92 | ND | ND |  | 0.054 |  | 0.062 |
| 4 | Hand Pump no. 1 at Vill- Tiwana | 554 |  | 262 |  | 121.6 | 60.75 | ND | ND |  | 0.017 |  | 0.028 |
| 6 | Hand Pump Sh. Mehar Singh, at vil- Rampur, Ambala | 242 |  | 68 |  | 76 | 12.636 | ND | ND |  | 0.015 |  | ND |
| 7 | Hand Pump Sh. Surinder Singh At vill Rampur, Ambala | 200 |  | 72 |  | 41.6 | 23.328 | ND | ND |  | 0.014 |  | ND |
| Panchkula |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Total Hardness mg/l (300 limits) | Fluoride mg/l (1.0 limits) | Chloride mg/l (250 limits) | Sulphate mg/l (200 limits) | Calcium mg/l (75 limits) | Magnesium mg/l | Nickel mg/l | Copper mg/l (0.05 limits) | Chromium mg/l (0.05 limits) | Zinc mg/l ( 5 limits) | Lead mg/l (0.05 limits) | Iron mg/l (0.3 limits) |
| 8 | Tubewell NO. 2, Sector-24, HUDA, Panchkula | 240 |  | 24 |  | 80 | 9.72 | - | - | - | 0.012 |  |  |
|  |  | 266 |  | 14 |  | 65.6 | 24.786 | ND | ND |  | 0.076 |  | 0.38 |
| 9 | Tubewell NO. 3, Sector-24, HUDA, Panchkula | 210 |  | 26 |  | 50.4 | 20.412 |  |  |  | 0.013 |  |  |
|  |  | 242 |  | 38 |  | 56 | 24.786 | ND | ND |  | 0.002 |  | 0.07 |
| 10 | Tubewell No. 1, (HUDA division No. 3) Near dumping ground sector-23, Panchkula | 198 |  | 24 |  | 71.2 | 4.86 | ND | ND |  | 0.17 |  | ND |
|  |  | 107.2 |  | 32 | - | 88 | 11.664 | ND | ND |  | 0.037 |  | ND |
| 11 | Tubewell No. 5, Sector-24, HUDA, Panchkula | 270 |  | 24 |  | 72 | 21.87 | ND | ND |  | 0.058 |  |  |
|  |  | 184 |  | 28 |  | 42.4 | 18.954 | ND | ND |  | 0.006 |  | 0.05 |
| 12 | Tubewell No. 4, Sector-24, HUDA, Panchkula | 244 |  | 28 |  | 64.8 | 19.926 | ND | ND |  | 0.041 |  |  |
|  |  | 180 |  | 32 |  | 48.8 | 14.094 | ND | ND |  | 0.007 |  | 0.08 |
| 13 | Tubewell No. 9, Sector-4, HUDA, Panchkula | 280 |  | 30 |  | 79.2 | 19.926 | ND | ND |  | 0.038 |  |  |
|  |  | 248 |  | 20 |  | 62.4 | 22.356 | ND | ND |  | 0.095 |  | 0.06 |
| 14 | Tubewell No. 6, Div-II, Sector-24, Panchkula | 182 | -- | 20 | -- | 52.8 | 12.15 | ND | ND | - | 0.009 | - | 0.06 |
| Faridabad |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Analysis Report No. | Date of Collection | Colour & Intensity | Odor | Human Activities around | pH (6.5- 8.5 limits) | Conductivity | BOD mg/l | COD mg/l | Ammonia | TDS mg/l (500 limits) | TSS mg/l |
| 1 | Gujrat Enviro Protection & Infra Pvt. Ltd. (GEPIL), Pali | A/R No. 22 M dated 01.05.2018 (Upstream) | 20.04.18 | Colourless | Odorless |  | 6.6 | 430 | ND | 8 |  | 216 | 3 |
|  |  | A/R No. 21 M dated 01.05.2018 (Downstream) | 20.04.18 | Colourless | Odorless |  | 6.8 | 1030 | 5 | 15 |  | 550 | 7 |
| 2 | Public Health, Tubewell No.-1, Village - Mangar, Faridabad | A/R No. 24M dated 01.05.2018 | 20.04.2018 | Colourless | Odorless |  | 6.5 | 940 | 5 | 12 |  | 510 | 12 |
|  |  | A/R No. 176M dated 23.10.2018 | 15.10.2018 | Colourless | Odorless |  | 7.1 | 1160 | 7 | 16 |  | 620 | 9 |
| 3 | MCF, Tubewell - 1,Village- Pali, Faridabad | A/R No. 26M dated 01-05-18 | 20.04.18 | Colourless | Odorless |  | 6.9 | 450 | ND | ND |  | 238 | 5 |
|  |  | A/R No. 180M dated 23.10.2018 | 15.10.2018 | Colourless | Odorless |  | 6.6 | 480 | ND | ND |  | 252 | 3 |
| 4 | Public Health Depts,Tubewell No. 2 , Village - Mangar, Faridabad | A/R No. 25M dated01-05-18 | 20.04.18 | Colourless | Odorless |  | 7 | 440 | ND | ND |  | 234 | ND |
|  |  | A/R No. 179M dated 23.10.2018 | 15.10.2018 | Colourless | Odorless |  | 6.8 | 590 | ND | ND |  | 286 | ND |
| 5 | Public Health Depts,Tubewell No. 3 , Village - Mangar, Faridabad | A/R No. 23M dated 1-05-18 | 26.04.18 | Colourless | Odorless |  | 6.9 | 930 | ND | ND |  | 452 | 2 |
|  |  | A/R No.181M dated 23.10.2018 | 15.10.2018 | Colourless | Odorless |  | 6.5 | 960 | ND | ND |  | 494 | 4 |
| Faridabad |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Total Hardness mg/l (300 limits) | Fluoride mg/l (1.0 limits) | Chloride mg/l (250 limits) | Sulphate mg/l (200 limits) | Calcium mg/l (75 limits) | Magnesium mg/l | Nickel mg/l | Copper mg/l (0.05 limits) | Chromium mg/l (0.05 limits) | Zinc mg/l ( 5 limits) | Lead mg/l (0.05 limits) | Iron mg/l (0.3 limits) |
| 1 | Gujrat Enviro Protection & Infra Pvt. Ltd. (GEPIL), Pali | 108 |  | 74 | 6.6 | 28.1 | 9.3 | ND | ND |  | ND |  |  |
|  |  | 284 |  | 124 | 8.5 | 61.7 | 31.7 | ND | ND |  | ND |  |  |
| 2 | Public Health, Tubewell No.-1, Village - Mangar, Faridabad | 268 |  | 122 | 14.6 | 60.9 | 28.3 | ND | ND |  | ND |  |  |
|  |  | 236 |  | 130 | 12.8 | 51.3 | 26.3 |  | ND |  |  |  |  |
| 3 | MCF, Tubewell - 1,Village- Pali, Faridabad | 145 |  | 66 | 9 | 36.9 | 12.9 | ND | ND |  | ND |  |  |
|  |  | 164 |  | 58 | 7.6 | 36.5 | 17.8 |  | ND |  |  |  |  |
| 4 | Public Health Depts,Tubewell No. 2 , Village - Mangar, Faridabad | 164 |  | 70 | 9.4 | 39.7 | 15.9 | ND | ND |  | ND |  |  |
|  |  | 145 |  | 76 | 8.8 | 36.9 | 12.9 |  | ND |  |  |  |  |
| 5 | Public Health Depts,Tubewell No. 3 , Village - Mangar, Faridabad | 206 |  | 95 | 11 | 48.1 | 20.9 | ND | ND |  | ND |  |  |
|  |  | 214 |  | 108 | 9.4 | 51.7 | 20.7 |  | ND |  |  |  |  |
| Gurugram (North) |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Analysis Report No. | Date of Collection | Colour & Intensity | Odor | Human Activities around | pH (6.5- 8.5 limits) | Conductivity | BOD mg/l | COD mg/l | Ammonia | TDS mg/l (500 limits) | TSS mg/l |
| 1 | Sansad Sahid B.S. Adana Petrol Pump, Opp. Bandhwari Municipal Solid Plant, Gurgaon | 654 Dated 16.03.2018 | 06.03.2018 | colourless | odourless | - | 8.2 | 1040 | ND | 12 | - | 670 | 8 |
|  |  | 214 Dated 25.07.2018 | 18.07.2018 | colourless | odourless | - | 7.5 | 1260 | ND | 8 | - | 690 | 6 |
| 2 | Teen Murti Hanuman Mandir, Gurgaon Faridabad Road, Near Toll Plaza, Village Bandhwari, Gurgaon | 655 Dated 16.03.2018 | 06.03.2018 | colourless | odourless | - | 7.6 | 610 | ND | 8 | - | 290 | 6 |
|  |  | 215 Dated 25.07.2018 | 18.07.2018 | colourless | odourless | - | 7.6 | 710 | ND | 4 | - | 380 | 2 |
| 3 | Mandir, village Bhandwari, Gurgaon | 656 Dated 16.03.2018 | 06.03.2018 | colourless | odourless | - | 8.1 | 320 | ND | 8 | - | 160 | 4 |
| 4 | HUDA Premises, Dhanwapur Gurgaon | 652 Dated 16.03.2018 | 06.03.2018 | Colourless | Odourless | - | 8.3 | 2070 | 2 | 12 | - | 1290 | 10 |
| 5 | Baba Prakashpuri Mandir Rajendra Park Gurgaon | 653 Dated 16.03.2018 | 06.03.2018 | Colourless | Odourless | - | 8.3 | 1020 | 3 | 16 | - | 640 | 6 |
| Gurugram (North) |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Total Hardness mg/l (300 limits) | Fluoride mg/l (1.0 limits) | Chloride mg/l (250 limits) | Sulphate mg/l (200 limits) | Calcium mg/l (75 limits) | Magnesium mg/l | Nickel mg/l | Copper mg/l (0.05 limits) | Chromium mg/l (0.05 limits) | Zinc mg/l ( 5 limits) | Lead mg/l (0.05 limits) | Iron mg/l (0.3 limits) |
| 1 | Sansad Sahid B.S. Adana Petrol Pump, Opp. Bandhwari Municipal Solid Plant, Gurgaon | 115 | - | 150 | 30 | - | - | ND | - | - | - | - | ND |
|  |  | 140 | - | 160 | 40 | - | - | - | - | - | - | - | - |
| 2 | Teen Murti Hanuman Mandir, Gurgaon Faridabad Road, Near Toll Plaza, Village Bandhwari, Gurgaon | 160 | - | 110 | 28 | - | - | ND | - | - | - | - | ND |
|  |  | 105 | - | 120 | 32 | - | - | - | - | - | - | - | - |
| 3 | Mandir, village Bhandwari, Gurgaon | 50 | - | 40 | 20 | - | - | ND | - | - | - | - | ND |
| 4 | HUDA Premises, Dhanwapur Gurgaon | 240 | ND | 300 | 60 | - | - | ND | - | - | - | - | ND |
| 5 | Baba Prakashpuri Mandir Rajendra Park Gurgaon | 185 | ND | 200 | 40 | - | - | ND | - | - | - | - | ND |
| Yamuna Nagar |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Analysis Report No. | Date of Collection | Colour & Intensity | Odor | Human Activities around | pH (6.5- 8.5 limits) | Conductivity | BOD mg/l | COD mg/l | Ammonia | TDS mg/l (500 limits) | TSS mg/l |
| 1 | MSW Site, Ambala Road, Jagadhri, Yamuna Nagar | 4517-26.04.2018 | 16.04.2018 | Colourless | Odourless | Nil | 7.9 | 487.0 | N.D | 7.6 | Not Analysed | 300 | N.D |
|  |  | 5132-08.10.2018 | 27.09.2018 | Colourless | Odourless | Nil | 8.11 | 236.0 | ND | 10 | - | 150 | ND |
| 2 | MSW Site, Meeruth Road, Karnal | 4497-24.04.2018 | 12.04.2018 | Colourless | Odourless | Nil | 7.88 | 355.0 | N.D | 11.6 | Not Analysed | 220 | N.D |
|  |  | 5049-04.09.2018 | 27.08.2018 | Colourless | Odourless | Nil | 8.55 | 806.0 | N.D | 18.8 | - | 490 | N.D |
|  |  | 5123-08.10.2018 | 27.09.2018 | Colourless | Odourless | Nil | 8.25 | 268.0 | N.D | 12.4 | - | 165 | ND |
| 3 | Shiv Mandir, Village Jadauli, Karnal | 4496-24.04.2018 | 12.04.2018 | Colourless | Odourless | Nil | 7.57 | 357 | N.D | 14.8 | Not Analysed | Not Analysed | N.D |
|  |  | 5050-04.09.2018 | 27.08.2018 | Almost Colourless | Almost Odourless | Nil | 8.3 | 379 | ND | 12.8 | - | 240 | ND |
|  |  | 5124-08.10.2018 | 27.09.2018 | Almost Colourless | Almost Odourless | Nil | 8.18 | 264 | ND | 12.8 | - | 160 | ND |
| Yamuna Nagar |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Total Hardness mg/l (300 limits) | Fluoride mg/l (1.0 limits) | Chloride mg/l (250 limits) | Sulphate mg/l (200 limits) | Calcium mg/l (75 limits) | Magnesium mg/l | Nickel mg/l | Copper mg/l (0.05 limits) | Chromium mg/l (0.05 limits) | Zinc mg/l ( 5 limits) | Lead mg/l (0.05 limits) | Iron mg/l (0.3 limits) |
| 1 | MSW Site, Ambala Road, Jagadhri, Yamuna Nagar | 174 | Not Analysed | 10.0 | Not Analysed | 43.2 | 16.038 | Not Analysed | Not Analysed | N.D | N.D | N.D | 0.019 |
|  |  | 298 | - | 8.0 |  | 80 | 23.814 | - | - | - | - | - | - |
| 2 | MSW Site, Meeruth Road, Karnal | 154 | Not Analysed | 12.0 | Not Analysed | 38.4 | 14.094 | Not Analysed | Not Analysed | Not Analysed | Not Analysed | Not Analysed | Not Analysed |
|  |  | - | - | - | - | - | - | - | - | 0.018 | 0.024 | ND | ND |
|  |  | 138 | - | 8.0 | - | 34.4 | - | - | - | - | - | - | - |
| 3 | Shiv Mandir, Village Jadauli, Karnal | 160 | Not Analysed | 10 | Not Analysed | 37.6 | 16.038 | Not Analysed | Not Analysed | Not Analysed | Not Analysed | Not Analysed | Not Analysed |
|  |  | - | - | 52 | - | - | - | - | 0.002 | 0.015 | 0.005 | - | 0.039 |
|  |  | 122 | - | 14 | - | 36.8 | 7.29 | - | - | - | - | - | - |
| Ballabgarh |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Analysis Report No. | Date of Collection | Colour & Intensity | Odor | Human Activities around | pH (6.5- 8.5 limits) | Conductivity | BOD mg/l | COD mg/l | Ammonia | TDS mg/l (500 limits) | TSS mg/l |
| 1 | Sec-59, Pragati Vihar | 64M, 31.05.2018 | 25.05.2018 | Transparent | Odorless | Industries | 7.19 | 6960 | 9 | 68 | - | 3750 | 38 |
|  |  | 199M, 06.11.2018 | 30.10.2018 | Transparent | Odorless | Industries | 7.2 | 4430 | 11 | 60 | - | 2420 | 29 |
| 2 | Vill-Dudhola, Palwal | 94M, 25.07.2018 | 19.07.2018 | Transparent | Odorless | Industrieal and agricultural land | 8.1 | 5970 | 11 | 92 | - | 3250 | 18 |
|  |  | 200M, 06.11.2018 | 30.10.2018 | Transparent | Odorless | Industrieal and agricultural land | 8.6 | 6450 | 13 | 96 | - | 3520 | 17 |
| 3 | Vill- Mohla, Palwal | 95 M, 25-07-2018 | 19.07.2018 | Transparent | Odorless | Farms, agricultural land and near drain | 7.5 | 3980 | 6 | 44 | - | 2070 | 19 |
|  |  | 201M, 06.11.2018 | 30.10.2018 | Transparent | Odorless | Farms, agricultural land and near drain | 7.3 | 4280 | 10 | 68 | - | 2170 | 16 |
| 4 | Tubewell of Paramvir Dagar Near Power House Sec-58, Faridabad | 62M, 31.05.2018 | 25.05.2018 | Transparent | Odorless | Industries | 7.69 | 3850 | 5 | 48 | - | 2030 | 26 |
|  |  | 202M, 06.11.2018 | 30.10.2018 | Transparent | Odorless | Industries | 7.6 | 2890 | 3 | 32 | - | 1478 | 16 |
| Ballabgarh |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Analysis Report No. | Date of Collection | Colour & Intensity | Odor | Human Activities around | pH (6.5- 8.5 limits) | Conductivity | BOD mg/l | COD mg/l | Ammonia | TDS mg/l (500 limits) | TSS mg/l |
| 5 | Power House Colony, Sec-23, Faridabad | 65M, 31.05.2018 | 25.05.2018 | Transparent | Odorless | Residential | 7.76 | 4460 | 0.8 | 56 | - | 1960 | 67 |
|  |  | 203M, 06.11.2018 | 30.10.2018 | Transparent | Odorless | Residential | 7.6 | 1240 | 3 | 36 | - | 670 | 25 |
| 6 | Govt. High School Sihi sec-7 near sec-6, Faridabad | 63M, 31.05.2018 | 25.05.2018 | Transparent | Odorless | Residential/ industrial | 7.69 | 3480 | 4 | 49 | - | 1460 | 15 |
|  |  | 204M, 06.11.2018 | 30.10.2018 | Transparent | Odorless | Residential/ industrial | 7.6 | 2140 | 2 | 32 | - | 1060 | 8 |
| 7 | Vill- Harphali, Palwal | 96M, 25.07.2018 | 19.07.2018 | Transparent | Odorless | Agricultural land | 8.1 | 2740 | 5 | 36 | - | 1510 | 12 |
|  |  | 205M, 06.11.2018 | 30.10.2018 | Transparent | Odorless | Agricultural land | 7.8 | 2890 | 5 | 40 | - | 1358 | 14 |
| Ballabgarh |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Total Hardness mg/l (300 limits) | Fluoride mg/l (1.0 limits) | Chloride mg/l (250 limits) | Sulphate mg/l (200 limits) | Calcium mg/l (75 limits) | Magnesium mg/l | Nickel mg/l | Copper mg/l (0.05 limits) | Chromium mg/l (0.05 limits) | Zinc mg/l ( 5 limits) | Lead mg/l (0.05 limits) | Iron mg/l (0.3 limits) |
| 1 | Sec-59, Pragati Vihar | 1610 | - | 1420 | 528 | 314.2 | 160 | ND | ND | - | ND | - | ND |
|  |  | 960 | - | 1230 | 478 | 205.2 | 109.3 | ND | ND | - | ND | - | ND |
| 2 | Vill-Dudhola, Palwal | 1260 | - | 1980 | 514 | 266.9 | 144.9 | ND | ND | - | ND | - | ND |
|  |  | 1380 | - | 2190 | 526 | 244.5 | 187.9 | ND | ND | - | ND | - | ND |
| 3 | Vill- Mohla, Palwal | 836 | - | 404 | 205 | 54.8 | 126.2 | ND | ND | - | ND | - | ND |
|  |  | 872 | - | 392 | 228 | 125 | 136.6 | ND | ND | - | ND | - | ND |
| 4 | Tubewell of Paramvir Dagar Near Power House Sec-58, Faridabad | 692 | - | 434 | 220 | 157.1 | 65.8 | ND | ND | - | ND | - | ND |
|  |  | 610 | - | 392 | 186 | 106.2 | 84.2 | ND | ND | - | ND | - | ND |
| 5 | Power House Colony, Sec-23, Faridabad | 836 | - | 606 | 294 | 68 | 86.3 | ND | ND | - | ND | - | ND |
|  |  | 246 | - | 198 | 82 | 28.8 | 42.5 | ND | ND | - | ND | - | ND |
| 6 | Govt. High School Sihi sec-7 near sec-6, Faridabad | 632 | - | 584 | 206 | 128.2 | 57.6 | ND | ND | - | ND | - | ND |
|  |  | 456 | - | 128 | 104 | 98.6 | 198.6 | ND | ND | - | - | - | - |
| 7 | Vill- Harphali, Palwal | 594 | - | 476 | 258 | 76.2 | 155.4 | ND | ND | - | ND | - | ND |
|  |  | 620 | - | 464 | 252 | 10.2.2 | 89.1 | ND | ND | - | ND | - | ND |
| Sonepat |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Analysis Report No. | Date of Collection | Colour & Intensity | Odor | Human Activities around | pH (6.5- 8.5 limits) | Conductivity | BOD mg/l | COD mg/l | Ammonia | TDS mg/l (500 limits) | TSS mg/l |
| 1 | Near Bahalgarh Road, Village Liwaspur, Distt. Sonepat | 4661 dt. 10.5.2018 | 18.05.2018 | - | - | - | 7.8 | - | ND | 26.8 | ND | 1920 | ND |
| 2 | HSIIDC, Barhi, Sonepat | 4664 dt. 09.05.2018 | 18.05.2018 | - | - | - | 8.51 | - | ND | 12.4 | ND | 590 | ND |
| 3 | Sector-56, HSIIDC, Kundli, Sonepat | 4663 dt. 09.5.2018 | 18.5.2018 | - | - | - | 8.16 | - | ND | 27.2 | ND | 882 | ND |
| 4 | Near Western Yamuna Canal Village-Rohat, District-Sonepat | 4662 dt. 10.05.2018 | 18.05.2018 | - | - | - | 7.76 | - | ND | 38.8 | ND | 1922 | ND |
| Sonepat |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Total Hardness mg/l (300 limits) | Fluoride mg/l (1.0 limits) | Chloride mg/l (250 limits) | Sulphate mg/l (200 limits) | Calcium mg/l (75 limits) | Magnesium mg/l | Nickel mg/l | Copper mg/l (0.05 limits) | Chromium mg/l (0.05 limits) | Zinc mg/l ( 5 limits) | Lead mg/l (0.05 limits) | Iron mg/l (0.3 limits) |
| 1 | Near Bahalgarh Road, Village Liwaspur, Distt. Sonepat | - | - | 402 | - | - | - | - | - | - | - | - | - |
| 2 | HSIIDC, Barhi, Sonepat | - | - | 50 | - | - | - | - | - | - | - | - | - |
| 3 | Sector-56, HSIIDC, Kundli, Sonepat | - | - | 178 | - | - | - | - | - | - | - | - | - |
| 4 | Near Western Yamuna Canal Village-Rohat, District-Sonepat | - | - | 408 | - | - | - | - | - | - | - | - | - |
| Bahadurgarh |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Analysis Report No. | Date of Collection | Colour & Intensity | Odor | Human Activities around | pH (6.5- 8.5 limits) | Conductivity | BOD mg/l | COD mg/l | Ammonia | TDS mg/l (500 limits) | TSS mg/l |
| 1 | Opposite M/s Somany Ceramics Ltd. Sector-16, HSIIDC, Bahadurgarh | 315 | 13.04.2018 | Colourless | Odorless | Industrial activities around station | 8.6 | - | ND | ND | - | 298 | - |
|  |  | 155 | 21.09.2018 | Colourless | Odorless | Industrial activities around station | 7.6 | - | ND | ND | - | 732 | 12 |
| 2 | M/s Hotel Teej, Near BCCI Office, MIE-A, Bahadurgarh | 317 | 13.04.2018 | Almost Colourless | Almost Odourless | Industrial activities around station | ND | - | ND | ND | - | 625 | 12 |
|  |  | 156 | 21.09.2018 | Almost Colourless | Almost Odourless | Industrial activities around station | 8.2 | - | ND | ND | - | 540 | 10 |
| 3 | Near M/s Thakkar Chemical, Delhi-Rohtak Road, Vill-Jakhoda, Bahadurgarh | 316 | 13.4.2018 | Almost Colourless | Odourless | Industrial activities around station | 8.7 | - | ND | ND | - | 505 | 10 |
|  |  | 157 | 21.09.2018 | Almost Colourless | Almost Odourless | Industrial activities around station | 7.2 | - | ND | ND | - | 410 | 10 |
| 4 | M/s Rohit Steels at HSIIDC Kutana, Rohtak | 318 | 13.04.2018 | Almost Colourless | Almost Odourless | Industrial activities around station | 8.6 | - | ND | ND | - | 151 | 10 |
|  |  | 371 | 19.12.2018 | Almost Colourless | Almost Odourless | Industrial activities around station | 8.3 | - | ND | ND |  | 210 | 10 |
| Bahadurgarh |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Sampling Location | Total Hardness mg/l (300 limits) | Fluoride mg/l (1.0 limits) | Chloride mg/l (250 limits) | Sulphate mg/l (200 limits) | Calcium mg/l (75 limits) | Magnesium mg/l | Nickel mg/l | Copper mg/l (0.05 limits) | Chromium mg/l (0.05 limits) | Zinc mg/l ( 5 limits) | Lead mg/l (0.05 limits) | Iron mg/l (0.3 limits) |
| 1 | Opposite M/s Somany Ceramics Ltd. Sector-16, HSIIDC, Bahadurgarh | 180 | ND | 140 | 10 | 30 | 150 | - | - | - | ND | ND | ND |
|  |  | 290 | ND | 300 | 16 | 220 | 70 |  |  |  | ND | ND | ND |
| 2 | M/s Hotel Teej, Near BCCI Office, MIE-A, Bahadurgarh | 290 | ND | 300 | 16 | 220 | 70 | - | - | - | ND | ND | ND |
|  |  | 210 | ND | 190 | 10 | 140 | 70 | - | - | - | ND | ND | ND |
| 3 | Near M/s Thakkar Chemical, Delhi-Rohtak Road, Vill-Jakhoda, Bahadurgarh | 220 | ND | 230 | 10 | 160 | 60 | - | - | - | ND | ND | ND |
|  |  | 170 | ND | 190 | 10 | 90 | 80 | - | - | - | ND | ND | ND |
| 4 | M/s Rohit Steels at HSIIDC Kutana, Rohtak | 90 | ND | 110 | 10 | 70 | 20 | - | - | - | ND | ND | ND |
|  |  | 90 | ND | 60 | 10 | 60 | 30 | ND | - | - | ND | - | ND |

Steps taken by HSPCB for Ground water management

HSPCB has decided to incorporate the necessary condition in its consent management policy that the industries shall obtain NOC from Central Ground Water Authority (CGWA) before withdrawal of ground water.

Steps taken by HSVP for rain water harvesting / conservation of water/avoid exploitation of ground water

1. 	ROOF TOP RAIN WATER HARVESTING SCHEME

On 31.10.2001, a notification regarding making roof rain water harvesting-Conversation & Artificial recharge of ground water compulsory in Govt. buildings/HSVP Buildings, including all the private houses/buildings to be constructed in Urban Estates, in future having roof top surface area 100 Sqm. more was issued. Notification has already been circulated vide No.9945-46 dated 29.11.2001 (copy enclosed) and the areas/Urban Estates in Haryana where this notification has been made applicable have also been notified vide letter no.1200 dated 10.12.2001. (copy enclosed).

Zonal Administrator/Estate Officers of HSVP ensure that occupation certificate is not issued in the absence of the implementation of above cited notification.

Further, station wise detail of rain water harvesting systems constructed by HSVP is as under:

| Sr.No. | Name of U/E | No. of rain water harvesting wells constructed |
| --- | --- | --- |
| 1. | Karnal | 5 |
| 2. | Yamunanagar | 1 |
| 3. | Gurugram | 376 |
| 4. | Faridabad | 23 |
| 5. | Palwal | 2 |
| 6. | Sonepat | 7 |
| 7. | Panipat | 11 |

2. 	INSTALLATION OF DUAL BUTTON FLUSHING CISTERN

Haryana Govt. has issued notification on 13.08.2014, making installation of dual button cisterns (capacity 10/5 Litre and 6/3 Litre) mandatory for all types of plot holders (new buildings) in HSVP areas in addition to all Govt. Buildings and Buildings in licensed areas. Occupation certificate shall not be issued in the absence of dual button flushing cisterns in these buildings.

3.	 GRADED TARIFF FOR ECONOMIC USE OF WATER

The graded water tariff has been implemented in various Urban Estates in Haryana for 	economical domestic use of water.

4.	 REUSE OF TERTIARY TREATED / RECYCLED WATER

To avoid exploitation of ground water, tertiary treated water is being used for 	irrigation/flushing purpose in some of Urban Estates of HSVP. Efforts are being made for 	its implementation in other Urban Estates also.

22.	Open defecation in Distt.

The action taken and plan of the Municipal Corporation, Faridabad  in this regard alongwith future course of action alongwith timelines.

Under SBM, MCF is undertaking all the major steps to make Faridabad an Open Defecation Free City.  The following activities are being undertaken by MCF till date:

- IHHL – 19932 applications were received out of which 14297 applications have been approved.  1st installment of IHHL have been given to 12464 beneficiaries   and release of 1st installment for 393 out of balance 1833 beneficiaries in under process. 12517 beneficiaries have constructed their toilets.

- Existing Toilets –29 Public Toilets already exists and 29 Common Toilets are in place. 179 pre cast PT are in working condition in OD  locations ( jhuggis, slums, etc. ) of Faridabad, 80 pre cast toilets are in progress and will be installed within 2 months.  9 movable toilets  (4 seaters) are in working condition and are deployed as per requirement for different activities. E.g. construction site, functions/events, etc.

- Proposed and under construction Toilets – 1 PT (4 Male Units, 4 female units, 2 handicapped units) is under construction (605 completed) near Neelam Cinema, NIT Faridabad.  Out of 47 CTs (4 Male Units, 4 female units, 2 handicapped units) proposed 2 CTs at Dayal Nagar and Dabua Colony are in construction stage (55% completed). Rest of the CTs will be constructed once the land approval is cleared from MCF or HUDA.  Tenders have been floated for 6 Deluxe PTs .Bids have been received and are under evaluation stage.

Apart from this Community Toilets (10 seaters) have also being constructed by MCF under Corporate Social Responsibility (CSR) by Faridabad Industrial Association ( FIA).  Few of the locations can be mentioned as: Krishna Nagar (Ward no. 32), Ram Nagar (Ward no. 13), Sant Nagar (Ward No. 31) and Milhard Colony (Ward no. 13).

Public and Community Toilets have also been proposed by MCF under Built Operate and Transfer Basis to various private agencies. These agencies generate revenue through advertisement basis and undertake the operation & maintenance of these toilets.

Under IHUWASH Project which is being implemented in Faridabad by National Institute of Urban Affairs (NIUA) and funded by United States Aid for International Development (USAID), there are provisions for constructing innovative and smart toilets for Public and Community Toilets at the identified stress locations in order to improve the Public Sanitation System.  The innovations proposed in the toilets would be based on technologies to reduce water usage, recycling of waste water, use of solar energy, and would focus on lesser manual intervention in the operation and maintenance system. These toilets are already on the verge of construction in Mysore and Udaipur. Site assessment for proposing Public Toilet/Community Toilet at Faridabad have been done for seven selected sites. As per the site analysis and recommendation of MCF Officials, it has been suggested to propose PT at Nahar Singh Park, Ballabgarh.  Designs for proposing Innovative Public Toilet at Nahar Singh Park, Ballabgarh have been submitted to MCF and the work would initiate once the formal land approval is furnished by MCF. Similarly, Community Toilets will be developed in areas where there is lack of proper water and sanitation facility. Theses toilets will also contribute in livelihood generation by providing ownership to the community for operation and maintenance.

Open urination is also an issue in Faridabad City. Innovative methods to control urination along the flyovers/walls of public buildings will be adopted  by proposing stand and pee post at designated locations. The waste can be utilized for other usage e.g. – fertilizer in agricultural land, electricity generation, etc. A fund of INR 1 crore will be required to undertake the proposal at a pilot scale in Faridabad.

23.	Septage Management/Disposal by sewages through tankers.

Plan of Municipal Corporation, Faridabad.

On12th August 2018, a notification has been issued by MCF to owners of private tankers for discharging of collected sewage at STP and in order to do so, they have to pay Rs. 100 for each tanker discharge. A fine of Rs. 2000/- will be levied, if found guilty and not following the norms of MCF.

Plan of Municipal Corporation, Gurugram.

The decentralized STPs planned along the drains shall also be planned for receiving untreated sewage by tankers for treatment. The practice of disposing sewage in drains through the tanker is going on in many town/cities. Municipal Corporation Gurugram has finalized the rate contract for disposal of sewage through Suction Tanker. Under this Septage Management Plan, the sewage of unauthorised colonies and septic tanks shall be listed through Suction taken and disposed-off at 35 No. identified locations of STP/MPS. This will be monitored by online monitoring system through QR code.

The urban local bodies department has given the target dates for implementation of the septage management plan and the detail is given for each town in the table as under:-

| Sr.No | Name of MC | Target Date of Commissioning of Tanker System |
| --- | --- | --- |
| 1 | MC Yamunagar | 31.12.2019 |
| 2 | MC Rohtak | 30.05.2019 |
| 3 | MC Palwal | 30.04.2019 |
| 4 | Pataudi | 20.02.2019 |
| 5 | Sonepat | 20.02.2019 |
| 6 | Kharkhoda | 28.02.2019 |
| 7 | Bhiwani | 31.03.2019 |
| 8 | Taraori | 31.12.2019 |
| 9 | Gohana | 31.03.2019 |
| 10 | Karnal | City Already Covered by Sewerage System |
| 11 | Asandh | 25.03.2019 |
| 12 | Farukhnagar | Already in working |
| 13 | Indri | 31.03.2019 |
| 14 | Radaur | Already Implemented |
| 15 | Hodal | 31.03.2019 |
| 16 | Samalkha | 31.03.2019 |
| 17 | Safidon | 31.03.2019 |
| 18 | Panipat | Already Implemented |
| 19 | Samalkha | 31.03.2019 |

24.	Involvement of Civil Society/Creation of awareness

For involving the general public and other stakeholders, it has been decided to create a website by HSPCB giving a provision for inviting suggestions, comments and feedback.  A redressal system will also be provided through concerned Departments and action taken on the suggestions/complaints in the portal. It has also been planned to involve eco-clubs through the Education Department.  HSPCB will be issuing advertisements on such sensitive issues periodically.  Besides, the SESTF, constituted at District level will also actively involve public participation and in redressal of issues relating to pollution and cleaning of the rivers/drains.

HSPCB has been spreading awareness on environment consciousness with the involvement of public including students, women, factory workers, industrialist and their employees and various other sections of the civil society.

Activities including awareness seminars, competitions, rallies, etc. involving the Eco Clubs of Children, NGOs, MPs/MLAs/Councilors/Sarpanches/Panches and General Public are organized by the Regional Officers (ROs) with the help the local administration spread across the entire year.The list of HSPCB ROs and their jurisdiction is as under for Yamuna Action Plan

| Regional Office | District |
| --- | --- |
| Yamuna Nagar | Yamuna Nagar and Karnal |
| Panipat | Panipat |
| Sonepat | Sonepat |
| Faridabad | Faridabad |
| Ballabgarh | Palwal |
| Gurugram (N) | Gurugram |
| Gurugram (S) | Mewat |
| Bahadurgarh | Jhajjar, Rohtak |

Initiatives/Planning around the same for the year 2019 has already been initiated. Details/Plan on the same listed as below

- Education Camps:Haryana Forest Development Corporation Limited (Haryana Govt. undertaking) has been entrusted with conducting Environment Education Camps for School Children, farmers, women groups with a proposal for organizing 70 nature education camps @ Rs. 35000/- per camp in coming months i.e. total amount of Rs. 24,50000/-. This was a much-appreciated activity conducted in 2018 in form of 119 camps involving close to 2000 people from the civil society.

- Public Awareness Campaign through Media focused on

- Diwali

- Wheat Stubble Burning

- Paddy Straw Burning

Newspapers: Publishing series of advertisements in leading Newspapers circulated in the state of Haryana, on the said theme ahead of and during the season of Diwali, Stubble Burning and Harvesting.

Radio: Radio Campaigns on FM in Haryanvi dialect, for spreading awareness among the masses including the farmer families and others.

- Free Distribution of Non-Plastic Carry Bags at Subzi Mandi for spreading awareness on discouraging plastics and its ill effects.

- Pamphlet / Flyer distribution in schools/ restaurants/ cinema houses / petrol pumps educating people toward the hazard of pollution and environment unfriendliness.

- Celebration of International Environment/Related days are planned to be held all the 22 districts with the help of local administration by involving Eco Club children's, industrialists, under privileged children with the help of NGO's, local MP/MLA and general public as per the below schedule. These activities may be conducted at Schools/colleges/public places including religious centres and social places

| Period | Occasion | Date | Activities |
| --- | --- | --- | --- |
| Jan-Mar | World Wetlands Day | Feb 2, 2019 | Guided Nature Walk at a Wetland viz., Lake/River, etc |
|  | World Water Day | March 22, 2019 | Awareness Session Painting Contest Slogan Contest on Save Water or related theme |
| Apr-Jun | World Earth Day | April 22, 2019 | Awareness Sessions Essay Contest Poster Making Contest On Save Earth or related theme |
|  | World Environment Day | June 5, 2019 | Celebrated as Environment Month from May 15 to June 15. State level function district level functions education sessions on environment consciousness with special focus around 'paddy stubble burning' at Block level quiz contest tree plantation drives skit's at religious/social/public places, environment related movies/documentary screening, bicycle rally's, mini marathon Further activities may be added focused around the declared theme of the year, declared ahead of the World Environment Day. |
| Jul-Sep | World Ozone Day | September 16, 2019 | Information and Awareness sessions on ‘Ozone layer depletion' Expert Talk on Ozone Layer Protection for General Public On the spot contests on related theme. |
| Oct-Dec | World Ecology Day | November 1, 2019 | Public Awareness session On the spot painting & essay writing competition on Go Green, or related theme. |
|  | National Environment Month | November-December | State Level Function of Environment Screening of Environment Consciousnessmessage Movies/ Telefilms in Schools, Colleges, Universities and Public/Social places Street Plays on environment and related theme to be performed, recorded and broadcasted digitally Weekly Awareness Sessions / drives at District level to be organised on environment friendliness involving the civil society would be organised. |

- Suggestions from Public: For involving the general public and other stakeholders, it has been decided to create a provision in the website of HSPCB for inviting suggestions, comments and feedback for a innovative ways of pollution control and environment improvement. A redressal/recognition system will also be provided through concerned departments on action taken on the suggestions/complaints in the portal.

- Public involvement through Distt level STF: It has also planned to involve eco-clubs through the Education Departments. HSPCB will be issuing advertisements on such sensitive issues periodically. Besides, the SESTF, constituted at District Level will also actively involve public participation and in redressal of issues relating to pollution and cleaning of the rivers/drain one of the drives as mentioned under is proposed to be undertaken in one or two towns in river catchment every 15 days.

- Swatchta Abhiyan in towns.

- Swatchta Abhiyan / Nature walk on River Banks.

- Mini Marathon in towns.

- Swatchta Abhiyan at various Religious places.

- Reaching out to the masses digitally: HSPCB is also exploring reaching out to the masses through digital media / social media and related approved channels for spreading awareness on environment and related issues.

Plan of Municipal Corporation, Faridabad

MCF is taking active stand in making Faridabad an Open Defecation Free City through creating awareness among the citizens/students/communities, etc. Regular visits are being conducted by MCF officials to the localities/schools/colleges to spread awareness about the importance of maintaining a healthy and hygienic lifestyle by keeping their surroundings clean.

Also, community awareness is a major component of the IHUWASH Project. Similar events are being conducted through the support of Wash Innovation Lab in the Project cities at regular intervals.  Global Handwashing Day (GHW) event was celebrated on October 15th, 2018 at GGSS School No. – 5, Faridabad through the support of Wash Innovation Lab (established under IHUWASH Project in Manav Rachna International  Institute of Research and Studies , Faridabad) and MCF. The program was organized to create awareness among the school children on the importance of hand washing and its impact on healthy & hygienic lifestyle. Around 126 students from the school participated in the drawing and slogan competition for GHW Day. The Theme for the competition was Clean Hands - A recipe for Good health. Around 350 students took part in the event. A live demo on how to wash hands and a skit on the importance of hand hygiene was performed by the students of MRIIRS. WIL had also developed a set of interactive games for the students on how to wash hands, when and why washing hands is important. The winners of the games were felicitated by prizes as organized by the WASH Lab. Prize and Certificates were distributed to the selected participants of the Drawing and Slogan Competition. Kits sponsored from Savlon under Savlon Swasth India Mission along with handwash pamphlets were distributed   to 350 students who attended the event.

Under IHUWASH project, a WASH Forum would be created which will  provide a platform for city stakeholders to  discuss about the ongoing issues of Faridabad city e.g. Water Scarcity, Depletion of Ground Water Level, Waste Management, Sanitation and Hygiene, etc. and to implement innovative solutions through multi stakeholder’s consultation.  WIL in Faridabad would Identify important stakeholders for the WASH forum and form a group/committee with designated roles and responsibilities for undertaking activities under WASH Sector improvement in Faridabad. The WASH FORUM will have a steering committee comprising of core members. The members of the committee should have representatives from government, NGO, Private sector, Academia and public who are interested in WASH and any individual with interest in city WASH sector can be part of the WASH Forum. WASH LAB will develop a detailed ToR for forming the committee and WASH FORUM. It would also define the detailed objective of the Forum, roles and responsibility of the committee members. The first two years of WASH Forum will be under the management of WASH LAB. Post two years, the core committee members may choose the future course of action. WASH forum can decide on membership for any citizen to be its part.

25.	Organizing of Health Camps.

Health Department has been directed to organize health camps in areas prone to water pollution and to get profile studies conducted on specific diseases observed in the locality, through reputed institutions. The Health Department informed that it had issued directions on 22.11.2018 all the District Level Officers to organize health camps. Health Department shall review the status and progress in the case in its monthly meeting.

Yamuna Nagar District:  Action plan for Health Camps in year 2019

CHC Naharpur

| Sr. No. | Proposed Camp site CHC/PHC/Village | Propose date of Health camp |
| --- | --- | --- |
| 1. | Kalanaur | 15.01.2019 |
| 2. | Kmalpur | 12.02.2019 |
| 3. | Shadipur | 09.03.2019 |
| 4. | Lapra | 09.04.2019 |
| 5. | Isarpur | 09.05.2019 |
| 6. | Kait | 13.06.2019 |
| 7. | Tappu Majari | 16.07.2019 |
| 8. | Bakarpur | 22.08.2019 |
| 9. | Bibipur | 13.09.2019 |
| 10. | Naharpur Majri | 01.10.2019 |
| 11. | Dayalgarh | 08.11.2019 |
| 12. | Buria | 13.12.2019 |

CHC Khizrabad, Yamuna Nagar

| Sr. No. | Proposed Camp site CHC/PHC/ Village | Propose date of Health camp |
| --- | --- | --- |
| 1. | Bhood Kalan | 02.01.2019 |
| 2. | Faizpur | 12.02.2019 |
| 3. | Ballewala | 14.03.2019 |
| 4. | Kohliwala | 18.04.2019 |
| 5. | Tajewala | 14.05.2019 |
| 6. | Kalesar | 04.06.2019 |
| 7. | Odobans(Kheri) | 11.07.2019 |

Karnal District:  Action plan for Health Camps in year 2019

| Sr. No. | Proposed Camp site CHC/PHC/ Village | Proposed date of health camp |
| --- | --- | --- |
| 1 | Village Nagli (PHC Gheer) | 11.01.2019 |
| 2 | Vill. Kamalpur Gadriyan (PHC Gheer) | 18.01.2019 |
| 3 | Vill. Shergarh Tapu (PHC Gheer) | 25.01.2019 |
| 4 | Vill. Chandrao (PHC Khukhni) | 10.01.2019 |
| 5 | Vill. Syed Chhapra (PHC Khukhni) | 24.01.2019 |
| 6 | Vill. Balhera (PHC Barsat) | 19.01.2019 |
| 7 | Vill. Devipur (PHC Barsat) | 16.02.2019 |
| 8 | Vill. Bharalgarhi (PHC Barsat) | 16.03.2019 |
| 9 | Vill. Balhera (PHC Barsat) | 20.04.2019 |
| 10 | Vill. Devipur (PHC Barsat) | 18.05.2019 |
| 11 | Vill. Balhera (PHC Barsat) | 15.06.2019 |
| 12 | Vill. Garhi Bahral (PHC Barsat) | 20.07.2019 |
| 13 | Vill. Balhera (PHC Barsat) | 17.08.2019 |
| 14 | Vill. Balhera (PHC Barsat) | 19.10.2019 |
| 15 | Vill. Devipur (PHC Barsat) | 21.09.2019 |
| 16 | Vill. Garhi Bahral (PHC Barsat) | 16.11.2019 |

Panipat District: Action plan for Health Camps in year 2019

| Sr. No | Site of camp | Name of Sub Center | Name of PHC | Date |
| --- | --- | --- | --- | --- |
| 1 | Village Ramarada | Sanoli | Bapoli | 05.01.2019 |
| 2 | Village Nanhera | Admai | Bapoli | 09.02.2019 |
| 3 | Village Admai | Admai | Bapoli | 09.03.2019 |
| 4 | Village goela Khera | Goela Khera | Bapoli | 13.04.2019 |
| 5 | Village Mirzapur | Admai | Bapoli | 11.05.2019 |
| 6 | Village Rahimpur Kheri | Admai | Bapoli | 15.06.2019 |
| 7 | Village Rakshera | Rakshera | Pattikalyana | 05.01.2019 |
| 8 | Village Hatwala | Hathwala | Pattikalyana | 09.02.2019 |
| 9 | Village Simbalgar | Rakhsera | Pattikalyana | 09.03.2019 |
| 10 | Village Bilaspur | Hathwala | Pattikalyana | 13.04.2019 |

Sonipat District: Action plan for Health Camps in year 2019

| Sr. No. | Name of the Village | Name of intuition | Name of CHC | Proposed Date of Health Camp |
| --- | --- | --- | --- | --- |
| 1. | Nagal Kalan | Sub Center | Badkhalsa | 14.01.2019 |
| 2. | Halalpur | PHC |  | 17.01.2019 |
| 3 | Bindroli | Sub Center |  | 31.01.2019 |
| 4 | Barota | Sub Center |  | 07.02.2019 |
| 5 | Nahara | Sub Center |  | 14.02.2019 |
| 6 | Manoli | Sub Center |  | 21.02.2019 |
| 7 | Jakholi | PHC |  | 05.03.2019 |
| 8 | Rohat | Sub Center | Firozpur Banger | 12.03.2019 |
| 9 | Kakroi | Sub Center | Juan | 04.04.2019 |
| 10 | Mehlana | Sub Center |  | 11.04.2019 |
| 11 | Barwashni | Sub Center |  | 18.04.2019 |
| 12 | Bhatana Zafarbad | PHC |  | 02.05.2019 |
| 13 | Juan | CHC |  | 09.05.2019 |
| 14 | Jainpur | Sub Center |  | 16.05.2019 |
| 15 | Nandhro | Sub Center |  | 23.05.2019 |
| 16 | Broli | Sub Center |  | 30.05.2019 |
| 17 | Sardhana | Sub Center | Ganaur | 13.06.2019 |
| 18 | Kailana | Sub Center |  | 20.06.2019 |
| 19 | Bajana Khurd | Sub Center |  | 04.07.2019 |
| 20 | Ahulana | PHC |  | 11.07.2019 |
| 21 | Bega | PHC |  | 18.07.2019 |
| 22 | Datoli | PHC |  | 27.08.2019 |
| 23 | Moi Majri | PHC |  | 11.09.2019 |
| 24 | Ghasoli | Sub Center |  | 17.10.2019 |
| 25 | Ahulana Gohana | Sub Center | Gohana | 24.10.2019 |
| 26 | Joilly | PHC |  | 21.11.2019 |
| 27 | Butana Kundu | PHC | Mudlana | 28.11.2019 |
| 28 | Gangana | Sub Center |  | 06.12.2019 |
| 29 | Jagsi | Sub Center |  | 13.12.2019 |

Faridabad District: Action plan for Health Camps in year 2019

| Sr. No. | Proposed Camp site CHC KHERI KALAN / PHC KHERI KALA/ SUB CENTER- JASANA | Proposed Date of Health Camp |
| --- | --- | --- |
| 1. | Village Amipur | 22.01.2019 |
| 2. | Village Alipur | 23.02.2019 |
| 3. | Village Tilori | 25.03.2019 |
| 4. | Village Old Sidhola | 24.05.2019 |
| 5. | Village Mahawatpur | 22.06.2019 |
| 6. | Village Mojabad | 23.07.2019 |
| 7. | Village Lalpur | 20.08.2019 |
| 8. | Village Dalelpur | 24.10.2019 |

CHC Kurali, Faridabad

| Sr. No. | Proposed Camp site CHC/PHC/ Village | Proposed date of Health Camp |
| --- | --- | --- |
| 1. | Walipur | 24-Jan |
| 2. | Mohna | 21-Fab |
| 3. | Chainsa | 20.03.2019 |
| 4. | Akbarpur | 25.04.2019 |
| 5. | Motuka | 23.05.2019 |
| 6. | Arua | 20.06.2019 |
| 7. | Manjhawali | 25.07.2019 |

District-Palwal:  Action plan for Health Camps in year 2019

| Sr. No. | Name of Month | Proposed Camp site CHC/PHC/ Village | Proposed date of Health Camp |
| --- | --- | --- | --- |
| 1. | January | Hodal/Tappa/Indranagar | 17/01/2019 |
| 2. | February | Hodal/Tappa/Kushak | 18/02/2019 |
| 3. | March | Hodal/Tappa/Atwa | 18.03.2019 |
| 4. | April | Hodal/Tappa/Kashipur | 18.04.2019 |
| 5. | May | Hodal/Tappa/Rahimpur | 18.05.2019 |
| 6. | June | Hodal/Tappa/Acheja | 18.06.2019, 7.06.2019 |
|  |  | Dudhola/Amarpur/Thantri | 18.06.2019,27.06.2019 |
| 7. | July | Hodal/Tappa/Movlipur | 18.07.2019,25.07.2019 |
|  |  | Dudhola/Amarpur/Prahladpur | 18.07.2019,25.07.2019 |
| 8. | August | Hodal/Tappa/Tappa | 17.08.2019, 27.08.2019 |
|  |  | Dudhola/Amarpur/Gurwari | 14.08.2019, 27.08.2019 |
| 9. | September | Hodal/Tappa/Bilochpur | 17.09.2019 |
| 10. | October | Hodal/Tappa/Fatnagar | 17.10.2019 |
| 11. | November | Hodal/Tappa/Rahimpur | 14.11.2019 |
| 12. | December | Hodal/Tappa/Sultanpur | 19.12.2019 |

26.	Dredging & de-silting of drains in the cities.

As per the directions of Hon'ble NGT, Urban Local Bodies Department and Irrigation Department are regularly conducting the exercise of de-silting and repairs of drains under their jurisdiction and the details on its compliance are being reviewed in its meetings and at State Level by the Chief Secretary.  The detailed plan prepared by irrigation department and ULBD for the drains desilted and to be desilted in the coming year is enclosed as Annexure-12 and Annexure-13 respectively.

27.	Concluding Remarks

The above action plan has been prepared on specific action points after consulting all the stakeholder Departments of Haryana and they have also provided a specific time frame for every activity to bring down the pollution contributing to river Yamuna.  This will be reviewed by the Departments concerned, at their level, in every monthly meeting.  Further, the progress of all the actions shall be reviewed by Administrative Secretary of Environment Department every 	month with the Secretaries / senior officers of all stakeholder Departments, where the progress vis-a-vis timelines will be reviewed.  It has also been decided that a Quarterly Review meeting will be done at the level of Chief Secretary with the Administrative Secretaries concerned and the progress will be reported after every Quarterly Review Meeting, to the Monitoring Committee appointed by NGT and the status will be reported to NGT as well.

Annexure-1

Govt. of Haryana

Environment Department

Order

Whereas, the Hon'ble National Green Tribunal issued order dated 20.09.2018 in the matter of OA No. 673 of 2018 titled More River Stretches are now critically polluted: CPCB and issued following directions:-

- To prepare action plan within 2 months for bringing all the polluted river stretches to be fit atleast for bathing purposes  (i.e. BOD less than 3mg/l and Feacal Coliform less than 500 MPN/ 100 ml  within 6 months from the date of finalization of the action plan).

- Action Plan be prepared by four members Committee called River Rejuvenation Committee (RRC) comprising Director, Environment, Director, Urban Development, Director, Industry and Member Secretary, State Pollution control Board and this committee will also be the 'Monitoring Committee' for execution of the plan and work under the supervision and coordination of Administrative Secretary, Environment Department.

- To set up Special Environment Surveillance Task Force comprising nominees of District Magistrate, Superintending of Police, Regional Officer of State Pollution Control Board and one person to be nominated by District Judge in capacity as chairman of Legal Services Authority on the pattern of directions of the tribunal dated 07.08.2018 in OA application No. 138 of 2016 "Stench Grips Mansa's Sacred Ghaggar River (Suo-Moto Case). The Task Force has also to ensure that no illegal mining take place in river beds of such polluted stretches.

Therefore, in compliance of the order dated 20.09.2018, Special Environment Surveillance Task Force (SESTF) is constituted comprising of the following:-

| Sr. No. | Designation of Member | Roll in Task Force |
| --- | --- | --- |
|  | Nominee of Deputy Commissioner of concerned District | Chairman |
|  | Nominee of Superintendent of Police of the concerned District | Member |
|  | Person nominated by District Judge of the concerned District | Member |
|  | Nominee of Regional Officer of HSPCB having jurisdiction over the District | Member Secretary |

The Special Surveillance Task Force for Kurukshetra District shall be for Ladwa Block as this Block falls in Yamuna Catchment. The nominees of both the Regional Officers of HSPCB at Gurugram and Faridabad shall be for their respective jurisdiction.

Following action shall be ensured by the Committee/ Special Environment Task Force

River Rejuvenation Committee-cum-Monitoring Committee (RRC):-

- The RRC shall finalize the action plan with firm timelines and review the same on monthly basis.

- The RRC shall recover the cost of rejuvenation in Polluter Pays Principle from those who are responsible for pollution as per NGT order

- The RRC shall reward those who have contributed significantly to the success of the project

- RRC shall submit progress report to the administrative secretary, Environment on quarterly basis.

- RRC shall ensure that monthly report is uploaded on the Website.

Special Environment Surveillance Task Force (SESTF)

- SESTF shall identify all persons, responsible for violation of law and norms relating to pollution in Yamuna River and the drains joining it.

- SESTF also initiate civil and criminal action against the violators as well as those who fail to perform their duties in this regard and shield the culprits.

- The SESTF shall submit report to recover the cost of rejuvenation in Polluter Pays Principle from those who are responsible for pollution as per NGT order.

- The SESTF shall submit report to reward those who have contributed significantly to the success of the project.

- SESTF shall submit a monthly report on all actions taken by it to the RRC, by first week of every month.

- SESTF shall also assist the RRC in preparation of the action plan and finalizing the timelines.

- SESTF shall involve Civil Society Organisations and public participations in preparing the action plan in all possible areas.

- SESTF shall ensure periodic sampling of river water as well as ground water to check the water quality.

Dated, Chandigarh the					          Devender Singh

06th November, 2018 					Additional Chief Secretary,							                           Environment Department

Endst. No. 16/20/2018- 3Env.				         	 Dated: 08.11.2018

A copy of the above is forward to the following for information and necessary action please:-

- Additional Chief Secretary, Industries Department, Haryana, Chandigarh.

- Principal Secretary, Urban Local Bodies Department, Haryana, Chandigarh.

- Chairman, Haryana State Pollution Control Board, Panchkula.

- Director, Environment Department, Haryana.

- Director, Urban Local Bodies  Department, Haryana

- Director, Industries Department, Haryana.

- Deputy Commissioner, Yamuna Nagar.

- Deputy Commissioner, Kurukshetra.

- Deputy Commissioner, Karnal.

- Deputy Commissioner, Panipat.

- Deputy Commissioner, Sonepat.

- Deputy Commissioner, Jhajjar.

- Deputy Commissioner, Rohtak.

- Deputy Commissioner, Gurugram

- Deputy Commissioner, Faridabad.

- Deputy Commissioner, Palwal.

- Deputy Commissioner, Nuh.

- District and Session Judge, Yamuna Nagar.

- District and Session Judge, Kurukshetra.

- District and Session Judge, Karnal.

- District and Session Judge, Panipat.

- District and Session Judge, Sonepat.

- District and Session Judge, Jhajjar.

- District and Session Judge, Rohtak.

- District and Session Judge, Gurugram.

- District and Session Judge, Faridabad.

- District and Session Judge, Palwal.

- District and Session Judge, Nuh.

- Superintendent of Police, Yamuna Nagar.

- Superintendent of Police, Kurukshetra.

- Superintendent of Police, Karnal

- Superintendent of Police, Panipat.

- Superintendent of Police, Sonepat.

- Superintendent of Police, Jhajjar.

- Superintendent of Police, Rohtak.

- Superintendent of Police, Gurugram.

- Superintendent of Police, Faridabad.

- Superintendent of Police, Palwal.

- Superintendent of Police, Nuh.

- Regional Officer of HSPCB having jurisdiction over the District.

DA/ Copy of orders of Hon'ble NGT		                                                            -sd-

Superintendent

for Additional Chief Secretary to Govt. Haryana,

Annexure-2

Quality of River Yamuna

| Sr. No. | AR/No. & dt. | Date | pH | BOD (mg/l) | COD (mg/l) | TSS (mg/l) | O & G (mg/l) | Ammonical -N (mg/l) | DO (mg/l) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | River Yamuna after meeting Maskara Nallah, Kalanaur (Lat- 30.067139 ,Long-77.353106) |
|  | 2703 dt. 27.01.2017 | 18.01.2017 | 8 | 8 | 30 | 10 | ND |  |  |
|  | 2836 dt. 20.03.2017 | 10.03.2017 | 7.8 | 4 | 22.2 | 7 | ND |  |  |
|  | 3200 dt. 23.06.2017 | 14.06.2017 | 8 | 5 | 24 | 44 | ND |  |  |
|  | 3358 dt. 08.08.2017 | 26.07.2017 | 7 | 4 | 34 | 119 | ND |  |  |
|  | 3534 dt. 25.09.2017 | 14.09.2017 | 7.2 | 4 | 16 | 28 | ND |  |  |
|  | 3788 dt. 08.11.2017 | 30.10.2017 | 7.4 | 4 | 25.2 | 6 | ND |  |  |
|  | 3885 dt. 12.12.2017 | 30.11.2017 | 7.7 | 2 | 11 | 8 | ND |  |  |
|  | 4345 dt. 22.03.2018 | 15.03.2018 | 8.1 | 4.2 | 24.4 | 9 | ND |  |  |
|  | 4520 dt. 26.04.2018 | 16.04.2018 | 8.1 | 3.5 | 13.6 | 12 | ND |  |  |
|  | 4710 dt. 07.06.2018 | 28.05.2018 | 8 | 6.5 | 26 | 7 | ND |  |  |
|  | 5058 dt 04.09.2018 | 25.08.2018 | 8.1 | 5 | 24 | 60 | ND |  |  |
| 2 | River Yamuna before meeting Maskara Nallah,up stream, Kalanaur (Lat- 30.075455 ,Long-77.359031) |
|  | 2702 dt. 27.01.2017 | 18.01.2017 | 7.8 | 6 | 22 | 7 | ND |  |  |
|  | 2835 dt. 20.03.2017 | 10.03.2017 | 7.7 | 3.4 | 15.2 | 10 | ND |  |  |
|  | 3201 dt. 23.06.2017 | 14.06.2017 | 8 | 3 | 12.8 | 38 | ND |  |  |
|  | 3359 dt. 08.08.2017 | 26.07.2017 | 7.4 | 5 | 37.6 | 62 | ND |  |  |
|  | 3535 dt. 25.09.2017 | 14.09.2017 | 7 | 2.6 | 12 | 16 | ND |  |  |
|  | 3789 dt. 08.11.2017 | 30.10.2017 | 7.3 | 2.9 | 17.6 | 4 | ND |  |  |
|  | 3884 dt. 12.12.2017 | 30.11.2017 | 7.8 | 2.2 | 13.2 | 5 | ND |  |  |
|  | 4342 dt. 22.03.2018 | 15.03.2018 | 8.1 | 3.6 | 15.2 | ND | ND |  |  |
|  | 4521 dt. 26.04.2018 | 16.04.2018 | 8.1 | 2.5 | 10.8 | 8 | ND |  |  |
|  | 4711 dt. 07.06.2018 | 28.05.2018 | 8.2 | 2.8 | 11.6 | 9 | ND |  |  |
|  | 5059 dt. 04.09.2018 | 25.08.2018 | 8.1 | 3 | 14 | 44 | ND |  |  |
| 3 | River Yamuna before meeting Dhanaura Escape , Karnal (Lat- 29.740773 ,Long-77.130485) |
|  | 2633 dt. 09.01.2017 | 30.12.2016 | 8.1 | 3.8 | 14.4 | 6 | ND |  |  |
|  | 2714 dt. 31.01.2017 | 20.01.2017 | 8.1 | 3.2 | 10 | ND | ND |  |  |
|  | 2797 dt. 06.03.2017 | 23.02.2017 | 7.1 | 4 | 16 | 16 | ND |  |  |
|  | 2827 dt. 20.03.2017 | 09.03.2017 | 6.8 | 4 | 25.6 | 43 | ND |  |  |
|  | 3194 dt. 23.06.2017 | 14.06.2017 | 7.7 | 4 | 27.2 | 36 | ND |  |  |
|  | 3365 dt. 08.08.2017 | 26.07.2017 | 7.3 | 7 | 36 | 83 | ND |  |  |
|  | 3460 dt. 01.09.2017 | 18.08.2017 | 7.4 | 5 | 41.6 | 44 | … |  |  |
|  | 3541 dt. 25.09.2017 | 14.09.2017 | 7.2 | 2 | 11.6 | 44 | ND |  |  |
|  | 3753 dt. 07.11.2017 | 27.10.2017 | 7.3 | 2.8 | 14 | 12 | ND |  |  |
|  | 3888 dt. 12.12.2017 | 30.11.2017 | 7.6 | 2 | 14 | 5 | ND |  |  |
|  | 4136 dt. 20.02.2018 | 14.02.2018 | 8.3 | 2.4 | 12.4 | ND | ND |  |  |
|  | 4348 dt. 22.03.2018 | 22.03.2018 | 8.1 | 3 | 12.8 | 6 | ND |  |  |
|  | 4494 dt. 24.04.2018 | 12.04.2018 | 8.4 | 3.5 | 18.8 | 7 | ND |  |  |
|  | 4630 dt. 14.05.2018 | 03.05.2018 | 8 | 4.5 | 27.6 | 6 | ND |  |  |
|  | 4773 dt. 19.06.2018 | 12.06.2018 | 8.2 | 4 | 18 | 17 | ND |  |  |
|  | 4894 dt. 01.08.2018 | 16.07.2018 | 8.1 | 4 | 23.2 | 20 | ND |  |  |
|  | 5047 dt. 04.09.2018 | 24.08.2018 | 7.9 | 3.8 | 15.2 | ND | ND |  |  |
| 4 | River Yamuna after meeting Dhanaura Escape , Karnal (Lat- 29.725615 ,Long-77.131735) |
|  | 2635 dt. 09.01.2017 | 30.12.2016 | 7.5 | 6 | 26.8 | 60 | ND |  |  |
|  | 2715 dt. 31.01.2017 | 20.01.2017 | 7 | 40 | 162 | 46 | 2 |  |  |
|  | 2799 dt. 06.03.2017 | 23.02.2017 | 6.7 | 110 | 317.6 | 112 | 6.5 |  |  |
|  | 2828 dt. 20.03.2017 | 09.03.2017 | 7.6 | 60 | 182.4 | 190 | 4 |  |  |
|  | 3082 dt. 22.05.2017 | 15.05.2017 | 6.5 | 12 | 39.6 | 182 | 2 |  |  |
|  | 3195 dt. 23.06.2017 | 14.06.2017 | 8.1 | 7 | 32.8 | 76 | ND |  |  |
|  | 3366 dt. 08.08.2017 | 26.07.2017 | 7.1 | 12 | 65.6 | 141 | 2 |  |  |
|  | 3461 dt. 01.09.2017 | 18.08.2017 | 7.9 | 2.6 | 12.8 | 40 | … |  |  |
|  | 3542 dt. 25.09.2017 | 14.09.2017 | 6.8 | 7 | 42 | 63 | ND |  |  |
|  | 3754 dt. 07.11.2017 | 27.10.2017 | 6.4 | 16 | 70 | 80 | 2.5 |  |  |
|  | 3889 dt. 12.12.2017 | 30.11.2017 | 7.3 | 12 | 60.4 | 15 | ND |  |  |
|  | 4137 dt. 20.02.2018 | 14.02.2018 | 7.1 | 60 | 223.4 | 128 | 4 |  |  |
|  | 4349 dt. 22.03.2018 | 15.03.2018 | 7.2 | 18 | 80 | 76 | 2 |  |  |
|  | 4495 dt. 24.04.2018 | 12.04.2018 | 7.8 | 8.5 | 39.5 | 26 | ND |  |  |
|  | 4629 dt. 14.05.2018 | 03.05.2018 | 7.7 | 10 | 30.8 | 46 | ND |  |  |
|  | 4772 dt. 19.06.2018 | 12.06.2018 | 7.6 | 26 | 138.8 | 36 | 2 |  |  |
|  | 4895 dt. 01.08.2018 | 16.07.2018 | 7.5 | 12 | 55.2 | 28 | ND |  |  |
|  | 5048 dt. 04.09.2018 | 24.08.2018 | 8 | 8 | 30.8 | 122 | ND |  |  |
| 5 | River Yamuna before meeting the discharge of Drain No. 2 at Vill. Sanjoli (Lat- 29.282956 ,Long-77.126465) |
|  | 2654dt.19.01.2017 | 10.01.2017 | 7.76 | 4 | 22 | 10 | ND |  |  |
|  | 3334dt.31.07.2017 | 19.07.2017 | 7.72 | 3.8 | 15.6 | 824 | ND |  |  |
|  | 3445dt.30.08.2017 | 17.08.2017 | 7.35 | 2 | 12.8 | 1237 | ND |  |  |
|  | 3709dt.26.10.2017 | 16.10.2017 | 7.1 | 2.6 | 14 | 24 | ND |  |  |
|  | 3908dt.13.12.2017 | 06.12.2017 | 8 | 2.2 | 17.2 | 7 | ND |  |  |
|  | 4016dt.19.01.2018 | 11.01.2018 | 7.7 | 9 | 2.4 | 16 | ND |  |  |
|  | 4177dt.27.02.2018 | 20.02.2018 | 7.71 | 16 | 12 | 62.8 | ND |  |  |
|  | 4333dt.19.03.2018 | 10.03.2018 | 8.6 | 5 | 4 | 14.8 | ND |  |  |
|  | 4888dt.25.07.2018 | 12.07.2018 | 7.6 | 4.5 | 21.2 | 8 | ND |  |  |
|  | 5012dt.04.09.2018 | 21.08.2018 | 7.4 | 5 | 32.4 | 60 | ND |  |  |
|  | 5406dt.29.11.2018 | 19.11.2018 | 7.1 | 5 | 26.4 | 9 | ND |  |  |
| 6 | River Yamuna after meeting the discharge of Drain No. 2 near Vill. Khojkipur. (Lat- 29.27223 ,Long-77.127757) |
|  | 2656dt.19.01.2017 | 10.01.2017 | 7.8 | 6 | 36 | 10 | ND |  |  |
|  | 3336dt.31.07.2017 | 19.07.2017 | 7.7 | 6 | 24 | 876 | ND |  |  |
|  | 3444dt.30.08.2017 | 17.08.2017 | 7.4 | 5.2 | 36 | 303 | ND |  |  |
|  | 3708dt.26.10.2017 | 16.10.2017 | 7.1 | 12 | 49.2 | 22 | ND |  |  |
|  | 3907dt.13.12.2017 | 06.12.2017 | 7.8 | 9 | 40 | 22 | ND |  |  |
|  | 4220dt.05.03.2018 | 24.02.2018 | 7.4 | 16 | 12 | 51.2 | ND |  |  |
|  | 4353dt.26.03.2018 | 15.03.2018 | 8.4 | 23 | 8 | 61.2 | ND |  |  |
|  | 4461dt.19.04.2018 | 10.04.2018 | 7.9 | 24 | 60 | 200 | 3.5 |  |  |
|  | 4887dt.25.07.2018 | 12.07.2018 | 7.7 | 12 | 50 | 25 | ND |  |  |
|  | 5014dt.04.09.2018 | 21.08.2018 | 7.5 | 5 | 30.8 | 210 | ND |  |  |
|  | 5406dt.29.11.2018 | 19.11.2018 | 7.1 | 5 | 26.4 | 9 | ND |  |  |
| 7 | Monitoring sample Analysis Reports of River Yamuna at Palla (Lat- 28.854403 ,Long-77.207822) |
|  | 2644 dt 16.1.2017. | 4.1.17 | 7.7 | 4.5 | 19.2 | 7 |  | -- | -- |
|  | 2759 dt. 16.2.2017 | 7.2.17 | 7.9 | 3.2 | 18 | 24 |  | -- |  |
|  | 2825 dt 15.3.2017 | 7.3.17 | 9 | 5.5 | 50 | 7 |  | 0.56 |  |
|  | 2939 dt 12.4.2017 | 5.4.17 | 9.3 | 2.5 | 21.2 | 16 |  | ND |  |
|  | 3062 dt. 11.5.2017 | -- | 7.9 | 1.8 | 12 | 88 |  | ND |  |
|  | 4003 dt. 18.1.2018 | 10.1.18 | 8.1 | 2.8 | 16.4 | 66 |  | 0.28 |  |
|  | 4025 dt. 23.1.2018 | 12.01.18 | 7.9 | 3.5 | 28.4 | 16 |  | 0.72 |  |
|  | 4048 dt. 30.1.2018 | 15.01.2018 | 7.5 | 4.5 | 49.2 | 8 |  | 0.56 |  |
|  | 4129 dt. 20.2.2018 | 14.2.18 | 8.4 | 10 | 90.4 | 6 |  | 2.95 |  |
|  | 4147 dt. 21.2.2018 | 15.02.2018 | 8.4 | 4.8 | 22 | 10 |  | 2.26 |  |
|  | 4172 dt. 23.2.2018 | 18.02.2018 | 8.2 | 5 | 42 | 10 |  | 3.97 |  |
|  | 691 dt. 19.3.2018 | 08.03.2018 | 8.5 | 4 | 32 | 6 |  | 4.5 |  |
|  | 694 dt. 20.3.2018 | 09.03.2018 | 8.5 | 7 | 52 | 8 |  | 2.1 |  |
|  | 695 dt. 20.3.2018 | 10.03.2018 | 8 | 5 | 40 | 12 |  | 4.4 |  |
|  | 696 dt. 20.3.2018 | 11.03.2018 | 8.1 | 6 | 48 | 15 |  | 4 |  |
|  | 697 dt. 20.3.2018 | 12.03.2018 | 8.1 | 7 | 52 | 10 |  | 3.75 |  |
|  | 703 dt. 21.3.2018 | 13.03.2018 | 8.3 | 5 | 40 | 12 |  | 4.19 |  |
|  | 704 dt. 21.3.2018 | 14.03.2018 | 8.6 | 10 | 88 | 8 |  | 4,4 |  |
|  | 722 dt. 27.3.2018 | 15.03.2018 | 8.5 | 3 | 28 | 5 |  | 3.1 |  |
|  | 727 dt. 27.3.2018 | 16.03.2018 | 8.4 | 7 | 56 | 9 |  | 2.6 |  |
|  | 728 dt. 27.3.2018 | 17.03.2018 | 8.3 | 6 | 52 | 8 |  | 4.1 |  |
|  | 729 dt. 27.3.2018 | 18.03.2018 | 8.3 | 5 | 36 | 4 |  | 3.9 |  |
|  | 730 dt. 27.3.2018 | 19.03.2018 | 8.3 | 7 | 48 | 5 |  | 4.2 |  |
|  | 737 dt. 28.3.2018 | 20.03.2018 | 8.1 | 6 | 40 | 5 |  | 3.8 |  |
|  | 738 dt. 28.3.2018 | 21.03.2018 | 8.1 | 5 | 32 | 4 |  | 3.6 |  |
|  | 4901 dt. 1.8.2018 | 17.07.2018 | 7.8 | 6 | 38.4 | 96 |  | -- |  |
|  | 5040 dt. 4.9.2018 | 24.08.2018 | 7.9 | 2.8 | 18.4 | 62 |  | -- |  |
|  | 5115 dt. 8.10.2018 | 26.09.2018 | 8 | 4.4 | 22 | 490 |  | -- |  |
|  | 5330 dt. 14.11.2018 | 31.10.2018 | 7.5 | 2.5 | 13.6 | 22 |  | -- |  |
| 8 | Yamuna River at Basantpur, Faridabad (Lat- 28.510197 ,Long-77.347129) |
|  | 176M dt 18.01.2017 | 12.01.2017 | 8 | 42 | 160 | 167 | 7 | 10.4 |  |
|  | 197M dt 22.02.2017 | 14.02.2017 | 7.8 | 54 | 168 | 177 | 9 | 13.2 |  |
|  | 231M dt 08.03.2017 | 02.03.2017 | 7.8 | 48 | 144 | 144 | 5 | 9.4 |  |
|  | 29M dt 05.05.2017 | 27.04.2017 | 8.3 | 54 | 152 | 167 | 6 | 10.2 |  |
|  | 58M dt 23.06.2017 | 19.06.2017 | 8.7 | 62 | 192 | 178 | 9 | 13.4 |  |
|  | 65M dt 04.08.2017 | 28.07.2017 | 6.6 | 52 | 176 | 154 | 5 | 9.6 |  |
|  | 85M dt 30.08.2017 | 24.08.2017 | 6.7 | 48 | 160 | 146 | 7 | 9.6 |  |
|  | 109M dt 09.10.2017 | 28.09.2017 | 6.8 | 45 | 152 | 134 | 8 | 9.2 |  |
|  | 116M dt 14.11.2017 | 30.10.2017 | 6.7 | 46 | 160 | 122 | 7 | 11.4 |  |
|  | 136M dt 29.11.2017 | 23.11.2017 | 7.1 | 42 | 144 | 106 | 6 | 9.8 |  |
|  | 151M dt 22.12.2017 | 19.12.2017 | 7.4 | 40 | 136 | 114 | 5 | 9.2 |  |
|  | 176M dt 16.01.2018 | 10.01.2018 | 7.2 | 42 | 144 | 106 | 7 | 8.6 |  |
|  | 203M dt 28.02.2018 | 21.02.2018 | 7.4 | 48 | 176 | 125 | 9 | 10 |  |
|  | 32M dt 03.05.2018 | 25.04.2018 | 7.5 | 54 | 208 | 149 | 9 | 10.2 |  |
|  | 48M dt 29.05.2018 | 23.05.2018 | 7.2 | 58 | 216 | 162 | 8 | 11.5 |  |
|  | 66M dt 03.07.2018 | 21.06.2018 | 7.1 | 35 | 168 | 149 | 5 | 10.2 |  |
|  | 79M dt 18.07.2018 | 10.07.2018 | 7.5 | 56 | 208 | 164 | 7 | 12 |  |
|  | 110M dt 29.08.2018 | 21.08.2018 | 7.4 | 45 | 184 | 180 | 4 | 10.2 |  |
|  | 121M dt 05.10.2018 | 28.09.2018 | 7.3 | 46 | 208 | 189 | 5 | 11 |  |
|  | 189M dt 26.10.2018 | 17.10.2018 | 7.3 | 48 | 216 | 204 | 4 | 13.2 |  |
|  | 214M dt. 05.12.2018 | 26.11.2018 | 7 | 54 | 233 | 216 | 6 | 14.8 |  |
| 9 | River Yamuna D/S before Gaunchi Drain (Lat- 27.915854 ,Long-77.521538) |
|  | 178M to 189M dt. 31.01.2017 | 21.01.2017 | 7.9 | 28 | 116 | 55 | 2 |  |  |
|  | 211M dt. 28.2.2017 | 21.02.2017 | 7.8 | 54 | 280 | 76 | 6 |  |  |
|  | 19M dt. 01.05.2017 | 22.04.2017 | 8.3 | 52 | 192 | 75 | 4 |  |  |
|  | 49M dt. 02.06.2017 | 28.05.2017 | 8.7 | 27 | 128 | 70 | 6 |  |  |
|  | 99M dt. 04.10.2017 | 22.09.2017 | 7.2 | 46 | 180 | 75 | 5 |  |  |
|  | 129M dt. 22.11.2017 | 16.11.2017 | 7.3 | 50 | 192 | 79 | 8 |  |  |
|  | 193M dt. 24.01.2018 | 16.01.2018 | 7.1 | 52 | 184 | 70 | 6 |  |  |
|  | 232M dt. 28.03.2018 | 19.03.2018 | 7.2 | 60 | 208 | 93 | 12 |  |  |
|  | 18M dt. 26.04.2018 | 18.04.2018 | 7.1 | 56 | 208 | 91 | 9 |  |  |
|  | 60M dt. 31.05.2018 | 25.05.2018 | 7.1 | 65 | 240 | 158 | 15 |  |  |
|  | 91M dt. 25.7.2018 | 18.07.2018 | 7.3 | 52 | 208 | 86 | 6 |  |  |
|  | 132M dt. 08.10.2018 | 28.09.2018 | 7.6 | 58 | 224 | 105 | 8 |  |  |
| 10 | River Yamuna after Gaunchi Drain (Lat- 27.909736 ,Long-77.521114 ) |
|  | 178M to 189M dt. 31.01.2017 | 21.01.2017 | 7.8 | 26 | 108 | 72 | 4 |  |  |
|  | 213M dt. 28.02.2017 | 21.02.2017 | 8.1 | 29 | 136 | 78 | 7 |  |  |
|  | 20M dt. 01.05.2017 | 22.04.2017 | 8.2 | 30 | 144 | 72 | 6 |  |  |
|  | 48M dt. 02.06.2017 | 28.0.2017 | 8.2 | 44 | 176 | 70 | 5 |  |  |
|  | 100M dt. 04.10.2017 | 23.09.2017 | 7.4 | 21 | 112 | 59 | 3 |  |  |
|  | 130M dt. 22.11.2017 | 16.11.2017 | 7.4 | 23 | 116 | 68 | 4 |  |  |
|  | 194M dt. 24.01.2018 | 16.01.2018 | 7.2 | 26 | 132 | 81 | 4 |  |  |
|  | 233M dt. 28.03.2018 | 19.03.2018 | 7.3 | 33 | 144 | 104 | 7 |  |  |
|  | 20M dt. 26.04.2018 | 18.04.2018 | 7.2 | 38 | 160 | 132 | 8 |  |  |
|  | 61M dt. 31.05.2018 | 25.05.2018 | 7.6 | 35 | 152 | 132 | 6 |  |  |
|  | 93M dt. 25.7.2018 | 18.07.2018 | 7.3 | 32 | 140 | 141 | 4 |  |  |
|  | 134M dt. 08.10.2018 | 28.09.2018 | 7.5 | 35 | 144 | 152 | 6 |  |  |

Annexure-3

Water Quality of the Drains falling out in River Yamuna in the State of Haryana.

| Sr. No. | AR/No. & dt. | Date | pH | BOD (mg/l) | COD (mg/l) | TSS (mg/l) | O & G (mg/l) | Ammonical -N (mg/l) | DO (mg/l) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Dhanaura Escape before meeting River Yamuna, Village Jarauli, Karnal (Lat- 29.742743 , Long- 77.123307) |
|  | 2634dt. 09.01.2017 | 30.12.2016 | 7.11 | 82 | 272 | 280 | 12 | - | - |
|  | 2716dt. 31.01.2017 | 20.01.2017 | 7.05 | 140 | 450.4 | 68 | 6 | - | - |
|  | 2826dt. 20.03.2017 | 09.03.2017 | 6.65 | 120 | 337.6 | 210 | 13 | - | - |
|  | 3193dt. 23.06.2017 | 14.06.2017 | 7.33 | 120 | 484.8 | 458 | 7.5 | - | - |
|  | 3364dt. 08.08.2017 | 26.07.2017 | 5.89 | 80 | 305.6 | 224 | 8.5 | - | - |
|  | 3459dt. 01.09.2017 | 18.08.2017 | 6.98 | 24 | 91.2 | 148 | .. | - | - |
|  | 3540dt. 25.09.2017 | 14.09.2017 | 6.53 | 80 | 344 | 240 | 3 | - | - |
|  | 3752dt. 07.11.2017 | 27.10.2017 | 7.46 | 100 | 356.8 | 230 | 10 | - | - |
|  | 3887dt. 12.12.2017 | 30.11.2017 | 6.73 | 120 | 490.4 | 168 | 12 | - | - |
|  | 4347dt. 22.03.2018 | 15.03.2018 | 7.02 | 110 | 403.2 | 458 | 12 | 12.32 | - |
|  | 4493dt. 24.04.2018 | 12.04.2018 | 7.4 | 150 | 538.8 | 288 | 12.5 | 14 | - |
|  | 4628dt. 14.05.2018 | 03.05.2018 | 7.88 | 120 | 392.8 | 194 | 13 | 9.52 | - |
|  | 4771dt. 19.06.2018 | 12.06.2018 | 7.61 | 130 | 419 | 112 | 8.5 | 8.4 | - |
|  | 4893dt. 01.08.2018 | 16.07.2018 | 7.97 | 85 | 317.2 | 286 | 10 | 11.2 | - |
|  | 5046dt. 04.09.2018 | 24.08.2018 | 7.43 | 40 | 103.6 | 116 | 8 | 7.28 | - |
|  | 5118dt. 08.10.2018 | 26.09.2018 | 7.65 | 36 | 126 | 299 | 3 | 0.56 | - |
|  | 5388dt. 29.11.2018 | 19.11.2018 | 6.56 | 45 | 204.8 | 52 | 3.5 | 14 | - |
| 2 | Drain No.2 before meeting river Yamuna at vill. Khojkipur (Lat- 29.281479 , Long- 77.118611) |
|  | 2655dt. 19.01.2017 | 10.01.2017 | 7.65 | 22 | 86 | 26 | 2 | - | - |
|  | 3335dt. 31.07.2017 | 19.07.2017 | 7.59 | 8 | 40.8 | 68 | ND | - | - |
|  | 3443dt. 30.08.2017 | 17.08.2017 | 7.31 | 15 | 101.6 | 48 | ND | - | - |
|  | 3707dt. 26.10.2017 | 16.10.2017 | 7.31 | 40 | 156 | 65 | 3.5 | - | - |
|  | 3906dt. 13.12.2017 | 06.12.2017 | 7.72 | 70 | 336 | 82 | 4 | - | - |
|  | 4014dt. 19.01.2018 | 11.01.2018 | 7.68 | 106 | 82 | 352.4 | 8 | 15.68 | - |
|  | 4352dt. 26.03.2018 | 15.03.2018 | 7.97 | 46 | 80 | 280.8 | 8 | 14 | - |
|  | 4460dt. 19.04.2018 | 10.04.2018 | 7.71 | 50 | 50 | 184.4 | 3 | 13.44 | - |
|  | 4886dt. 25.07.2018 | 12.07.2018 | 8.05 | 90 | 487.4 | 462 | 10 | ND | - |
|  | 5011dt. 04.09.2018 | 21.08.2018 | 7.62 | 44 | 196.4 | 57 | 2 | 10.08 | - |
|  | 5405dt. 29.11.2018 | 19.11.2018 | 6.6 | 8 | 32.4 | 26 | ND | ND | - |
| 3 | Drain no. 6 near vill. Akbarpur Barota, Sonepat. (Lat- 28.912399 , Long- 77.065543) |
|  | 2751 dt. 15.2.2017 | 3.2.2017 | 7.58 | 70 | 269 | 334 | 4.5 | 22.68 | - |
|  | 2943 dt. 12.4.2017 | 5.4.2017 | 7.65 | 40 | 138 | 128 | 4.5 | 18.2 | - |
|  | 3432 dt. 30.8.17 | 17.8.17 | 7.18 | 60 | 192 | 164 | 3 | 18.48 | - |
|  | 4167 dt. 23.02.2018 | 18.02.2018 | 7.48 | 110 | 309.6 | 334 | 13 | 22.8 | - |
|  | 4740 dt. 19.06.2018 | 29.05.2018 | 7.8 | 60 | 222 | 144 | 5 | 0.56 | - |
|  | 5116 dt. 08-10-2018 | 26-09-18 | 8.26 | 30 | 124.8 | 34 | 3 | 1.12 | - |
| 4 | Entry point of Drain No. 8 in Delhi Territory (Lat- 28.535111 , Long- 76.869182) |
|  | 320 dt. 17.3.17 | 8.3.17 | 11.4 | 130 | 336 | 440 | 6 | 40 | - |
|  | 54 dt. 21.06.17 | 01.06.17 | 6.4 | 60 | 192 | 70 | 4 | 20 | - |
|  | 3458 dt. 1.9.2017 | 18.8.2017 | 7.43 | 6 | 39.2 | 40 | - | BDL | - |
|  | No effluent was available at the point of entry of the drain to Delhi Territory on the day of sampling i.e. 20.03.2018, hence sample could not be collected. |
|  | 98 dt. 07.07.2018 | 30.06.2018 | 8.3 | 80 | 296 | 150 | 8 | 18 | - |
|  | 154 dt. 21.09.2018 | 14.09.2018 | 7.9 | 36 | 224 | 140 | 4 | 10 | - |
|  | 372 dt. 31.12.2018 | 19.12.2018 | 8.1 | 32 | 120 | 90 | 4 | 10 | - |
| 5 | Entry point of Mungeshpur drain in Delhi Territory (Lat- 28.670962 , Long- 76.950043) |
|  | 322 dt. 17.3.17 | 8.3.17 | 8.9 | 160 | 368 | 410 | 12 | 60 | - |
|  | 55 dt. 21.06.17 | 01.06.17 | 6.9 | 160 | 336 | 540 | 12 | 42 | - |
|  | 3456 dt. 1.9.2017 | 18.8.2017 | 7.09 | 10 | 46 | 29 | - | 4.48 | - |
|  | 301 dt. 30.03.2018 | 20.03.2018 | 7.7 | 140 | 640 | 520 | 14 | 60 | - |
|  | 99 dt. 07.07.2018 | 30.06.2018 | 8.1 | 130 | 660 | 490 | 16 | 50 | - |
|  | 152 dt. 21.09.2018 | 14.09.2018 | 8.2 | 70 | 312 | 320 | 8 | 40 | - |
|  | 374 dt. 31.12.2018 | 19.12.2018 | 7.8 | 56 | 600 | 190 | 4 | 10 | - |
| 6 | Entry point of KCB drain in Delhi Territory (Lat- 28.644909 , Long- 76.929443) |
|  | 321 dt. 17.3.17 | 8.3.17 | 5.7 | 140 | 352 | 510 | 8 | 56 | - |
|  | 56 dt. 21.06.17 | 01.06.17 | 8.2 | 110 | 312 | 420 | 8 | 28 | - |
|  | 3457 dt. 1.9.2017 | 18.8.2017 | 7.31 | 8 | 42.8 | 22 | - | BDL | - |
|  | 302 dt. 30.03.2018 | 20.03.2018 | 8.1 | 110 | 312 | 430 | 8 | 36 | - |
|  | 100 dt. 07.07.2018 | 30.06.2018 | 8 | 110 | 320 | 410 | 10 | 38 | - |
|  | 153 dt. 21.09.2018 | 14.09.2018 | 8 | 40 | 288 | 290 | 6 | 20 | - |
|  | 373 dt. 31.12.2018 | 19.12.2018 | 8.1 | 40 | 160 | 210 | ND | 10 | - |
| 7 | Leg I Drain, before meeting Najafgarh Drain Gurgaon (Lat- 28.530329 , Long- 77.003134) |
|  | 209 dt. 4.8.2017 | 27.7.2017 | 7.6 | 70 | 160 | 126 | 7 | - | - |
|  | 530 dt. 01.01.2018 | 21.12.2017 | 7.3 | 65 | 168 | 149 | 4 | 18 | - |
|  | 161 dt. 06.07.2018 | 27.06.2018 | 8.2 | 80 | 184 | 136 | 6 | 20.2 | - |
|  | 424 dt. 11.10.2018 | 04.10.2018 | 7.1 | 6 | 20 | 11 | 4 | 3.2 | - |
| 8 | Leg II Drain, before meeting Najafgarh Drain Gurgaon (Lat- 28.511305 , Long- 76.968811) |
|  | 212 dt. 4.8.2017 | 27.7.2017 | 7.2 | 75 | 172 | 145 | 8 | - | - |
|  | 533 dt. 01.01.2018 | 21.12.2017 | 7.1 | 80 | 180 | 152 | 3.5 | 22 | - |
|  | 164 dt. 06.07.2018 | 27.06.2018 | 7.7 | 85 | 196 | 152 | 7.5 | 23 | - |
|  | 427 dt. 11.10.2018 | 04.10.2018 | 7.3 | 10 | 36 | 14 | 3.5 | 3.4 | - |
| 9 | Leg III (Badshpur) Drain before meeting Najafgarh Drain Gurgaon (Lat- 28.495775 , Long- 76.946162) |
|  | 215 dt. 4.8.2017 | 27.7.2017 | 7.8 | 90 | 204 | 178 | 10 | - | - |
|  | 536 dt. 01.01.2018 | 21.12.2017 | 7.1 | 95 | 240 | 178 | 6 | 26 | - |
|  | 167 dt. 06.07.2018 | 27.06.2018 | 8.3 | 85 | 236 | 186 | 11.5 | 20.6 | - |
|  | 430 dt. 11.10.2018 | 04.10.2018 | 7.1 | 155 | 432 | 282 | 13.5 | 18 | - |
| 10 | Budhiya Nalah at Bye Pass (Lat- 28.456731 , Long- 77.319232) |
|  | 172M. dt 18.01.2017 | 12.01.2017 | 7.9 | 145 | 480 | 172 | 13 | 20.2 | - |
|  | 193M. dt 22.02.2017 | 14.02.2017 | 7.6 | 135 | 464 | 180 | 15 | 23.6 | - |
|  | 233M. dt 08.03.2017 | 02.03.2017 | 7.6 | 145 | 480 | 191 | 17 | 29.4 | - |
|  | 30M. dt 05.05.2017 | 27.04.2017 | 8.1 | 150 | 512 | 224 | 19 | 32.6 | - |
|  | 57M. dt 23.06.2017 | 19.06.2017 | 8.3 | 155 | 544 | 238 | 22 | 35.8 | - |
|  | 66M. dt 04.08.2017 | 28.07.2017 | 6.5 | 130 | 512 | 234 | 17 | 29.4 | - |
|  | 86M. dt 30.08.2017 | 24.08.2017 | 6.8 | 125 | 480 | 218 | 14 | 26.8 | - |
|  | 108M. dt 09.10.2017 | 28.09.2017 | 7 | 135 | 464 | 186 | 12 | 21.4 | - |
|  | 117M. dt 14.11.2017 | 30.10.2017 | 6.9 | 110 | 416 | 171 | 15 | 25.8 | - |
|  | 135M. dt 29.11.2017 | 23.11.2017 | 6.7 | 95 | 384 | 158 | 12 | 23.6 | - |
|  | 150M. dt 22.12.2017 | 19.12.2017 | 7.2 | 90 | 376 | 149 | 14 | 26.2 | - |
|  | 177M. dt 16.01.2018 | 10.01.2018 | 7.1 | 75 | 360 | 136 | 12 | 23.4 | - |
|  | 202M. dt 28.02.2018 | 21.02.2018 | 6.9 | 80 | 384 | 145 | 12 | 26.8 | - |
|  | 33M. dt 03.05.2018 | 25.04.2018 | 8 | 90 | 432 | 171 | 16 | 25.8 | - |
|  | 47M. dt 29.05.2018 | 23.05.18 | 7.6 | 95 | 448 | 188 | 15 | 27.3 | - |
|  | 70M dt 03.07.2018 | 21.06.2018 | 7 | 105 | 464 | 197 | 13 | 28.6 | - |
|  | 78M dt 18.07.2018 | 10.07.2018 | 7.2 | 95 | 448 | 189 | 11 | 26.2 | - |
|  | 109M dt 29.08.2018 | 21.8.2018 | 7.5 | 90 | 432 | 197 | 8 | 23.4 | - |
|  | 120M dt 05.10.2018 | 28.09.2018 | 7.1 | 95 | 464 | 206 | 9 | 24.8 | - |
|  | 188M dt 26.10.2018 | 17.10.2018 | 7.2 | 105 | 480 | 224 | 7 | 25.6 | - |
|  | 213M dt. 05.12.2018 | 26.11.2018 | 6.9 | 115 | 496 | 198 | 5 | 27.2 | - |
|  | 236M dt. 28.12.2018 | 20.12.2018 | 7.3 | 105 | 480 | 176 | 7 | 25.6 | - |
| 11 | Gaunchi Drain before River Yamuna (Lat- 27.914783 , Long- 77.517323) |  |  |
|  | 178M to 189Mdt. 31.01.2017 | 21.01.2017 | 8 | 50 | 192 | 68 | 5 | - | - |
|  | 18Mdt. 01.05.2017 | 22.04.2017 | 8.3 | 52 | 208 | 76 | 5 | - | - |
|  | 47Mdt. 02.06.2017 | 28.05.2017 | 8.2 | 45 | 192 | 70 | 6 | - | - |
|  | 98Mdt. 04.10.2017 | 23.09.2017 | 7 | 44 | 192 | 73 | 6 | - | - |
|  | 128Mdt. 22.11.2017 | 16.11.2017 | 7.1 | 40 | 176 | 65 | 4 | - | - |
|  | 192Mdt. 24.01.2018 | 16.01.2018 | 7.2 | 35 | 168 | 69 | 7 | - | - |
|  | 231Mdt. 28.03.2018 | 19.03.2018 | 7 | 46 | 200 | 87 | 7 | - | - |
|  | 19Mdt. 26.04.2018 | 18.04.2018 | 7 | 64 | 224 | 110 | 18 | - | - |
|  | 59Mdt. 31.05.2018 | 25.05.2018 | 7.14 | 55 | 216 | 91 | 7 | - | - |
|  | 92Mdt. 25.7.2018 | 18.07.2018 | 7.4 | 62 | 224 | 149 | 13 | - | - |
|  | 133Mdt. 08.10.2018 | 28.09.2018 | 7.7 | 65 | 240 | 156 | 15 | - | - |

Annexure-4

Waste water consumption/ waste water generation by industries in Yamuna catchment.

| Sr. No. | Name of the Town or City and District | Sector | No. of Industries | Industrial Water Consumption in KLD | Source of Water supply | Industrial effluent generation in KLD (trade effluent) | No. of CETP | CETP capacity (in KLD) | Final mode of disposal of trade effluent in dreams /River nearby (in KLD) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Existing | Proposed | Existing | Proposed | Under commissioning | Treated | Untreated |
|  | Udyog Vihar Phase I to V / Gurugram | Readymade Garments | 73 | 2143.938 | Municipal Supply | 1715.15 | ETP installed | 1715.15 | 0 |
|  |  | Service Station | 3 | 21.25 | Municipal Supply | 17 | ETP installed | 17 | 0 |
|  |  | Sample Testing Lab | 4 | 27.125 | Municipal Supply | 21.7 | ETP installed | 21.7 | 0 |
|  |  | Electroplating | 5 | 11.75 | Municipal Supply | 9.4 | ETP installed | 9.4 | 0 |
|  |  | Phosphating | 4 | 15 | Municipal Supply | 12 | ETP installed | 12 | 0 |
|  |  | Formulation | 2 | 1.5 | Municipal Supply | 1.2 | ETP installed | 1.2 | 0 |
|  |  | Auto Part | 1 | 6.25 | Municipal Supply | 5 | ETP installed | 5 | 0 |
|  |  | Beverages | 1 | 750 | Municipal Supply | 600 | ETP installed | 600 | 0 |
|  |  | Food & Food processing | 1 | 25 | Municipal Supply | 20 | ETP installed | 20 | 0 |
|  |  | forging | 1 | 4.4375 | Municipal Supply | 3.55 | ETP installed | 3.55 | 0 |
|  |  | Printing | 1 | 1.25 | Municipal Supply | 1 | ETP installed | 1 | 0 |
|  | Sohna/ Gurugram | Auto Part | 1 | 3 | Municipal Supply | 2.4 | ETP installed | 2.4 | 0 |
|  |  | Bulk drugs | 1 | 18.75 | Municipal Supply | 15 | ETP installed | 15 | 0 |
|  |  | Malt | 1 | 237.5 | Municipal Supply | 190 | ETP installed | 190 | 0 |
|  |  | phosphating | 1 | 5 | Municipal Supply | 4 | ETP installed | 4 | 0 |
|  |  | Readymade Garments | 1 | 2.5 | Municipal Supply | 2 | ETP installed | 2 | 0 |
|  |  | Electroplating | 1 | 1 | Municipal Supply | 0.8 | ETP installed | 0.8 | 0 |
|  | Sector 37 Pace City I / Gurugram | Electroplating | 6 | 36.5 | Municipal Supply | 29.2 | ETP installed | 29.2 | 0 |
|  |  | Service Station | 3 | 23.125 | Municipal Supply | 18.5 | ETP installed | 18.5 | 0 |
|  |  | Readymade garments | 2 | 15 | Municipal Supply | 12 | ETP installed | 12 | 0 |
|  |  | Formulation | 1 | 10 | Municipal Supply | 8 | ETP installed | 8 | 0 |
|  |  | Malt | 1 | 193.75 | Municipal Supply | 155 | ETP installed | 155 | 0 |
|  | Sector 33/ Gurugram | Automobile | 1 | 637.5 | Municipal Supply | 510 | ETP installed | 510 | 0 |
|  |  | Home furnishing item | 1 | 1.25 | Municipal Supply | 1 | ETP installed | 1 | 0 |
|  |  | Service station | 1 | 10 | Municipal Supply | 8 | ETP installed | 8 | 0 |
|  | Sector 32/ Gurugram | Sample Testing lab | 2 | 21.5625 | Municipal Supply | 17.25 | ETP installed | 17.25 | 0 |
|  | Secotr 15/ Gurugram | Service Station | 1 | 7.5 | Municipal Supply | 6 | ETP installed | 6 | 0 |
|  | Sector 18 / Gurugram | Auto Part | 4 | 117.25 | Municipal Supply | 93.8 | ETP installed | 93.8 | 0 |
|  |  | Electroplating | 4 | 433.125 | Municipal Supply | 346.5 | ETP installed | 346.5 | 0 |
|  |  | Service Station | 7 | 45 | Municipal Supply | 36 | ETP installed | 36 | 0 |
|  |  | Sample Testing lab | 3 | 188.4375 | Municipal Supply | 150.75 | ETP installed | 150.75 | 0 |
|  |  | Readymade Garments | 2 | 12.5 | Municipal Supply | 10 | ETP installed | 10 | 0 |
|  |  | Food & Food Processing | 2 | 32.5 | Municipal Supply | 26 | ETP installed | 26 | 0 |
|  |  | DG repair | 1 | 1.5 | Municipal Supply | 1.2 | ETP installed | 1.2 | 0 |
|  |  | Formulation | 1 | 75 | Municipal Supply | 60 | ETP installed | 60 | 0 |
|  |  | phosphating | 1 | 10 | Municipal Supply | 8 | ETP installed | 8 | 0 |
|  | Basai / Gurugram | Rubber product | 1 | 62.5 | Municipal Supply | 50 | ETP installed | 50 | 0 |
|  | Daultabad / Gurugram | Electroplating | 4 | 12.125 | Municipal Supply | 9.7 | ETP installed | 9.7 | 0 |
|  |  | Printing | 1 | 17.5 | Municipal Supply | 14 | ETP installed | 14 | 0 |
|  |  | Readymade Garments | 1 | 60 | Municipal Supply | 48 | ETP installed | 48 | 0 |
|  |  | Service station | 1 | 8.125 | Municipal Supply | 6.5 | ETP installed | 6.5 | 0 |
|  | IDC / Gurugram | Electroplating | 5 | 15.0625 | Municipal Supply | 12.05 | ETP installed | 12.05 | 0 |
|  |  | Service Station | 11 | 124.125 | Municipal Supply | 99.3 | ETP installed | 99.3 | 0 |
|  |  | readymade garments | 1 | 25 | Municipal Supply | 20 | ETP installed | 20 | 0 |
|  | Punhana/Nuh | Slaughter House | 1 | 1156.25 | Municipal Supply | 925 | ETP installed | 925 | 0 |
|  | Jagadhri | Metal | 93 | 235.1 | Govt. Supply | 189.9 | 0 | 0 | 0 | 0 | 0 | 189.9 | 0 |
|  |  | Electroplating | 1 | 4.5 | Tubewell | 4 | 0 | 0 | 0 | 0 | 0 | 4 | 0 |
|  |  | Service Station | 8 | 54.5 | Govt. Supply | 47.5 | 0 | 0 | 0 | 0 | 0 | 47.5 | 0 |
|  |  | HCF | 18 | 33 | Govt. Supply | 16.5 | 0 | 0 | 0 | 0 | 0 | 16.5 | 0 |
|  | Yamuna Nagar | Pulp & Paper | 1 | 15400 | Tubewell | 14000 | 0 | 0 | 0 | 0 | 0 | 14000 | 0 |
|  |  | Distillery | 1 | 9 | Tubewell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
|  |  | Sugar Mill | 1 | 682 | Tubewell | 639 | 0 | 0 | 0 | 0 | 0 | 639 | 0 |
|  |  | Starch Mill | 1 | 1170 | Tubewell | 1130 | 0 | 0 | 0 | 0 | 0 | 1130 | 0 |
|  |  | Metal | 2 | 5 | Govt. Supply | 4 | 0 | 0 | 0 | 0 | 0 | 4 | 0 |
|  |  | HCF | 11 | 57 | Govt. Suply | 13 | 0 | 0 | 0 | 0 | 0 | 13 | 0 |
|  |  | Electroplating/Pickikiling | 5 | 525 | Govt. Supply | 377 | 0 | 0 | 0 | 0 | 0 | 377 | 0 |
|  | Karnal | Forumulation of Medicines Units | 6 | 6 | Govt. Suuply | 3.5 | 0 | 0 | 0 | 0 | 0 | 3.5 | 0 |
|  |  | Electroplating | 1 | 1.9 | Govt. supply | 1.5 | 0 | 0 | 0 | 0 | 0 | 1.5 | 0 |
|  |  | Industry (Agriculture Impliments) | 1 | 40 | Govt. Supply | 20 | 0 | 0 | 0 | 0 | 0 | 20 | 0 |
|  |  | Service Station | 1 | 1 | Govt. Supply | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |
|  | Hissar Road, Near IDC, Rohtak | Electroplating | 5 | 332.5 | PHED supply | 332.5 | 0 | 0 | 0 | 0 | 0 | 332.5 | 0 |
|  | HSIIDC Kutana, Rohtak | Electroplating | 7 | 5.75 | HSIIDC supply | 5.75 | 0 | 1 | 0 | 3 MLD | The CETP of 3 MLD has been commissioned and is under trial run. | 48.25 | - |
|  | HSIIDC Kutana, Rohtak | Lead Ingots | 7 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | HSIIDC Kutana, Rohtak | Lubricant oil | 1 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | HSIIDC Kutana, Rohtak | Solvent Extraction | 1 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | HSIIDC Kutana, Rohtak | Washing and servicing of vehciles | 1 | 2 | HSIIDC supply | 2 |  |  |  |  |  |  |  |
|  | HSIIDC Kutana, Rohtak | Wire Drawing | 1 | 1 | HSIIDC supply | 1 |  |  |  |  |  |  |  |
|  | HSIIDC Kutana, Rohtak | Zinc Smelter | 1 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | IDC, Hissar Road, Rohtak | Acid Pickling | 11 | 28 | HSIIDC supply | 28 |  |  |  |  |  |  |  |
|  | IDC, Hissar Road, Rohtak | Acid Slury | 2 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | IDC, Hissar Road, Rohtak | Barrium Nitrate | 2 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | IDC, Hissar Road, Rohtak | Electroplating | 7 | 9 | HSIIDC supply | 9 |  |  |  |  |  |  |  |
|  | IDC, Hissar Road, Rohtak | Forging | 1 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | IDC, Hissar Road, Rohtak | Lead Ingots | 7 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | IDC, Hissar Road, Rohtak | Zinc Ingots | 1 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | IDC, Hissar Road, Rohtak | Formulation of pesticides | 1 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | IDC, Hissar Road, Rohtak | Used Oil | 3 | 2.5 | HSIIDC supply | 2.5 |  |  |  |  |  |  |  |
|  | Indl. Area (HSIIDC, Bahadurgarh) | Footwear | 13 | 0 | - | 0 | 0 | 1 | 0 | 12.5 MLD for Sector-16 & 17 | The CETP will be commissioned in Feb 2019 as informed by HSIIDC. | 108.3 | - |
|  | Indl. Area (HSIIDC, Bahadurgarh) | Cotton coated fabric | 17 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | Indl. Area (HSIIDC, Bahadurgarh) | Electroplating | 1 | 2.5 | HSIIDC supply | 2.5 |  |  |  |  |  |  |  |
|  | Indl. Area (HSIIDC, Bahadurgarh) | Lead Acid Battery | 2 | 8.1 | HSIIDC supply | 8.1 |  |  |  |  |  |  |  |
|  | Indl. Area (HSIIDC, Bahadurgarh) | Lubricant Oil | 1 | 0 | 0 | 1 |  |  |  |  |  |  |  |
|  | Indl. Area (HSIIDC, Bahadurgarh) | Milk & cheese | 1 | 12 | HSIIDC supply | 12 |  |  |  |  |  |  |  |
|  | Indl. Area (HSIIDC, Bahadurgarh) | Phosphating | 3 | 15.5 | HSIIDC supply | 15.5 |  |  |  |  |  |  |  |
|  | Indl. Area (HSIIDC, Bahadurgarh) | Chemical reaction | 1 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | Indl. Area (HSIIDC, Bahadurgarh) | Casting | 1 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | Indl. Area (HSIIDC, Bahadurgarh) | Aluminium based product | 3 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | Indl. Area (HSIIDC, Bahadurgarh) | Formulation of pesticides & pharmaceuticals | 2 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | Indl. Area (HSIIDC, Bahadurgarh) | Different Products | 26 | 70.2 | HSIIDC supply | 70.2 |  |  |  |  |  |  |  |
|  | MIE-Bahadurgarh | C.I. casting | 15 | 0 | - | 0 | 0 | 1 | 0 | 10 MLD for MIE, Bahadurgarh | The CETP will be commissioned upto 30.06.2020 | 126.57 | - |
|  | MIE-Bahadurgarh | Cotton Coated fabric | 8 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | MIE-Bahadurgarh | Dyeing of fabrics | 6 | 21.3 | HUDA supply | 21.3 |  |  |  |  |  |  |  |
|  | MIE-Bahadurgarh | Electroplating | 11 | 9.1 | HUDA supply | 9.1 |  |  |  |  |  |  |  |
|  | MIE-Bahadurgarh | Footwear | 8 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | MIE-Bahadurgarh | Formulation of pesticides | 9 | 0 | - | 0 |  |  |  |  |  |  |  |
|  | MIE-Bahadurgarh | Wet blue to finish leather | 9 | 33.3 | HUDA supply | 33.3 |  |  |  |  |  |  |  |
|  | MIE-Bahadurgarh | Different Products | 103 | 62.87 | HUDA supply | 62.87 |  |  |  |  |  |  |  |
|  | Indl. Area (Old Inds. Area, Bahadurgarh) | Different Products | 6 | 1.3 | PHED supply | 1.3 | 0 | 0 | 0 | 0 | 0 | 1.3 | 0 |
|  | Ganpati Dham Inds. Area, Bahadurgarh | Different Products | 4 | 6.9 | PHED supply | 6.9 | 0 | 0 | 0 | 0 | 0 | 6.9 | 0 |
|  | Rohak Road, Bahadurgarh | Different Products | 11 | 164.52 | PHED supply | 164.52 | 0 | 0 | 0 | 0 | 0 | 164.52 | 0 |
|  | VPO-Parnala, Bahadurgarh | Dyeing of fabrics | 7 | 49 | PHED supply | 49 | 0 | 0 | 0 | 0 | 0 | 49 | 0 |
|  | Ballabgarh Town (Sector-25) | Dyeing | 7 | 2157.8 | MCF/Borewell/tanker/HSIIDC/HUDA | 2120 | ETP Installed | 2120 | 0 |
|  |  | Surface treatment | 9 | 80.6 | MCF/Borewell/tanker/HSIIDC/HUDA | 50.7 | ETP Installed | 50.7 | 0 |
|  |  | Food/Milk | 1 | 78 | MCF/Borewell/tanker/HSIIDC/HUDA | 68 | ETP Installed | 68 | 0 |
|  |  | Aluminium Di Casting | 3 | 33.2 | MCF/Borewell/tanker/HSIIDC/HUDA | 27.5 | ETP Installed | 27.5 | 0 |
|  |  | Inorganic Chemical manufacturing | 2 | 248 | MCF/Borewell/tanker/HSIIDC/HUDA | 226 | ETP Installed | 226 | 0 |
|  | Ballabgarh Town (Sector-24) | Dyeing | 8 | 459.25 | MCF/Borewell/tanker/HSIIDC/HUDA | 416 | ETP Installed | 416 | 0 |
|  |  | Surface treatment | 40 | 575.21 | MCF/Borewell/tanker/HSIIDC/HUDA | 281.76 | ETP Installed | 281.76 | 0 |
|  |  | Die Casting | 2 | 15 | MCF/Borewell/tanker/HSIIDC/HUDA | 10.5 | ETP Installed | 10.5 | 0 |
|  |  | Expandable polystyrene resin | 1 | 9 | MCF/Borewell/tanker/HSIIDC/HUDA | 6 | ETP Installed | 6 | 0 |
|  | Ballabgarh Town (Sector-58) | Dyeing | 13 | 1271.5 | MCF/Borewell/tanker/HSIIDC/HUDA | 1153 | ETP Installed | 1153 | 0 |
|  |  | Surface treatment | 12 | 249.55 | MCF/Borewell/tanker/HSIIDC/HUDA | 156.85 | ETP Installed | 156.85 |  |
|  |  | Die Casting | 1 | 7 | MCF/Borewell/tanker/HSIIDC/HUDA | 6 | ETP Installed | 6 |  |
|  |  | HWM Recycler | 1 | 7 | MCF/Borewell/tanker/HSIIDC/HUDA | 4 | ETP Installed | 4 |  |
|  |  | Washing of Drum | 1 | 6 | MCF/Borewell/tanker/HSIIDC/HUDA | 5 | ETP Installed | 5 |  |
|  | Ballabgarh Town (NIT) | Surface treatment | 19 | 315.35 | MCF/Borewell/tanker/HSIIDC/HUDA | 263.05 | ETP Installed | 263.05 |  |
|  |  | Service Station | 2 | 17 | MCF/Borewell/tanker/HSIIDC/HUDA | 13 | ETP Installed | 13 |  |
|  |  | Die Casting | 1 | 5 | MCF/Borewell/tanker/HSIIDC/HUDA | 1 | ETP Installed | 1 |  |
|  |  | Formulation | 1 | 4.5 | Borewell/tanker | 3 | ETP Installed | 3 |  |
|  | Ballabgarh Town (Mohla) | Dyeing | 2 | 591.5 | MCF/Borewell/tanker/HSIIDC/HUDA | 580 | ETP Installed | 580 |  |
|  | Ballabgarh Town Electroplating Zone, Sec-58 | Red | 213 | 298.15 | MCF/Borewell/tanker/HSIIDC/HUDA | 242.9 | 1 | 0 | 650 | 0 | 0 | 242.9 | 0 |
|  | Palwal Town | R/O/G/W | 9 | 4023 | Borewell/tanker | 3889 | 0 | 0 | 0 | 0 | 0 | 3889 | 0 |
|  | Hodal Town | R/O/G/W | 0 | 0 | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | Hathin Town | R/O/G/W | 0 | 0 | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | Manesar Town | Automotive Parts - 42, Alluminium Parts - 13, Plastic components - 12, Phosphating - 11, Electroplating - 21, Job Work - 12, Fabrication - 13, Readymade Garments - 31, Food industry - 8, Medical products - 12, Printing / spray painting - 15 | 190 | 3254.3 | HSIIDC Supply | 2723.06 | 1 | NIL | 55000 | NIL | NIL | 2723.06 | NIL |
|  | Pataudi Town (Binola, Pathreri and Bhora kalan) | Automotive parts - 3, sheet metal component - 4, fasteners - 1 | 8 | 163.52 | Ground Water & HUDA supply | 127.56 | NIL | NIL | NIL | NIL | NIL | 127.56 | NIL |
|  | Gurugram Town (Village-Khandsa, Begumpur Khatola, Narsingpur, Behrampur & sector-34, sector-37) | Automobile Parts - 18, Home Furnishing - 22, Electroplating - 27, Readymade Garment - 43, Fabrication - 05, Food & Food processing - 09, Repairing & sevicing of vehicles - 13, Powder coating - 11, Job work - 08 | 155 | 4407 | Ground Water & HUDA supply | 4122.33 | 1 | NIL | 200 (Pace City-II, sector-37) | NIL | NIL | 4122.33 | NIL |
|  | Panipat | Dyeing | 301 | 57415 | Submersible Pump /HSVP /Canal Supply | 50299 | 1 | 2 | 21 | 33 | 12 | 50298.6 | 0 |
|  | Israna | Dyeing | 9 | 1841.5 | Submersible | 1721 | 0 | 0 | 0 | 0 | 0 | 1721 | 0 |
|  | Madlauda | Dyeing | 6 | 9629.5 | Submersible | 9592 | 0 | 0 | 0 | 0 | 0 | 9592 | 0 |
|  | Samalkha | Dyeing | 30 | 4567.5 | Submersible | 4085.4 | 0 | 0 | 0 | 0 | 0 | 4085.4 | 0 |
|  | Indl. Area, Barhi | Battery assembling | 1 | 1 | Tubewells of HSIIDC | 1 | 1 | Upgradation of existing 16 MLD to 26 is proposed. | 16000 | 10000 | No | 10946.45 | Nil |
|  |  | Chemical | 7 | 103.5 | Tubewells of HSIIDC | 103.5 |  |  |  |  |  |  |  |
|  |  | Ferrous & Non-ferrous metal extraction involving different furnaces | 3 | 10 | Tubewells of HSIIDC | 10 |  |  |  |  |  |  |  |
|  |  | Food & food processing | 6 | 70.5 | Tubewells of HSIIDC | 70.5 |  |  |  |  |  |  |  |
|  |  | Lubricant Oils, Grease | 1 | 0.5 | Tubewells of HSIIDC | 0.5 |  |  |  |  |  |  |  |
|  |  | Manufacturing of Glass | 1 | 1.5 | Tubewells of HSIIDC | 1.5 |  |  |  |  |  |  |  |
|  |  | Metal surface treatment | 1 | 2 | Tubewells of HSIIDC | 2 |  |  |  |  |  |  |  |
|  |  | Milk processing & Dairy product | 3 | 25.5 | Tubewells of HSIIDC | 25.5 |  |  |  |  |  |  |  |
|  |  | Pharmaceuticals | 4 | 19 | Tubewells of HSIIDC | 19 |  |  |  |  |  |  |  |
|  |  | Physical mixing. | 1 | 2 | Tubewells of HSIIDC | 2 |  |  |  |  |  |  |  |
|  |  | Polythene and plastic processed products | 10 | 29.15 | Tubewells of HSIIDC | 29.15 |  |  |  |  |  |  |  |
|  |  | POLYTHYLENE WAX, OTHER WAX | 1 | 2 | Tubewells of HSIIDC | 2 |  |  |  |  |  |  |  |
|  |  | Printing. | 4 | 13 | Tubewells of HSIIDC | 13 |  |  |  |  |  |  |  |
|  |  | Recycling / reprocessing/ recovery/reuse of Hazardous Waste | 3 | 2.6 | Tubewells of HSIIDC | 2.6 |  |  |  |  |  |  |  |
|  |  | Rubber & Rubber goods product. | 3 | 3.5 | Tubewells of HSIIDC | 3.5 |  |  |  |  |  |  |  |
|  |  | Synthetic resins | 1 | 1 | Tubewells of HSIIDC | 1 |  |  |  |  |  |  |  |
|  |  | Tannery | 2 | 30 | Tubewells of HSIIDC | 30 |  |  |  |  |  |  |  |
|  |  | textile | 78 | 10627.7 | Tubewells of HSIIDC | 10627.7 |  |  |  |  |  |  |  |
|  |  | Wooden Furniture. | 1 | 2 | Tubewells of HSIIDC | 2 |  |  |  |  |  |  |  |
|  | Indl. Area (Kundli) | Chemical | 1 | 1 | Tubewells of HSIIDC | 1 | 1 | 1 | 4000 (4 MLD to 10 MLD upgradation is also proposed) | 9000 | No | 1841.675 | Nil |
|  |  | Cold storage | 17 | 18.1 | Tubewells of HSIIDC | 18.1 |  |  |  |  |  |  |  |
|  |  | Engineering and fabrication unit | 1 | 1 | Tubewells of HSIIDC | 1 |  |  |  |  |  |  |  |
|  |  | Ferrous & Non-ferrous metal extraction involving different furnaces | 10 | 25.5 | Tubewells of HSIIDC | 25.5 |  |  |  |  |  |  |  |
|  |  | Foam Mfg. | 2 | 2 | Tubewells of HSIIDC | 2 |  |  |  |  |  |  |  |
|  |  | Food & food processing | 14 | 316.1 | Tubewells of HSIIDC | 316.1 |  |  |  |  |  |  |  |
|  |  | Formaldehyde | 1 | 0.3 | Tubewells of HSIIDC | 0.3 |  |  |  |  |  |  |  |
|  |  | Insulation and other coated papers | 1 | 1.5 | Tubewells of HSIIDC | 1.5 |  |  |  |  |  |  |  |
|  |  | Manufacturing of Glass | 1 | 4.5 | Tubewells of HSIIDC | 4.5 |  |  |  |  |  |  |  |
|  |  | Metal surface treatment or process such as pickling/ electroplating/paint stripping/ heat treatment using cyanide bath/ phosphating or finishing and anodizing / enamellings/ galvanizing/ surface finishing/ Buffing / powder coating | 61 | 467.275 | Tubewells of HSIIDC | 467.275 |  |  |  |  |  |  |  |
|  |  | Milk processing & Dairy product | 2 | 324.5 | Tubewells of HSIIDC | 324.5 |  |  |  |  |  |  |  |
|  |  | Pharmaceuticals | 5 | 25.2 | Tubewells of HSIIDC | 25.2 |  |  |  |  |  |  |  |
|  |  | Physical mixing. | 2 | 2 | Tubewells of HSIIDC | 2 |  |  |  |  |  |  |  |
|  |  | Polythene and plastic processed products | 21 | 65.1 | Tubewells of HSIIDC | 65.1 |  |  |  |  |  |  |  |
|  |  | Power press. | 3 | 3 | Tubewells of HSIIDC | 3 |  |  |  |  |  |  |  |
|  |  | Printing. | 11 | 22.6 | Tubewells of HSIIDC | 22.6 |  |  |  |  |  |  |  |
|  |  | Recycling / reprocessing/ recovery/reuse of Hazardous Waste | 1 | 0.8 | Tubewells of HSIIDC | 0.8 |  |  |  |  |  |  |  |
|  |  | Rice Sheller | 2 | 102 | Tubewells of HSIIDC | 102 |  |  |  |  |  |  |  |
|  |  | Rubber & Rubber goods product. | 1 | 1.5 | Tubewells of HSIIDC | 1.5 |  |  |  |  |  |  |  |
|  |  | Synthetic resins | 2 | 0.9 | Tubewells of HSIIDC | 0.9 |  |  |  |  |  |  |  |
|  |  | textile | 8 | 453.3 | Tubewells of HSIIDC | 453.3 |  |  |  |  |  |  |  |
|  |  | Thermocol | 1 | 0.5 | Tubewells of HSIIDC | 0.5 |  |  |  |  |  |  |  |
|  |  | Wire drawing and wire netting | 1 | 1 | Tubewells of HSIIDC | 1 |  |  |  |  |  |  |  |
|  |  | Wooden Furniture. | 1 | 2 | Tubewells of HSIIDC | 2 |  |  |  |  |  |  |  |
|  | Indl. Area (Rai) | Chemical | 1 | 0.2 | Tubewells of HSIIDC | 0.2 | 1 | 1 | 5000 | 10000 | No | 875.05 | Nil |
|  |  | Cold storage | 3 | 6 | Tubewells of HSIIDC | 6 |  |  |  |  |  |  |  |
|  |  | Corrugated boxes | 1 | 0.5 | Tubewells of HSIIDC | 0.5 |  |  |  |  |  |  |  |
|  |  | Dismantling of E-waste | 3 | 3 | Tubewells of HSIIDC | 3 |  |  |  |  |  |  |  |
|  |  | Engineering and fabrication unit | 1 | 3.5 | Tubewells of HSIIDC | 3.5 |  |  |  |  |  |  |  |
|  |  | Ferrous & Non-ferrous metal extraction involving different furnaces | 3 | 1.4 | Tubewells of HSIIDC | 1.4 |  |  |  |  |  |  |  |
|  |  | Food & food processing | 33 | 422.75 | Tubewells of HSIIDC | 422.75 |  |  |  |  |  |  |  |
|  |  | Lubricant Oils, Grease | 1 | 0.45 | Tubewells of HSIIDC | 0.45 |  |  |  |  |  |  |  |
|  |  | Metal surface treatment or process such as pickling/ electroplating/paint stripping/ heat treatment using cyanide bath/ phosphating or finishing and anodizing / enamellings/ galvanizing/ surface finishing/ Buffing / powder coating | 10 | 20.85 | Tubewells of HSIIDC | 20.85 |  |  |  |  |  |  |  |
|  |  | Milk processing & Dairy product | 3 | 312.7 | Tubewells of HSIIDC | 312.7 |  |  |  |  |  |  |  |
|  |  | Orthopaedic implants | 2 | 2 | Tubewells of HSIIDC | 2 |  |  |  |  |  |  |  |
|  |  | Pharmaceuticals | 2 | 13.5 | Tubewells of HSIIDC | 13.5 |  |  |  |  |  |  |  |
|  |  | Physical mixing. | 3 | 4 | Tubewells of HSIIDC | 4 |  |  |  |  |  |  |  |
|  |  | Polythene and plastic processed products | 8 | 69.5 | Tubewells of HSIIDC | 69.5 |  |  |  |  |  |  |  |
|  |  | Printing. | 6 | 8.3 | Tubewells of HSIIDC | 8.3 |  |  |  |  |  |  |  |
|  |  | Rice Sheller | 1 | 0.5 | Tubewells of HSIIDC | 0.5 |  |  |  |  |  |  |  |
|  |  | Rubber & Rubber goods product. | 5 | 2.1 | Tubewells of HSIIDC | 2.1 |  |  |  |  |  |  |  |
|  |  | textile | 1 | 3 | Tubewells of HSIIDC | 3 |  |  |  |  |  |  |  |
|  |  | Wire drawing and wire netting | 1 | 0.8 | Tubewells of HSIIDC | 0.8 |  |  |  |  |  |  |  |
|  | Sonipat | Chemical | 1 | 1 | Own Tubewell | 1 | 0 | 0 | 0 | 0 | 0 | 1088.425 | 0 |
|  |  | Ferrous & Non-ferrous metal extraction involving different furnaces | 4 | 2.3 | Own Tubewell | 2.3 |  |  |  |  |  |  |  |
|  |  | Foam Mfg. | 5 | 3.4 | PHED supply & Own Tubewell | 3.4 |  |  |  |  |  |  |  |
|  |  | Health-care Facility | 3 | 21 | PHED supply & Own Tubewell | 21 |  |  |  |  |  |  |  |
|  |  | Metal surface treatment or process such as pickling/ electroplating/paint stripping/ heat treatment using cyanide bath/ phosphating or finishing and anodizing / enamellings/ galvanizing/ surface finishing/ Buffing / powder coating | 7 | 522.55 | Own Tubewell | 522.55 |  |  |  |  |  |  |  |
|  |  | Pharmaceuticals | 1 | 4 | Own Tubewell | 4 |  |  |  |  |  |  |  |
|  |  | Printing. | 1 | 0.1 | PHED supply & Own Tubewell | 0.1 |  |  |  |  |  |  |  |
|  |  | Recycling / reprocessing/ recovery/reuse of Hazardous Waste | 1 | 0.025 | PHED supply & Own Tubewell | 0.025 |  |  |  |  |  |  |  |
|  |  | Rubber & Rubber goods product. | 1 | 0.9 | PHED supply & Own Tubewell | 0.9 |  |  |  |  |  |  |  |
|  |  | Service station | 2 | 7.5 | PHED supply & Own Tubewell | 7.5 |  |  |  |  |  |  |  |
|  |  | Tannery | 1 | 23.8 | Own Tubewell | 23.8 |  |  |  |  |  |  |  |
|  |  | Distillery | 1 | 130 | Own Tubewell | 130 |  |  |  |  |  |  |  |
|  |  | Food & food processing | 5 | 32.35 | Own Tubewell | 32.35 |  |  |  |  |  |  |  |
|  |  | Textile | 3 | 339.5 |  | 339.5 |  |  |  |  |  |  |  |
|  | Ganaur | Pharmaceutical | 1 | 0.9 | Own Tubewell | 0.9 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0 |
|  | Sector 27(A, B, C) Zone | Textiles dyeing & printing | 8 | 386 | Borewell and MCF | 350 | ETP Installed | 350 | 0 |
|  |  | Garment/ Apparel manufacturing units | 4 | 37 | Borewell and MCF | 30 | ETP Installed | 30 | 0 |
|  |  | Ayurvedic and homeopathic medicine | 1 | 1 | Borewell and MCF | 0.5 | ETP Installed | 0.5 | 0 |
|  |  | Electroplating/Phosphating | 1 | 1 | Borewell and MCF | 0.5 | ETP Installed | 0.5 | 0 |
|  |  | Service station | 2 | 3 | Borewell and MCF | 2 | ETP Installed | 2 | 0 |
|  | DLF Zone | Service station | 2 | 13 | Borewell and MCF | 10 | ETP Installed | 10 | 0 |
|  |  | Textiles dyeing & printing | 22 | 2190 | Borewell and MCF | 2140 | ETP Installed | 2140 | 0 |
|  |  | Electroplating/Phosphating | 6 | 86 | Borewell and MCF | 80 | ETP Installed | 80 | 0 |
|  |  | Garment/ Apparel manufacturing units | 18 | 215 | Borewell and MCF | 205 | ETP Installed | 205 | 0 |
|  |  | Pharmaceutical formulation | 1 | 4 | Borewell and MCF | 3 | ETP Installed | 3 | 0 |
|  |  | Printing press | 1 | 2.3 | Borewell and MCF | 2 | ETP Installed | 2 | 0 |
|  | Mathura Road Zone | Service station | 11 | 112 | Borewell and MCF | 108 | ETP Installed | 108 | 0 |
|  |  | Textiles dyeing & printing | 16 | 956 | Borewell and MCF | 948 | ETP Installed | 948 | 0 |
|  |  | Pharmaceutical formulation | 1 | 1.1 | Borewell and MCF | 0.8 | ETP Installed | 0.8 | 0 |
|  |  | Electroplating/Phosphating | 13 | 402.5 | Borewell and MCF | 380 | ETP Installed | 380 | 0 |
|  |  | Garment/ Apparel manufacturing units | 7 | 168 | Borewell and MCF | 150 | ETP Installed | 150 | 0 |
|  |  | Hotel | 1 | 12 | Borewell and MCF | 8 | ETP Installed | 8 | 0 |
|  | NIT Zone | Electroplating/Phosphating | 1 | 2 | Borewell and MCF | 1.5 | ETP Installed | 1.5 | 0 |
|  |  | Service station | 1 | 5 | Borewell and MCF | 3.5 | ETP Installed | 3.5 | 0 |
|  |  | Pharmaceutical formulation | 1 | 8 | Borewell and MCF | 6 | ETP Installed | 6 | 0 |
|  |  | Textiles dyeing & printing | 1 | 8 | Borewell and MCF | 6 | ETP Installed | 6 | 0 |
|  | Gurukul Zone | Electroplating/Phosphating | 2 | 42 | Borewell and MCF | 38 | ETP Installed | 38 | 0 |
|  |  | Garment/ Apparel manufacturing units | 1 | 7 | Borewell and MCF | 5 | ETP Installed | 5 | 0 |
|  |  | Food processing | 1 | 1 | Borewell and MCF | 0.5 | ETP Installed | 0.5 | 0 |
|  |  | Textiles dyeing & printing | 2 | 30 | Borewell and MCF | `27 | ETP Installed | `27 | 0 |
|  | Other Zone | Electroplating/Phosphating | 1 | 3 | Borewell and MCF | 2.5 | ETP Installed | 2.5 | 0 |
|  |  | Garment/ Apparel manufacturing units | 1 | 24.5 | Borewell and MCF | 22 | ETP Installed | 22 | 0 |
|  |  | Lather manufacturing | 1 | 5 | Borewell and MCF | 2.5 | ETP Installed | 2.5 | 0 |
|  |  | Textiles dyeing & printing | 2 | 500 | Borewell and MCF | 450 | ETP Installed | 450 | 0 |
|  |  | Service station | 1 | 2 | Borewell and MCF | 1 | ETP Installed | 1 | 0 |
|  | TOTAL | 2254 | 137398.6 |  | 124489.17 |  |  |  |  |  | 124489.17 |  |

Annexure-5

List of industries inspected alongwith compliance status

| Sr. No. | Name of unit | Date of inspection | Observations if the unit found non-complying otherwise write complying | Sampling results of effluent (results of the last sample to be given if not collected on the day of inspection) | Permissible limits of effluent samples | Compliance status / Remarks/ ATR |
| --- | --- | --- | --- | --- | --- | --- |
|  | Relaxo Footwear Ltd., Unit -VII, 328-329, MIE, PART-1, Bahadurgarh | 22.09.2018 | Complying | pH - 7.9 BOD - 12 COD - 72 SS - 12 O&G - ND | 5.5 - 9.0 30 250 100 10 | Complying |
|  | Hanumat Wires Udyog Pvt. Ltd., 7th-8th Mile Stone, Jind Road, Village Titoli, Rohtak | 25.09.2018 | Complying | pH - 7.4 BOD - 12 COD - 120 SS - 20 O&G - ND Iron -0.3 Sulphate - ND | 5.5 - 9.0 30 250 100 10 3.0 50 | Complying |
|  | CHOLA SONS ,PLOT NO. 9, M.I.E.-B, BAHADURGARH, DISTT. JHAJJAR- HARYANA | 21.09.2015 & 04.01.2019 | At present unit is lying non-operational since long time therefore, sapmle of unit of unit could not be collected on 04.01.2019. | pH -7.9 BOD - 22 COD - 160 SS - 20 O&G - 2.0 Total Chrome - 0.02 Hexavalant Chrom -.0.02 Sulphides - 0.2 Boron - 0.06 Chloride - 230 | 5.5 - 9.0 30 250 100 10 2.0 0.1 2.0 2.0 1000 | Complying |
|  | Vishvanath Sales Carporation, Ganpati Dham Industrial Area, Bahadurgarh | 07.12.2018 | Non-complying as trade effluent sample found exceeding permissible limit. | pH - 9.4 BOD - 46 COD - 160 SS - 120 O&G - 12 | 5.5 - 9.0 30 250 100 10 | Non-complying, recommended for closure action to Head Office. |
|  | Unique Processor, Ganpati Dhan Industrial Area, Bahadurgarh | 07.012.2018 | Non-complying as trade effluent sample found exceeding permissible limit. | pH - 9.3 BOD - 56 COD - 208 SS - 190 O&G - 10 Amonical Nitrogen - 20.0 Total Chrome - 0.7 | 5.5 - 9.0 30 250 100 10 50 2.0 | Non-complying, recommended for closure action to Head Office. |
|  | Radhy Krishana Industries, Plot No. 224, HSIIDC Kutana | 05.10.2018 | Complying | pH - 8.1 BOD - 17 COD - 88 SS - 20 O&G - 4.0 Iron - 0.6 Zinc - ND Hexa Crome - ND Total Crome - ND | 5.5 - 9.0 30 250 100 10 3.0 5.0 0.1 2.0 | Complying |
|  | Bhartiya Leather Udyog, Plot No. B-7, MIE-2, Bahadurgarh | 21.11.2018 | Complying | pH - 7.8 BOD - 18 COD - 96 SS - 26 O&G - 4.0 Amonical Nitrogen - ND Cromium as Cr - ND Chloride - 310 Hexa Crome - ND Boron - ND | 5.5 - 9.0 30 250 100 10 20 2.0 1000 0.1 2.0 | Complying |
|  | Satyam Autoserve Pvt. Ltd., A-54, MIE-B, Delhi Rohtak Road, Bahdurgarh | 24.09.2018 | Non-complying as trade effluent sample found exceeding permissible limit. | pH - 9.4 BOD - 40 COD - 160 SS - 60 O&G - 6.0 | 5.5 - 9.0 30 250 100 10 | Non-complying, unit has submitted reply with request for re-sampling. Case sent to Head Office for grant of re-sampling permission. |
|  | Kunj Bihari Processors Pvt. Ltd., Plot no. 95-96, Sector-25, Faridabad | 12/14/2018 | Non Complying | pH-8.8, Suspended Solids mg/I-376, BOD-280, COD-544 | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10 | Case send for resampling |
|  | Imperial Auto Industries Ltd., Plot no. 93-94, Sector-25, Faridabad | 12/14/2018 | Non Complying | BOD-540, COD-3480, | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10 | Case send for resampling |
|  | Vidhyut Steel Tube Industries (P) Ltd., Plot no. 36-37, Sector-25, Faridabad. | 12/15/2018 | Non Complying | Suspended Solid-110, Phosphate-6.3 | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10 | Recommended for closure |
|  | G.K Dairy Milk Plant, Village Harphala Road, Sikri, Palwal | 12/17/2018 | Non Complying | BOD-34 | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10 | Recommended for closure |
|  | V.N Industries, Plot No. 75, Sector-24, Faridabad | 12/17/2018 | Non Complying | pH-12.2, Zinc-5.8, Iron-3.6, Total Metal-10.5 | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10 | Recommended for closure |
|  | VMF Engineers, Plot no. 59, Plot no. 24, Faridabad | 12/17/2018 | Non Complying | pH-9.4, Total Chromium-3.8, Hexa Chromium-1.1, Total Metal-12 | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10 | Case send for resampling |
|  | A2K Wash, P.No. 68, Sectpr-58, Faridabad. | 12/17/2018 | Non Complying | Sulphide-2.6, Total Dissolved Solids-3220 | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10 | Recommended for closure |
|  | A.K Enterprises, Plot No. 63, Sector-25, Faridabad. | 12/14/2018 | Non Complying | pH-1.2, SS-110, Phosphate-6.8, Total Metal-11 | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10 | Recommended for closure |
|  | Karma Tex Prints Pvt. Ltd., Plot no. 73, Sector-25, Faridabad | 12/14/2018 | Complying | pH-7.4, Suspended Solids-22, BOD-14, COD-80, Oil & Grease-ND, Phenolic Compounds-0.5, Sulphide-0.8 | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10, Phenolic Compounds-1, Sulphide-2 | No action |
|  | Kwality Ltd., Village-Softa, Palwal | 12/15/2018 | Complying | pH-7.8, Suspended Solids-34, BOD-21, COD-80, Oil & Grease-2.5 | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10 | No action |
|  | Vikas Strip Ltd., Plot No. 17 & 18 Sector-58 Faridabad | 12/15/2018 | Complying | pH-7.2, Suspended Solids-4, BOD-8, COD-36, Oil & Grease-ND, Phenolic Compounds-ND, Sulphide-ND | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10, Phenolic Compounds-1, Sulphide-2 | No action |
|  | Jaycee Autofab Private Limited, Plot No. 22, sector-58, Faridabad | 12/15/2018 | Complying | pH-8.0, Suspended Solids-35, BOD-17, COD-84, Oil & Grease-ND, | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10, | No action |
|  | R R Autotech Private Limited, Plot no. 187, sec-24, Faridabad | 12/17/2018 | Complying | pH-7.5, Suspended Solids-12, COD-56, Oil & Grease-0 | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10, Phenolic Compounds-1, Sulphide-2 | No action |
|  | Ombre Fabrics, Plot No. 177, sector-58, Industrial Estate Faridabad | 12/17/2018 | Complying | pH-8.2, Suspended Solids-25, BOD-19, COD-84, Oil & Grease-ND, Phenolic Compounds-ND, Sulphide-ND | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10, Phenolic Compounds-1, Sulphide-2 | No action |
|  | Blue Stamping & Forging Ltd., Plot no. - 21, Sector-58, Faridabad | 9/26/2018 | Complying | pH-7.0, Suspended Solids-32, BOD-15, COD-14, Oil & Grease-ND | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10, Phenolic Compounds-1, Sulphide-2 | No action |
|  | Esko Die Casting P Ltd., Plot No. 807, Sector-58 , Faridabad | 11/14/2018 | Complying | pH-7.5, Suspended Solids-45, BOD-23, COD-96, Oil & Grease-0 | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10 | No action |
|  | Vamani Overseas P no-137 Sec-24 Faridabad (Garment Division) | 12/21/2018 | Complying | pH-7.5, Suspended Solids-10, BOD-13, COD-40, Oil & Grease-0 | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10, | No action |
|  | Nirankari Eletrochem Pvt. Ltd., Plot no. 785, Sector-58, Faridabad | 1/18/2018 | Complying | pH-7.2, Suspended Solids-53, BOD-8, COD-76, Oil & Grease-ND, | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10, | No action |
|  | Sapna Enterprises, Plot No. 601 (EPZ), Sector-58, Faridabad | 11/21/2018 | Complying | The whole trade effluent generated is being transferred to CETP installed at Sector-58, Electroplating Zone, Faridabad. The results of treated effluent of CETP is given below: pH-7.1, Suspended Solids-46, BOD-9, COD-68, Oil & Grease-ND, Sulphide-ND, Zinc-1.2, Total Cr-0.6, Fe-1.0, Ni-0.4, Phosphate-ND | pH-5.5-9.0, Suspended Solids-100, BOD-30, COD-250, Oil & Grease-10, Sulphide-2, Zinc-5, Total Cr- 2, Fe-3, Ni-3, Phosphate-5, Sulphide-2 | No action |
|  | Khurana Electraoplting works, P no- 455 & 744(EPZ), Sec- 58, Faridabad | 9/26/2018 | Complying |  |  |  |
|  | DEV INDUSTRIES, Plot No 433 EPZ Sector 58 Faridabad | 10/24/2018 | Complying |  |  |  |
|  | Rawat Electroplater,Plot No. 425 (EPZ), Sector-58,Faridabad | 12/3/2018 | Complying |  |  |  |
|  | Spark Engineer,Plot No. 365 (EPZ), Sector-58,Faridabad | 9/26/2018 | Complying |  |  |  |
|  | Sapna Metal Finisher, Plot No. 557 (EPZ), Sector-58,Faridabad | 10/3/2018 | Complying |  |  |  |
|  | Shahi Exports Pvt. Ltd., Plot No. 1, Sector-28, Faridabad | 6/7/2018 | Complying | ph-7.6, SS-26, BOD-19, COD-72, O&G-ND, Conductivity-2580, Sulphide-0.4 Amonical Nitrogen-ND, TDS-1420 | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Sulphide-2.0 Amonical Nitrogen-50, TDS-3100 | -- |
|  | Countrywide Promoters Pvt Ltd., 'Princess Park' Group Housing Project, Village Budena, Sector 86, Faridabad | 6/30/2018 | Complying | ph-78, SS-21, BOD-18, COD-52, O&G-ND, Conductivity-1720 | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, | -- |
|  | Shri Ram Millenium School, Sec-81, Greater Faridabad. | 8/8/2018 | Complying | ph-7.8, SS-14, BOD-19, COD-80, O&G-ND, Conductivity-2040 | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- | -- |
|  | Mitra Industries Pvt. Ltd., 14/4, Mathura Road, Faridabad. | 8/10/2018 | Complying | ph-7.3, SS-22, BOD-18, COD-64, O&G-ND, Conductivity-2720 | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- | -- |
|  | Pee Empro Export Pvt. Ltd., P.No. 13, DLF, Phase-II, Faridabad | 9/10/2018 | Complying | ph-7.8, SS-25, BOD-17, COD-64, O&G-ND, Conductivity-2200, Amonical Nitrogen-ND, Phenolic Compound-ND | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | -- |
|  | Khatter Hotel & Resorts Ltd., P. No. 2, Sec-31, Faridabad | 9/10/2018 | Complying | ph-8.4, Conductivity-2280, SS-18, BOD-15, COD-56, O&G-2.0 | ph-9.0, Conductivity---, SS-100, BOD-30, COD-250, O&G-10 | -- |
|  | Savna Group Housing Project, Sector-88, Greater Faridabad | 8/18/2018 | Complying | ph-7.8, Conductivity-2170, SS-23, BOD-20, COD-64, O&G-ND | ph-9.0, Conductivity---, SS-100, BOD-30, COD-250, O&G-10 | -- |
|  | R.C. Sood & Co. Pvt. Ltd., Eros Garden Colony, Village-Lakkarpur, Surajkund Road, Faridbad | 8/28/2018 | Complying | ph-8.3, Conductivity-1910, SS-24, BOD-21, COD-72, O&G-ND, Amonical Nitrogen-12 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | -- |
|  | Lingayas Univirsity, Village-Nachauli, Old Faridabad, Jasana Road, Faridabad | 9/17/2018 | Complying | ph-7.7, Conductivity-2530, SS-18, BOD-15, COD-52, O&G-ND, Amonical Nitrogen-4 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | -- |
|  | Omaxe Heights, Sector-86, Faridabad. | 9/17/2018 | Complying | ph-7.4, Conductivity-1680, SS-19, BOD-16, COD-60, O&G-ND, Amonical Nitrogen-5 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | -- |
|  | Ganpati Textiles, 37-D, DLF Industrial Area, Phase-I, Faridabad. | 8/28/2018 | Non- Complying | ETP=ph-8.0, Conductivity-7750, SS-159, BOD-85, COD-464, O&G-6 STP=ph-7.3, Conductivity-5690, SS-62, BOD-21, COD-112, O&G-ND | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- | -- |
|  | Golden Eagle Waste Management, VPO-Jasna, Tigaon, Faridabad. | 8/30/2018 | Non- Complying | ETP=ph-8.5, SS-169, BOD-72, COD-368, Oil & Greas-07, Conductivity-7220 STP=ph-7.6, SS-46, BOD-20, COD-96, Oil & Greas-ND, Conductivity-4960, | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- | -- |
|  | Gupta Exim (India) Pvt. Ltd., 11, DLF, Industrial Area, Phase-I, Faridabad | 9/14/2018 | Complying | ph-7.7, SS-36, BOD-21, COD-84, O&G-ND, Conductivity-3600, Amonical –ND, TDS-1920 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | -- |
|  | S.K. Dyeing & Printing Mills Pvt. Ltd., 135, DLF, I.A., Faridabad. | 9/14/2018 | Complying | ph-7.5, SS-33, BOD-19, COD-80, O&G-ND, Conductivity-5280, Amonical –ND, TDS-2830 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | -- |
|  | Sapna Auto Industries, 17/2, Mathura Road, Faridabad. | 9/19/2018 | Complying | ph-7.2, SS-26, BOD-14, COD-68, O&G-ND, Conductivity-2050, Zinc-0.2, Hexa. Chromium-ND | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | -- |
|  | Pooja Forge Pvt. Ltd., Unit-3, 14/4, Mathura Road, Faridabad. | 9/21/2018 | Complying | ph-7.7, SS-18, BOD-09, COD-56, O&G-ND, Conductivity-6780, Phenolic Comp-ND, Sulphide-ND, Zinc-ND, Phosphate-1.2 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | -- |
|  | Friends Textiles Industries, 15A, DLF, Phase-I, Faridabad. | 9/22/2018 | Complying | ph-7.4, SS-22, BOD-14, COD-48, O&G-ND, Conductivity-2230, Phenolic Comp-ND, Sulphide-ND, Amonical Nitrogen-ND | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | -- |
|  | Tapasaya Hotel Park Plaza, Sec-21C, Faridabad | 9/21/2018 | Complying | ph-7.6, SS-19, BOD-14, COD-48, O&G-ND Conductivity-2020, Phenolic Comp-ND,, Sulphide-ND, Amonical Nitrogen-ND, S.A.R-4.2 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | -- |
|  | Jiva Design Pvt. Ltd., P.No -46, DLF Phase-I, Industrial Area, Faridabad | 9/22/2018 | Complying | ph-7.5, SS-28, BOD-12, COD-40, O&G-ND, Conductivity-2940, Phosphate-0.4 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | -- |
|  | QRG Central Hospital, P. No. 69, Sec-20A, Faridabad | 10/18/2018 | Complying | ph-8.4, SS-32, BOD-26, COD-144, O&G-02, Conductivity-7130, Phosphate-1.8 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Phosphate-5.0 | -- |
|  | Golden Eagle Waste Management, VPO-Jasna, Tigaon, Faridabad. | 10/16/2018 | Non- Complying | ETP=ph-8.3, SS-154, BOD-62, COD-320, Oil & Greas-07, Conductivity-7810 STP=ph-7.5, SS-42, BOD-16, COD-88, Oil & Greas-ND, Conductivity-3993, | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- | -- |
|  | KLJ Developers Pvt. Ltd., (KLJ Group Housing), Sector-77, Faridabad. | 11/16/2018 | Complying | STP-I=ph-7.9, SS-20, BOD-16, COD-52, O&G-ND, Conductivity-2290 STP-II= ph-8.1, SS-15, BOD-13, COD-36, O&G-ND, Conductivity-2100 | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- | -- |
|  | Shiv Sai Infrastructure Pvt. Ltd., (Ozone Park), Sector-86, Faridabad. | 11/16/2018 | Complying | ph-7.5, SS-21, BOD-18, COD-60, O&G-ND, Conductivity-2090 | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- | -- |
|  | Batra Associates Ltd., 15/1, Mathura Road, Faridabad. | 11/16/2018 | Complying | ph-7.8, SS-17, BOD-13, COD-48, O&G-ND, Iron-1.2, Phosphate-0.8 | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, | -- |
|  | Ajanta Offset and Packagings ltd., Plot No 61 Sector 27C Faridabad. | 12/11/2018 | Complying | ph-7.9, SS-19, BOD-14, COD-56, O&G-ND, Conductivity-2530 | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- |  |
|  | Mahindra Lifespace Developers Ltd ., 16/3 Mathura Road Faridabad. | 12/12/2018 | Complying | ph-7.3, SS-21, BOD-18, COD-56, O&G-ND, Conductivity-2120 | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- |  |
|  | Gunnu Knits Pvt. Ltd., 90 G, 91 & 91A, DLF, Phase-I, Faridabad | 12/15/2018 | Complying | ph-7.1, SS-12, BOD-08, COD-40, Oil & Greas-ND, Phenolic-ND, Sulphide as S-ND, TDS-1990, Ammonical Nitrogen as N-3.2, S.A.R-ND | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | -- |
|  | Mitra Industry, 14/4, Mathura Road, Faridabad. | 12/15/2018 | Complying | ETP=ph-7.6, SS-04, BOD-16, COD-84, Oil & Greas-ND, Sulphide-ND, Conductivity-3760 STP=ph-7.3, SS-66, BOD-17, COD-80, Oil & Greas-2.0, Conductivity-3870, Sulphide-ND | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- | --- |
|  | Frisco Fab Dyeing & Printing Pvt. Ltd., 16/2, Mathura Road, Faridabad. | 12/15/2018 | Complying | ph-7.5, SS-11, BOD-18, COD-96, Oil & Greas-ND, Sulphide-ND, Phosphate-1.4, Phenolic com.-ND, TDS-1890, Amonical Nitrogen-3.2 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | --- |
|  | Green Valley, RPS Associates, SaraiKhawaja, Sec-41/42, Faridabad. | 12/15/2018 | Complying | ph-7.4, SS-10, BOD-07, COD-36, Oil & Greas-02 | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- | --- |
|  | EROS EF3 Mall (Ajay Enterprises) Pvt. Ltd., Plot No. 12, Sector-20, Faridabad. | 12/16/2018 | Complying | ph-7.5, SS-04, BOD, 10, COD-48, Oil & Greas-ND, Amonical Nitrogen as N-3.2 | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- | --- |
|  | Nestor Pharmaceuticals Ltd., 11, W.E. Area, N.I.T., Faridabad. | 12/16/2018 | Complying | ph-7.5, SS-32, BOD-27, COD-152, Oil & Greas-3.0, Amonical Nitrogen-ND, Phosphate-2.8, Phenolic Comp.-ND, Sulphide-ND | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | --- |
|  | Color Line, 151, DLF Industrial Area, Phase-I, Faridabad. | 12/17/2018 | Complying | ph-7.6, SS-20, BOD-16, COD-140, O & G-ND, Phenolic Comp-ND, Sulphide-0.8, TDS-1990, Amonical-ND, S.A.R.-02 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | --- |
|  | Competent Processors, 1-5-6, DLF Industrial Area, Phase-I, Faridabad. | 12/17/2018 | Complying | ph-7.4, SS-65, BOD-17, COD-108, Oil & Greas-ND, Phenolic-0.4, Sulphide-ND, TDS-1870, Amonical Nitrogen-ND, S.A.R.-2.5 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | --- |
|  | Lotus Textiles, 68D, DLF Industrial Area, Phase-I, Faridabad. | 12/17/2018 | Complying | ph-7.3, SS-0.8, BOD-10, COD-36, Oil & Greas-ND, Phenolic-ND, Sulphide-ND, TDS-950, Amonical Nitrogen-ND, S.A.R.-ND | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | --- |
|  | Bharat Gears Ltd., 20 KM, Mathura Road, Faridabad. | 12/17/2018 | Complying | ph-6.9, SS-22, BOD-17, COD-72, Oil & Greas-2.5, Phosphate-1.4, Sulphate-ND, Iron as Fe-1.2, Total Metal-4.0 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | --- |
|  | K.K.K. Farbric Processors Pvt. Ltd., Plot No. 72, Sector-27A, Faridabad. | 12/17/2018 | Complying | ph-7.3, SS-42, BOD-26, COD-152, Oil & Greas-ND, Phenolic-ND, Sulphide-ND, TDS-1980 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | --- |
|  | Tex India Enterprises Pvt. Ltd., Plot No. 23, Sector-27A, Faridabad. | 12/17/2018 | Complying | ph-6.9, SS-12, BOD-11, COD-44, Oil & Greas-ND, Phenolic Comp.-ND, Sulphide as S-ND, Sulphide as S-ND, TDS-1870 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | --- |
|  | Tirupati Textiles, Plot No. 37, Sector-27C, Faridabad. | 12/17/2018 | Complying | ph-7.4, SS-12, BOD-08, COD-28, Oil & Greas-ND, Phenolic Com.-ND, Sulphide as S-ND, TDS-1410 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | --- |
|  | Frick India Ltd., 21.5 KM, Mathura Road, Faridabad. | 12/17/2018 | Complying | ETP=ph-8.7, SS-16, BOD-22, COD-124, Oil & Greas-2.0 STP=ph-7.5, SS-80, BOD-26, COD-152, Oil & Greas-2.5 | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- | --- |
|  | Bronze Powder Private Limited, 13/3, Mathura Road, Faridabad. | 12/17/2018 | Complying | ph-7.1, SS-18, BOD-15, COD-68, Oil & Greas-ND, Phenolic-ND, Sulphide as S-ND, TDS-1970, Amonical Nitrogen-12, S.A.R.-ND | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | --- |
|  | Ganpati Textiles, 37-D, DLF Industrial Area, Phase-I, Faridabad. | 12/15/2018 | Non-complying | ph-7.7, SS-32, BOD-55, COD-212, Oil & Greas-ND, Phenolic-2.2, Sulphide-3.4, TDS-1530, Amonical Nitrogen-10, S.A.R.-14 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | --- |
|  | Akriti Apparels Pvt. Ltd., P. No. 9, Sec-27A, Faridabad. | 12/17/2018 | Non-complying | ph-7.9, SS-118, BOD-150, COD-720, Oil & Greas-2.0, Sulphide-3.4, TDS-1720, Amonical Nitrogen-16 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, | --- |
|  | Regent Garage Pvt. Ltd., 13/1, Mathura Road, Faridabad. | 12/17/2018 | Non-complying | ph-6.8, SS-110, BOD-85, COD-260, Oil & Greas-7.0, Iron as Fe-4.6, Phosphate as P-6.8 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | --- |
|  | Mahalakshmi Palace Hotel, 68, Neelam Bata Road, N.I.T., Faridabad. | 12/16/2018 | Non-complying | ph-7.5, SS-42, BOD-36, COD-124, Oil & Greas-12, Amonical Nitrogen-24 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Phenolic Compound-1 | --- |
|  | Sita Sings & Sons Pvt. Ltd., 15, DLF-II, I.A., Faridabad. | 12/15/2018 | Non-complying | ph-9.96, SS-62, BOD-06, COD-28, Oil & Greas-4.0, Phosphate-5.8, Iron-0.6, Zinc as Zn-3.2 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, Iron-3.0, | --- |
|  | Westend Enterprises Pvt. Ltd., (Formarly-Jahnvi Dyeing), Plot No. 14/7, Shed No. 1 & 2, Mathura Road, Faridabad. | 12/15/2018 | Non-complying | ph-7.0, SS-28, BOD-75, COD, 384, Phenolic Com-1.1, Sulphide-1.4, TDS-2210, Amonical Nitrogen-12, S.A.R-07 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, | --- |
|  | S.K. Dyeing & Printing Mills Pvt. Ltd., 135, DLF, I.A., Faridabad. | 12/15/2018 | Non-complying | ph-7.5, SS-14, BOD-16, COD, 100, Oil & Greas-4.0, Phenolic com.-1.2, Sulphide-1.8, TDS-3280, Amonical Nitrogen-4.2, S.A.R.-6 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, | --- |
|  | Lindstorm Services India Pvt Ltd., 133A, DLF,I.A., Faridabad. | 12/15/2018 | Non-complying | ph-8.8, SS-304, BOD-260, COD-992, Oil & Greas-2.0, Phonolic Com-1.6, Sulphide-2.4, TDS-3130, Amonical Nitrogen-3.5, S.A.R.-12 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, | --- |
|  | M. S. Enterprises, Plot No. 2, Shed No. 6, DabuaPali Road, Opp. Govt. School, Village-Dabua, N.I.T. Faridabad. | 12/14/2018 | Complying | ph-3.1, SS-490, COD, 372, Oil & Greas-19.0, Sulphate-26, Phosphate-0.6, Zinc as Zn-5.4, Iron as Fe-4.6, Hexavalent Chromium-1.8 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, | -- |
|  | Super Fine Enterprises, E-28, New Clolony, Railway Road, (Near Bhatia Crane Service), Faridabad. | 12/14/2018 | Complying | ph-9.4, SS-10, COD-68, Oil & Greas-4.0, Sulphate-11, Phosphate-0.8, Iron as Fe-3.2, | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, | -- |
|  | S.S. Process, Atmadpur Industrial Area, Naharpar, Gali No. 2, (Near Broken RMC), Faridabad4e4ee | 12/13/2018 | Non-complying | ph-6.8, SS-535, BOD-610, COD-2210, Oil & Greas-04, Phenolic com-2.8, Sulphide-ND, TDS-1970, Amonical Nitrogen-12, S.A.R.-14 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, SAR-06 | -- |
|  | Shiza Wash Care, Plot No. 1, Titu Colony, Mawai Road, Tilpat, Faridabad | 12/13/2018 | Non-complying | ph-7.2, SS-282, BOD-48, COD-176, Oil & Greas-04, Phenolic com-2.4, Sulphide-ND, TDS-2140, Amonical Nitrogen-09, S.A.R.-08 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, Amonical Nitrogen-50, SAR-06 | -- |
|  | DHRUV GLOBALS LTD UNIT , 14 MILE STONE FARIDABAD. | 12/22/2018 | Complying | ph-7.4, SS-13, BOD-11, COD-36, Oil & Greas-ND, Conductivity-1870 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, | -- |
|  | VIPUL PLAZA, Bhatola, Sector-81, Faridabad. | 12/24/2018 | Complying | ph-7.8, SS-15, BOD-13, COD-36, Oil & Greas-ND, Conductivity-1310 | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, | -- |
|  | Golden Eagle Waste Management, VPO-Jasna, Tigaon, Faridabad. | 1/4/2019 |  | ETP=ph-8.5, SS-199, BOD-58, COD-304, Oil & Greas-06, Conductivity-7060 STP=ph-7.3, SS-36, BOD-14, COD-72, Oil & Greas-ND, Conductivity-3990, | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- | -- |
|  | ABB India Ltd. Plot No. 14, Post Amar Nagar, Faridabad. | 1/15/2019 | Complying | ph-7.6, SS-12, BOD-9, COD-44, Oil & Greas-ND, Conductivity-2310, | ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity-- | -- |
|  | Omaxe Heights, Sector-86, Faridabad | 1/18/2019 | Complying | ph-7.7, Conductivity-3070, SS-15, BOD-12, COD-40, O&G-ND, | Ph-9.0, SS-100, BOD-30, COD-250, O&G-10, Conductivity---, | - |
|  | M/S Lgf Sysmac India Pvt. Ltd., Plot No. 1873, Hsiidc, Industrial Area, Rai, Distt. Sonipat | 8/1/2018 | Complying. | pH : 7.56 SS: 11 BOD:12 COD: 51.2 O & G: ND Copper: ND Nickel:ND | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 Copper:3 Nickel:3 | Complying. |
|  | M/S Tdi Infrastructure Ltd., Tdi Mall, Tdi City (Cannes Property Management Service Pvt. Ltd.) G.T. Road, Kundli, Sonepat. | 8/23/2018 | Non-complying. | pH : 7.42 SS: 63 BOD: 62.5 COD: 265.6 O & G:8 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Case sent to HO for sanction of prosecution. |
|  | M/S Pentagun Fabrics, 125, Hsiidc, Indl. Esate, Barhi, Sonepat. | 8/24/2018 | Non-complying. | pH :8.22 SS:45 BOD:90 COD:464.8 O & G:8.5 Ammonical Nitrogen:10.64 Sodium Absorption:10.799 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 Ammonical Nitrogen:50 Sodium Absorption:26 | SCN issued. Unit submitted modification scheme of ETP alongwith performance security. Case sent to HO for resampling. |
|  | Ankush Enterprises Nathupur Road, Sonepat | 9/19/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | Atul Metfab Pvt Ltd Plot No 8, Ph Iv, Sector 57, Kundli | 9/21/2018 | Complying. | pH :7.77 SS:25 BOD:20 COD:88.8 O & G:2 Ammonical Nitrogen:7.28 Dissolved Phosphate:1.451 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 Ammonical Nitrogen:50 Dissolved Phosphate:5 | Complying. |
|  | Shri Om Prakash Bansal Educational And Social Welfare Trust Plot No 1 In Rajiv Gandhi Educational City, Sonepat, Haryana | 9/21/2018 | Complying. | pH :8.04 SS:10 BOD:14 COD:53.2 O & G:ND | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | M/S Shakti Metallics Pvt. Ltd. Plot No. 124, Hsiidc, Phase-Ii, Kundli, Distt. Sonepat | 9/21/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | M/S G.S. Setia & Bros Pvt. Ltd., Plot No.155, Hsiidc, Kundli, Phase-Ii,Sonipat | 9/21/2018 | Complying. | pH :8.41 SS:22 BOD:25 COD:118.4 O & G:2.5 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | M/S Parker Estate Developers Pvt. Ltd., Regd. Office –308, Gd-Til Tower B-08, Netaji Subhash Place, Works -Parker Residency Complex, Sector-61, Kundli, Sonepat. | 9/21/2018 | Complying. | pH :8.09 SS:17 BOD:23 COD:108.8 O & G:ND | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | Tr Foundry Private Limited Plot No. 648, Phase-Ii, Industrial Estate Barhi | 9/22/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | Dcrust Murthal | 9/22/2018 | Complying. | pH :7.43 SS:9 BOD:12 COD:52.4 O & G:N.D. | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | Jain Electroplast Pvt. Ltd. Vill. Nathupur, Sonipat | 9/22/2018 | Complying. | pH :7.99 SS:8 BOD:13 COD:44.8 O & G:ND Sulphate:180.2 Dissolved Phosphate:3.255 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 Sulphate:400 Dissolved Phosphate:5 | Complying. |
|  | Adhunik Realators Private Limited Vill- Kamaspur Ditt- Sonipat | 9/22/2018 | Non-complying. | pH :7.9 SS: 130 BOD:120 COD:394 O & G:14 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | SCN issued. Unit submitted modification scheme of ETP alongwith performance security. Case sent to HO for resampling. |
|  | Kheria Udyog Plot No.1758,Hsiidc,Rai | 9/22/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | Sampark Laminators Pvt Ltd Village Libaspur Po Bahalgarh Distt Sonepat Haryana | 9/22/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | Noe Tech International Pvt Ltd Plot No 411 Barhi Industrial Estate Phase I Gt Road Sonepat | 9/22/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | Shri Krishna Polyurethane Industries Pvt Ltd Plot No 505 Sector 53 Phase Iii Hsiidc Kundli Sonipat | 9/22/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | Raghuvir Bdns Metalcast Pvt. Ltd., Vill. Ram Nagar, Tehsil Ganaur, Distt. Sonepat | 9/24/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | Soorajmull Baijnath Industries Pvt. Ltd. Plot No. E-4, Industrial Area, Sonipat | 9/24/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | Raghunath Equipment Pvt Ltd Plot No 21 Hsiidc Sector 57 Kundli Sonepat | 9/24/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | M/S Raj Katha Products Pvt. Ltd., Vill. Ferozpur Banger | 9/24/2018 | Complying. | pH :8.51 SS:11 BOD:14 COD:47.2 O & G:ND | pH :5.0-9.0 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | M/S Shri Giriraj Oil Company, Delhi Kharkhoda Road, Village Ferozpur Bangar, Tehsil Kharkhoda, Distt. Sonepat | 9/24/2018 | Complying. | pH :8.36 SS:14 BOD:15 COD:100.8 O & G:2 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | Concept And Solutions Metfab Pvt. Ltd. Plot No. 77, Hsiidc,Phase, Kundli, Sonepat | 10/6/2018 | Complying. | pH :8.97 SS:13 BOD:14 COD:60 O & G:ND | pH :5.0-9.0 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | Lohani Ice And Cold Storage Plot No 22 Hsiidc Ph 1 Kundli | 10/6/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | M/S Bps Govt. Medical College For Women, Khanpur Kalan, Tehsil Gohana, Distt. Sonepat | 10/10/2018 | Complying. | pH :7.59 SS:30 BOD:21 COD:99.6 O & G:2.5 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | Sia Pharma Pvt Ltd Plot No 170 Hsiidc Ph I Barhi Sonepat | 10/12/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | M/S Frost Falcon Distilleries Ltd., Vill. Jahri, Sonepat. | 10/23/2018 | Complying. | pH :6.95 SS:12 BOD:14 COD:52.4 O & G:ND | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | Sai Kripa Ice And Cold Storage Pvt. Ltd. Plot No 166 167 Hsiidc Kundli Distt Sonepat | 11/28/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | M/S Zurudh Pharma Llp, Vill. Dhaturi, Distt. Sonipat | 12/3/2018 | Complying. | pH :7.54 SS:22 BOD:23 COD:129.6 O & G:2 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | M/S P.P. Automotive Pvt. Ltd., Plot No. 41/2, Opp. H.P. Petrol Pump, Bahalgarh Road, Distt. Sonepat | 12/3/2018 | Complying. | pH :7.91 SS:20 BOD:16 COD:62 O & G:2 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | Jay Gee Overseas Pvt Ltd 201-202, Hsidc Industrial Estate, Barhi, Distt. Sonepat | 12/4/2018 | Lying sealed. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Lying sealed. |
|  | M/S Shree Jee Celebrations Pvt. Ltd., Ibrahimpur Kurar, Sonipat | 12/5/2018 | Complying. | pH :6.99 SS:18 BOD:17 COD:58 O & G:2 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | M/S Krishna Polymers Village Firozpur Banger Distt Sonepat Haryana | 12/7/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | M/S Such Exports Pvt. Ltd., 185, Hsiidc, Indl. Estate, Barhi, Distt. Sonipat | 3/27/2018 | Complying. | pH :8.73 SS:226 BOD:80 COD:283.2 O & G:7 | pH :6.5 to 9.0 SS:1500 BOD:500 COD: 1400 O & G: 15 | Complying. |
|  | Voestalpine Vae Vkn India Pvt. Ltd. Village Joshi Chauhan,Bahalgarh | 12/13/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | Sidhartha Rubber Pvt. Ltd. Village Dhaturi,Sonipat | 12/19/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | M/S Mangal Kanta Foods, Vill. Akbarpur Barota, Distt. Sonepat | 12/19/2018 | Complying. | pH :7.75 SS:35 BOD:18 COD:74 O & G:ND | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | M/S Posh Personal Care Llp Plot No 109 Hsiidc Sector 56 Kundli | 12/21/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | Raj Kamal Electric Press Plot No. 2, Phase Iv, Hsiidc, Kundli, Sonepat | 12/21/2018 | Complying. | pH :8.5 SS:42 BOD:21 COD:112 O & G:ND | pH :5.0-9.0 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | M/S Mannat Haveli Nh-1, Bhagan Chowk, G.T. Road, Murthal, Distt. Sonepat | 12/21/2018 | Complying. | pH :8.25 SS:17 BOD:24.5 COD:114.4 O & G:2.5 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | Galaxy Automobiles Pvt. Ltd. G.T. Karnal Road, Opposite Parnami Hospital, Kundli | 12/26/2018 | Complying. | pH :7.65 SS:17 BOD:16 COD:57.6 O & G:ND | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | Yakult Danone India Private Limited 402-405 & 410-413, Food Park, Rai Industrial Area, Hsiidc | 12/26/2018 | Complying. | pH :6.95 SS:60 BOD:17 COD:64.4 O & G:ND | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | Farmgate Agro Milch Private Limited Plot No. 79-80 Hsiidc, Kundli | 12/26/2018 | Complying. | pH :7.8 SS:14 BOD:14 COD:70.4 O & G:ND | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | M/S Sukhdev Vaishno Dhaba, G.T. Road, Murthal, Sonepat | 12/27/2018 | Complying. | pH :7.21 SS:50 BOD:23.5 COD:109.2 O & G:2 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | Paruthi Engineers Pvt. Ltd. Unit-Ii Village Dhaturi, Sonepat | 12/28/2018 | Complying. | pH :6.93 SS:17 BOD:9 COD:48.8 O & G:ND Zinc:0.152 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 Zinc: 5 | Complying. |
|  | Babbar Hosiery Plot No.84,Industrial Estate Barhi,Distt.Sonepat | 12/28/2018 | Complying. | pH :8.28 SS:16 BOD:21 COD:107.2 O & G:ND Sulphate:264.1 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 Sulphate:1000 | Complying. |
|  | Garg Sons India Private Limited Plot No-5, Hsiidc, Ind.Estate, Phase-1, | 12/31/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | Kushal Karyashala Pvt. Ltd. Plot No. 342,Ph-Iv, Sec-57, Hsiidc, Kundli, Sonepat | 12/31/2018 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | M/S Super Restaurant Pvt. Ltd., Nh-1, Village Kurar Ibrahimpur, 52 Mile Stone, Murthal, Distt. Sonipat | 12/31/2018 | Complying. | pH :7.34 SS:79 BOD:23.5 COD:108 O & G:2.5 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | M/S Indian Leathers, Vill. Nathupur, Distt. Sonepat | 1/4/2019 | Complying. | pH :8.22 SS:11 BOD:24.5 COD:103.2 O & G:2.5 Chlorides:666 Sulphide:1.6 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 Chlorides:1000 Sulphide:2 | Complying. |
|  | Sunny International Limited Kundli Plot 76e, Phase 4, Sec 57, Kundli | 1/10/2019 | Complying. | There is no source of trade effluent in the unit. | There is no source of trade effluent in the unit. | Complying. |
|  | M/s KRBL Ltd., 98/12, Akbarpur Barota, Distt. Sonipat | 1/3/2019 | Complying. | pH :8.18 SS:68 BOD:23 COD:124 O & G:2 | pH :5.0-8.5 SS:100 BOD:30 COD: 250 O & G: 10 | Complying. |
|  | Naranjan Engg. Works, Jarouda Gate, Jagadhri | 18.08.2018 | Complying | Pass pH=8.23 COD=38 SS=17 O&G=ND Amonical Nitrozen=N.D Lead=0.011 Hex.crome=ND Total chorm=ND Cadmium=ND Cu=0.012 Zn=0.002 Ni=ND Fe=0.098 | Ph=6.0-9.0 COD=250 SS=100 O&G=10 Amonical Nitrozen=50 Lead=0.1 Hex.crome=0.1 Total chorm=2.0 Cadmium=2.0 Cu=3.0 Zn=5.0 Ni=3.0 Iron(Fe)=3.0 | Complying |
|  | Saraswati Udyog, Ambala Road, Aggarsain Chowk, Jagadhri. | 18.08.2018 | Complying | Pass Ph=8.16 Suspended Solid=20 COD=32.4 BOD-9 O&G=ND Hexa.Cr=ND Total Chromium=ND Copper=0.044 Zinc=0.078 Iron=0.577 | Ph-6.0-9.0 Suspended Solid=100 COD=250 BOD-30 O&G=10 Hexa.Cr=0.1 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Iron=3.0 | Complying |
|  | Liberty Metal Industry, Bilaspur by Pass Road, Jagadhri, Yamuna Nagar | 18.08.2018 | Complying | Pass Ph=7.13 SS=49 BOD=21.4 COD=80 O&G=3 Zinc=0.37 Chromium=0.85 Chromium Hexavalent=0.01 Nickel=0.01 Copper=0.17 Iron=0.73 Total Metal=2.12 | Ph=5.5-9.0 SS=100 BOD=30 COD=250 O&G=10 Zinc=5.0 Chromium=2.0 Chromium Hexavalent=0.1 Nickel=3.0 Copper=3.0 Iron=3.0 Total Metal=10 | Complying |
|  | Pal Engineering Corporation, M - 10, Industrial Area, Yamuna Nagar | 18.08.2018 | Non Complying | Pass Ph=6.89 S.S=22.3 COD=90 O&G=3.0 Chromium=0.01 Chromium Hexavalent=0.093 Ammonical Nitrogen=31.6 Zinc=0.01 Nickel=0.01 Copper=0.01 Iron=0.1 Total Metal=N.D | Ph=6.0-9.0 S.S=100 COD=250 O&G=10 Chromium=2.0 Chromium Hexavalent=0.1 Ammonical Nitrogen=50 Zinc=5.0 Nickel=3.0 Copper=3.0 Iron=3.0 Total Metal=10 | Non Complying & during inspection following deficiencies were found i.e. 1. Pickling section not in operation during inspection. 2. Reaction tank found rusting inside. Closed by Board vide no. HSPCB/2018/1863-67 dt. 11.12.18 and complied the closure order by this office on dt. 24.12.18 |
|  | Bhatti Enterprises, Durga Garden, Jagadhri. | 18.08.2018 | Complying | Pass Ph=7.0 Suspended Solid=17 COD=43.2 O&G=2.0 Ammonical Nitrozen=ND Hexa.Cr=ND Total Chromium=ND Copper=ND Zinc=0.058 Iron=0.128 | Ph-6.0-9.0 Suspended Solid=100 COD=250 O&G=10 Ammonical Nitrozen= 50 Hexa.Cr=0.1 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Iron=3.0 | Complying |
|  | Laj Industries, Gauri Shanker Link Road, Jesico Colony, Jagadhri. | 18.08.2018 | Complying | Pass Ph-7.19 Suspended Solid=14 COD=59.2 O&G=ND Ammonical Nitrozen=ND Hexa.Cr=ND Total Chromium=ND Copper=ND Zinc=0.040 Iron=0.256 | Ph-6.0-9.0 Suspended Solid=100 COD=250 O&G=10 Ammonical Nitrozen= 50 Hexa.Cr=0.1 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Iron=3.0 | Complying & Unit lying closed Since May 2018. |
|  | Shibu Aluminium Industries, Ambala Road, Jagadhri, Yamuna Nagar | 18.08.2018 | Complying | Pass Total S.S=32 pH= 7.2 O&G=1 Total Chromium=0.05 Copper=0.05 Zinc=0.14 Nickel=0.02 Cyanide=0.05 | Total S.S=100 pH= 5.5-9.0 O&G=10 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Nickel=3.0 Cyanide=0.2 | Complying |
|  | Krishna Metal Works, New Chhachhrauli Road, Jagahdri Road, Yamuna Nagar | 18.08.2018 | Complying | Pass Ph=8.11 Suspended Solid=43 COD=31.6 O&G=ND Hexa.Cr=N.D Total Chromium=N.D Copper=1.683 Zinc=1.282 Iron=0.270 | Ph-6.0-9.0 Suspended Solid=100 COD=250 O&G=10 Hexa.Cr=0.1 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Iron=3.0 | Complying |
|  | Krishna Engineering Industry, New Chhachhrauli Road, Jagadhri. | 18.08.2018 | Complying | Pass Ph=7.35 Suspended Solid=24.0 COD=44.4 O&G=3.0 Hexa.Cr=ND Total Chromium=ND Copper=0.181 Zinc=2.012 Iron=0.343 | Ph-6.0-9.0 Suspended Solid=100 COD=250 O&G=10 Hexa.Cr=0.1 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Iron=3.0 | Complying |
|  | J.N Metal Industry, Jaroda Gate, Jagadhri. | 18.08.2018 | Non Complying | Fail Ph=1.67 Suspended Solid=39 COD=91.6 O&G=2.5 Hexa.Cr=N.D Total Chromium=2.0 Copper=53.389 Zinc=18.998 Iron=2.308 Cadmium=0.032 | Ph-6.0-9.0 Suspended Solid=100 COD=250 O&G=10 Hexa.Cr=0.1 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Iron=3.0 Cadmium=1.0 | Non Complying. |
|  | Akash Enterprises, Jaroda Gate, Jagadhri. | 18.08.2018 | Non Complying | Fail Ph=9.47 Suspended Solid=542 BOD=47 COD=324 O&G=4.5 Hexa.Cr=N.D Total Chromium=0.4 Copper=6.513 Zinc=4.604 Iron=7.209 | Ph-5.5-9.0 Suspended Solid=100 BOD=30 COD=250 O&G=10 Hexa.Cr=1.0 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Iron=3.0 | Non Complying. |
|  | Anand Metal Works, Gauri Shankar Link Road, Old Chh. Road, Jagadhri | 18.08.2018 | Complying | Pass Total S.S=31 pH= 7.7 O&G=1 Total Chromium=0.040 Copper=0.05 Zinc=0.31 Nickel=0.02 Cyanide=0.05 | Total S.S=100 pH= 5.5-9.0 O&G=10 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Nickel=3.0 Cyanide=2.0 | Complying. |
|  | Ahuja Metal Industry, Jassico Colony, Gouri Shanker Link Road, Jagadhri. | 18.08.2018 | Complying | Pass pH=6.95 Total S.S.=14 O&G=2.0 COD=90 Ammonical Nitrogen=0.5 Zinc=0.64 Chromium=0.40 Hexa Chromium=0.05 Nickel=0.05 Copper=0.96 Iron=0.34 Total Metal=2.34 | pH=6.0-9.0 Total S.S.=100 O&G=10 COD=250 Ammonical Nitrogen=50 Zinc=5.0 Chromium=2.0 Hexa Chromium=0.1 Nickel=3.0 Copper=3.0 Iron=3.0 Total Metal=10 | Complying. |
|  | Arun Metal Industries, Jesico Colony, Yamuna Nagar | 18.08.2018 | Complying | Pass pH=6.98 Total S.S.=22.4 O&G=2.0 COD=104 Ammonical Nitrogen=2.3 Zinc=0.86 Chromium=0.28 Hexa Chromium=0.05 Nickel=0.05 Copper=0.96 Iron=0.60 Total Metal=2.70 | pH=6.0-9.0 Total S.S.=100 O&G=10 COD=250 Ammonical Nitrogen=50 Zinc=5.0 Chromium=2.0 Hexa Chromium=0.1 Nickel=3.0 Copper=3.0 Iron=3.0 Total Metal=10 | Complying. |
|  | Chemical & Allied Industry, Gauri Shanker Link Road, Jagadhri. | 18.08.2018 | Complying | Pass pH=6.98 Total S.S.=14 O&G=2.0 COD=115 Ammonical Nitrogen=4 Zinc=0.25 Chromium=0.76 Hexa Chromium=0.05 Nickel=0.47 Copper=0.36 Iron=1.22 Total Metal=3.02 | pH=6.0-9.0 Total S.S.=100 O&G=10 COD=250 Ammonical Nitrogen=50 Zinc=5.0 Chromium=2.0 Hexa Chromium=0.1 Nickel=3.0 Copper=3.0 Iron=3.0 Total Metal=10 | Complying. |
|  | Gargsons Industries, Gauri Shanker Link Road, Jagadhri. | 18.08.2018 | Non Complying | Fail Ph=1.68 Suspended Solid=386 COD=42.0 O&G=5 Hexa.Cr=N.D Total Chromium=30.8 Copper=9.990 Zinc=0.252 Nickle=20.0 Iron=66.746 | Ph-6.0-9.0 Suspended Solid=100 COD=250 O&G=10 Hexa.Cr=0.1 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Nickle=3.0 Iron=3.0 | Non Complying. Closed by Board vide no. HSPCB/2018/1878-82 dt. 11.12.18 and complied the closure order by this office on dt. 21.12.18. |
|  | J.K. Metal Industry, Gobindpuri Road, Jagadhri, | 17.09.2018 | Non Complying | Pass Ph=6.28 Suspended Solid=10 BOD=ND COD=52 O&G=ND Lead=ND Cadmium=ND Hexa.Cr=ND Total Chromium=0.090 Copper=ND Zinc=0.098 Nickel=ND | Ph-5.5-9.0 Suspended Solid=100 BOD=30 COD=250 O&G=10 Lead=0.1 Cadmium=2.0 Hexa.Cr=0.1 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Nickel=3.0 | Non complying & during inspection the following deficiencies were found:- 1. ETP was found not adequate. 2. Not provided DMF (Dual Media Filter), Flow Meter and pH Meter. 3. Not provided Log Book for consumption of quantity of effluent. |
|  | PolyPlastics Industries(India)Pvt.Ltd., O/15 , Industrial Area, Yamuna Nagar | 17.09.2018 | Complying | Pass Ph=7.9 Suspended Solid=20 COD=48 BOD=16 O&G=ND Ammonical Nitrozen= ND | Ph-5.0-9.0 Suspended Solid=100 COD=250 BOD=30 O&G=10 Ammonical Nitrozen= 50 | Complying |
|  | Jamna Auto Industry Ltd., E-46, Industrial Area, Jai Spring Road, Yamuna Nagar | 17.09.2018 | Non Complying | Fail Ph=8.6 Suspended Solid=80 COD=192 BOD=60 O&G=6.0 Ammonical Nitrozen=10 | Ph-5.0-9.0 Suspended Solid=100 COD=250 BOD=30 O&G=10 Ammonical Nitrozen= 50 | Non Complying |
|  | Usha Enterprises, Manohar Colony, Jagadhri | 17.09.2018 | Complying | Pass Ph=8.1 Suspended Solid=20 COD=56 BOD=16 O&G=ND Ammonical Nitrozen= ND | Ph-5.0-9.0 Suspended Solid=100 COD=250 BOD=30 O&G=10 Ammonical Nitrozen= 50 | Complying |
|  | P.R. Steels, Industrial Estate, Plot No. 14,Manakpur, Yamuna Nagar | 17.09.2018 | Complying | Pass pH=6.84 Total S.S=17.0 O&G=2.0 COD=110.0 Ammonical Nitrogen=2 Zinc=0.38 Chromium=0.60 Hexa Chromium=0.05 Nickel=0.45 Copper=0.57 Iron=1.27 Total Metal=3.27 | pH=6.0-9.0 Total S.S.=100 O&G=10 COD=250 Ammonical Nitrogen=50 Zinc=5.0 Chromium=2.0 Hexa Chromium=0.1 Nickel=3.0 Copper=3.0 Iron=3.0 Total Metal=10 | Complying |
|  | Shibu Enterprises, Gandhi Marg, Jagadhri. | 04.10.2018 | Non Complying | Fail Ph=1.98 Suspended Solid=124 BOD=10 COD=270 O&G=N.D Lead=0.032 Cadmium=N.D Hexa.Cr=ND Total Chromium=0.2 Copper=0.172 Zinc=0.384 Nickel=ND Iron=19.668 | Ph-6.0-9.0 Suspended Solid=100 BOD=30 COD=250 O&G=10 Lead=0.1 Cadmium=2.0 Hexa.Cr=0.1 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Nickel=3.0 Iron=3.0 | Non Complying |
|  | Bansal Enterprises, Devi Bhawan Bazar Jagadhri, | 04.10.2018 | Non Complying | Fail pH=7.68 Suspended Solid=119.0 BOD=100.0 COD=360.8 O&G=12.0 Copper=0.016 Zinc=0.027 Nickel=N.D Iron=0.494 Lead=0.030 Cadmium=2.0 | Ph-6.0-9.0 Suspended Solid=100 BOD=30 COD=250 O&G=10 Lead=0.1 Cadmium=2.0 Hexa.Cr=0.1 Copper=3.0 Zinc=5.0 Nickel=3.0 Iron=3.0 | Non Complying |
|  | Sarswati Strips (P) Ltd., Old Court Road, Agarsain Chowak, Jagadhri | 04.10.2018 | Complying | Pass Ph-7.16 Suspended Solid=46.8 Ammonical Nitrozen= 2.6 COD=160 O&G=3.0 Copper=0.180 Zinc=0.35 Iron=0.40 Chromium=0.31 Nickle=0.01 | Ph-5.5-9.0 Suspended Solid=100 Ammonical Nitrozen= 50 COD=250 O&G=10 Copper=3.0 Zinc=5.0 Iron=3.0 Chromium=2.0 Nickle=3.0 | Complying |
|  | Upper India Rolling & General Mills, Jaroda Gate, Jagadhri | 04.10.2018 | Complying | Pass Ph-8.05 Suspended Solid=11 BOD=10 COD=49.6 O&G=ND Hexa.Cr=ND Total Chromium=ND Copper=0.131 Zinc=0.357 Iron=0.331 Lead=0.028 | Ph-6.0-9.0 Suspended Solid=100 BOD=30 COD=250 O&G=10 Hexa.Cr=0.1 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Iron=3.0 Lead=0.1 | Complying |
|  | Unique Energos Pvt. Ltd., PO Damla, Vill- Dhaunrang,Yamuna Nagar | 04.10.2018 | Complying | Pass Ph=8.30 Suspended Solid=12 BOD=9 COD=49.2 O&G=ND Hexa.Cr=ND Total Chromium=ND Zinc=0.027 Iron=0.319 Lead=0.021 | Ph-6.0-9.0 Suspended Solid=100 BOD=30 COD=250 O&G=10 Hexa.Cr=0.1 Total Chromium=2.0 Zinc=5.0 Iron=3.0 Lead=0.1 | Complying |
|  | Himalyan Rolling Mills, Aggasain Chowk, Jagadhri. | 17.10.2018 | Non Complying | Pass Total S.S=14 pH= 7.1 O&G=0.6 Ammonical Nitrozen=0.81 Total Chromium=0.21 Copper=0.05 Zinc=0.11 Nickel=0.02 Iron=0.14 Cyanide=0.05 | Total S.S=100 pH= 5.5-9.0 O&G=10 Ammonical Nitrozen=50 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Nickel=3.0 Iron=3.0 Cyanide=2.0 | Non Complying & during inspection the following deficiencies were found:- . 1. ETP was found not adequate. 2. Not provided Log Book for consumption of quantity of effluent. 3. Not provided APCM on electric fired furnace. 4. Not provided Acoustic enclosure on DG Set. |
|  | Shree GiriRaj Udyog, Kalyan Nagar, Jagadhri, Yamuna Nagar | 17.10.2018 | Non Complying | Pass Total S.S=20 pH= 8.3 O&G=0.6 Ammonical Nitrozen=1.2 Total Chromium=0.05 Copper=0.05 Zinc=0.18 Nickel=0.02 Iron=0.12 | Total S.S=100 pH= 5.5-9.0 O&G=10 Ammonical Nitrozen=50 Total Chromium=2.0 Copper=3.0 Zinc=5.0 Nickel=3.0 Iron=3.0 | Non complying & during inspection unit have closed the pickling process and not provided APCM on buffing section. Closed by Board vide no. HSPCB/2018/1874 dt. 11.12.18 and complied the closure order by this office on dt. 21.12.18. |
|  | Supreme Strips Enterprises, Tejli Gate, Jagadhri | 17.10.2018 | Complying | Pass Ph=7.86 Total Suspended Solid=24.0 BOD=23 COD=102 O&G=2 Ammonical Nitrozen= 4.5 Cadmium=0.05 Lead-0.05 Hexa.Cr=0.05 Chromium=0.2 Nickel=0.05 Copper=0.60 Zinc=1.30 Iron=1.80 | Ph-5.5-9.0 Total Suspended Solid=100 BOD=30 COD=250 O&G=10 Ammonical Nitrozen= 50 Cadmium=2.0 Lead-0.1 Hexa.Cr=0.1 Chromium=2.0 Nickel=3.0 Copper=3.0 Zinc=5.0 Iron=3.0 | Complying |
|  | U.B. Aluminiums Pvt. Ltd., Behind Ram Leela Bhawan, Jagadhri, Yamuna Nagar | 17.10.2018 | Non Complying | Pass pH=7.26 Total S.S.=21.4 Ammonical Nitrogen=3.3 COD=110 O&G=3.0 Zinc=0.31 Chromium=0.48 Hexa Chromium=0.01 Nickel=0.01 Copper=0.25 Iron=0.85 Total Metal=1.89 | pH=5.5-9.0 Total S.S.=100 Ammonical Nitrogen=50 COD=250 O&G=10 Zinc=5.0 Chromium=2.0 Hexa Chromium=0.1 Nickel=3.0 Copper=3.0 Iron=3.0 Total Metal=10 | Non complying & during inspection following deficiencies were found:- 1. ETP was found not adequate. 2. Not provided DMF (Dual Media Filter), Flow Meter and pH Meter. 3. Not provided Log Book for consumption of quantity of effluent. 4. Not provided APCM on Coal fired pot furnace. 5. Not provided Acoustic enclosure on DG Set. |
|  | Shiv Metals, Gulab Nagar Chowk, Bilaspur Road, Jagadhri. | 17.10.2018 | Complying | Pass Ph=7.69 S.S=8 O&G=ND Lead=ND Cadmium=ND Hexavalent Chromium=ND Total Chromium=ND Copper=0.002 Zinc=0.053 | Ph-6.0-9.0 S.S=100 O&G=10 Lead=0.1 Cadmium=2.0 Hexavalent Chromium=0.1 Total Chromium=2.0 Copper=3.0 Zinc=5.0 | Complying |
|  | M/s Richa Global Exports Pvt. Ltd. Plot No. 215, Phase-I, Gurugram | 08.08.2018 | Complying | Colour- Hazy | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value- 7.6 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-36 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-19 | 30 |  |
|  |  |  |  | C.O.D mg /l -68 | 250 |  |
|  |  |  |  | Oil & Grease mg/l -ND | 10 |  |
|  |  |  |  | Conductivity us/cm-1490 | - |  |
|  | M/s Narvana Courtyard Commercial Complex southcity-II, Phase-II, Gurugram, haryana | 10.09.2018 | Complying | Colour- Hazy | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value- 7.6 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-21 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-14 | 30 |  |
|  |  |  |  | C.O.D mg /l-52 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-1240 | - |  |
|  | M/s Richa and Company, P.NO. 192, U.V Phase-I, Gurugram | 17.09.2018 | Complying | Colour- Colourless | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-8.3 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-22 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-14 | 30 |  |
|  |  |  |  | C.O.D mg /l-56 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-540 | - |  |
|  | M/s Modelama Exports, P.No. 184, Udyog Vihar, Phase-I, Gurugram | 17.09.2018 | Complying | Colour-Colourless | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-7.5 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-23 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-19 | 30 |  |
|  |  |  |  | C.O.D mg /l-64 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-1810 | - |  |
|  | M/s vipul Motors Pvt. Ltd. 514, Ph-3, U.V, GGN | 19.09.2018 | Complying | Colour-Hazy | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-8 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-23 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-14 | 30 |  |
|  |  |  |  | C.O.D mg /l-60 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-2 | 10 |  |
|  |  |  |  | Conductivity us/cm-1260 | - |  |
|  | M/s Internet Exports 202, Phase-I, U.V, Gurugram | 19.09.2018 | Complying | Colour- Sight Hazy | - |  |
|  |  |  |  | Odour-Negligible | - |  |
|  |  |  |  | pH value-7.1 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-35 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-21 | 30 |  |
|  |  |  |  | C.O.D mg /l-116 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-1410 | - |  |
|  | M/s NSR Farms Pvt. Ltd. (MGF Metroploitan Mall) Sec-25, M.G Road, Gurugram | 19.09.2018 | Complying | Colour-Slight Brownish | - |  |
|  |  |  |  | Odour-Negligible | - |  |
|  |  |  |  | pH value-7.1 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-35 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-12 | 30 |  |
|  |  |  |  | C.O.D mg /l-44 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-670 | - |  |
|  | M/s Protech-Biosystem Pvt. Ltd. Sec-37, Plot No. 145, 146, Gurgaon | 20.09.2018 | Complying | Colour-Colourless | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-8.2 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-28 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-11 | 30 |  |
|  |  |  |  | C.O.D mg /l-56 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-590 | - |  |
|  |  |  |  | Sulphide as S mg/l-ND | 2 |  |
|  |  |  |  | Phenolic Compound as C6H5OH mg/l-ND | 1 |  |
|  |  |  |  | Phosphate as P mg/l-0.8 | 5 |  |
|  |  |  |  | Hexa Chromium as Cr+6 mg/l-ND | 0.1 |  |
|  |  |  |  | Cyanide as CN mg/l-ND | 0.1 |  |
|  | M/s The Palams Town & Country Club Sushant Lok, Ggn | 20.09.2018 | Complying | Colour-Slight Brownish | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-7.2 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-21 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-16 | 30 |  |
|  |  |  |  | C.O.D mg /l-60 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-810 | - |  |
|  | M/s Star Mall Condonium Association DLF Silokhera 4.4375 Acres Sec-30, Gurgaon | 20.09.2018 | Complying | Colour-Slight Hazy | - |  |
|  |  |  |  | Odour-Almost Odourles | - |  |
|  |  |  |  | pH value-7.1 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-20 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-15 | 30 |  |
|  |  |  |  | C.O.D mg /l-52 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-770 | - |  |
|  | M/s Ambience Developers, Infrastructure Pvt. Ltd. Caitriona, NH8 Gurgaon | 20.09.2018 | Complying | Colour-Slight Brownish | - |  |
|  |  |  |  | Odour- Odourless | - |  |
|  |  |  |  | pH value-7.7 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-21 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-16 | 30 |  |
|  |  |  |  | C.O.D mg /l-52 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-1380 | - |  |
|  | M/s Private Hospital, DLF Qutab Enclave Phase-II, Gurugram | 21.09.2018 | Complying | Colour-Colourless | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-7.7 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-19 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-15 | 30 |  |
|  |  |  |  | C.O.D mg /l-68 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-2 | 10 |  |
|  |  |  |  | Conductivity us/cm-1140 | - |  |
|  | M/s Delphi Propulsion systems Pvt. Ltd. 240, Ph-I, U.V, Ggn | 21.09.2018 | Complying | Colour- Almost Colourless | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-7.7 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-24 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-15 | 30 |  |
|  |  |  |  | C.O.D mg /l-48 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-720 | - |  |
|  | M/s Eltex India Pvt. Ltd. 887, Ph-5, Udyog Vihar, Ggn | 21.09.2018 | Complying | Colour- Almost Colourless | - |  |
|  |  |  |  | Odour-Negligible | - |  |
|  |  |  |  | pH value-7.8 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-21 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-14 | 30 |  |
|  |  |  |  | C.O.D mg /l-72 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-730 | - |  |
|  | M/s sML Labels (India) Pvt. Ltd. 494, Ph-3, Udyog Vihar, GGn | 21.09.2018 | Non Complying | Colour-Hazy | - | Permission for re-sampling sent to head Office |
|  |  |  |  | Odour- Bad | - |  |
|  |  |  |  | pH value-8.7 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-52 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-165 | 30 |  |
|  |  |  |  | C.O.D mg /l-824 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-7 | 10 |  |
|  |  |  |  | Conductivity us/cm-2230 | - |  |
|  | M/s Raheja Developers Ltd. M/s Raheja Mall Sec-47, Gurugram | 22.09.2018 | Non Complying | Colour-Greyish | - | Permission for re-sampling sent to head Office |
|  |  |  |  | Odour-Bad | - |  |
|  |  |  |  | pH value-7.4 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-52 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-45 | 30 |  |
|  |  |  |  | C.O.D mg /l-128 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-3 | 10 |  |
|  |  |  |  | Conductivity us/cm-1310 | - |  |
|  | M/s Maruti Suzuki India Ltd. Palam Gurugram Road, Gurugram | 22.09.2018 | Complying | Colour-Slight Hazy | - |  |
|  |  |  |  | Odour- Mild | - |  |
|  |  |  |  | pH value-7.7 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-28 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-15 | 30 |  |
|  |  |  |  | C.O.D mg /l-56 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-980 | - |  |
|  |  |  |  | Phosphate as P mg /l-ND | 5 |  |
|  |  |  |  | Iron as Fe mg/l-ND | 3 |  |
|  | M/s Leel Electrical Ltd, Nizamput, Mewat | 24.09.2018 | Complying | Colour- Slight Hazy | - |  |
|  |  |  |  | Odour- Almost Odourless | - |  |
|  |  |  |  | pH value-8.2 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-24 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-11 | 30 |  |
|  |  |  |  | C.O.D mg /l-56 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-760 | - |  |
|  | M/s finest Promotors Pvt. Ltd. The Masterpiece, sec-54, Golf Course Road, Gurugram | 16.10.2018 | Complying | Colour- Slight Hazy | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-7.9 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-24 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-17 | 30 |  |
|  |  |  |  | C.O.D mg /l-68 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-720 | - |  |
|  | M/s Gateway Tower, DLF Cyber City Ph-III, GGN. | 23.10.2018 | Complying | Colour-Slight Hazy | - |  |
|  |  |  |  | Odour- Almost Odourless | - |  |
|  |  |  |  | pH value-7.8 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-22 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-16 | 30 |  |
|  |  |  |  | C.O.D mg /l-60 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-1330 | - |  |
|  | M/s Rasandic Engg 14, Roz-Ka-Meo, Mewat | 30.10.2018 | Complying | Colour- Hazy | - |  |
|  |  |  |  | Odour- Odourless | - |  |
|  |  |  |  | pH value-8.5 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-26 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-17 | 30 |  |
|  |  |  |  | C.O.D mg /l-64 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-2 | 10 |  |
|  |  |  |  | Conductivity us/cm-2900 | - |  |
|  | Sahara India Commercial Corporation Ltd., Sahara Mall MG Road, Gurugram | 30.10.2018 | Non Complying | Colour- Brownish | - | Permission for re-sampling sent to head Office |
|  |  |  |  | Odour-Bad | - |  |
|  |  |  |  | pH value-7.5 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-262 | 100 |  |
|  |  |  |  | B.O.D for 3 days at 27 C mg/l-110 | 30 |  |
|  |  |  |  | C.O.D. mg/l-360 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-5 | 10 |  |
|  |  |  |  | Conductivity us/cm-1520 | - |  |
|  | M/s Mega Mall condonminium Association DLF Phase-I, Sec-28, Gurgoan | 31.10.2018 | Complying | Colour- Colourless | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-8 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-18 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-15 | 30 |  |
|  |  |  |  | C.O.D mg /l-48 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-1070 | - |  |
|  | Ambience DevelopersInfrastructure PvtLtd Corporate Office Tower, Nathupur, mbience Island, NH8, Gurugram | 16.11.2018 | Complying | Colour- Slight Hazy | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-7.6 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-22 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-19 | 30 |  |
|  |  |  |  | C.O.D mg /l-68 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-1390 | - |  |
|  | Park Plaza Hotel, Block - B, Sushant Lok Ph-I, Sec-27, Gurugram | 14.11.2018 | Complying | Colour- Trubid | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-7.9 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-24 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-17 | 30 |  |
|  |  |  |  | C.O.D mg /l-56 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-1080 | - |  |
|  | Park Medi centre & Institution Pvt.Ltd.,Block-Q-I,Sector-47, South City-II,Phase-I,Gurugram | 14.11.2018 | Complying | Colour- Slight Brownsih | - |  |
|  |  |  |  | Odour- Almost Odourless | - |  |
|  |  |  |  | pH value-8.8 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-18 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-14 | 30 |  |
|  |  |  |  | C.O.D mg /l-52 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-2140 | - |  |
|  | J.N. Fabclean co. Khandsa Road Near Yamah Show Room Gurugram | 27.11.2018 | Non Complying | Colour- Trubid | - | closed by board |
|  |  |  |  | Odour-Bad | - |  |
|  |  |  |  | pH value-9.4 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-52 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-115 | 30 |  |
|  |  |  |  | C.O.D mg /l-388 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-2 | 10 |  |
|  |  |  |  | Conductivity us/cm-1810 | - |  |
|  | Munjal Showa Ltd. Plot No.9-11, Maruti Industrial Area, Sector - 18, Gurugram | 21.11.2018 | Complying | Colour- Colourless | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-7.6 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-12 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-- | 30 |  |
|  |  |  |  | C.O.D mg /l-44 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-2830 | - |  |
|  |  |  |  | Total Chromium as Cr mg/l-0.4 | 2 |  |
|  |  |  |  | Hexa Chromium as Cr+6 mg/l-ND | 0.1 |  |
|  |  |  |  | Iron as Fe mg/l-ND | 3 |  |
|  |  |  |  | Zinc as Zn mg/l-ND | 5 |  |
|  |  |  |  | Cynide as CN mg/l-ND | 0.1 |  |
|  | Munjal Showa Ltd. Plot No.9-11, Maruti Industrial Area, Sector - 18, Gurugram | 21.11.2018 | Complying | Colour- Colourless | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-7.9 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-14 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-23 | 30 |  |
|  |  |  |  | C.O.D mg /l-92 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-2 | 10 |  |
|  |  |  |  | Conductivity us/cm-2610 | - |  |
|  | Pragati Coating Pvt Ltd. 1/5 KM Stone, Khandsa Road, Gurugram | 26.11.2018 | Complying | Color- Light Yellowish | - | NA |
|  |  |  |  | Odour- Almost Odourless | - |  |
|  |  |  |  | pH Value-7.3 | 5.5-9.0 |  |
|  |  |  |  | Suspended solids mg/l-18 | 100 |  |
|  |  |  |  | C.O.D mg/l-56 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-7170 | - |  |
|  |  |  |  | Phosphate as P mg/l-1.2 | 5 |  |
|  |  |  |  | Total Cromium as Cr mg/l-0.8 | 2 |  |
|  |  |  |  | Hexavalent Chromium as Cr+6 mg/l-0.06 | 0.1 |  |
|  |  |  |  | Nickel as NI mg/l-0.5 | 3 |  |
|  |  |  |  | Iron as Fe mg/l-ND | 3 |  |
|  | Hema Engineering Industries Ltd. 1/3 KM Stone Khandsa Road, Gurugram | 26.11.2018 | Complying | Colour- Slight Greyish | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH Value-7.8 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-40 | 100 |  |
|  |  |  |  | B.O.D for 3 days at 27 C mg/l-27 | 30 |  |
|  |  |  |  | C.O.D mg/l-104 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | conductivity us/cm-3490 | - |  |
|  |  |  |  | Phosphate as P mg/l-1.6 | 5 |  |
|  |  |  |  | Iron as Fe mg/l-- | 3 |  |
|  | Hema Engineering Industries Ltd. 1/3 KM Stone Khandsa Road, Gurugram | 26.11.2018 | Complying | Colour- Hazy | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH Value-7.6 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-14 | 100 |  |
|  |  |  |  | B.O.D for 3 days at 27 C mg/l-9 | 30 |  |
|  |  |  |  | C.O.D mg/l-52 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | conductivity us/cm-2380 | - |  |
|  |  |  |  | Phosphate as P mg/l-1.2 | 5 |  |
|  |  |  |  | Iron as Fe mg/l-ND | 3 |  |
|  | G.N. G. Auto Aids Pvt Ltd., Khasra No. 604-605- Near Hema Engineering Khandsa Road, Gurugram | 29.11.2018 | Complying | Colour- Slight Hazy | - |  |
|  |  |  |  | Odour- Almost Odourless | - |  |
|  |  |  |  | pH value-7.3 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-26 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27 C mg/l-14 | 30 |  |
|  |  |  |  | C.O.D. mg/l-48 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-4200 | - |  |
|  | S.K. Overseas (INC) P.No. 70 Pace City I, Sector 37, Gurugram | 26.11.2018 | Complying | Colour- Colourless | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH Value-8 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-28 | 100 |  |
|  |  |  |  | B.O.D for 3 days at 27 C mg/l-15 | 30 |  |
|  |  |  |  | C.O.D mg/l-64 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-1170 | - |  |
|  | The Malt Co. (India) Pvt Ltd. Khandsa Road, Gurugram | 26.11.2018 | Complying | Colour- Colourless | - |  |
|  |  |  |  | Odour- Mild | - |  |
|  |  |  |  | pH Value-8.2 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-41 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27 C mg/l-20 | 30 |  |
|  |  |  |  | C.O. D. mg/l-88 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-25 | 10 |  |
|  |  |  |  | Conductivity us/cm-5490 | - |  |
|  | Remsons Industries Ltd., 1/3 Mile Stone Khandsa Road, Gurugram | 27.11.2018 | Complying | Colour- Slight Hazy | - |  |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-7.8 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-34 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27 C mg/l-23 | 30 |  |
|  |  |  |  | C.O. D. mg/l-72 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-2 | 10 |  |
|  |  |  |  | Conductivity us/cm-2170 | - |  |
|  | Cosmic Motors India Pvt Ltd. Unit No. III P.No. 131 Sector 37 Pace City I Gurugram | 27.11.2018 | Complying | Colour- Light Greyish | - |  |
|  |  |  |  | Odour- Bad | - |  |
|  |  |  |  | pH value-7.4 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-23 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27 C mg/l-19 | 30 |  |
|  |  |  |  | C.O. D. mg/l-64 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-2 | 10 |  |
|  |  |  |  | Conductivity us/cm-930 | - |  |
|  | Protech Bio System (P) Ltd. P.No. 145-146 Pace City I Gurugram | 27.11.2018 | Complying | Colour- Light Greyish | - |  |
|  |  |  |  | Odour- Very Mild | - |  |
|  |  |  |  | pH value-7.5 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-32 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27 C mg/l-13 | 30 |  |
|  |  |  |  | C.O. D. mg/l-72 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-492 | - |  |
|  | Shri Sai Engravers P. No. 7 Pace City I, Gurugram | 27.11.2018 | Complying | Colour- Slight Hazy | - |  |
|  |  |  |  | Odour- Almost Odourless | - |  |
|  |  |  |  | pH value-7.4 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-16 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27 C mg/l-13 | 30 |  |
|  |  |  |  | C.O. D. mg/l-48 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-930 | - |  |
|  | Ritika Pvt. Ltd. P.No. 121 Pace City I, Gurugram | 27.11.2018 | Complying | Colour- Slight Hazy | - |  |
|  |  |  |  | Odour- Almost Odourless | - |  |
|  |  |  |  | pH value-7.4 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-17 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27 C mg/l-12 | 30 |  |
|  |  |  |  | C.O. D. mg/l-56 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-960 | - |  |
|  | Superon Hyndai, 106 Pace City I, Sector 37, Gurugram | 29.11.2018 | Complying | Colour- Almost Colourless | - |  |
|  |  |  |  | Odour- Odourless | - |  |
|  |  |  |  | pH value-8.9 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-25 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27 C mg/l-15 | 30 |  |
|  |  |  |  | C.O. D. mg/l-64 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-2.5 | 10 |  |
|  |  |  |  | Conductivity us/cm-2100 | - |  |
|  | Pasco Automobiles 34/3 Dinesh Jain complex, Delhi Jaipur Road, NH 8, Gurugram | 27.11.2018 | Non complying | Colour- Brownish | - | closed by board |
|  |  |  |  | Odour- Bad | - |  |
|  |  |  |  | pH value-6.7 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-108 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27 C mg/l-190 | 30 |  |
|  |  |  |  | C.O. D. mg/l-596 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-8 | 10 |  |
|  |  |  |  | Conductivity us/cm-1110 | - |  |
|  | Sahib Shakti Industries K-611, Vishwkarma Nagar Gurugram | 27.11.2018 | Non complying | Colour- Yellowish | - | closed by board |
|  |  |  |  | Odour- Bad | - |  |
|  |  |  |  | pH value-1.2 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-34 | 100 |  |
|  |  |  |  | C.O.D mg/l-64 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Condcutivity us/cm-2510 | - |  |
|  |  |  |  | Zinc as Zn mg/l-0.8 | 5 |  |
|  |  |  |  | Iron as Fe mg/l-4.2 | 3 |  |
|  |  |  |  | Hexa Chrom as Cr+6 mg/l-ND | 0.1 |  |
|  | Vision Precision Pvt Ltd. Plot No. 102, Sector 37 Pace City II, Gurugram | 27.11.2018 | Non complying | Colour- Blackish | - | Permission for re-sampling sent to head Office |
|  |  |  |  | Odour-Bad | - |  |
|  |  |  |  | pH value -7.5 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-88 | 100 |  |
|  |  |  |  | C.O.D. mg/l-264 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-3 | 10 |  |
|  |  |  |  | Conductivity us/cm-1410 | - |  |
|  |  |  |  | Phosphate as P mg/l-6.2 | 5 |  |
|  |  |  |  | Total Chormium as Cr mg/l-ND | 2 |  |
|  |  |  |  | Iron as Fe mg/l-0.6 | 3 |  |
|  |  |  |  | Nickel as Ni mg/l-3.8 | 3 |  |
|  | 6 MLD CSTP at Sohna SDE, Public Health Engg. Sub Division Sohna Gurugram | 17.12.2018 | Complying | Colour- Light Greyish | --- |  |
|  |  |  |  | Odour-Mild | --- |  |
|  |  |  |  | pH value-6.8 | 5.5 - 9.0 |  |
|  |  |  |  | Suspended Solids mg/l -46 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-27 | 30 |  |
|  |  |  |  | C.O.D. mg/l-156 | 250 |  |
|  |  |  |  | Oil & Grease mg/l -2.5 | 10 |  |
|  |  |  |  | Conductivity us/cm-1570 | -- |  |
|  | 30 MLD STP Operated by MCG, Dhanwapur Gurugram | 18.12.2018 | Non complying | Colour- Greyish | - | SCN issued |
|  |  |  |  | Odour- Bad | - |  |
|  |  |  |  | pH value-6.8 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-86 | 100 |  |
|  |  |  |  | B.O.D for 3 days at 27 C mg/l-56 | 30 |  |
|  |  |  |  | C.O.D. mg/l-144 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-6.5 | 10 |  |
|  |  |  |  | Conductivity us/cm-1710 | - |  |
|  | 100 MLD STP GMDA, Dhanwapur Gurugram | 18.12.2018 | Non complying | Colour- Greyish | - | SCN issued |
|  |  |  |  | Odour-Bad | - |  |
|  |  |  |  | pH value-7.3 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-110 | 100 |  |
|  |  |  |  | B.O.D for 3 days at 27 C mg/l-64 | 30 |  |
|  |  |  |  | C.O.D. mg/l-156 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-ND | 10 |  |
|  |  |  |  | Conductivity us/cm-2270 | - |  |
|  | 68 MLD STP GMDA, Dhanwapur Gurugram | 18.12.2018 | Non complying | Colour- Greyish | - | SCN issued |
|  |  |  |  | Odour-Mild | - |  |
|  |  |  |  | pH value-7.2 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-60 | 100 |  |
|  |  |  |  | B.O.D for 3 days at 27 C mg/l-68 | 30 |  |
|  |  |  |  | C.O.D. mg/l-188 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-3 | 10 |  |
|  |  |  |  | Conductivity us/cm-2220 | - |  |
|  | Oriental South Delhi Hotels Pvt. Ltd. “Construction of Restaurant cum Recreational Centre” (Hotel Complex) at Le-Meridian, MG Road, Sector-26, Gurgaon | 29.12.2018 | Non Complying | Colour- Slight Hazy | - | SCN issued |
|  |  |  |  | Odour- Mild | - |  |
|  |  |  |  | pH value-7.2 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-26 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-34 | 30 |  |
|  |  |  |  | C.O.D mg /l-108 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-5 | 10 |  |
|  |  |  |  | Conductivity us/cm-1240 | - |  |
|  | C K Birla Healthcare Private Limited Brand C K Birla Hospital for Women J Block May field Garden Sector 51 Gurugram | 26.12.2018 | Complying | Colour- Slight Greyish | - |  |
|  |  |  |  | Odour- Odourless | - |  |
|  |  |  |  | pH value-7.4 | 5.5-9.0 |  |
|  |  |  |  | Suspended Solids mg/l-8 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-5 | 30 |  |
|  |  |  |  | C.O.D mg /l-24 | 250 |  |
|  |  |  |  | Oil & Grease mg/l-3.5 | 10 |  |
|  |  |  |  | Conductivity us/cm-1170 | - |  |
|  | M/s STP 4.5 MLD, Punhana, Nuh | 21.12.2018 | Complying | Colour- Colourless | --- |  |
|  |  |  |  | Odour- Mild | --- |  |
|  |  |  |  | pH value-7.3 | 5.5 - 9.0 |  |
|  |  |  |  | Suspended Solids mg/l -24 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-7 | 30 |  |
|  |  |  |  | C.O.D. mg/l-44 | 250 |  |
|  |  |  |  | Oil & Grease mg/l -ND | 10 |  |
|  |  |  |  | Conductivity us/cm-6090 | -- |  |
|  | M/s STP, Nuh, Jogipur Road, Nuh | 21.12.2018 | Complying | Colour- Colourless | --- |  |
|  |  |  |  | Odour-Mild | --- |  |
|  |  |  |  | pH value-6.9 | 5.5 - 9.0 |  |
|  |  |  |  | Suspended Solids mg/l -28 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-22 | 30 |  |
|  |  |  |  | C.O.D. mg/l-108 | 250 |  |
|  |  |  |  | Oil & Grease mg/l -ND | 10 |  |
|  |  |  |  | Conductivity us/cm-2800 | -- |  |
|  | M/s STP 4.5 MLD, Punhana, Nuh | 21.12.2018 | Complying | Colour- Colourless | --- |  |
|  |  |  |  | Odour- Mild | --- |  |
|  |  |  |  | pH value-7.5 | 5.5 - 9.0 |  |
|  |  |  |  | Suspended Solids mg/l -32 | 100 |  |
|  |  |  |  | B.O.D. for 3 days at 27ºC mg/l-26 | 30 |  |
|  |  |  |  | C.O.D. mg/l-148 | 250 |  |
|  |  |  |  | Oil & Grease mg/l -3.5 | 10 |  |
|  |  |  |  | Conductivity us/cm-1390 | -- |  |
|  | M/s Dagar Engineering Works, P.No. 956, Sector-37, Gurugram | 27/09/2018 | Complying | Colour Odour pH value Suspended Solids mg/l Oil & Grease mg/l Conductivity us/cm Nickel as Ni mg/l Total Chromium as Cr mg/l Hexavalent Chromium as Cr+6 mg/l Zinc as Zn mg/l Cyanide as CN mg/l Ammonical Nitrogen as N mg/l Phenolic Compound as C6H5OH mg/l | Light Yellowish Mild 6.7 24 3.5 6680 1.4 1.2 0.08 5.2 ND 7.2 ND | ---- ---- 5.5-9.0 100 10 ----- 3 2.0 2.0 15 2.0 50 5 |  |
|  | M/s West Wind Concepts Pvt Ltd. P.No. 26, Sec.-4, IMT Manesar Gurugram | 05.10.18 | Complying | Colour Odour pH value Suspended Solids mg/l l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Phosphate as P mg/l Iron as Fe mg/l Total Chromium as Cr mg/l Zinc as Zn mg/l Hexavalent Chromium as Cr+6 mg/l Sulphide as S mg/l | Slight Hazy Negligible 6.7 35 6 132 ND 4870 2.1 0.5 ND ND ND ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 5 3 2.0 5.0 0.1 2.0 |  |
|  | M/s A.G. Industries Pvt. Ltd, Plot No. 8, Sector 3, IMT Manesar, Gurugram | 8/10/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Phosphate as P mg /l Iron as Fe mg/l Hexavalent Chromium as Cr+6 mg/l Total Chromium as Cr mg/l | Hazy Mild 7.1 66 - 144 7.5 3080 2.4 1.8 0.07 1.4 | ---- ---- 5.5-9.0 100 30 250 10 ---- 5 3 0.1 2.0 |  |
|  | M/s Anant Raj Tech Park,CP-1,Sector-8 IMT, Manesar, Gurugram | 16/10/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | Almost Colourless Very Mild 7.6 22 18 64 ND 1270 | ---- ---- 5.5-9.0 100 30 250 10 ---- |  |
|  | M/s Concept Clothing P Plot No. 448, Sector-37 Gurugram | 28.11.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm | Almost Colourless Very Mild 7.0 14 13 48 ND 810 | ---- ---- 5.5-9.0 100 30 250 10 ---- |  |
|  | M/s Elegant Dyeing & Processing Ltd. Behrampur Road , Gurugram | 30.11.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Total Chromium as Cr mg/l Phenolic Compound as C6H5OH mg/l Sulphide as S mg/l Total Dissolved Solids mg/l Ammonical Nitrogen as N mg/l | Almost Colourless Odourless 7.5 20 13 44 ND 2200 ND ND ND 1150 ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 2 1 2 2100 50 |  |
|  | M/ Vipul World, Sohna Road, Sec.-48, Gurugram | 11/9/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | Almost Clear Mild 7.4 32 21 64 02 1230 | ---- ---- 5.5-9.0 100 30 250 10 ---- |  |
|  | M/s Vipul Green, Sohna Road, Sec.-48, Gurugram | 11/9/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | Almost Colourless Mild 7.4 32 15 44 ND 750 | ---- ---- 5.5-9.0 100 30 250 10 ---- |  |
|  | M/s Himgiri Automobiles Pvt. Ltd., 39th Milestone, Delhi-Jaipur Highway, Narsinghpur, Gurugram | 13/09/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | Colourless Mild 7.4 25 11 56 03 6850 | ---- ---- 5.5-9.0 100 30 250 10 ---- |  |
|  | M/s Shyam Communications Systems, Sec 74A, Vill-Narsingpur, Gurugram | 18/09/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Sulphide as S mg/l | Slight Hazy Negligible 7.3 22 18 64 ND 1010 ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 2.0 |  |
|  | M/s Vatika Limited, Sec-83, Gurugram | 18/09/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | Almost Colourless Mild 7.5 19 17 56 ND 1210 | ---- ---- 5.5-9.0 100 30 250 10 ---- |  |
|  | M/s Spaze Towers Pvt. Ltd, Sector-69, Village-Fazilpur, Gurugram | 19/09/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Sulphide as S mg/l | Brownish Mild 7.8 24 19 72 2.0 1020 ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 2.0 |  |
|  | M/s Orange SPA Hotel and Resorts Pvt. Ltd., Village-Sidharawali, Near Raman Munjal Hospital, Delhi Jaipur Highway, Gurugram | 20/09/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Phosphate as P mg/l Sulphide as S mg/l | Slight Hazy Negligible 7.4 23 17 60 2.0 1060 0.4 0.8 | ---- ---- 5.5-9.0 100 30 250 10 ---- 5 2.0 |  |
|  | M/s Sunbeam Auto (P) Ltd., 38/6 KM Stone, Delhi-Jaipur Highway, Narsingpur, Gurgaon | 22/09/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Iron as Fe mg/l Phosphate as P mg/l | Almost Colourless Mild 7.4 30 16 72 ND 5360 - 0.7 | ---- ---- 5.5-9.0 100 30 250 10 ---- 3 5 |  |
|  | M/s Sharda Motor Industries Ltd., 58 km Stone, Behind Om Logistics, Vill.- Binola, Gurugram | 22/09/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Iron as Fe mg/l Phosphate as P mg/l | Almost Colourless Mild 7.2 56 24 116 ND 3610 ND 0.8 | ---- ---- 5.5-9.0 100 30 250 10 ---- 3 5 |  |
|  | M/s J D M Enterprises, 57/58 Milestone, NH-8, Binola, Industrial Area, Gurugram | 24/09/2018 | Complying | Colour Odour pH value Suspended Solids mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Hexavalent Chromium as Cr+6 mg/l Phosphate as P mg/l Total Chromium as Cr mg/l Nickel as Ni mg/l Sulphide as S mg/l Cynide as CN mg/l Sulphate as SO4 mg/l Ammonical Nitrogen as N mg/l Iron as Fe mg/l | Slight Hazy Mild 7.4 15 48 ND 1680 0.06 0.5 1.1 ND ND ND ND 4 1.2 | ---- ---- 5.5-9.0 100 30 250 10 0.1 5 2.0 3 2.0 0.2 400 50 3 |  |
|  | M/s ITC Limited Lifestyle Retailing Business Division, P.No-3, Sec-5, IMT Manesar Gurugram | 8/10/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Sulphide as S mg/l Phenolic Compound as C6H5OH mg/l | Almost Colourless Almost Odourless 7.8 24 21 120 ND 1050 ND ND | ---- ---- 5.5-9.0 100 30 250 10 --- 2 1 |  |
|  | M/s JMD Galleria, Vill-Tikri, Sec-48, Sohna Road, Gurugram | 9/10/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | Slight Brownish Mild 7.9 32 18 60 2.0 1910 | ---- ---- 5.5-9.0 100 30 250 10 --- |  |
|  | M/s Rolex Hosiery Pvt. Ltd., Plot No.-24, Sec.-4, IMT Manesar, Gurugram | 9/10/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | Slight Hazy Mild 8.1 22 17 56 ND 2790 | ---- ---- 5.5-9.0 100 30 250 10 --- |  |
|  | M/s Sunmax Auto Engineering Pvt. Ltd., Plot No.-180-180A, Sector-3, IMT Manesar, Gurugram | 16/10/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | Almost Colourless Mild 7.7 26 14 80 ND 1610 | ---- ---- 5.5-9.0 100 30 250 10 --- |  |
|  | M/s Lumax DK Auto Industries Ltd., Plot No.-165, Sec.-5, IMT Manesar, Gurugram | 17/10/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | Slight Brownish Very Mild 7.7 12 14 40 ND 710 | ---- ---- 5.5-9.0 100 30 250 10 --- |  |
|  | M/s Forza Medi India Pvt. Ltd., P.No.-166, Sec-4, IMT Manesar, Gurugram | 31/10/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Iron as Fe mg/l Phosphate as P mg/l Total Chromium as Cr mg/l Hexa. Chromium as Cr+6 mg/l Zinc as Zn mg/l | Almost Clear Negligible 7.3 28 17 92 ND 1220 0.8 1.4 ND ND ND | ---- ---- 5.5-9.0 100 30 250 10 --- 3 5 2 0.1 5 |  |
|  | M/s Wilhelm Textiles India Pvt. Ltd. Behrampur Road, Gurgaon | 26.11.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Sulphide as S mg/l Ammonical Nitrogen as N mg/l Total Dissolved Solids mg/l Phenolic Compound as C6H5OH mg/ Total Chromium as Cr mg/l | Slight Greyish Mild 7.5 27 15 60 2 3390 0.6 3.2 1810 ND ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 2.0 50 2100 1.0 2.0 |  |
|  | M/s V & S International Pvt. Ltd. Behrampur Road , Gurgaon | 26.11.18 | Non-Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Total Chromium as Cr mg/l Phenolic Compound as C6H5OH mg/l Sulphide as S mg/l Total Dissolved Solids mg/l Ammonical Nitrogen as N mg/l | Light Palish Mild 8.5 57 65 296 ND 1220 0.4 ND 0.8 660 ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 2 1 2 3 3 | Closed by the Board |
|  | M/s Precise Seamless Apparels Pvt. Ltd. P. No.- 762, Pace City - II, Sec.-37, Gurgaon | 26.11.2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Total Chromium as Cr mg/l Sulphide as S mg/l Ph. Compound as C6H5OH mg/l Total Dissolved solids mg/l S.A.R Ammonical Nitrogen as N mg/l | Colourless Odourless 7.5 24 15 56 ND 3580 ND ND ND 1960 ND ND | --- --- 5.5 - 9.0 100 30 250 10 -- 2.0 2 1 2100 26 50 |  |
|  | M/s Matrix Clothing Pvt. Ltd. P. No.- 197, Phase-6, Udyog Vihar, Gurgaon | 26.11.2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Total Dissolved solids mg/l Sulphide as S mg/l Ph. Compound as C6H5OH mg/l S.A.R | Almost Colourless Mild 7.4 28 23 104 ND 3710 1990 ND ND ND | --- --- 5.5 - 9.0 100 30 250 10 -- 2100 2 1 26 |  |
|  | M/s Orient Craft Ltd P.No.-9-13, Phase-VI, Sec.-37 Gurugram | 28.11.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm | Almost Colourless Odourless 7.6 18 14 52 ND 4650 | ---- ---- 5.5-9.0 100 30 250 10 ---- |  |
|  | M/s Inspiration Overseas P.No.-36, Sec.-37, Phase-VI Gurugram | 28.11.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm | Colourless Mild 7.6 19 15 56 ND 2020 | ---- ---- 5.5-9.0 100 30 250 10 ---- |  |
|  | M/s VE Commercial Vehicles Ltd, 40 km, Delhi Jaipur Highway, Narsingpur Gurugram | 28/11/2018 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | Almost Colourless Mild 7.2 18 14 60 4 850 | ---- ---- 5.5-9.0 100 30 250 10 ---- |  |
|  | M/s Jasmine Knitting Industries Pvt. Ltd, P.No-929/2, Behrampur Road, Gurugram | 30.11.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Total Chromium as Cr mg/l Phenolic Compound as C6H5OH mg/l Sulphide as S mg/l Total Dissolved Solids mg/l Ammonical Nitrogen as N mg/l | Almost Colourless Odourless 7.9 46 20 92 ND 3240 ND ND 0.5 1780 ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 2 1 2 2100 50 |  |
|  | M/s Knitcraft Apparels International Pvt. Ltd. 929/2 Behrampur Road , Gurugram | 30.11.18 | Non-Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Total Chromium as Cr mg/l Phenolic Compound as C6H5OH mg/l Sulphide as S mg/l Total Dissolved Solids mg/l Ammonical Nitrogen as N mg/l | Pinkish Mild 9.2 56 40 144 ND 4560 ND ND 0.8 2380 ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 2 1 2 2100 50 | Closed by the Board |
|  | M/s Imperial Fastner Pvt. Ltd Behrampur Road, Khandsa Behind HREG W/s Gurugram | 08.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Phosphate as P mg/l Sulphate as SO4 mg/l Iron as Fe mg/l Zinc as Zn mg/l Total Metal mg/l | Hazy Negligible 7.5 13 48 ND 2680 ND 7.0 1.1 0.8 3.2 | ---- ---- 5.5-9.0 100 250 10 ---- 5 400 3 5 10 |  |
|  | M/s Madhusudan Auto Ltd, 38th KM Stone, Behrampur Road, Khandsa, Gurugram | 08.12.18 | Non-Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l Oil & Grease mg/l Conductivity us/cm | Dark Blackish Bad 7.5 340 370 22.5 6120 | ---- ---- 5.5-9.0 600 350 20 ---- | Closed by the Board |
|  | M/s Stork Rubber Products Pvt. Ltd Behrampur Road, Gurugram | 08.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Phosphate as P mg/l Iron as Fe mg/l Sulphate as SO4 mg/l Total Metal mg/l | Almost Colourless Odourless 6.9 23 17 72 ND 4370 0.4 ND 6 1.8 | ---- ---- 5.5-9.0 100 30 250 10 ---- 5.0 3.0 400 10 |  |
|  | M/s Mahle Filter System India Pvt. Ltd NH-8, Behrampur Road, Gurugram | 08.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Phosphate as P mg/l Cyanide as CN mg/l | Almost Colourless Mild 6.6 36 18 164 2.0 1100 2.2 ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 5.0 0.2 |  |
|  | M/s Mahle Filters System Indias Ltd NH-8, Behrampur Road, Gurugram | 08.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Ammonical Nitrogen mg/l | Almost Colourless Odourless 7.2 23 17 64 2.0 1620 4.2 | ---- ---- 5.5-9.0 100 30 250 10 ---- 50 |  |
|  | M/s Somic ZF Components Ltd Vill-Begampur Khatola Gurugram | 11.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Phosphate as P mg/l Sulphate as SO4 mg/l Zinc as Zn mg/l Iron as Fe mg/l Total Metal mg/l | Almost Colourless Odourless 8.0 19 21 132 2.0 2510 1.4 26 ND 0.6 3.0 | ---- ---- 5.5-9.0 100 30 250 10 ---- 5.0 400 5.0 3.0 10 |  |
|  | M/s Somic ZF Components Ltd Vill-Begampur Khatola Gurugram | 11.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm | Almost Colourless Mild 7.2 34 22 108 ND 1100 | ---- ---- 5.5-9.0 100 30 250 10 ---- |  |
|  | M/s JTEKT India Ltd (Formerly Known as Sona Koyo Sterling) NH-8, 38/6, Delhi Jaipur Highway Gurugram | 11.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Phosphate as P mg/l Sulphate as SO4 mg/l Zinc as Zn mg/l Iron as Fe mg/l Total Metal mg/l | Almost Colourless Odourless 7.7 36 24 232 ND 6350 0.6 08 ND 1.2 2.0 | ---- ---- 5.5-9.0 100 30 250 10 ---- 5.0 400 5.0 3.0 10 |  |
|  | M/s JTEKT India Ltd (Formerly Known as Sona Koyo Sterling) NH-8, 38/6, Delhi Jaipur Highway Gurugram | 11.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Ammonical Nitrogen as N mg/l | Almost Colourless Odourless 7.7 24 17 56 ND 2010 ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 50 |  |
|  | M/s Sona BLW Precision Forging Ltd. Sona Enclave, Begampur Khatola, Gurugram | 11.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Ammonical Nitrogen as N mg/l | Almost Colourless Mild 6.8 12 26 128 2.5 4800 ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 50 |  |
|  | M/s Jasmine Knitting India Pvt. Ltd P.No-929/2, Behrampur Road Gurugram | 11.12.18 | Non-Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l Oil & Grease mg/l Conductivity us/cm | Dark Blackish Bad 7.2 356 660 23.5 3110 | ---- ---- 5.5-9.0 600 350 20 ---- | Recommended to Head Office for permission of installation new STP |
|  | M/s Gold Brake Lining, P.No-308C, Sec-6, IMT Manesar, Gurugram | 11/12/2018 | Complying | Colour Odour pH value Suspended Solids mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Iron as Fe mg/l Total Chromium as Cr mg/l Hexa Chromium as Cr+6 mg/l Phosphate as P mg/l | Colourless Odourless 7.6 23 92 ND 1880 0.8 ND ND 1.2 | ---- ---- 5.5-9.0 600 350 20 ---- 3 2 0.1 5 |  |
|  | M/s Ragnik Exports Pvt. Ltd. P. No. A-4, Infocity, Sec 34 Gurugram | 12.12.18 | Non-Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm | Light Greyish Mild 7.3 62 145 388 2.0 665 | ---- ---- 5.5-9.0 100 30 250 10 ---- | Recommended to Head Office for permission for up-gradation/ modification of ETP. |
|  | M/s Gabriel India Ltd. 38th Mile Stone, Delhi Jaipur Highway Gurugram | 12.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Phosphate as P mg/l Zinc as Zn mg/l Nickel as N mg/l Sulphate as SO4 mg/l Total Metal mg/l | Almost Colourless Mild 7.2 23 14 152 2.0 1270 1.2 ND ND ND ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 5 5 3 400 10 |  |
|  | M/s Gabriel India Ltd. 38th Mile Stone, Delhi Jaipur Highway Gurugram | 12.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Ammonical Nitrogen mg/l | Almost Colourless Odourless 7.3 22 19 84 02 2480 3.2 | ---- ---- 5.5-9.0 100 30 250 10 ---- 50 |  |
|  | M/s Sunbeam Auto Pvt. Ltd. 38th KM Mile Stone, Delhi Jaipur Highway Vill-Narsingpur, Gurugram | 12.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm | Almost Colourless Odourless 7.5 19 15 52 ND 7810 | ---- ---- 5.5-9.0 100 30 250 10 ---- |  |
|  | M/s Sunbeam Auto Pvt. Ltd. 38th KM Mile Stone, Delhi Jaipur Highway Vill-Narsingpur, Gurugram | 13.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D. mg/l Oil & Grease mg/l Conductivity us/cm Phosphate as P mg/l Total Chromium as Cr mg/l Hexavalent Chromium as Cr+6 mg/l Sulphate as SO4-2 mg/l | Almost Colourless Odourless 8.5 14 10 116 2.0 2640 0.8 ND ND ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 5 2 0.1 400 |  |
|  | M/s J.K Textiles, House No-46, Anjana Colony, Gali No-3, Behind Hyundai Showroom, Sec-37, Gurugram | 13.12.18 | Non-Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Total Chromium as Cr mg/l Phenolic Compound as C6H5OH mg/l Sulphide as S mg/l Total Dissolved Solids mg/l Ammonical Nitrogen as N mg/l | Turquoise Foul 10.2 52 45 192 4.0 3850 0.8 1.4 1.6 2170 9.2 | ---- ---- 5.5-9.0 100 30 250 10 ---- 2 1 2 100 50 | Closed by the Board |
|  | M/s Honeywell International (India) Pvt. Ltd, Mohammadpur Jharsa, Sec-36, Pace city-II, Gurugram | 28.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | Colourless Odourless 6.7 10 25 116 ND 2920 | ---- ---- 5.5-9.0 100 30 250 10 ---- |  |
|  | M/s Tets N Rai, P.no-42, Sec-4, IMT Manesar Gurugram | 28.12.18 | Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm Sulphide as S mg/l | Slight Hazy Negligible 7.6 31 19 120 ND 1270 ND | ---- ---- 5.5-9.0 100 30 250 10 ---- 2 |  |
|  | Zenica Performance Car Pvt Ltd, Khasra. No-1169, Behrampur Road ,Gurugram | 03.12.2018 | Non-Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | Slight Greyish Mild 7.5 114 95 296 8.5 1750 | --- --- 5.5-9.0 100 30 250 10 --- | Closed by the Board |
|  | Sandhar Components, Behrampur Road, Sec-35,Gurugram | 07.12.2018 | Non-Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | light Greyish Bad 7.6 110 50 144 5.0 5900 | --- --- 5.5-9.0 100 30 250 10 --- | Closed by the Board |
|  | Lecoanet Hemant India Pvt. Ltd. P.No-A22 & A23, Sec-34, Info City, Gurugram | 03.12.2018 | Non-Complying | Colour Odour pH value Suspended Solids mg/l B.O.D. for 3 days at 27ºC mg/l C.O.D mg /l Oil & Grease mg/l Conductivity us/cm | light Palish Mild 7.7 42 34 120 6.0 1310 | --- --- 5.5-9.0 100 30 250 10 --- | Closed by the Board |
|  | Textile World, Rishalu Road, Vill. Sewah, Panipat | 2/27/2018 | Complying | pH-7.49 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-11.0 | SS-100 |  |
|  |  |  |  | BOD-17.0 | BOD-30 |  |
|  |  |  |  | COD-106.0 | COD-250 |  |
|  |  |  |  | O&G-ND | O&G-10 |  |
|  |  |  |  | Ammonical Nitrogen (as N) mg/l-ND | Ammonical Nitrogen (as N) mg/l-50 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-ND | Sulphide(as S) mg/l-2.0 |  |
|  |  |  |  | SAR-4.516 | SAR-26 |  |
|  | ABC Impex (P) Ltd., Plot No. 271, Sector-29, Part-II, Panipat | 12/21/2018 | Complying | pH-7.68 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-17.0 | SS-100 |  |
|  |  |  |  | BOD-18.0 | BOD-30 |  |
|  |  |  |  | COD-104.8 | COD-250 |  |
|  |  |  |  | O&G-2.0 | O&G-10 |  |
|  |  |  |  | Ammonical Nitrogen (as N) mg/l-ND | Ammonical Nitrogen (as N) mg/l-50 |  |
|  |  |  |  | TDS-1950 | TDS-2100 |  |
|  |  |  |  | SAR-23.48 | SAR-26 |  |
|  | Khanna Fabrics, Plot No. 407,Sector-29, Part-II, HUDA, Panipat | 9/13/2014 | Complying | pH-7.41 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-29.0 | SS-100 |  |
|  |  |  |  | BOD-18.6 | BOD-30 |  |
|  |  |  |  | COD-60.4 | COD-250 |  |
|  |  |  |  | O&G-2.0 | O&G-10 |  |
|  | Polylon Fabrics (P) Ltd., Near Police Line, G.T. Road, Passian Kalan, Panipat | 7/23/2016 | Complying | pH-7.8 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-46.0 | SS-100 |  |
|  |  |  |  | BOD-24.0 | BOD-30 |  |
|  |  |  |  | COD-104.0 | COD-250 |  |
|  |  |  |  | O&G-ND | O&G-10 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-0.2 | Sulphide(as S) mg/l-2.0 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-1ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  | The Executive Engineer, HUDA Division, Sector-29, Part-II, Panipat (21 MLD CETP) | 10/25/2018 | Non complying | pH-6.3 | pH-5.5-9.0 | Non complying. Prosecution action has been recommended to Head Office |
|  |  |  |  | SS-614.0 | SS-100 |  |
|  |  |  |  | BOD-290.0 | BOD-30 |  |
|  |  |  |  | COD-993.6 | COD-250 |  |
|  |  |  |  | O&G-17.0 | O&G-10 |  |
|  |  |  |  | Sulphide(as S) mg/l-3.2 | Sulphide(as S) mg/l-2.0 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  | Nav Durga Processors, Plot No.230, Sector-29, Part-II, HUDA, Panipat | 12/26/2014 | Complying | pH-8.75 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-38.0 | SS-100 |  |
|  |  |  |  | BOD-39.6 | BOD-30 |  |
|  |  |  |  | COD-168.0 | COD-250 |  |
|  |  |  |  | O&G-3.5 | O&G-10 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-0.24 | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-0.32 | Sulphide(as S) mg/l-2.0 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  | Jagriti Drapes, New Rishalu Road, Panipat | 12/12/2014 | Complying | pH-7.42 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-20.0 | SS-100 |  |
|  |  |  |  | BOD-16.0 | BOD-30 |  |
|  |  |  |  | COD-60.0 | COD-250 |  |
|  |  |  |  | O&G-ND | O&G-10 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-ND | Sulphide(as S) mg/l-2.0 |  |
|  | Akshay Handloom, Plot No.319, Sector-29, Part-II, HUDA, Panipat | 10/16/2015 | Complying | pH-7.34 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-21.0 | SS-100 |  |
|  |  |  |  | BOD-15.6 | BOD-30 |  |
|  |  |  |  | COD-66.4 | COD-250 |  |
|  |  |  |  | O&G-ND | O&G-10 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-ND | Sulphide(as S) mg/l-2.0 |  |
|  | N.K. Fastener, Beholi-Bhapra Road, Samalkha, Panipat | 6/7/2013 | Complying | pH-7.65 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-39.0 | SS-100 |  |
|  |  |  |  | COD-118.40 | COD-250 |  |
|  |  |  |  | O&G-2.0 | O&G-10 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Iron(as Fe) mg/l-2.0 | Iron(as Fe) mg/l-3.0 |  |
|  | Mahajan Overseas (P) Ltd., Post Box No.15, Old Industrial Area, Panipat | 2/27/2018 | Complying | pH-6.68 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-9.0 | SS-100 |  |
|  |  |  |  | BOD-16.0 | BOD-30 |  |
|  |  |  |  | COD-120.0 | COD-250 |  |
|  |  |  |  | O&G-2.0 | O&G-10 |  |
|  |  |  |  | TDS-1160.0 | TDS-2100/3100 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-ND | Sulphide(as S) mg/l-2.0 |  |
|  |  |  |  | Amonical Nitrogen (as N) mg/l-ND | Amonical Nitrogen (as N) mg/l-50 |  |
|  | BSBR KNIT Fabs, Sector-29, Part-II, Behind Flora Export, HUDA, Panipat | 11/29/2018 | Complying | pH-7.23 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-16.0 | SS-100 |  |
|  |  |  |  | BOD-16.0 | BOD-30 |  |
|  |  |  |  | COD-69.6 | COD-250 |  |
|  |  |  |  | O&G-ND | O&G-10 |  |
|  |  |  |  | TDS-900.0 | TDS-2100/3100 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-ND | Sulphide(as S) mg/l-2.0 |  |
|  |  |  |  | SAR-2.22 | SAR-26 |  |
|  | Tokyo Velvet, Plot No.470, Sector-29, Part-II, HUDa, Panipat | 9/26/2016 | Complying | pH-8.07 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-78.0 | SS-100 |  |
|  |  |  |  | BOD-24.2 | BOD-100 |  |
|  |  |  |  | COD-125.6 | COD-400 |  |
|  |  |  |  | O&G-ND | O&G-10 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-ND | Sulphide(as S) mg/l-2.0 |  |
|  | J.M.D. Tradewell, Plot No.179, Sector-29, Part-II, HUDA, Panipat | 4/28/2016 | Non complying | pH-7.95 | pH-5.5-9.0 | Lying closed |
|  |  |  |  | SS-24.0 | SS-100 |  |
|  |  |  |  | BOD-28.6 | BOD-100 |  |
|  |  |  |  | COD-132.0 | COD-400 |  |
|  |  |  |  | O&G-2.5 | O&G-10 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-ND | Sulphide(as S) mg/l-2.0 |  |
|  | Riviera Home Furnishing (P) Ltd., Plot No.235-237 & 264-266, Sector-29, Part-II, HUDA, Panipat | 2/27/2018 | Complying | pH-7.96 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-27.0 | SS-100 |  |
|  |  |  |  | BOD-24.0 | BOD-100 |  |
|  |  |  |  | COD-126.0 | COD-400 |  |
|  |  |  |  | O&G-2.0 | O&G-10 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-ND | Sulphide(as S) mg/l-2.0 |  |
|  |  |  |  | SAR-12.064 | SAR-26 |  |
|  | Shree Cement Ltd. (Jay Pee Cement Granding Unit), Village Khukhrana, Post Office Assan Kalan, Madlauda, Panipat | 8/22/2016 | Complying | pH-7.43 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-17.0 | SS-100 |  |
|  |  |  |  | BOD-14.4 | BOD-100 |  |
|  |  |  |  | COD-68.8 | COD-400 |  |
|  |  |  |  | O&G-ND | O&G-10 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-ND | Sulphide(as S) mg/l-2.0 |  |
|  | LHDM & Dr. Prem Hospital, Bishan Sarup Colony, Opp. Bus Stand, Panipat | 2/28/2018 | Complying | pH-8.03 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-19.0 | SS-100 |  |
|  |  |  |  | BOD-15.0 | BOD-100 |  |
|  |  |  |  | COD-60.0 | COD-400 |  |
|  |  |  |  | O&G-2.0 | O&G-10 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-ND | Sulphide(as S) mg/l-2.0 |  |
|  | Rangoli House, Plot No.289, Sector-29, Part-II, HUDA, Panipat | 12/1/2016 | Complying | pH-7.45 | pH-5.5-9.0 | Complying |
|  |  |  |  | SS-61.0 | SS-100 |  |
|  |  |  |  | BOD-22.6 | BOD-100 |  |
|  |  |  |  | COD-148.0 | COD-400 |  |
|  |  |  |  | O&G-2.0 | O&G-10 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-0.28 | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-0.41 | Sulphide(as S) mg/l-2.0 |  |
|  |  |  |  | TDS-1817 | TDS-2100 |  |
|  | Unnamed Bleach House owned by Sushil RD 28100, Land Owner Rakesh, Village Binjhol, Panipat | 8/8/2017 | Non complying | pH-2.07 | pH-5.5-9.0 | Closed by Board |
|  |  |  |  | SS-9.0 | SS-100 |  |
|  |  |  |  | BOD-ND | BOD-100 |  |
|  |  |  |  | COD-318.4 | COD-400 |  |
|  |  |  |  | O&G-ND | O&G-10 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-ND | Sulphide(as S) mg/l-2.0 |  |
|  | Unnamed Bleach House owned by Vinay Bansal & Vipin, Land Owner Rinku S/o Sh. Bhim Singh, Village Didwari, Tehsil Israna, Panipat | 7/26/2018 | Non complying | pH-3.67 | pH-5.5-9.0 | Closed by Board |
|  |  |  |  | SS-19.0 | SS-100 |  |
|  |  |  |  | BOD-31.5 | BOD-30 |  |
|  |  |  |  | COD-478.8 | COD-250 |  |
|  |  |  |  | O&G-3 | O&G-10 |  |
|  |  |  |  | Sulphide(as S) mg/l-3.2 | Sulphide(as S) mg/l-2.0 |  |
|  | Unnamed Bleach House and Iron Oxide Unit operated by Rajinder Rathee S/o Sh. Ramdiya, Village Ganjbar, Panipat | 9/29/2018 | Non complying | pH-4.2 | pH-5.5-9.0 | Closed by Board |
|  |  |  |  | SS-290.0 | SS-100 |  |
|  |  |  |  | BOD-72.0 | BOD-30 |  |
|  |  |  |  | COD-312.0 | COD-250 |  |
|  |  |  |  | O&G-14.0 | O&G-10 |  |
|  | Unnamed Bleach House owned by Manoj S/o Sh. Amar Singh S/o Sh. Chandgi Ram, Infront of Petrol Pump, Vill. Naultha, Tehsil Israna, Panipat | 8/28/2018 | Non complying | pH-2.85 | pH-5.5-9.0 | Closed by Board |
|  |  |  |  | BOD-46.0 | BOD-30 |  |
|  |  |  |  | COD-757.0 | COD-250 |  |
|  |  |  |  | TDS-5346 | TDS-2100 |  |
|  |  |  |  | Sulphide(as S) mg/l-2.4 | Sulphide(as S) mg/l-2.0 |  |
|  | Unnamed Dye House (Operated by Raju), Near Kala Amb, Sanoli Road, Panipat | 12/4/2018 | Non complying | pH-6.02 | pH-5.5-9.0 | Closed by Board |
|  |  |  |  | SS-350.0 | SS-100 |  |
|  |  |  |  | BOD-38.0 | BOD-30 |  |
|  |  |  |  | COD-2492.0 | COD-250 |  |
|  |  |  |  | O&G-6.5 | O&G-10 |  |
|  |  |  |  | TDS-14050.0 | TDS-2100/3100 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | SAR-19.709 | SAR-26 |  |
|  | Unnamed Washing House owned by Sh. Rohit Jain S/o Sh. Giani Ram Jain, Jattal Road, Vill Jattal, Panipat | 12/8/2018 | Non complying | pH-4.33 | pH-5.5-9.0 | Closed by Board |
|  |  |  |  | SS-248.0 | SS-100 |  |
|  |  |  |  | BOD-86.0 | BOD-30 |  |
|  |  |  |  | COD-3612.0 | COD-250 |  |
|  |  |  |  | O&G-4.0 | O&G-10 |  |
|  |  |  |  | TDS-2950.0 | TDS-2100/3100 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-ND | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-3.6 | Sulphide(as S) mg/l-2.0 |  |
|  |  |  |  | SAR-3.13 | SAR-26 |  |
|  | Unnamed Bleach House Owned by Ramesh Kumar S/o Sh. Shree Chand, Jattal Road, Vill. Jattal, Panipat | 12/8/2018 | Non complying | pH-2.76 | pH-5.5-9.0 | Closed by Board |
|  |  |  |  | SS-48.0 | SS-100 |  |
|  |  |  |  | BOD-10.0 | BOD-30 |  |
|  |  |  |  | COD-338.4 | COD-250 |  |
|  |  |  |  | O&G-3.5 | O&G-10 |  |
|  |  |  |  | TDS-2228.0 | TDS-2100/3100 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-1.5 | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-2.8 | Sulphide(as S) mg/l-2.0 |  |
|  |  |  |  | SAR-3.46 | SAR-26 |  |
|  | Unnamed Bleach House owned by Sh. Naresh Kumar S/o Sh. Dharam Pal Singh, Vill. Jattal, Panipat | 12/10/2018 | Non complying | pH-2.03 | pH-5.5-9.0 | Closed by Board |
|  |  |  |  | SS-89.0 | SS-100 |  |
|  |  |  |  | BOD-32.0 | BOD-30 |  |
|  |  |  |  | COD-773.8 | COD-250 |  |
|  |  |  |  | O&G-6.0 | O&G-10 |  |
|  |  |  |  | TDS-6898.0 | TDS-2100/3100 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-3.6 | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  | Unnamed Bleach House owned by Sanjay S/o Sh. Ram Chander, Village Didwari, Israna, Panipat | 10/22/2018 | Non complying | pH-2.09 | pH-5.5-9.0 | Closed by Board |
|  |  |  |  | SS-26.0 | SS-100 |  |
|  |  |  |  | BOD-16.0 | BOD-30 |  |
|  |  |  |  | COD-676.8 | COD-250 |  |
|  |  |  |  | O&G-4.0 | O&G-10 |  |
|  |  |  |  | Phenolic Compound (C6H5OH)mg/l-3.6 | Phenolic Compound (C6H5OH)mg/l-1.0 |  |
|  |  |  |  | Total Chromium (as Cr) mg/l-ND | Total Chromium (as Cr) mg/l-2.0 |  |
|  |  |  |  | Sulphide(as S) mg/l-3.2 | Sulphide(as S) mg/l-2.0 |  |

Annexure-6

List of closed industries.

| Sr. No. | Name of the units/Project | Date of closure | Reason of closure | Latest Status |
| --- | --- | --- | --- | --- |
|  | S.K. Thermopack, Sahupura, Sunpad road, Ballabgarh, Faridabad | 04-10-2017 | Operating without CTO | Lying Closed |
|  | Jai Enterprises, 3524, Gali no. 2, Shiv Mandir, Piyala | 04-10-2017 | Operating without CTO | Lying Closed |
|  | Sai International, Kh. No. 78, Vill-Saran, Faridabad | 06-10-2017 | Operating without CTO | Lying Closed |
|  | Jai jobner Enterprises, Kh. No. 44/34, Vill-Saran, Faridabad | 06-10-2017 | Operating without CTO | Lying Closed |
|  | Prince Metal & Casting Works, H. No. 17, Vill-Saran, Faridabad | 18-10-2017 | Operating without CTO | Lying Closed |
|  | Pooja Enterprises, S-334, Vill-Saran, Faridabad | 18-10-2017 | Operating without CTO | Lying Closed |
|  | Mohra Moti Crusher Co., Vill- Dakora, Palwal | 10-10-2017 | Operating without CTO | Lying Closed |
|  | Shiv Engineering works, Vill-Bahbalpur, Faridabad | 24-10-2017 | Operating without CTO | Lying Closed |
|  | Gosai Packaging, Sagarpur, Malerna Road, Near Radha Kunj, Faridabad | 06-12-2017 | Operating without CTO | Lying Closed |
|  | Shri Ram Industries, Vill-Allahpur, Palwal | 05-12-2017 | Operating without CTO | Lying Closed |
|  | Ramo Engineering Work, raju Colony, Ballabgarh, Faridabad | 05-12-2017 | Operating without CTO | Lying Closed |
|  | Hind Ceramics, Plot no. 6719, Gali No. 125, Nangla Enclave, Faridabad | 07-02-2018 | Operating without CTO | Lying Closed |
|  | R. K. Plastic Industries, MCF No. 473/79, Sec-23, Sanjay Colony, Faridabad | 09-03-2018 | Operating without CTO | Lying Closed |
|  | Wire Forming Springs, MCF No. 371, Gali No. 8, Sanjay Colony, Faridabad | 22-03-2018 | Operating without CTO | Lying Closed |
|  | Jiya Tools, Plot No. 548, Sec-23, Gali No. 80, Sanjay Colony, Faridabad | 28-03-2018 | Operating without CTO | Lying Closed |
|  | Saipack Industries, Sunpad Road, Village-Sahupura, Ballabgarh, Faridabad | 02-06-17 | Operating without CTO | Lying Closed |
|  | C. M. Textile (Plot Owner Name-Mr. Tribhuvan S/o Late Sh. Samay Ram), Kaily-Khandawali Road, Vill-Kaily, Ballabgarh, Faridabad | 02-06-17 | Operating without CTO | Lying Closed |
|  | Fair Deal cars Pvt. Ltd., 17A, NIT, Faridabad | 08-02-2017 | Operating without CTO | Lying Closed |
|  | Shree balaji namken udyog kunda colony ward no.15, Garhi Road, Faridabad | 06-08-2018 | Operating without CTO | Lying Closed |
|  | Saw Mill of Sunder, Vill-Sagarpur, Ballabgarh, Faridabad | 30-08-2018 | Operating without CTO | Lying Closed |
|  | New Lamba Platers, P. No. 108B, Mujessar, Faridabad | 30-08-2018 | Operating without CTO | Lying Closed |
|  | Bharat Enterprises, Mustkil No. 43, Bypass Road, Faridabad | 05-12-2018 | Operating without CTO | Lying Closed |
|  | Piggery farm owned by Sh. Chanderpal Thekedar, Vill-Janauli, Palwal | 05-12-2018 | Operating without CTO | Lying Closed |
|  | A. M. Insupack, Plot no. 124, Sec-24, Faridabad | 05-12-2018 | Operating without CTO | Lying Closed |
|  | Radha Concrete Product, Vill-Malerna, Ballabgarh, Faridabad | 05-12-2018 | Operating without CTO | Lying Closed |
|  | Neetu Enterprises, Near Balaji Mandir, Vill-Sahupura, Ballabgarh, Faridabad | 05-12-2018 | Operating without CTO | Lying Closed |
|  | Paramount Polymers Pvt. Ltd., Plot No. 60, Sec-25, Ballabgarh, Faridabad | 05-12-2018 | Operating without CTO | Lying Closed |
|  | S V M Bricks, Vill- Kot, Teh.Hathin, Distt. Palwal | 05-12-2018 | Operating without CTO | Lying Closed |
|  | M. S. Platers, Plot No. 564A (EPZ), Sector-58, Faridabad | 05-12-2018 | Operating without CTO | Lying Closed |
|  | Metal Treatment Center, Plot No. 338 (EPZ), Sector-58, Faridabad | 05-12-2018 | Operating without CTO | Lying Closed |
|  | BHP Infrastructure Pvt. Ltd., P No-7 Sec-4 Faridabad | 05-12-2018 | Operating without CTO | Lying Closed |
|  | Krishna Electroplating, Plot no. 481 (EPZ), Sec-58, Faridabad | 06-12-2018 | Operating without CTO | Lying Closed |
|  | Eshita Enterprsies, Plot no. 119, Sector-58, Faridabad | 06-12-2018 | Operating without CTO | Lying Closed |
|  | Paras Motors Industriesw, 1KM, Shahpur Road, Sikri Mathura Road, Faridabad | 06-12-2018 | Operating without CTO | Lying Closed |
|  | R.D. Spinners, Vill. Simla Mulana, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Unnamed Bleach House owned by Sushil RD 28100, Land Owner Rakesh, Village Binjhol, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Chief Zippers, Plot No.464, Sector-29, Part-II, HUDA, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Pyrolite Energy, Rampur Road, Israna, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Shree Laxmi Beverages, Sanoli Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | U.P. Export, Ujha Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Anand Textile, Ujha Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Atal Bharat Industries, 81 L, Parkash Nagar, Tehsil Camp, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Vardhman Spinners, Barsat Road, Bhainswal, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Unnamed Bleach House owned by Vinay Bansal & Vipin, Land Owner Rinku S/o Sh. Bhim Singh, Village Didwari, Tehsil Israna, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Unnamed Bleach House owned by Bijender S/o Sh. Nafe Singh, Village Garhi Chajju, Samalkha, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Anand Loomtex, Near Manav Sewa Kender, Ujha Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Hot Mix Plant owned by Mukesh Sharma, Gannaur-Shahpur Road, Village Buana Laku, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Om Enterprises, Opp. Petrol Pump, Gohana Road, Village Mehrana, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Kuber Textile, Opp. M.S. Finishers, Dhoop Singh Nagar, Sanoli Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Unnamed Bleach House and Iron Oxide Unit operated by Rajinder Rathee S/o Sh. Ramdiya, Village Ganjbar, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Gupta Timber Trader, Sanoli Road, HUDA Byepass, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Unnamed Bleach House on the adjacent land to M/s G.S. Spining Mills, Ganjbar Chowk, Khotpura, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Unnamed Tyre Pyrolysis Processing Plant Formerly name as Ecomax Solutions, owned by Shyam Sunder Jain, Chulkana-Ahulana Road, Village Chulkana, Samalkha, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Jitu Dye House, Peer Wali Gali, Near Kala Amb Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Surya Woollen Mills, Pvt. Ltd., Opp. Gas Godown, Chandni Bagh, Babail Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Neelkanth Spinners, Chandni Bagh, Sanoli Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | S.K. Trading Co., Sanoli Road, Ugra Kheri, Opp. Govt. School, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Bareja Textile, Behind Chokkar Petrol Pump, Marbel Market, Sanoli Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Satguru Furnishing, Behind Khushi Garden, Jessa Ram Wali Gali, Sanoli Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Kay Cee Finishers, Chandni Bagh, Babail Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | R.P. Finishing, Behind Khushi Garden, Jessa Ram Wali Gali, Sanoli Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Harsh Processor, Behind Khushi Garden, Chandni Bagh, Babail Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Unnamed Dye House (Previously Guru Kirpa Dye House), On open plot, Near Bareja Deka, Sanoli Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Super Katha Industries Pvt. Ltd., Vill. Bhodwal Majri, Samalkha, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Unnamed Dye House (Operated by Raju), Near Kala Amb, Sanoli Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Unnamed Washing House owned by Sh. Rohit Jain S/o Sh. Giani Ram Jain, Jattal Road, Vill Jattal, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Unnamed Bleach House Owned by Ramesh Kumar S/o Sh. Shree Chand, Jattal Road, Vill. Jattal, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Unnamed Bleach House owned by Sh. Naresh Kumar S/o Sh. Dharam Pal Singh, Vill. Jattal, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Anmol Spinning Mills, Sector-18, Near, Toll Plaza, G.T. Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Geeta Spinning Mills Pvt. Ltd., Sector-18, Near, Toll Plaza, G.T. Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Longowal Spinning Mills Pvt. Ltd., Sector-18, Near, Toll Plaza, G.T. Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Ashoka Spinning Mills Pvt. Ltd., Sector-18, Near, Toll Plaza, G.T. Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Parkash Woollen & Spinning Mills, Sector-18, Near, Toll Plaza, G.T. Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | JRMD Agro Foods, Sector-18, Near, Toll Plaza, G.T. Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | DSP Handloom (Previously Lord Shiva Textile), Sector-18, Near, Toll Plaza, G.T. Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Bhartiya Woollen Mills, Sector-18, Near, Toll Plaza, G.T. Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Pratham Textile, (In the premises of Parkash Woollen & Spinning Mills), Sector-18, Near, Toll Plaza, G.T. Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Looms & Knits, 96 Km Stone, Sector-18, Near Toll Plaza, G.T. Road, Paniapt | Closed by Board | Operating without CTO | Lying Closed |
|  | Globe Spinning, Sector-18, Near, Toll Plaza, G.T. Road, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Unnamed Bleach House owned by Sanjay S/o Sh. Ramchander, Village Didwari, Tehsil-Israna, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Usha Textile, Uhja Road, Sector-24, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | Alvo Beverages, #1582, Sector-25, Part-II, HUDA, Panipat | Closed by Board | Operating without CTO | Lying Closed |
|  | M/s Perfect Dyeing & Bleaching, Village Bajghera, Gurgaon. | 08.01.2019 | Operating without CTO | Lying Closed |
|  | M/s Sippy Arts, Village Bajghera, Gurgaon. | 08.01.2019 | Operating without CTO | Lying Closed |
|  | M/s Atlas Construction Pvt Ltd. (Hot Mix Plant) village Sehjawas Tehsil Sohna Distt. Gurugram | 02.01.2019 | Operating without CTO | Lying Closed |
|  | M/s Sheetal Jal Kherki Majra Road, Dhankot Gurugram | 05.10.2018 | Operating without CTO | Lying Closed |
|  | M/s BKD Beverages, Kherki Majra Road Village Dhankot Gurgaon | 27.12.2018 | Operating without CTO | Lying Closed |
|  | M/s Aqua World, Near Suresh Shuttering Store, Village Dhankot, Gurugram | 05.10.2018 | Operating without CTO | Lying Closed |
|  | M/s Bhagat Enterprises, Near Canal (Dhankot Enclave) Village Dhankot Gurugram | 27.12.2018 | Operating without CTO | Lying Closed |
|  | M/s Super Rubber Factory, Adjacent House No. 259/21 Veer Nagar Basai Road, Near Pataudi Chowk, Gurugram | 28.09.2018 | Operating without CTO | Lying Closed |
|  | M/s Megha Aqua Village Behrampur Khata No. 74 Kila No. 5/3(2-14) Tehsil Sohna Distt. Gurugram | 05.10.2018 | Operating without CTO | Lying Closed |
|  | M/s Rana & Kaushik Group Kila No. 20/2 Mustil No. 47 Village Harchandpur Sohna, Gurugram | 14.12.2018 | Operating without CTO | Lying Closed |
|  | M/s Raghuveer Enterprises, VPO Kadarpur Tehsil Sohna, Gurugram | 05.10.2018 | Operating without CTO | Lying Closed |
|  | M/s Aggarwal RMC Khata No. 396/420 Kila No. 5 Village Alipur Tehsil Sohna, Gurugram | 08.10.2018 | Operating without CTO | Lying Closed |
|  | M/s Shreem JM Concrete India Limited Sohna road, Gurugram | 08.10.2018 | Operating without CTO | Lying Closed |
|  | M/s Garg Ready Mix Pvt Ltd. (Garg RMC) Damadama Road Near Treetac Trolla Co., Village Bhondsi Tehsil Sohna Gurugram | 08.10.2018 | Operating without CTO | Lying Closed |
|  | M/s A.B. Construction, Village Jatola, Tehsil Kharkhoda, Distt. Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s A.K. Builders, Mahara-Sitawali Road, Village Mahra, Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s ABS Construction Co. ( For Hot Mix Plant), Village Thana Khurd, Tehsil Kharkhoda Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Balaji Metal, Vill. Saidpur, Tehsil- Kharkhoda, Distt. Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Colour Creation. Opp. B.J. Duplex, Piyau Maniyari Road, Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Dev Industries, Panipat Rohtak Road, Village Chidana, Tehsil Gohana, Distt. Sonipat | Closure order issued by the Board. | Re-opened. |  |
|  | M/s J.S. Ice Factory, Village Barhi, Tehsil Ganaur, Distt. Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Khushal Industries, Near Sky Hawk School, Village Ferozpur Bangar, Distt. Sonipat. | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Krishna Rubber, Village Gumar, Tehsil Ganaur, Distt. Sonipat. | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Laxmi Narayan Enterprises, Village Barhi, Ganaur, Distt Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Lord Shiva Construction Company, Safidon Road, Village Jagsi, Gohana, Sonipat (HMP) | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s M.M. Forge, Village Wazidpur Saboli, Distt. Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s P.K Fiber, Plot No. 1835, HSIIDC, Rai Distt. Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Rahul Dyeing, Village Saidpur, Tehsil Kharkhoda, Distt. Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Rigya Impex, killa No. 68/5/3/4 68/5/1/3/1,5/3/2, Narela Road, Vill. Kundli, Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s RMC Ready Mix (India), Village Kamaspur, Distt. Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s S.C. Jain Construction Pvt. Ltd., Bahalgarh road, Rathdhana, Distt. Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Saransh Infra, Bahalgarh Road, Rathdhana, Distt. Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Shri Ram Metal, Vill. Saidpur, Tehsil- Kharkhoda, Distt. Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Surya industries, Plot No. 225, Ph-I, HSIIDC, Barhi, Sonipat | Closure order issued by the Board. | Re-opened. |  |
|  | M/s Unnamed Bleach House, Run by Jitender & Kapil Garg at Village- Ahulana, Tehsil- Gohana, Distt Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Unnamed Hot Mix Plant, Village Garhi-Bala, Tehsil Kharkhoda, Distt. Sonepat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Unnamed unit engaged in Aluminum Extraction from Medicinal Wrappers, Village Sohti, Tehsil- Kharkhoda, Distt. Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Unnamed unit operated by Sh. Anil Chawla, Near Paras Dyes & Chemicals, Village Jatola, Tehsil Kharkhoda, Distt. Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Unnamed unit operated by Sh. Anil Chawla, Near Paras Dyes & Chemicals, Village Jatola, Tehsil Kharkhoda, Distt. Sonipat. | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | M/s Unnamed unit operated by Sh. Babu Mia to A.N. Industries, Village Ferozpur Bangar, Tehsil Kharkhoda, Distt. Sonipat | Closure order issued by the Board. | Operating without CTO | Lying Closed |
|  | krishna Food and Beverage, Nizampur Road, Vill-Parnala, Distt. Jhajjar | Sealed by Board. | Operating without CTO | Lying Closed |
|  | Blue Moon beverages, Gurugram-Badli Road, Vill-Deverkhana, Distt. Jhajjar | Sealed by Board. | Operating without CTO | Lying Closed |
|  | Honey Aqua Products, Gurugram- Badli Road, Vill-Badsa, Distt. Jhajjar | Sealed by Board. | Operating without CTO | Lying Closed |
|  | GS Beverages, Dawla to Karodha Road , VPO- Dawla, Distt. Jhajjar. | Sealed by Board. | Operating without CTO | Lying Closed |
|  | M/s Baba Dudhari Auto Industries, Rohtak ,BDH | 8-1-2019 | Operating without CTO | Lying Closed |
|  | M/s Shree Giri Raj Steel, Rohtak, BDH | 8-1-2019 | Operating without CTO | Lying Closed |
|  | M/s Hrich Industries, Rohtak, BDH | 8-1-2019 | Operating without CTO | Lying Closed |
|  | M/s R.M Industries, Rohtak, BDH | 08-01-19 | Operating without CTO | Lying Closed |
|  | M/s Hi-Tech Furnitre, Rohtak, BDH | 08-01-19 | Operating without CTO | Lying Closed |
|  | M/s Bhagwati Steels, Rohtak, BDH | 8-1-2019 | Operating without CTO | Lying Closed |
|  | M/s Satya Design Concept, Rohtak, BDH | 08-01-19 | Operating without CTO | Lying Closed |
|  | M/s Garg & Co., Rohtak, BDH | 08-01-19 | Operating without CTO | Lying Closed |

Annexure-7

| Monitoring of STPs in the catchment of River Yamuna |
| --- |
| Outlet of STP |
| 1 | 25 MLD STP Radaur Road, Yamuna Nagar by PHED in 2002 |  |  |  |
|  |  | Report No. & date | BOD | COD | PH | TSS | Oil & Grease | Coliform | F. Coliform | Remarks |
|  |  | 4319 dt. 13.03.18 | 79.0 | 277.6 | 7.63 | 120.0 | 12.5 |  |  | Non complying |
|  |  | 4344 dt. 18.05.18 | 45.0 | 152.0 | 7.40 | 72.0 | 6.0 |  |  | Non complying |
|  |  | 5328-14.11.18 | 18 | 72.4 | 6.88 | 32 | 2 |  |  | Complying |
| 2 | 10 MLD STP Badi Majra, Yamuna Nagar by PHED March, 2000 |  |  |  |
|  |  | 4278 dt. 06.03.18 | 54 | 187.2 | 7.25 | 58 | 8 |  |  | Non complying |
|  |  | 4041 dt. 18.05.18 | 43 | 128 | 7 | 24 | 4 |  |  | Non complying |
|  |  | 5327-14.11.18 | 14 | 44.4 | 6.42 | 22 | N.D. |  |  | Complying |
| 3 | 3 MLD STP Chhachhrauli, Yamuna Nagar by PHED in 31.12.2015 |  |  |  |
|  |  | 4279 dt. 06.03.18 | 14.0 | 47.2 | 7.48 | 38.0 | N.D. |  |  | Complying |
|  |  | 4870 dt. 18.07.18 | 9.5 | 44 | 7.41 | 19 | N.D. |  |  | Complying |
|  |  | 5326-14.11.18 | 11 | 37.2 | 7.28 | 20 | N.D. |  |  | Complying |
| 4 | 3.5 MLD STP Radaur, Yamuna Nagar by PHED 31.12.2015 |  |  |  |
|  |  | 4277 dt. 06.03.18 | 9.0 | 36.4 | 7.73 | 15.0 | N.D. |  |  | Complying |
|  |  | 4869 dt. 18.07.18 | 9.0 | 34.4 | 7.78 | 20 | N.D. |  |  | Complying |
|  |  | 5329-14.11.18 | 15 | 52.4 | 7.16 | 10 | N.D. |  |  | Complying |
| 5 | 40 MLD STP Karnal by PHED in March, 2001 |  |  |  |
|  |  | 4273 dt. 06.03.18 | 8.5 | 34.2 | 7.76 | 7.0 | N.D. |  |  | Complying |
|  |  | 4764 dt. 19.06.18 | 12.0 | 46.0 | 7.91 | 12.0 | N.D. |  |  | Complying |
|  |  | 5188-11.10.2018 | 14.0 | 53.6 | 7.84 | 10.0 | N.D. |  |  | Complying |
| 6 | 8 MLD STP Kaithal Road, Karnal by PHED in March, 2000 |  |  |  |
|  |  | 4271 dt. 06.03.18 | 9.0 | 32 | 7.63 | 17.0 | N.D. |  |  | Complying |
|  |  | 4768 dt. 19.06.18 | 14.0 | 48.8 | 7.54 | 14.0 | N.D. |  |  | Complying |
|  |  | 5184-11.10.2018 | 21.0 | 106 | 7.92 | 68.0 | 2.0 |  |  | Complying |
| 8 | 10 MLD STP at Gogari Road, Karnal by PHED on 01.03.2018 |  |  |  |
|  |  | 4776 dt. 19.06.2018 | 10.0 | 39.2 | 7.47 | 22.0 | N.D. |  |  | Complying |
|  |  | 5186-11.10.2018 | 14 | 54 | 7.86 | 11 | N.D. |  |  | Complying |
| 9 | 1.5 MLD STP Indri, Karnal by PHED in 2003 |  |  |  |
|  |  | 4272 dt. 06.03.18 | 8 | 26.6 | 7.91 | 8.0 | N.D. |  |  | Complying |
|  |  | 4770 dt. 19.06.18 | 13 | 41.2 | 7.43 | 13.0 | N.D. |  |  | Complying |
|  |  | 5181-11.10.18 | 18 | 72.8 | 7.9 | 41.0 | 2 |  |  | Complying |
| 10 | 5 MLD STP Assandh, Karnal by PHED in 2.4.2014 |  |  |  |
|  |  | 4281 dt. 06.03.18 | 7.5 | 23.6 | 8.07 | 9.0 | N.D. |  |  | Complying |
|  |  | 4769 dt. 19.06.18 | 10.0 | 32 | 7.56 | 11.0 | N.D. |  |  | Complying |
|  |  | 5189-11.10.2018 | 14.0 | 51.2 | 8.04 | 14.0 | N.D. |  |  | Complying |
| 11 | 6 MLD STP Nilokheri, Karnal by PHED in 1.8.2014 |  |  |  |
|  |  | 4274 dt. 06.03.18 | 7.5 | 26.4 | 8.21 | 6.0 | N.D. |  |  | Complying |
|  |  | 4766 dt. 19.06.18 | 16.0 | 68.0 | 7.5 | 13.0 | N.D. |  |  | Complying |
|  |  | 5182-11.10.2018 | 17.0 | 65.6 | 7.98 | 40.0 | N.D. |  |  | Complying |
| 12 | 4 MLD, Nissing Karnal by PHED in 10.8.2016 |  |  |  |
|  |  | 4280 dt. 06.03.18 | 8.0 | 29.6 | 7.81 | 12.0 | N.D. |  |  | Complying |
|  |  | 4763 dt. 19.06.18 | 14.0 | 54.8 | 7.46 | 13.0 | N.D. |  |  | Complying |
|  |  | 5185-11.10.2018 | 17.0 | 62.0 | 7.79 | 9.0 | N.D. |  |  | Complying |
| 13 | 5.5 MLSTP Taraori, Karnal in 1.6.2016 |  |  |  |
|  |  | 4276 dt. 06.03.18 | 7.5 | 24.4 | 7.7 | 13 | N.D. |  |  | Complying |
|  |  | 4767 dt. 19.06.18 | 17 | 75.6 | 7.43 | 12 | N.D. |  |  | Complying |
|  |  | 5183-11.10.2018 | 16 | 62 | 7.92 | 44 | N.D. |  |  | Complying |
| 14 | 35 MLD STP Sewah, Panipat by PHED in March, 2000 |  |  |  |
|  |  | 4687 dt. 28/05/18 | 17 | 106.4 | 7.95 | 8 | 2 |  |  | Complying |
|  |  | 4951 dt. 08.08.2018 | 27 | 138.8 | 8 | 29 | 2.5 |  |  | Complying |
|  |  | 5278 dt. 08.11.2018 | 23 | 106 | 7.22 | 22 | 2 |  |  | Complying |
| 15 | 10 MLD STP Jattal Road, Panipat by PHED in March, 2000 |  |  |  |
|  |  | 3997 dt. 16/01/2018 | 16 | 68 | 7.5 | 28 | 2 |  |  | Complying |
|  |  | 4157 dt. 23/02/2018 | 22 | 105.6 | 7.49 | 46 | 2 |  |  | Complying |
|  |  | 4560 dt. 01/05/2018 | 14 | 58 | 7.8 | 37 | ND |  |  | Complying |
|  |  | 4690 dt. 28.05.2018 | 8 | 34 | 7.57 | 8 | ND |  |  | Complying |
|  |  | 5226 dt. 23.10.2018 | 15 | 66 | 6.65 | 24 | ND |  |  | Complying |
| 16 | 5 MLD STP Samalkha, Panipat by PHED in June, 2013 |  |  |  |
|  |  | 3998 dt. 16.01.2018 | 17 | 70.4 | 7.2 | 16 | ND |  |  | Complying |
|  |  | 4223 dt. 06.03.2018 | 60 | 192 | 7.3 | 29 | 8 |  |  | Complying |
|  |  | 4561 dt. 01.05.2018 | 17.0 | 76.8 | 8.00 | 17.0 | ND |  |  | Complying |
|  |  | 4691 dt. 28.05.2018 | 19 | 56 | 7.55 | 7 | 2 |  |  | Complying |
|  |  | 5227 dt. 23.10.2018 | 19 | 89.6 | 6.79 | 12.0 | 2.0 |  |  | Complying |
| 17 | 25 MLD STP Sewah, Panipat by PHED in April, 2016 |  |  |  |
|  |  | 4000dt. 16.01.2018 | 22 | 104.4 | 7.71 | 51 | 3 |  |  | Complying |
|  |  | 4159 dt. 23.02.2018 | 21 | 104.4 | 7.92 | 20 | 2 |  |  | Complying |
|  |  | 4179 dt. 01.03.2018 | 26 | 132.4 | 8.4 | 17 | 4 |  |  | Complying |
|  |  | 4240 dt. 06.03.2018 | 46 | 232 | 7.83 | 20 | 3 |  |  | Non Complying |
|  |  | 4688 dt. 28.05.2018 | 18.0 | 108 | 7.99 | 8.0 | 2.5 |  |  | Complying |
|  |  | 4950 dt. 08.08.2018 | 24.5 | 128.4 | 7.9 | 14 | 2 |  |  | Complying |
|  |  | 5279 dt. 08.11.2018 | 19 | 78.8 | 7.4 | 23 | ND |  |  | Complying |
| 18 | 20 MLD STP Jattal Road, Panipat by PHED in April, 2016 |  |  |  |
|  |  | 3999 dt. 16.01.2018 | 20 | 94 | 7.59 | 34 | 2.5 |  |  | Complying |
|  |  | 4158 dt. 23.02.2018 | 60 | 255.2 | 7.48 | 76 | ND |  |  | Non Complying |
|  |  | 4559 dt. 01.05.2018 | 16 | 56.4 | 7.72 | 32 | 2 |  |  | Complying |
|  |  | 4689 dt. 28.05.2018 | 9 | 48 | 7.68 | 7 | ND |  |  | Complying |
|  |  | 5228 dt. 23.10.2018 | 15 | 62 | 6.85 | 14 | ND |  |  | Complying |
| 19 | 30 MLD STP Rathdana Road, Sonepat by PHED in 2003 |  |  |  |
|  |  | 3972 dt. 4.1.18 | 18 | 80 | 7.8 | 18 | ND |  |  | Complying |
|  |  | 4427 dt. 6.4.18 | 18 | 103.6 | 7.93 | 68 | 2 |  |  | Complying |
|  |  | 5758 dt. 21.05.18 | 23 | 112 | 8.1 | 62 | 1 |  |  | Complying |
|  |  | 5180 dt. 11.10.18 | 15 | 66 | 7.47 | 32 | ND |  |  | Complying |
|  |  | Sample could not be collected due to maintenance of STP. |
| 20 | 25 MLD STP Kakrai Road, Sonepat by PHED in March, 2018 |  |  |  |
|  |  | 5556 dt. 21.05.18 | 18 | 96 | 8.4 | 36 | ND |  |  | Complying |
| 21 | 7.5 MLD Sonepat Rajiv Gandhi Edu. City Phase-I, Sonepat |  |  |  |
|  |  | Report No. & date | BOD | COD | PH | TSS | Oil & Grease |  |  | Remarks |
|  |  | The Sewage effluent quantity is not enough so that it may reach in STP hence the STP is not working and sample could not be collected. |
| 22 | 4.5 MLD STP Kharkhoda Sonepat by PHED 1.8.2013 |  |  |  |
|  |  | 3971 dt. 4.1.18 | 22 | 104 | 7.89 | 32 | 2 |  |  | Complying |
|  |  | 4422 dt. 6.4.18 | 22 | 116 | 7.95 | 25 | 2 |  |  | Complying |
|  |  | 4850 dt. 10.07.2018 | 14 | 55.2 | 7.71 | 22 | ND |  |  | Complying |
|  |  | 5176 dt. 11.10.18 | 14 | 59.2 | 7.94 | 18 | ND |  |  | Complying |
|  |  | 5586 dt. 28.12.2018 | 20.5 | 94 | 8.09 | 16 | ND |  |  | Complying |
| 23 | 7 MLD STP Ganaur Sonepat by PHED in 1.1.2012 |  |  |  |
|  |  | 3970 dt. 4.1.18 | 14 | 50.8 | 8.11 | 28 | ND |  |  | Complying |
|  |  | 4423 dt. 6.4.18 | 21 | 104 | 7.78 | 60 | 2 |  |  | Complying |
|  |  | 51-52 dt. 21.05.18 | 19 | 88 | 8 | 14 | ND |  |  | Complying |
|  |  | 5192 dt. 15.10.2018 | 12 | 49.6 | 8.11 | 14 | ND |  |  | Complying |
|  |  | 5587 dt. 28.12.2018 | 16 | 83.2 | 7.57 | 28 | ND |  |  | Complying |
| 24 | 3 MLD STP, Gohana, Sonepat by PHED in 1.11.2015 |  |  |  |
|  |  | 3973 dt. 04.01.18 | 26 | 120 | 7.9 | 20 | 2 |  |  | Complying |
|  |  | 4428 dt. 06.04.18 | 13 | 55.2 | 7.64 | 13 | ND |  |  | Complying |
|  |  | 4855 dt. 10.07.18 | 18 | 93.2 | 7.9 | 19 | ND |  |  | Complying |
|  |  | 5179 dt. 11.10.18 | 13 | 55.6 | 7.71 | 17 | ND |  |  | Complying |
|  |  | 5577 dt. 28.12.2018 | 24 | 123.6 | 7.28 | 42 | ND |  |  | Complying |
| 25 | 8.3 MLD STP Gohana, Sonepat by PHED in 2.7.2012 |  |  |  |
|  |  | 3974 dt. 04.01.18 | 18 | 101.2 | 7.54 | 21 | 2 |  |  | Complying |
|  |  | 4429 dt. 06.04.18 | 14 | 51.6 | 7.76 | 12 | ND |  |  | Complying |
|  |  | 4854 dt. 10.07.18 | 11 | 47.6 | 7.89 | 12 | ND |  |  | Complying |
|  |  | 5178 dt. 11.10.2018 | 14 | 57.6 | 8.31 | 9 | ND |  |  | Complying |
|  |  | 5578 dt. 28.12.2018 | 14.5 | 60.8 | 7.73 | 18 | ND |  |  | Complying |
| 26 | 5.5 MLD STP Kosli Road, Jhajjar by PHED in March, 2007 |  |  |  |
|  |  | 226 dt. 10.01.2018 | 12 | 48 | 7.9 | 18 | ND |  |  | Complying |
|  |  | 306 dt.13.04.2018 | 14 | 56 | 7.7 | 20 | ND |  |  | Complying |
|  |  | 39M dt. 18.05.2018 | 26 | 120 | 8.5 | 57 | ND |  |  | Complying |
|  |  | 92 dt. 07.07.2018 | 12 | 56 | 7.8 | 20 | ND |  |  | Complying |
|  |  | 151 dt. 21.09.2018 | 16 | 48 | 8.1 | 18 | ND |  |  | Complying |
|  |  | 357 dt. 31.12.2018 | 16 | 88 | 8 | 22 | ND |  |  | Complying |
| 27 | 5 MLD STP Sampla Road, Jhajjar by PHED in 3.11.2014 |  |  |  |
|  |  | 227 dt. 10.01.2018 | 18 | 40 | 7.9 | 22 | ND |  |  | Complying |
|  |  | 307 dt. 13.04.2018 | 16 | 48 | 8.3 | 18 | ND |  |  | Complying |
|  |  | 40M dt. 18.05.2018 | 27 | 112 | 7.4 | 64 | ND |  |  | Complying |
|  |  | 91 dt. 07.07.2018 | 16 | 48 | 8.1 | 24 | ND |  |  | Complying |
|  |  | 150 dt. 21.09.2018 | 24 | 56 | 7.9 | 20 | ND |  |  | Complying |
|  |  | 356 dt. 31.12.2018 | 14 | 64 | 8.2 | 16 | ND |  |  | Complying |
| 28 | 2 MLD STP Beri Jhajjar by PHED in 10.1.2010 |  |  |  |
|  |  | Oxidation pond has been inspected on 17.12.2018 for collection of sample, but sample could not be collected as there was no discharge available at final outlet of oxidation pond. |
| 29 | 18 MLD STP, Linepar, Bahadurgarh by PHED, October, 2012 |  |  |  |
|  |  | 210 dt. 10.01.2018 | 16 | 48 | 8.2 | 20 | ND |  |  | Complying |
|  |  | 229 dt. 30.3.2018 | 18 | 48 | 8.2 | 16 | ND |  |  | Complying |
|  |  | 41M dt. 18.05.2018 | 23 | 104 | 7.6 | 75 | ND |  |  | Complying |
|  |  | 80 dt. 29.06.2018 | 14 | 40 | 8.1 | 20 | ND |  |  | Complying |
|  |  | 147 dt. 21.09.2018 | 18 | 32 | 7.8 | 20 | ND |  |  | Complying |
|  |  | 370 dt. 31.12.2018 | 8 | 32 | 8.1 | 14 | ND |  |  | Complying |
| 30 | 36 MLD STP Najafgarh Road, Bahadurgarh by PHED in 1.4.2014 |  |  |  |
|  |  | 209 dt. 10.01.2018 | 20 | 40 | 8.1 | 22 | ND |  |  | Complying |
|  |  | 305 dt. 13.04.2018 | 10 | 40 | 8 | 12 | ND |  |  | Complying |
|  |  | 42M dt. 18.05.2018 | 25 | 128 | 7.2 | 66 | ND |  |  | Complying |
|  |  | 79 dt. 29.06.2018 | 12 | 40 | 7.8 | 22 | ND |  |  | Complying |
|  |  | 148 dt. 21.09.2018 | 10 | 24 | 8 | 10 | ND |  |  | Complying |
|  |  | 369 dt. 31.12.2018 | 8 | 24 | 8.2 | 12 | ND |  |  | Complying |
| 31 | 10 MLD STP Beri Road, Jhajjar, Bahadurgarh by HUDA in 2.2.2013 |  |  |  |
|  |  | 403 datd 11.01.2019 | 34 | 64 | 8 | 40 | 4 |  |  | Complying |
| 32 | 19.5 MLD STP, PGIMMS, Rohtak by PHED in 31.3.2016 |  |  |  |
|  |  | 228 dt. 10.01.2018 | 4 | 16 | 7.2 | 10 | ND |  |  | Complying |
|  |  | 314 dt. 13.04.2018 | 0.8 | 32 | 7.5 | 10 | ND |  |  | Complying |
|  |  | 93 dt. 07.07.2018 | 8 | 24 | 7.6 | 16 | ND |  |  | Complying |
|  |  | 159 dt. 21.09.2018 | 8 | 24 | 8.1 | 10 | ND |  |  | Complying |
|  |  | 362 dt. 31.12.2018 | 10 | 24 | 7.7 | 12 | ND |  |  | Complying |
| 33 | 40 MLD,STP, Sonaria, Rohtak, PHED, 31.03.2016 |  |  |  |
|  |  | 233 dt. 10.01.2018 | 80 | 176 | 6.2 | 290 | ND |  |  | Non complying |
|  |  | 309 dt. 13.04.2018 | 80 | 224 | 7.9 | 220 | 6 |  |  | Non complying |
|  |  | 95 dt. 07.07.2018 | 90 | 416 | 8.9 | 560 | 20 |  |  | Non complying |
|  |  | 163 dt. 21.09.2018 | 66 | 192 | 8.9 | 140 | 12 |  |  | Non complying |
|  |  | STP has been inspected on 15.12.2018 but sample could not be collected because the STP is under maintainance and the sample of STP could not be taken. |
| 34 | 3.5 MLD STP Kalanour, Rohtak by PHED in 1.10.2010 |  |  |  |
|  |  | 229 dt. 10.01.2018 | 20 | 48 | 7.9 | 24 | ND |  |  | Complying |
|  |  | 310 dt 13.04.2018 | 90 | 272 | 9.8 | 310 | 12 |  |  | Non complying |
|  |  | 87 dt. 07.07.2018 | 14 | 48 | 7.8 | 22 | 2 |  |  | Complying |
|  |  | 162 dt. 21.09.2018 | 22 | 56 | 8 | 24 | ND |  |  | Complying |
|  |  | 361 dt. 31.12.2018 | 16 | 88 | 8.1 | 18 | ND |  |  | Complying |
| 35 | 5 MLD STP, Meham, Bharan Road, Rohtak by PHED January, 2013 |  |  |  |
|  |  | 230 dt. 10.01.2018 | 8 | 32 | 8 | 12 | ND |  |  | Complying |
|  |  | 311 dt. 13.04.2018 | 14 | 56 | 8 | 22 | ND |  |  | Complying |
|  |  | 90 dt. 07.07.2018 | 14 | 32 | 8 | 22 | ND |  |  | Complying |
|  |  | 158 dt. 21.09.2018 | 22 | 64 | 8.2 | 20 | ND |  |  | Complying |
|  |  | 359 dt. 31.12.2018 | 14 | 56 | 8.4 | 16 | ND |  |  | Complying |
| 36 | 10 MLD STP Singhpura, Rohtak by PHED in February, 2012 |  |  |  |
|  |  | 232 dt. 10.01.2018 | 12 | 32 | 8.2 | 18 | ND |  |  | Complying |
|  |  | 313. dt. 13.04.2018 | 16 | 48 | 7.9 | 18 | ND |  |  | Complying |
|  |  | 89 dt. 07.07.2018 | 12 | 40 | 8.1 | 20 | ND |  |  | Complying |
|  |  | 160 dt. 21.09.218 | 10 | 32 | 8.7 | 14 | ND |  |  | Complying |
|  |  | 364 dt. 31.12.2018 | 16 | 40 | 8.3 | 20 | ND |  |  | Complying |
| 37 | 14 MLD STP, Singhpura, Rohtak by PHED in 31.3.2015 |  |  |  |
|  |  | 231 dt. 10.01.2018 | 6 | 16 | 7 | 10 | ND |  |  | Complying |
|  |  | 312 dt. 13.04.2018 | 8 | 32 | 8.2 | 10 | ND |  |  | Complying |
|  |  | 88 dt. 07.07.2018 | 8 | 32 | 7.9 | 10 | ND |  |  | Complying |
|  |  | 161 dt. 21.09.2018 | 10 | 32 | 8.4 | 16 | ND |  |  | Complying |
|  |  | 363 dt. 31.12.2018 | 14 | 64 | 7.3 | 24 | ND |  |  | Complying |
| 38 | 10 MLD STP Rohtak, Kanheli Road, HUDA on 18.2.2008 |  |  |  |
|  |  | 234 dt. 10.01.2018 | 14 | 40 | 7.9 | 22 | ND |  |  | Complying |
|  |  | 308. dt. 13.04.2018 | 18 | 64 | 8.1 | 20 | ND |  |  | Complying |
|  |  | 94 dt. 07.07.2018 | 10 | 56 | 7.9 | 22 | ND |  |  | Complying |
|  |  | 164 dt. 21.09.2018 | 24 | 80 | 8.7 | 32 | 4 |  |  | Complying |
|  |  | 360 dt. 31.12.2018 | 18 | 48 | 8.3 | 20 | ND |  |  | Complying |
| 39 | 4 MLD STP Sampla Town Rohtak by PHED in 2011 |  |  |  |
|  |  | 208 dt. 10.01.2018 | 16 | 32 | 8.2 | 20 | ND |  |  | Complying |
|  |  | 300 dt. 30.3.2018 | 12 | 40 | 8 | 20 | ND |  |  | Complying |
|  |  | 78 dt. 29.06.2018 | 12 | 48 | 7.8 | 20 | ND |  |  | Complying |
|  |  | 149 dt. 21.09.2018 | 20 | 48 | 8 | 26 | ND |  |  | Complying |
|  |  | 355 dt. 31.12.2018 | 18 | 96 | 8 | 22 | ND |  |  | Complying |
| 40 | 6 MLD STP Sohna Gurgaon (North) by PHED in 1.3.3014 |  |  |  |
|  |  | 657-658 dt. 16.03.2018 | 26 | 112 | 7.9 | 58 | 3 |  |  | Complying |
|  |  | 126-127 dt. 22.06.2018 | 21 | 68 | 8.1 | 19 | 2 |  |  | Complying |
|  |  | 414 dated 09.10.2018 | 22 | 76 | 8.2 | 22 | 2 |  |  | Complying |
| 41 | 68 MLD STP Dhanwapur, Gurgaon (North) by HUDA in January, 2004 |  |  |  |
|  |  | 660-661dt. 16.03.2018 | 23 | 96 | 7.8 | 44 | 2 |  |  | Complying |
|  |  | 150-151 dt. 04.07.2018 | 21 | 80 | 7.9 | 18 | 2 |  |  | Complying |
|  |  | 434-435 dated 11.10.2018 | 17 | 60 | 7.4 | 22 | 2 |  |  | Complying |
| 42 | 100 MLD STP Dhanwapur, Gurgoan (North) by HUDA in 1.12.2014 |
|  |  | 662-663 dt.16.03.2018 | 25 | 96 | 7.4 | 22 | ND |  |  | Complying |
|  |  | 152-153 dt, 04.07.2018 | 23 | 88 | 7.6 | 38 | ND |  |  | Complying |
|  |  | 437-438 dated 11.10.2018 | 17 | 68 | 7.7 | 24 | ND |  |  | Complying |
| 43 | 30 MLD STP Gurgaon (North) by ULB/ MCG in 1.8.1998 |  |  |  |
|  |  | 659 dt.16.03.2018 | 140 | 376 | 7.6 | 134 | 4 |  |  | Non complying |
|  |  | 154-155 dt. 04.07.2018 | 175 | 468 | 7.5 | 246 | 4 |  |  | Non complying |
|  |  | 436 dated 11.10.2018 | 155 | 416 | 7 | 223 | 6 |  |  | Non complying |
| 44 | 4.5 MLD STP Punhana, Mewat Gurgoan (North) by PHED in 31.12.2015 |  |  |  |
|  |  | 650 dt. 15.03.2018 | 25 | 96 | 8.4 | 42 | 4 |  |  | Complying |
|  |  | 183-184 dt. 09.07.2018 | 125 | 344 | 7.6 | 278 | 7 |  |  | Non complying |
|  |  | 406-407 dated 08.10.2018 | 15 | 56 | 8.2 | 24 | ND |  |  | Complying |
| 45 | 3.6 MLD Nuh, Mewat Gurgoan (North) by PHED in 25.11.2016 |  |  |  |
|  |  | 181-182 dt. 09.07.2018 | 27 | 100 | 7.8 | 21 | ND |  |  | Complying |
|  |  | 408-409 dated 08.10.2018 | 17 | 64 | 7.5 | 28 | ND |  |  | Complying |
| 46 | 4.5 MLD STP Tauru, Mewat Gurgoan (North) by PHED in 30.6.2017 |  |  |  |  |
|  |  | 651 dt. 15.03.2018 | 15 | 44 | 7.6 | 12 | ND |  |  | Complying |
|  |  | 158-159 dt. 02.07.2018 | 18 | 56 | 8.1 | 15 | 4 |  |  | Complying |
|  |  | 276-277 dated 21.09.2018 | 19 | 60 | 7.4 | 28 | 3 |  |  | Complying |
| 47 | 4.5 MLD STP Pataudi Gurgaon (South) by PHED in 30.6.2017 |  |  |  |  |
|  |  | 717 dt. 26.03.2018 | 15 | 56 | 7.4 | 10 | 2 |  |  | complying |
|  |  | 92-93 dt. 07.06.2018 | 8 | 28 | 8.1 | 4 | ND |  |  | complying |
|  |  | 410-411 dt.08.10.2018 | 8 | 44 | 7.9 | 9 | - |  |  | complying |
|  |  | 748 dt. 28.12.2018 | 8 | 44 | 7.9 | 7 | - |  |  | complying |
| 48 | 50 MLD STP at Behrampur,Gurugram (South) by HUDA in August 2010 |
|  |  | 725 dt. 27.03.2018 | 14 | 32 | 6.8 | 20 | ND |  |  | Complying |
|  |  | 122 dt. 19.06.2018 | 20 | 68 | 7.9 | 14 | ND |  |  | Complying |
|  |  | 393, dt. 08.10.2018 | 17 | 56 | 7.4 | 12 | ND |  |  | Complying |
|  |  | 517 dt. 26.11.2018 | 18 | 72 | 7.7 | 14 | - |  |  | Complying |
| 49 | 120 MLD STP at Bahrampur, Gurugram (South) by HUDA in July 2014 |
|  |  | 724 dt. 27.03.2018 | 23 | 108 | 7.4 | 58 | 3 |  |  | Complying |
|  |  | 121 dt. 19.06.2018 | 19 | 88 | 8.1 | 36 | 3 |  |  | Complying |
|  |  | 396 dt. 08.10.2018 | 15 | 64 | 7.4 | 28 | 2 |  |  | Complying |
|  |  | 518 dt. 26.11.2018 | 17 | 68 | 7.5 | 12 | - |  |  | Complying |
| 50 | 20 MLD STP, Badshahpur Faridabad by ULB in 1.9.2011 |
|  |  | 38M dt. 18.05.2018 | 42 | 168 | 7.5 | 174 | 4 |  |  | Non complying |
|  |  | 202 dt. 13.07.2018 | 21 | 88 | 7.6 | 32 | ND |  |  | Complying |
| 51 | 45 MLD STP, Badshahpur Faridabad by ULB in 1.9.2011 |
|  |  | 37M dt. 18.05.2018 | 42 | 176 | 7.3 | 192 | 2 |  |  | Non complying |
|  |  | 202 dt. 13.07.2018 | 21 | 88 | 7.6 | 32 | ND |  |  | Complying |
| 52 | 50 MLD STP Partapgarh, Ballabgarh by PHED in 2.5.1999 |
|  |  | 169M dt. 16-01-2018 | 110 | 368 | 6.3 | 135 | 2 |  |  | Non complying |
|  |  | 01M dt. 24-04-2018 | 120 | 416 | 6.3 | 152 | 3 |  |  | Non complying |
|  |  | 34M dt. 18.05.2018 | 110 | 384 | 6.8 | 210 | 3 |  |  | Non complying |
|  |  | 207M dt. 27.11.2018 | 115 | 368 | 7.2 | 196 | 4 |  |  | Non complying |
| 53 | 45 MLD Munjheri, Ballabgarh by PHED in 2.5.1999 |
|  |  | 170M dt. 16-01-2018 | 24 | 96 | 7.3 | 38 | ND |  |  | Complying |
|  |  | 02M dt. 24.04.2018 | 120 | 352 | 6.3 | 172 | 5 |  |  | Non complying |
|  |  | 36M dt.18-05-2018 | 105 | 368 | 7.1 | 164 | 6 |  |  | Non complying |
|  |  | 208M dt. 27.11.2018 | 37 | 184 | 7 | 149 | 2 |  |  | Non complying |
| 54 | 3 MLD STP Hassanpur Palwal by PHED in 1.3.2016 |
|  |  | 102 M dt. 9.10.2017 | 19 | 88 | 7.8 | 42 | ND |  |  | Complying |
|  |  | 179M dt. 24-01-2018 | 25 | 104 | 7.3 | 41 | ND |  |  | Complying |
|  |  | 05M dt. 26.04.2018 | 25 | 112 | 7.1 | 42 | ND |  |  | Complying |
|  |  | 101M dt. 1.08.18 | 21 | 108 | 7.1 | 45 | ND |  |  | Complying |
|  |  | 218M, 07.12.2018 | 23 | 112 | 7.9 | 44 | ND |  |  | Complying |
| 55 | 4.5 MLD STP Hathin Palwal by PHED in 31.12.2015 |  |  |  |
|  |  | 182M dt. 24-01-2018 | 23 | 104 | 7.5 | 49 | ND |  |  | Complying |
|  |  | 08M dt. 26.04.2018 | 27 | 108 | 6.9 | 31 | ND |  |  | Complying |
|  |  | 104M dt. 23.08.18 | 23 | 120 | 7.1 | 57 | ND |  |  | Complying |
|  |  | 217M dt. 07.12.2018 | 21 | 104 | 7.6 | 45 | ND |  |  | Complying |
| 56 | 9 MLD STP, Hodal, Palwal by PHED in May, 2013 |  |  |  |
|  |  | 180M dt. 24-01-2018 | 23 | 92 | 7.4 | 35 | ND |  |  | Complying |
|  |  | 07M dt. 26.04.2018 | 21 | 104 | 7.2 | 36 | ND |  |  | Complying |
|  |  | 100M dt. 16.08.18 | 23 | 112 | 7.5 | 51 | ND |  |  | Complying |
|  |  | 216M dt. 07.12.2018 | 25 | 120 | 7.5 | 61 | ND |  |  | Complying |
| 57 | 9 MLD STP,Palwal by PHED in June, 2007 |  |  |  |
|  |  | 181M dt.24-01-2018 | 21 | 88 | 7.6 | 39 | ND |  |  | Complying |
|  |  | 06M dt. 26.04.2018 | 23 | 96 | 7.3 | 49 | ND |  |  | Complying |
|  |  | 102M dt.16.08.18 | 26 | 128 | 6.9 | 37 | ND |  |  | Complying |
|  |  | 219M dt. 07.12.2018 | 24 | 108 | 8.2 | 58 | ND |  |  | Complying |
| 72 | 7 MLD STP Ladwa Kurukshetra by PHED in 31.10.2016 |  |  |  |
|  |  | 3994 dt. 16.01.2018 | 8 | 37.2 | 7.55 | 18 | ND |  |  | Complying |
|  |  | 4576. dt. 04.05.2018 | 15 | 57.2 | 8.02 | 13 | ND |  |  | Complying |
|  |  | 4907 dt. 01.08.2018 | 16 | 52 | 7.97 | 12 | ND |  |  | Complying |
|  |  | 5256, 31.10.2018 | 10 | 42.8 | 7.21 | 8 | ND |  |  | Complying |

Annexure-8

Monitoring of CETPs

| Sr. No. | Name and Address the CETP | Observed final effluent quality | Compliance Status |
| --- | --- | --- | --- |
|  |  | Report No. & date | BOD | COD | PH | TSS | Hexa. Chrome | Total Chrome | Nickle | Iron | Zinc |  |
|  |  | Limits | 30 | 250 | 6.5-9.0 | 100 | 0.2 | 2 | 3 | 3 | 5 |  |
| 1 | Panipat | 4692 dt. 28.05.2018 | 60 | 269.6 | 7.97 | 88 |  |  |  |  |  | Non-complying |
|  |  | 4856 dt. 10.07.2018 | 65 | 357.2 | 8.13 | 82 |  |  |  |  |  | Complying |
|  |  | 5269 dt. 31.10.2018 | 19 | 112.4 | 7.12 | 22 |  |  |  |  |  | Complying |
| 2 | IE Barhi, Sonepat | 4022 dt. 23.1.18 | 190 | 836.8 | 8.39 | 516 |  |  |  |  |  | Non-complying |
|  |  | 53-54 dt. 21.05.18 | 65 | 280 | 8.5 | 182 |  |  |  |  |  | Non-complying |
|  |  | 21.12.2018 | 11.5 | 57.6 | 8.32 | 30 |  |  |  |  |  | Complying |
| 3 | IE Barhi, Sonepat | 3428 dt. 23.8.17 | 62 | 286.8 | 7.85 | 23 |  |  |  |  |  | Non-complying |
| 4 | IE Rai, Sonepat | 3975 dt. 4.1.18 | 12 | 51.6 | 8.02 | 18 |  |  |  |  |  | Complying |
|  |  | 4424 dt. 6.4.18 | 15 | 54 | 7.78 | 19 |  |  |  |  |  | Complying |
|  |  | 49-50 dt. 21.05.18 | 95 | 316 | 8.4 | 32 |  |  |  |  |  | Non-complying |
|  |  | 30.09.2018 | 180 | 658.4 | 7.81 | 174 |  |  |  |  |  | Non-complying |
|  |  | 20.12.2018 | 15.5 | 87.2 | 7.85 | 32 |  |  |  |  |  | Complying |
| 5 | IE Kundli,Sonepat | 4425 dt. 6.4.18 | 17 | 81.2 | 7.89 | 18 |  |  |  |  |  | Complying |
|  |  | 4748 dt. 21.05.18 | 19 | 88 | 8.2 | 57 |  |  |  |  |  | Complying |
|  |  | 5229 dt. 23.10.18 | 23 | 118 | 6.5 | 30 |  |  |  |  |  | Complying |
|  |  | 20.12.2018 | 22.5 | 116 | 7.74 | 24 |  |  |  |  |  | Complying |
| 6 | IE Murthal, Sonepat | 3969 dt. 4.1.18 | 20 | 128.8 | 8.21 | 11 |  |  |  |  |  | Complying |
|  |  | 4426 dt. 6.4.18 | 22 | 105.2 | 7.6 | 54 |  |  |  |  |  | Complying |
|  |  | 4660 dt. 18.05.2018 | 35 | 128.8 | 8.23 | 29 |  |  |  |  |  | Non-complying |
|  |  | 30.09.2018 | 13 | 52.4 | 8.74 | 23 |  |  |  |  |  | Complying |
|  |  | 21.12.2018 | 20 | 98.4 | 8.19 | 16 |  |  |  |  |  | Complying |
| 7 | IMT Manesar Gurgaon HSIIDC | 676-677 dt. 19.03.2018 | 8 | 44 | 7.4 | 9 |  |  | ND | ND | ND | Complying |
|  |  | 119-120 dt. 19.06.2018 | 7 | 40 | 6.9 | 9 | ND | ND | ND | ND | ND | Complying |
|  |  | 362-363 dt. 04.10.2018 | 8 | 44 | 7.5 | 7 |  |  |  |  |  | Complying |
|  |  | 530-531 dt. 29.11.2018 | 7 | 52 | 7.7 | 9 |  |  |  |  |  | Complying |
| 8 | IMT Faridabad Sec-68 (Ballabgarh Region) | 171M dt. 16.01.2018 | 7 | 32 | 7.4 | 9 |  |  |  |  |  | Complying |
|  |  | 03M dt. 24.04.2018 | 5 | 24 | 7.3 | 8 |  |  |  |  |  | Complying |
|  |  | 35M dt. 18.05.18 | 9 | 52 | 8.2 | 7 |  |  |  |  |  | Complying |
|  |  | 97M dt. 08.08.2018 | 5 | 28 | 7.8 | 7 |  |  |  |  |  | Complying |
|  |  | 191M, 26-10-2018 | 7 | 36 | 7.2 | 6 |  |  |  |  |  | Complying |
| 9 | IMT, Rohtak | 235 dt. 10.01.2018 | 14 | 54 | 7.6 | 30 |  |  |  |  |  | Complying |
|  |  | 298 dt. 30.3.2018 | 10 | 32 | 8.3 | 18 |  |  |  |  |  | Complying |
|  |  | 77 dt. 29.6.2018 | 12 | 56 | 7.6 | 28 |  |  |  |  |  | Complying |
|  |  | 176 dt. 03.10.2018 | 8 | 16 | 7.2 | 10 |  |  |  |  | ND | Complying |
|  |  | 398-399 dt. 11.01.2019 | 8 | 24 | 8.2 | 12 |  |  |  |  |  | Complying |
| 10 | IMT, Bawal, Rewari (HSIIDC) | 12-13 dt. 23.04.2018 | 4 | 20 | 7.8 | 8 | ND | ND | 0.8 | 1.6 | - | Complying |
|  |  | 187-188 dt. 09.07.2018 | 4 | 28 | 8.2 | 3 | ND | ND | 1.1 | 0.4 | - | Complying |
|  |  | 754-755 dt. 31.12.2018 | 3 | 24 | 7.1 | 4 | ND | ND | 1.1 | ND | ND | Complying |
| 11 | Sec-37, Gurgaon | 528-529 dt. 01.01.2018 | NA | 116 | 6.2 | 31 |  |  |  |  |  | Complying |
|  |  | 720-721 dt. 26.03.2018 | 9 | 172 | 7.1 | 22 |  |  |  |  |  | Complying |
|  |  | 134-135 dt. 27.06.2018 | 4 | 116 | 6.6 | 19 | ND | 0.6 | 0.5 | 1.2 | 0.3 | Complying |
|  |  | 245-246 dt. 04.09.2018 | 5 | 124 | 7 | 38 |  |  |  |  |  | Complying |
|  |  | 532-533 dt. 29.11.2018 | 5 | 92 | 7.7 | 48 |  |  |  |  |  | Complying |
| 12 | Faridabad Electroplaters Association, Sec-58, Faridabad (Ballabgarh) | 168M, 16-01-2018 | 7 | 64 | 7.3 | 39 |  |  |  |  |  | Complying |
|  |  | 04M, 24.04.2018 | 5 | 72 | 6.9 | 32 |  |  |  |  |  | Complying |
|  |  | 98M, 08-08-2018 | 9 | 68 | 7.1 | 46 |  |  |  |  |  | Complying |
|  |  | 206M, 26-11-2018 | 7 | 64 | 7.2 | 29 |  |  |  |  |  | Complying |

Annexure-9

List of industries installed Online Monitoring Devices for effluent

| Sr. No. | Industry name | OMD installed or date by which it will be installed |
| --- | --- | --- |
|  | ADS Spirits (P) Ltd, Beri Kalanaur Road, Vill-Butiyan, Tehsil-Beri, Distt. Jhajjar | Installed |
|  | LML Dye Inds, MIE, Bahadurgarh | Installed ZLD system with web camera |
|  | Vidhya Dye Chem, Plot No. 1967-68 & 96-97-98, MIE PART B, Bahadurgarh | Installed ZLD system with web camera |
|  | Bharat Rasyana Ltd, 2 Km Stone, Vill-Mokhra, Rohtak | Installed |
|  | The Haryana Co.Op Sugar Mills Ltd, VPO-Bhali Anandpur, Rohtak | Installed |
|  | The Meham Co-op Sugar Mill, Meham, Distt. Rohtak | Installed |
|  | A.V. International, P. No. 7B/4, MIE, Bahadurgarh | Installed |
|  | Alsa Industries, P. No. 9, MIE-B, Bahadurgarh. | ZLD & web camera installed |
|  | Arora International, Vill. Durina, Distt. Jhajjar | Installed |
|  | Bhartiya Leather Co. Red Cross Road, B-7, MIE-B, Bahadurgarh | Installed |
|  | Chola Sons. Plot No,9, MIE, Bahadurgarh | Installed |
|  | Classic International, P. No.2418, MIE-B, Bahadurgarh | Installed |
|  | Continental Leathers, VPO-Sankhol, Bahadurgrah | Installed |
|  | Discovery Leather, Vill. Durina, Distt. Jhajjar | Installed |
|  | Gee & Gee Industry,Vill. Durina, Distt. Jhajjar | Installed |
|  | K.K. Enterprises,7/B/5 , MIE, Bahadurgarh | Installed |
|  | K.S. Enterprises, P. No. 2450, MIE, Bahadurgarh | Installed |
|  | M.D. Inds, P.No. 2296-97-98, MIE-B, Bahadurgarh | Installed |
|  | N.K. Trading Co.,Village Durina, Distt. Jhajjar | Installed |
|  | Pooja Tannofix Tanners (P) Ltd, P. No. 2445, MIE, Part-A, Bahadurgarh | Installed |
|  | Haryana State Industrial & Infrastructure Development Corporation Ltd. IMT, Rohtak. (10 MLD) (CETP) | Installed |
|  | Amsat Industries (P) Ltd, P. No. 107, Sec-16, HSIIDC, Bahadurgarh. | Unit closed permanently |
|  | P.Dass Forging (P) Ltd, Sainik Colony, Distt. Rohtak. | Installed |
|  | A.K. Automatics, Unit -III, Sainik Colony, Hissar Road, Rohtak | Under installation (15.02.2019) |
|  | Lakshmi Precision Screws Plant No-I, Distt. Rohtak | Not installed |
|  | Lakshmi Precision Screws Plant No-II, Distt. Rohtak | Not installed |
|  | Rohit Steels, P. No. 84,85-86, IDC, Rohtak | Installed |
|  | Indo Autotech Ltd., 332-338, Sec-24, Faridabad | Target date issued 15-02-2019 for installation of Online Monitoring Devices |
|  | Kwality ltd (Unit-III), Village-Softa, Palwal | OMD Installed |
|  | Vikas Strip Ltd., Plot No. 17 & 18 Sector-58 Faridabad | Target date issued 15-02-2019 for installation of Online Monitoring Devices |
|  | Gupta Exim India P.Ltd. (Process Division), Vill.Prithla, Palwal | OMD Installed |
|  | Haryana Tex Prints, Plot No. 3, Sector-25, Faridabad | OMD Installed |
|  | Kunj Behari Processors Pvt Ltd, Plot No.95-96, Sector-25, Faridabad | Target date 15-02-2019 for installation of Online Monitoring Devices |
|  | Mangalam Ventures Ltd, Plot No 32, Sector-6, Faridabad | Target date 15 |
|  | Joneja Bright Steels Pvt Ltd, Plot No.244, Sector-24, Faridabad | Target date 15 |
|  | Omega Bright Steel Pvt Ltd Plot no.109 Sector-24, Faridabad | Target date 15 |
|  | Sterling Tools Ltd., Plot No. 81, Sector-25 Faridabad | Target date 15 |
|  | Metal Coating India Ltd, Vill-Jharsaintly, Plot no.112/113, GSIIDC, Sector 59, Faridabad | Target date 15 |
|  | Belmaks Private Limited, Plot No.125, Sector-24, Faridabad | Target date 15 |
|  | Escorts Ltd (RED), Plot No-114-115 Sector-24, Faridabad | Target date 15 |
|  | Faridabad Autocomp system Pvt. Ltd., Plot No. 311-312-313, Sector-24, Faridabad | Target date 15 |
|  | Mitaso Applicance Ltd., 102, Sector 24, Faridabad | Target date 15 |
|  | Pranav Vikas (India) Pvt Ltd, Plot no.45-46, NIT, Faridabad | Target date 15 |
|  | Sage Metal Ltd., Plot No.-123, Sector 24, Faridabad | Target date 15 |
|  | Venus Industrial Corporation Pvt Ltd, Plot No.197 & 262G-H, Sector-24, Faridabad | Target date 15 |
|  | JBM Industries Ltd Plot No 268-269 Sector 24. Faridabad | OMD Installed |
|  | HPL Additives Ltd, Plot No. 6-8, Sector-25, Faridabad | Target date 15 |
|  | HPL Additives Ltd, Plot No. 72, Sector 25, Faridabad | Target date 15 |
|  | G.K. Dairy & Milk Products Pvt. Ltd., 196/231, Sikri, Harphala Road, Faridabad | Target date 15 |
|  | Vee Gee Kaushiko Engineering P Ltd., P no-126 Sec-24 Faridabad | Target date 15 |
|  | Vee gee Industrial Enterpsies P Ltd., 31-B industrial Area, NIT, Faridabad | Target date 15 |
|  | Kenmore Vikas India Pvt. Ltd., Plot No. 04, 20th Mile Stone, Mathura Road, , Faridabad | Target date 15 |
|  | Escorts Ltd. ( Construction Equipment ), Plot No. 219 Sector-58 , Faridabad | Target date 15 |
|  | Showa India P LTd., Plot No. 23-32 Sector-58 , Faridabad | OMD Installed |
|  | STL Global Ltd., Plot No. 207-208 Sector-58 , Faridabad | Target date 15-02-2019 for installation of Online Monitoring Devices |
|  | India Yamaha Motors Pvt Ltd, 19/6, Mathura Road, Faridabad. | Target date 15-02-2019 for installation of Online Monitoring Devices |
|  | Dhruv Global Ltd., P no-1138-39, Sector-58 (unit-IV), Faridabad | Target date 15-02-2019 for installation of Online Monitoring Devices |
|  | RMP Fab Souring P Ltd., P No-288-289, Sec-58 Faridbad | OMD Installed |
|  | Scientific Knit processors, Vill Mohla, chhaprola Road, Ballabgarh, Faridabad | Target date 15-02-2019 for installation of Online Monitoring Devices |
|  | Cold Forge, Plot No. 181, Shed(2,3 & 4), Sector-24, Faridabad | Target date 15-02-2019 for installation of Online Monitoring Devices |
|  | Bee K Bee Prints Pvt. Ltd., Vill-Mohla, Ballabgarh Faridabad | OMD Installed |
|  | Sledge Hammer Oil Pvt Ltd., Plot no. 262 L and K, sec-24, Faridabad | Target date 15-02-2019 for installation of Online Monitoring Devices |
|  | Goodyear (India) Ltd., 21/4 Milestone, Delhi-Mathura Road, Ballabgarh, Faridabad | OMD Installed |
|  | M/s Bhabani Pigments Pvt. Ltd., Sonepat-Rohtak Road, Kharkhoda, Sonepat | Installed. |
|  | M/s Bharat Leather, G.T. Road, Nathupur, Distt. Sonepat | Installed. |
|  | M/s Bikanervala Foods Pvt. Ltd., Plot No. 2272-2275, Ph-II, Food Park, Rai, Indl. Estate, Distt. Sonepat | Installed. |
|  | M/s Ch. Devi Lal Co-op Sugar Mills Ltd., Vill. Ahulana, Tehsil Gohana, Sonepat | Installed. |
|  | M/s Coral Chemicals Pvt. Ltd., G.T.Road, Rai, Sonepat | Installed. |
|  | M/s Coral Drugs Pvt. Ltd., 55-56, HSIDC, Indl Estate, Murthal, Sonepat | Installed. |
|  | M/s Crystal Crop. Protection Pvt. Ltd. (Unit-II) (Tech. Plant), Vill. Nathupur, Sonepat. | Installed. |
|  | M/s Parag Milk Foods Ltd. (Old name Danone Foods & Beverages India Pvt. Ltd.), Plot No. 2266-68, Phase-II, Food Park, HSIIDC, Indl. Estate, Rai, Distt. Sonepat | Under installation. Upto 28.2.2019. |
|  | M/s EOC Polymers India (P) Ltd., 474-B, HSIIDC, Barhi | Installed. |
|  | M/s Fiem Industries Ltd., Plot no. 1915, HSIIDC, Rai, Distt. Sonepat. | Installed. |
|  | M/s Galaxy Leathers, Vill. Akbarpur Barota, Sonepat | Installed. |
|  | M/s Heritage Foods Ltd., Plot no. 497 Ph-I, HSIIDC, Rai, Distt. Sonipat | Under installation. Upto 28.2.2019. |
|  | M/s Indian Leather, G.T. Road, Nathupur, Distt. Sonepat | Installed. |
|  | M/s Indogulf Cropsciences Ltd. (new unit Tech. Plant), Vill. Nathupur, Sonepat | Installed. |
|  | M/S JSG Innotech Pvt. Ltd., Plot No. 63, Sector-53, HSIIDC, Kundli, Distt. Sonepat | Installed. |
|  | M/s Ketan Buttons (P) Ltd., 1297-1300, HSIIDC, I.E., Rai, Sonepat | Installed. |
|  | M/s Kiran Overseas Exports Ltd., G.T. Road, Rasoi, Sonepat | Not installed. Lying sealed. |
|  | M/s M.Chem India Pvt. Ltd., Vill. Saidpur, Kharkhoda, Distt. Sonipat | Installed. |
|  | M/s Mahima Life Scince (P) Ltd. (Mahima Exports (P) Ltd.), B.S.T. Road, Gannaur, Distt. Sonipat | Installed. |
|  | M/s Manohar Filaments (P) Ltd., Plot No. 531-532, Phase-II, HSIIDC, Barhi, Distt. Sonepat. | Installed. |
|  | M/s MARC Enterprises Pvt. Ltd., Plot No. 100, Sector-53, Ph-V, HSIIDC, Kundli, Distt. Sonipat | Under installation. Upto 28.2.2019. |
|  | M/s MAT Brakes India Pvt. Ltd., Plot No. 50 & 65, Sector-53, Ph-V, HSIIDC, Kundli, Distt. Sonepat | Installed. |
|  | M/s Meneta Automotive Components Pvt. Ltd., Plot No. 49 & 66, HSIIDC, Kundli, Distt. Sonepat | Installed. |
|  | M/s Milton Cycle Industries Ltd., Indl. Area, Sonepat | Installed. |
|  | M/s Replika Press Pvt. Ltd., 310-311, EPIP, Kundli, Sonepat | Installed. |
|  | M/s Sanat Printers, Plot No. 312, EPIP, HSIIDC, Kundli, Distt. Sonepat | Installed. |
|  | M/s Santosh Pargal & Co., 34, Sports Goods Complex, Murthal, Sonepat | Installed. |
|  | M/s Shree Bankey Behari Exports Ltd., Plot No. 2253-2257, HSIIDC, Ph-II, Rai, Distt. Sonepat | Not installed. Lying sealed. |
|  | M/s SHUBHRAM HOSPITAL SOLUTIONS PVT LTD, PLOT NO 485 486 HSIIDC PH II BARHI DISTT SONIPAT | Installed. |
|  | M/s Sonepat Co-op Sugar Mills Ltd., Sonepat | Installed. |
|  | M/s Sterile India Pvt. Ltd., Plot No. 100, Phase-IV, Sector-56, HSIIDC, Kundli, Distt. Sonepat | Under installation. Upto 28.2.2019. |
|  | M/s Sterling Agro Industries Ltd., Plot No. 73-76, HSIIDC, Kundli, Sonepat | Installed. |
|  | M/s Supreme Specility Foods (P) Ltd., 487, Indl. Estate, Rai, Sonepat | Under installation. Upto 28.2.2019. |
|  | M/s U Foods India Pvt. Ltd., Plot No. 442, EPIP, Kundli, Distt. Sonepat | Under installation. Upto 28.2.2019. |
|  | M/s Senior Manager, H.S.I.I.D.C. Indl. Estate, Barhi, For Indl. Area Murthal, Sonepat (CETP Murthal) | Not installed. Upto 31.3.2019. |
|  | M/s Senior Manager, H.S.I.I.D.C. Barhi, Sonepat (CETP Barhi) | Installed. |
|  | M/s Senior Manager, HSIIDC, Rai, Sonepat (CETP Rai) | Not installed. Upto 31.3.2019. |
|  | M/s Senior Manager, HSIIDC, HSIIDC, Phase-IV, CETP Kundli | Not installed. Upto 31.3.2019. |
|  | Bharat Gears Ltd., 20, KM, Mathura Road, Faridabad | Installed |
|  | Consolidated Coins, 13/2, Mathura Road, Faridabad | Target date 15-02-2019 for installation of OMD |
|  | Creative Dyeing & Printing Mills, 14/3, Mathura Road, Faridabad | Installed |
|  | Escorts Limited (Assembly Plant-FT), Plot No.-2, Sector-13, Faridabad (Plant-II) | Installed |
|  | Escorts Ltd., (Plant-I), 18/4, Mathura Road, Faridabad | Installed |
|  | Escorts Ltd., (Plant-III), Plot No. 3, Sector-13, Faridabad | Installed |
|  | Havells India Ltd., 14/3, Mathura Road, Faridabad | Installed |
|  | Pooja Forge Ltd., (Unit-III), 14/4, Mathura Road, Faridabad | Target date 15-02-2019 for installation of OMD |
|  | Richa Knits Ltd., Village-Kanwara, Jasana Road, Faridabad. | Installed |
|  | San Automotive Industries Pvt. Ltd., (Unit-II), 429, Village-Bhakhri, Badkhal-Pali Road, Faridabad | Target date 15-02-2019 for installation of OMD |
|  | Shahi Exports Pvt. Ltd., 15/1, Delhi Mathura Road, Faridabad | Target date 15-02-2019 for installation of OMD |
|  | Sita Singh & Sons Pvt.Ltd., 15, DLF-II, Industrial Area, Faridabad. | Target date 15-02-2019 for installation of OMD |
|  | Sterling Tools Ltd., 5A , DLF, Industrial Area, Faridabad | Installed |
|  | Sudtrack Linkages, 13/6, Mathura Road, Faridabad | Installed |
|  | Talbros Automotive Components Ltd, 14/1, Mathura Road, Faridabad | Installed |
|  | Exquisite Enterprises, Plot No. 5B, Sector-15A, Faridabad | Installed |
|  | Indian Oil Corporation Ltd. (I.O.C.L.), Panipat Refinery, Panipat | Installed |
|  | National Fertilizers Ltd., Gohana Road, Panipat | Installed |
|  | Panipat Thermal Power Station, Vill. Assan Kalan, Panipat | Installed |
|  | Panipat Naphtha Cracker Project, Panipat Refinery, Panipat | Installed |
|  | ABC Impex (P) Ltd., 6 KM Stone, Village Babarpur, G.T. Road, Panipat | Installed |
|  | Riviera Home Furnishing (P) Ltd., Plot No.235-237 & 264-266, Sector-29, Part-II, HUDA, Panipat | Installed |
|  | Faze-3 Ltd., Opp. BBMB, Resi. Colony (Near Sector-29, HUDA Water Tanki), G.T. Road, Panipat | Installed |
|  | Sunny International Ltd., 10th KM Stone, Gohana Road, Vill. Naultha, Panipat | Installed |
|  | BSBR KNIT Fabs, Sector-29, Part-II, Behind Flora Export, HUDA, Panipat | Connectivity will be 31/01/2019 |
|  | Mittal Dyeing (P) Ltd., Plot No.275, Sector-29, Part-II, HUDA, Panipat | Installed |
|  | Kapoor Industries, Plot No.301, Sector-29, Part-II, HUDA, Panipat | Installed |
|  | Hand Fab A Living, Plot No.269, Sector- 29, Part-II, HUDA, Panipat | Connectivity will be 31/01/2019 |
|  | Birmi Impex Private Limited, Near Gyanmansarover Brahm Kumari, Village Mahiudinpur Thirana, Tehsil Madlauda Panipat | Installed |
|  | Metro Agri Industries Ltd., Vill. Kakoda, Israna, Panipat | Connectivity will be 31/01/2019 |
|  | GRM Overseas, Gohana Road, Naultha, Panipat | Installed |
|  | Birmi International (P) Ltd., Opp. Railway Station, Madlauda, Panipat | Installed |
|  | GRM Overseas Limited, Gohana Road, Near Sugar Mill, Panipat | Installed |
|  | Golden Terry Towel (P) Ltd., Vill. Jhattipur, G.T. Road, Panipat | Installed |
|  | Lepro Herbals (P) Ltd., Vill. Jhattipur, G.T. Road, Panipat | Installed |
|  | Panipat Co-operative Sugar Mills, Gohana Road, Panipat | Connectivity will be 31/01/2019-SPM Effluent system connected from Oct-2016 |
|  | Polylon Fabrics (P) Ltd., Near Police Line, G.T. Road, Passian Kalan, Panipat | Installed |
|  | Pan Foods Ltd. (Division of Kayen Food India (P) Ltd.), G.T. Road, Panipat | Connectivity will be 31/01/2019 |
|  | Poly Plastics Industries(India) Pvt. Ltd., O/15 , Industrial Area, Yamuna Nagar | Installed |
|  | Ballarpur Industries Limited, Unit of Shree Gopal, Industrial Area, Yamuna Nagar | Installed |
|  | Haryana Distillery, # 21-M, Industrial Area, Yamuna Nagar , | Installed |
|  | Saraswati Sugar Mills Ltd., Radaur Road, Yamuna Nagar. | Installed |
|  | Oriental Engineering Works Pvt. Ltd., Oriental Crossing, E-4A, Industrial Area, Yamuna Nagar. | Installed |
|  | ISGEC Heavy Engineering Ltd., (Laxmi Industires,) Village Rattangarh, Yamuna Nagar | Installed |
|  | ISGEC Heavy Engineering Ltd., Unit-2, VILLAGE RATANGARH PO DAMLA, Yamuna Nagar | Installed |
|  | ISGEC Heavy Engineering Limited (ISGEC), Saharanpur Road, Yamuna Nagar. | Installed |
|  | Yamuna Cables Accessories Pvt. Ltd., Sardana Nagar, Ambala Road, Jagadhri, Yamuna Nagar | Installed |
|  | Erol Exports (P) Ltd., M-6, Industrial Area, Yamuna Nagar. | Installed |
|  | Carriage and Wagon Workshop Northern Railway Jagadhri Workshop, Yamuna Nagar | Not Installed (SCN for prosecution issued) |
|  | Piccadilly Agro Industries, Distellaray Unit, Vill. Bhadson, Indri, Karnal | Installed |
|  | Haryana Liquors (P) Ltd., Vill. Jundla, Distt. Karnal | Installed |
|  | RSL Distilleries Private Limited, Village Chandrao, Hadbast 10, Indri, Karnal. | Installed |
|  | North West Paper Kraft (P) Ltd. Mann Industrial Estate, Chirao, Kaithal Road, Karnal | Installed |
|  | Hafed Sugar Mill, Vill- Phaphrana, Assandh, Distt. Karnal. | Installed |
|  | United Exports, # 109 / 3 K.M. Stone, G.T. Road, Gharunda, Karnal. | Installed |
|  | Veer Overseas Limited G.T. Road, Gharunda, Karnal. | Installed |
|  | Piccadilly Agro Industries Sugar unit, Bhadson, Indri, Karnal | Installed |
|  | Modern Dairies Limited, Village Shamgarh, P.B. No. 3, #136 K.M., G.T. Road, Karnal. | Installed |
|  | Javi Home Pvt. Ltd., (Old Name Sabare International Ltd). , Vill-Alipur Khalsa, Karnal | Installed |
|  | Ebro India (P) LTD (Old name Taraori Rice Mills Pvt. Ltd.), Vill- Takhana, G.T Road, Taraori, Karnal | Installed |
|  | The Karnal Co-operative Sugar Mills Ltd., # 3KM Stone, Meerut Road, Karnal | Installed |
|  | D D International Pvt Ltd, Kutail Road, Kutail, Karnal | Installed |
|  | Aroma Agrotech Pvt. Ltd. 103 Mile Stone, Village Garhi Multan, G.T. Road, Gharunda, Karnal. | Installed |
|  | Indorama Dhunseri IVL Dhunseri Petrochem Industries Pvt. Ltd. (Old Name Micro Polypet Pvt. Ltd.), Survey no. 217, V.P.O. Munak, Tehsil- Balla, Karnal | Installed |
|  | K.M.International, Village Kutail, Distt Karnal | Under Installation & will be installed upto 07.02.2019. |
|  | Bansal finefoods Pvt ltd, Village Kurali, Indri Road, Karnal | Under Installation & will be installed upto 07.02.2019. |
|  | D D International Inc, Village Takhana, Tarori, Karnal | Installed |
|  | Liberty Shoes Limited, 17th Mile Stone, G.T. Road, Gharounda, Karnal | Installed |
|  | Aashima Tanners, Newal to Mugal Mazra Road, Kunjpura, Karnal | Installed |
|  | Friends Enterprises, V.P.O. Bijna, Moonak Road, Gharaunda, Karnal. | Installed |
|  | Kamal Leathers, V.P.O. Kachhwa, Karnal. | Installed |
|  | Beri Udyog Private Limited, Village Begumpur, Tehsil Gharaunda, Karnal | Installed |
|  | Model Dairy Plant (NDRI Govt. Unit), NDRI, Karnal | Installed |
|  | Hero Motor Corp Ltd. (Hero Honda Motors Ltd.), N.H-8, Sector-33, Gurgaon | Installed |
|  | Imperial Malt Ltd., Village Ghasola, Gurugram | Installed |
|  | Laurel Organics Ltd., Village-Bhondsi, Tehsil-Sohna, Gurgaon | Installed |
|  | Munjal Showa Ltd. Plot No.9-11, Maruti Industrial Area, Sector - 18, Gurgaon | Installed |
|  | Enrich Agro Food Products Ltd. Plot No. 276-277, Phase-II, Udyog Vihar, Gurgaon | Installed |
|  | Lite Bite foods private limited, plot no 317 udyog vihar phase 4 gurgaon haryana | Installed |
|  | Sun Pharmaceutical (Old Name Ranbaxy Lab. Ltd.,R & D) Village-Sarhoul, Sec-18, Gurgaon | Installed |
|  | M/s Tha Malt Co., Khandsa Road, Gurgaon | Installed |
|  | Hema Engg. Industries Ltd., 1/3 KM Stone, Khandsa Road, Gurgaon | Installed |
|  | Logwell Forge Udyog, Plot No. 116, Udyog Vihar, Phase-I, Gurgaon | Installed |
|  | QH Talbros Ltd. , Plot No. 400, Phase-III, Udyog Vihar, Gurgaon | Installed |
|  | Jay Bharat Maruti Ltd., Plot No. 5, MJV Complex, Gurgaon | Installed |
|  | Gaurav International , Plot No. 236, Phase-I, Udyog Vihar, Gurgaon | 28.02.2019 |
|  | GAURAV INTERNATIONAL, PLOT NO. 411, PHASE-III, UDYOG VIHAR, GURGAON | 28.02.2019 |
|  | Richa & Company,, Plot No.239, PH-I, Udyog Vihar, Gurgaon | 28.02.2019 |
|  | MANKIND PHARMA LIMITED Plot No. 55 - 56, Udyog Vihar Phase - IV,, Gurugram | 28.02.2019 |
|  | Pearl Global Ltd., Plot No. 446, Udyog Vihar PH-V, Gurugram | 28.02.2019 |
|  | Orient fashion exports india pvt ltd, 488-489, phase 3, udyog vihar, Gurugram | 28.02.2019 |
|  | Lumax Industries Ltd., Plot No.16, Sector 18, Gurgaon | 28.02.2019 |
|  | Sun Vacum Formers Pvt. Ltd. , Plot No.39-40, MIA, Sec-18, Gurgaon | 28.02.2019 |
|  | SKH Metals Ltd. (Mark Auto India.Ltd.), Plot No. 2,Maruti Joint Venture Complex,Gurgaon. | 28.02.2019 |
|  | Intertek India Private Ltd. Plot No. 290 Udyog Vihar Phase II Gurugram | 28.02.2019 |
|  | Al – Nafees Proteins Pvt. Ltd., Vill. – Satakpuri, The. - Punhana, Mewat | 28.02.2019 |
|  | A.A. AUTOTECH (P) LTD., PLOT NO. 157-158, SECTOR-5, IMT MANESAR, GURGAON | Installed |
|  | ACIL Limited, Plot No. 53-54 Sector-3, IMT Manesar Gurgaon | The installation of OMD will be completed by 26-02-2019 |
|  | ALPHA MAIER PRIVATE LIMITED, PLOT NO 402 SECTOR - 8, IMT MANESAR, GURGAON(HR) | The installation of OMD will be completed by 22-02-2019 |
|  | ANAND MOTOR PRODUCTS PVT. LTD., 38 KM Stone, NH - 8, Khandsa, Gurgaon | The installation of OMD will be completed by 24-02-2019 |
|  | Anand NVH Products (P) Ltd, 39 K.M. Stone, N.H.- 8, Begumpur Khatola Industrial Area, Sector - 35, Gurgaon | The installation of OMD will be completed by 24-02-2019 |
|  | ASK AUTOMOTIVE (P) LTD, UNIT-VII, PLOT NO.155-156, SECTOR-5, IMT MANESAR, GURGAON | Installed |
|  | ASK AUTOMOTIVE PVT LTD (UNIT-II), PLOT NO 30-31, VILLAGE NAWADA FATEHPUR, GURGAON | Installed |
|  | ASK Automotive Pvt Ltd, Plot No 446-D, Sector-8, IMT Manesar, Gurgaon | The installation of OMD will be completed by 28-02-2019 |
|  | Atotech India Ltd., 66 K. M. Stone, NH 8, Delhi Jaipur Highway, Village Sidhrawali Distt. Gurgaon 123413, Haryana, India | Installed |
|  | Avery Dennison India Pvt Ltd., Narsinghpur Industrial Area, 6th Kilometer Stone Delhi Jaipur Highway, Gurgaon | Installed |
|  | BAJAJ MOTORS LTD.- Manesar Plant, 446-A, Sector-8, IMT Manesar, Gurgaon, Haryana | The installation of OMD will be completed by 26-02-2019 |
|  | BAMBINO AGRO INDUSTRIES LIMITED, Sector - 35, Village Begumpur Khatola, Gurgaon | The installation of OMD will be completed by 23-02-2019 |
|  | BENETTON INDIA PVT. LTD., Village - Naurangpur, P.O. - Shikhopur, NH - 8, Delhi Jaipur Highway, Gurgaon | Installed |
|  | BLISS IMPEX, 38 KM STONE, DELHI JAIPUR HIGHWAY BEHRAMPUR ROAD KHANDSA GURGAON HARYANA | Installed |
|  | BorgWarner Emissions Systems India Pvt. Ltd., Plot No. 19, Sector-5, IMT Manesar, Gurgaon | The installation of OMD will be completed by 28-02-2019 |
|  | BRIDGESTONE INDIA AUTOMOTIVE PRODUCTS PVT. LTD., PLOT NO. 11, SEC-3, IMT MANESAR, GURGAON-122050 | The installation of OMD will be completed by 29-02-2019 |
|  | Carrier Airconditioning and Refrigeration Limited, Carrier Complex, Kherki Daula Post, Narsingpur, Delhi - Jaipur Highway, Gurgaon | Installed |
|  | CASEWELL DRILLING SERVICES PRIVATE LIMITED, PLOT NO. 8-9, Sector 7, IMT Manesar, Gurgaon | The installation of OMD will be completed by 20-02-2019 |
|  | CASTEX TECHNOLOGIES LIMITED, VILLAGE - NARSINGPUR, P.O. - MOHMMADPUR, OLD MANESAR ROAD, GURGAON | The installation of OMD will be completed by 25-02-2019 |
|  | CHELSEA MILLS, PLOT NO-173-174, SECT-5, IMT Manesar, Gurgaon | Installed |
|  | Continental Automotive Brake Systems ( I ) Pvt Ltd, Plot No 179-180, Sector-5, IMT Manesar,Gurgaon, Haryana | The installation of OMD will be completed by 21-02-2019 |
|  | CREW B O S PRODUCTS LIMITED, Plot No. 37, Sector - 4, IMT Manesar, Gurgaon | The installation of OMD will be completed by 20-02-2019 |
|  | DANTAL HYDRAULICS PRIVATE LIMITED, PLOT NO. 1C, SECTOR -6, IMT MANESAR, GURGAON | The installation of OMD will be completed by 25-02-2019 |
|  | Dantal Hydrualic Pvt. Ltd., # 50 Sector-3, IMT Manesar, Gurgaon | The installation of OMD will be completed by 23-02-2019 |
|  | Devyani International Limited, Plot No 124 and 125 Phase VI Udyog Vihar Sector37 Gurgaon Haryana | The installation of OMD will be completed by 26-02-2019 |
|  | DHANUKA LABORATORIES LIMITED, 7th OLD MANESAR ROAD, VILLAGE - MOHAMMADPUR, GURGAON | Installed |
|  | Electroplating Industrial Welfare Asociation, Plot No 970, Pace City - II, Sector 37 Gurgaon 122001 | Installed |
|  | ELECTROSPARK, PLOT NOT. 77, SECTOR - 8, IMT MANESAR, GURGAON | The installation of OMD will be completed by 22-02-2019 |
|  | Elegant Dyeing and Processing Limited, Behram pur road,Udyog Vihar,Phase VII,Gurgaon | Installed |
|  | EMKAY AUTOMOBILE INDUSTRIES LTD., 39/7 K.M. Stone, NH - 8, Delhi Jaipur Highway, Village - Begampur Khatola, Gurgaon | The installation of OMD will be completed by 20-02-2019 |
|  | FCC CLUTCH INDIA PRIVATE LIMITED, PLOT NO. 5, SECTOR -3, IMT MANESAR, GURGAON | Installed |
|  | Flocksur India, Behrampur Road, Gurgaon | The installation of OMD will be completed by 27-02-2019 |
|  | FNS AGRO FOODS LTD. PLOT NO-290, SECTOR-6 IMT MANESAR HARYANA | Installed |
|  | Gabriel India Ltd, 38th Milestone, Delhi - Jaipur Highway, NH - 8, Village - Khandsa, Gurgaon | The installation of OMD will be completed by 20-02-2019 |
|  | GALAXY ELEGANT FASHIONS PVT. LTD., Plot No. 19-20, Sector - 7, IMT Manesar, Gurgaon | The installation of OMD will be completed by 23-02-2019 |
|  | GKB Rx Lens P. Ltd., A-15, Info City, SEC-34, GURGAON, HARYANA | The installation of OMD will be completed by 21-02-2019 |
|  | GKB RX LENS PVT LTD UNIT II, Plot No. A-14, Info City, Sector - 34, Gurgaon | The installation of OMD will be completed by 29-02-2019 |
|  | GLS Industries Pvt. Ltd., Opp. Brahama Kumari Ashram, Pataudi Road, Bhora Kalan, Bilaspur, Gurgaon | The installation of OMD will be completed by 26-02-2019 |
|  | GROZ ENGINEERING TOOLS PRIVATE LIMITED, NH - 8, Kherki Daula, Gurgaon | Installed |
|  | HAMDARD LABORATORIES (INDIA), , Plot No.12-15, Sec.7 IMT Manesar, | The installation of OMD will be completed by 27-02-2019 |
|  | HI TECH GEARS LIMITED, PLOT NO 24, 25 & 26, SECTOR-7, IMT MANESAR, Gurgaon | Installed |
|  | Honda Motorcycle and Scooter India Private Limited and Technical Centre, Plot No 1 and 2 , Sector - 3, IMT Manesar , Gurgaon | Installed |
|  | IMPERIAL MALTS LIMITED, V.P.O. - KHOR, REWARI PATAUDI ROAD, DISTRICT - GURGAON | Installed |
|  | Indo Autotech Limited, Plot No 132-133, Sector-8,IMT Manesar | The installation of OMD will be completed by 24-02-2019 |
|  | JAY BHARAT MARUTI LIMITED, PLOT NO. 15,16,21 & 22, MSIIL PARK, SECTOR-3A, IMT, MANESAR, GURGAON | The installation of OMD will be completed by 29-02-2019 |
|  | Jay Bharat Maruti Pvt. Ltd., MOHAMMADPUR JHARSA SECTOR 36 GURGAON HARYANA | Installed |
|  | JOHNSON MATTHEY INDIA PRIVATE LIMITED, PLOT NO. 12, SECTOR 3, IMT MANESAR, GURGAON 122050 | The installation of OMD will be completed by 23-02-2019 |
|  | Knitcraft Apparels International, Plot No. 929/2, Behrampur Road, Khandsa, Gurgaon | The installation of OMD will be completed by 28-02-2019 |
|  | KRISHNA MARUTI LTD, 40-KM STONE, DELHI-JAIPUR HIGHWAY, NARSINGHPUR, GURGON | The installation of OMD will be completed by 22-02-2019 |
|  | Magneti Marelli Powertrain India Pvt. Ltd., Plot No. 1,Sub Plot No. 25 & 32, Maruti Suppliers Park,Sector – 3A, IMT Manesar | The installation of OMD will be completed by 26-02-2019 |
|  | MAHAVIR DIE CASTERRS PVT. LTD, PLOT NO. 114, SECTOR-8, IMT MANESAR, GURGAON | The installation of OMD will be completed by 29-02-2019 |
|  | MAHAVIR DIE CASTERS PVT LTD, Plot No. 162, Sector - 3, IMT Manesar, Gurgaon | The installation of OMD will be completed by 20-02-2019 |
|  | MAHLE FILTER SYSTEMS INDIA PVT LTD, 38th Milestone, National Highway -8, Behrampur Road, Khandsa, Gurgaon | The installation of OMD will be completed by 22-02-2019 |
|  | Mankind Research Centre, Plot No. 191E, Sector-4, IMT Manesar, Gurgaon | The installation of OMD will be completed by 26-02-2019 |
|  | Mark Exhaust Systems Ltd., Plot No. 159-160, Sector-5, IMT Manesar, Gurgaon (Unit-V) | The installation of OMD will be completed by 28-02-2019 |
|  | Matrix Clothing Pvt. Ltd. , Plot-197, Udyog Vihar ,Phase-VI , Sector-37 , Gurgaon | The installation of OMD will be completed by 24-02-2019 |
|  | MAXOP ENGINEERING COMPANY PRIVATE LIMITED UNIT II, PLOT 405, SECTOR-7, IMT MANESAR, GURGAON HARYANA | The installation of OMD will be completed by 21-02-2019 |
|  | MEGA RUBBER TECHNOLOGIES PVT. LTD., PLOT NO. 431, SECTOR - 8, IMT MANESAR, GURGAON | The installation of OMD will be completed by 27-02-2019 |
|  | MEHSANA DISTRICT CO OP MILK PROD UNION LTD, PLOT NO 26 D SECTOR 3 IMT MANESAR DIST GURGAON | Installed |
|  | MUNJAL KIRIU INDUSTRIES PVT LTD, PLOT NO 192 SECTOR 4 IMT MANESAR GURGAON HARYANA | Installed |
|  | NEEL AUTO PRIVATE LIMITED, Behrampur Industrial Area, Begampur Khatola Road, Gurgaon | The installation of OMD will be completed by 20-02-2019 |
|  | NEEL METAL PRODUCTS LIMITED, Village - Baskusla, Opp. Sector - 7, IMT Manear, Gurgaon | The installation of OMD will be completed by 25-02-2019 |
|  | NEEL METAL PRODUCTS LTD, PACE CITY II, SECTOR-36, GURGON-122004 | Installed |
|  | Nestle R&D Center India Pvt. Ltd, .Plot No.-CP 12A, Sector-8, IMT Manesar | The installation of OMD will be completed by 26-02-2019 |
|  | Nhk Spring India Limited., Plot No-31 Sector-3, IMT Manesar | The installation of OMD will be completed by 27-02-2019 |
|  | NTF INDIA PVT LTD PLOT NO 49 SECTOR 3 IMT MANESAR GURGAON | The installation of OMD will be completed by 29-02-2019 |
|  | Oerlikon Balazers Coating India Private Limited, Plot No 163 Sector 5 IMT Manesar, Gurugram | The installation of OMD will be completed by 23-02-2019 |
|  | ORIENT CRAFT LIMITED, PLOT 9-13, PHASE-VI, SECTOR-37, KHANDSA, Gurgaon | Installed |
|  | Orient Craft Limited, Plot No - 15, Sector - 5, IMT Manesar Gurgaon | The installation of OMD will be completed by 29-02-2019 |
|  | ORIENT CRAFT LTD, PLOT NO 3 4 5 UDYOG VIHAR PHASE VI SECTOR 37 NEAR KHANDSA , GURGAON | Installed |
|  | ORIENT CRAFT SWEATERS LIMITED, Plot No. 32-33, Sector - 4, IMT Manesar, Gurgaon | The installation of OMD will be completed by 24-02-2019 |
|  | Perfetti Van Melle India Pvt Ltd, 47th Milestone Delhi Jaipur Highway Manesar | Installed |
|  | PMV Maltings Pvt Ltd, Khasra No55 69 Village Gadaipur Tehsil Pataudi | Installed |
|  | Precise Seamless Apparels Pvt. Ltd., Plot No.-762-63, Pace City-II, Sector-37, Gurgaon | Installed |
|  | PREMAS BIOTECH PVT LTD, Plot No. 77, Sector - 4, IMT Manesar, Gurgaon | The installation of OMD will be completed by 28-02-2019 |
|  | PRICOL LIMITED, Plot No. 34 & 35, Sector - 4, IMT Manesar, Gurgaon | The installation of OMD will be completed by 26-02-2019 |
|  | Q.H Talbros Ltd. , Plot No. 51, Sec-3, IMT Manesar, Gurgaon | The installation of OMD will be completed by 29-02-2019 |
|  | QUEST DIAGNOSTICS INDIA PVT. LTD, A-17, INFOCITY SECTOR-34 | The installation of OMD will be completed by 23-02-2019 |
|  | Richa & Co., Plot No. 2, Sector-5, IMT Manesar, Gurgaon | The installation of OMD will be completed by 21-02-2019 |
|  | RICHA AND CO, Plot No. 30, Sector - 6, IMT Manesar, Gurgaon | The installation of OMD will be completed by 29-02-2019 |
|  | ROOP POLYMERS LIMITED, PLOT NO. 30, SECTOR - 03, IMT MANESAR, GURGAON | The installation of OMD will be completed by 24-02-2019 |
|  | Sandhar Components, Behrampur (A Unit of Sandhar Technologies Limited), Village & P.O. Khandsa, Sector 35, Behrampur Road | The installation of OMD will be completed by 25-02-2019 |
|  | SARITA HANDA EXPORT PVT LTD PLOT NO 29,SECTOR-IV,IMT MANESAR | The installation of OMD will be completed by 24-02-2019 |
|  | SEBROS AUTO PRIVATE LIMITED, PLOT NO. 181, SECTOR - 5, IMT MANESAR, GURGAON | The installation of OMD will be completed by 28-02-2019 |
|  | Shivam Autotech Limited, 58 K.M. Stone, Delhi - Jaipur Highway, Village - Binola, Gurgaon | The installation of OMD will be completed by 23-02-2019 |
|  | Sigma Moulds and Stampings Pvt Ltd, Plot no 149-151 Sector 5 IMT Manesar Gurgaon Haryana | The installation of OMD will be completed by 25-02-2019 |
|  | SKH METALS LIMITED, PLOT NO 13,14&24 JV MSIL IMT MANESAR GURGAON HARYANA | The installation of OMD will be completed by 29-02-2019 |
|  | SONA BLW PRECISION FORGING LTD, SONA ENCLAVE, VILLAGE-BEGUMPUR KHATOLA, POST BOX NO. 90, GURGAON (Unit-1 & II) | Installed |
|  | SONA KOYO STEERING SYSTEMS LTD., 38/6, Delhi - Jaipur Highway, NH-8, Gurgaon | The installation of OMD will be completed by 15-02-2019 |
|  | SPECULUM PLAST PVT. LTD, .PLOT NO. 261, SECTOR-7, IMT MANESAR, GURGAON | The installation of OMD will be completed by 23-02-2019 |
|  | SPEEDOMAX (A UNIT OF OMAX AUTOS LTD), 64 TH K.M. MILESTONE, VILLAGE SIDHRAWALI, DELHI JAIPUR HIGHWAY, DISTT. GURGAON HARYANA | The installation of OMD will be completed by 25-02-2019 |
|  | STORK RUBBER PRODUCTS PVT. LTD., Stork Building, 38 K.M. Stone, NH-8, Behrampur Road, Gurgaon | The installation of OMD will be completed by 29-02-2019 |
|  | SUNBEAM AUTO PRIVATE LIMITED, 8/6 K.M. STONE, DELHI JAIPUR HIGHWAY, NARSINGPUR, DISTRICT - GURGAON | Installed |
|  | SUZUKI MOTORCYCLE INDIA LTD., Village - Kherki Daula, Badshahpur, NH - 8, Delhi Jaipur Highway, Link Road, Gurgaon | Installed |
|  | TALBROS MARUGO RUBBER PVT LTD, PLOT NO. 108-109, SECTOR-08, IMT MANESAR, GURGAON | The installation of OMD will be completed by 29-02-2019 |
|  | TEX CORP LIMITED, Village Mohammadpur , Khandsa Road, Gurgaon | Installed |
|  | Tricolite Electrical Industries Limited, Plot No 5 & 32 Sector-6, IMT Manesar | The installation of OMD will be completed by 22-02-2019 |
|  | UNITECH MACHINES LIMITED, (UM Auto Comp, PLOT NO 28 SECTOR 2A MANESAR, GURGAON | The installation of OMD will be completed by 24-02-2019 |
|  | V AND S INTERNATIONAL PVT LTD 38th KM MILESTONE, DELHI JAIPUR HIGHWAY, BEHRAMPUR ROAD, KHANDSA, GURGAON | The installation of OMD will be completed by 25-02-2019 |
|  | Vitalife Laboratories(A Division of Arch Pharmalabs Ltd.), Vill. Pathreri, Bilaspur Tauru Road, Gurgaon | Installed |
|  | Wilhelm Textiles India Private Limited, 38 KM Stone Delhi Jaipur Highway Behrampur Road Khandsa Gurgaon Haryana 122001 | Installed |
|  | MUNJAL SHOWA LTD., PLOT NO 26 E & 26F, SECTOR -3, IMT MANESAR, GURGAON 122050 | Installed |
|  | ASK Automotive Pvt Ltd. (Unit-VI), Plot No. 305, Sector-6, IMT Manesar, Gurgaon | Installed |
|  | JSL LIFESTYLE LIMITED, VILLAGE PATHRERI BILASPUR TAURU ROAD, Gurugram | The installation of OMD will be completed by 28-02-2019 |
|  | ASK HOME FURNISHING PRIVATE LIMITED, Village - Pathredi, Tauru Road, Bilaspur Chowk, Gurgaon | The installation of OMD will be completed by 26-02-2019 |
|  | Matrix Clothing, Village-Mohammadpur, Gurugram | The installation of OMD will be completed by 21-02-2019 |
|  | Richa & Co., Plot No.-17-22, Sector-34, Gurugram | The installation of OMD will be completed by 20-02-2019 |
|  | SONA BLW PRECISION FORGING LTD, SONA ENCLAVE, VILLAGE-BEGUMPUR KHATOLA, POST BOX NO. 90, GURGAON (Unit-III) | The installation of OMD will be completed by 17-02-2019 |
|  | Richa Global Exports Pvt. Ltd., Plot No.-407, Sector-7, IMT Manesar, Gurugram | The installation of OMD will be completed by 22-02-2019 |
|  | Richa Global Exports Pvt. Ltd., Plot no. 407, Sector-07, IMT Manesar, Gurugram | The installation of OMD will be completed by 28-02-2019 |
|  | Rico Auto Industries, 38 KM Mileststone, Delhi Jaipur Highway, Gurgaon | Installed |
|  | Haryana Urban Development Authority For 120 MLD STP, Village - Behrampur, Sector - 48, Gurgaon | Installed |
|  | 50 MLD STP installed by HUDA, Sector-48, Village - Behrampur, Gurgaon | Installed |
|  | Electroplating Industrial Welfare Asociation, Plot No 970, Pace City - II, Sector 37 Gurgaon 122001 | Installed |
|  | CETP of 15 MLD installed by HSIIDC, IMT MANESAR, GURGAON | Installed |
|  | 4.5 MLD Public STP, Rewari Pataudi Road, Pataudi | The installation of OMD will be completed by 28-02-2019 |

Annexure-10

Compliance Status of E- Waste Dismantlers amd recyclers units

| Sr. no. | Name of E-waste units dismantler/Recycler | Latest inspection report | Compliance status | Action Taken thereof |
| --- | --- | --- | --- | --- |
|  | 3 R RECYCLER,Plot No. 266, Sector - 8, IMT Manesar, Gurgaon | 21-05-2018 | Complying | - |
|  | Deshwal Waste Management Pvt Ltd Plot No. 292, Sector-7, IMT Manesar, Gurgaon | 09-08-2018 | Complying | - |
|  | EARTH SENSE RECYCLE PVT LTD Plot No. 100, Sector - 5, IMT Manesar, Gurgaon | 18-02-2016 | Complying | - |
|  | Green Vortex Waste Management Pvt Ltd., # 331, Udyog Vihar, Phase-I, sector-37, Gurugram | 24-04-2018 | Complying | - |
|  | SMS ENTERPRISES, Plot No. 544- D, First Floor, Sector -37, Pace City - II, Gurgaon (Haryana) | 21-09-2016 | Complying | - |
|  | Ingram Micro India Pvt. Ltd., Plot-527, Pace City-II, Industrial Area, Sector-37, Gurugram | 09-09-2016 | Complying | - |
|  | Dlila Systems, 1st Floor, Plot No-61, Sector-8, IMT manesar, Gurugram | 03-10-2018 | Complying | - |
|  | 3 R Recycler, Plot No-392, Sector-8, IMT Manesar, Gurugram | 14-06-2018 | Complying | - |
|  | Nirwana Recyling Pvt. Ltd., D-6, Udyog Vihar Phase-6, HSIIDC, Gurugram | 29-05-2017 | Complying | - |
|  | Apicem Recyclers Pvt. Ltd., Plot No-359, Sector-8, IMT Manesar, Gurugram | 18-01-2019 | Complying | - |
|  | Exigo recycling (P) Ltd. GT Road Samalkha Panipat | 12.08.2018 | Complying | - |
|  | Thapar Disposal Industries, 902, A/5/6, Charra mandi road Ambala City | 23.05.2016 | Complying | - |
|  | Mittal battery Plot no. 349, Industrial Area Phase –I Panchkula | 28.09.2017 | Complying | - |
|  | M/s Tes Amm (India) Pvt. Ltd., Village Wazidpur Saboli, Distt. Sonipat | 18.02.2017 | Complying | -- |
|  | M/s Satellite Vision India, Plot No. 130, HSIIDC, Rai, Distt. Sonipat | 25.04.2018 | Complying | -- |
|  | M/s Giriraj metal Plot no. 39 HSIIDC Kutana Rohtak | 07.10.2015 | Complying | -- |
|  | M/s Earth Waste Management Pvt. Ltd. Sampla Beri Road Rohtak | 18.05.2015 | Complying | -- |
|  | M/s R. K Enterprises Village Lohari Jhajjar | Unit lying temporary closed of its own |
|  | M/s Green World International Pvt. Ltd. Ganpati Dham Bahadurgarh | Unit lying temporary closed of its own |
|  | M/s Namo E-waste management ltd. Main Mathura Road Faridabad | 14.07.2017 | Complying | -- |
|  | M/s Endeavor Reprocessor and Recyclers India, Plot no. 323, Sec-24, industrial Area, Faridabad | 26-03-2018 | Complying | -- |
|  | M/s A to Z E-waste Solutions, Plot no. 66, Pargiti Vihar, Industrial Area, sector-59, Ballabgarh | 16-05-2018 | Complying | -- |
|  | M/s E-waste Solutions, Industrial Shed, 1A,Industrial Estate, Sec-6, Faridabad | 25-09-2017 | Complying | -- |

Annexure-11

Compliance status of CBWTFs

| Sr. No. | Name of the CBWTF | Date of Inspection | Compliance Status | Action to be taken |
| --- | --- | --- | --- | --- |
| 1 | M/s HAAT Supreme Waste Tech Ltd., Vill. Bazida Kalan, Distt. Karnal | 15.12.2018 | Complying | NA |
| 2 | M/s Synergy Waste Management (P) Ltd., Plot No. 168, Sector-27-28, Hisar | 26.12.2018 | Complying | NA |
| 3 | M/s Biotic Waste Limited, Formerly known as Biotic Waste (P) Ltd. & Vulcan Waste Management (P) Ltd, P. No. 725, Pace City-2, Sector-37, Industrial Area, Gurgaon | 27.12.2018 | Complying | NA |
| 4 | M/s S.D. Bio Medical Waste Management, Vill. Baland, Rohtak | 29.12.2018 | Complying | NA |
| 5 | M/s ESS KAY Hygienic Services, Vill. Bagwala, Distt. Panchkula | 27.6.2018 | Complying | NA |
| 6 | M/s Divya Waste Management Co., Vill. Kandela, Distt. Jind | 3.10.2018 | Complying | NA |
| 7 | M/s Rudraksh Envirocare, Vill. Bhadog, Distt. Ambala | 28.09.2018 | Complying | NA |
| 8 | M/s Golden Eagle Waste Management Co., Vill. & PO Jasana, Opp. Aravali College, Faridabad | 04.01.2019 | Complying | NA |
| 9 | M/s Maruti Bio Medical Waste Plant, Vill. & PO Hetampura, Distt. Bhiwani | 21.11.2018 | Non Complying | Show cause notice issued for non compliance on 28.12.2018. Unit removed deficiencies and submitted reply. |
| 10 | M/s Surya Waste Management Co., Sahuwala Road, Vill. Chandiwal, Tehsil & Distt. Sirsa | 28.12.2018 | Complying | NA |
| 11 | M/s Invision Enviro Services, VPO Phulkan, Sirsa | 20.12.2018 | Complying | NA |

Annexure-12

Action Plan of Irrigation Department for de-silting of drains

| Sr. No. | Name of drain to be disilted in coming months | Name of deptt. | Desilting done in year 2018(month) | Desilting to be further carried out |
| --- | --- | --- | --- | --- |
| District Karnal |
| 1 | Internal clearance of Chhaprian Drain from RD 0 to 21207. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 2 | Internal clearance of Nanhera Garhpur Drain from RD 0 to 15560, Murad Nagar Drain No. 1 from RD 0 to 9360, Murad Nagar Drain No. 2 from RD 0 to 3325. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 3 | Internal clearance of Hanouri Main Drain from RD 52000-58000, RD 63000-73000. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 4. | Internal clearance of Hanouri Sub Drain No. 1 from RD 0 to 11000, Hanouri Sub Drain No. 2 from RD 0 to 5170, Outfall drain from RD 0 to 3500, Sheikhpura Drain No. 1 from RD 0 to 9900, Sheikhpura Drain No. 2 from RD 0 to 1748, Tapprian Drain from RD 0 to 3462 and Kalra Drain from RD 0 to 8625. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 5 | Internal clearance of Raipur Drain from RD 4000 to 10180 and Gagsina Drain from RD 0 to 21790. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 6 | Internal clearance of M- Drain from RD 16500 to 24115. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 7 | Internal clearance of Phurlak Drain from RD 0 to 20500. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 8 | Internal clearance of Barota Drain from RD 0 to 15750. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 9 | Internal clearance of Daniyalpur Drain from RD 0-15000. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 10 | Internal clearance of Samora Drain from RD 8000-28800. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 11 | Internal clearance of Phurlak Drain from RD 0 to 21500-37000. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 12 | Internal clearance of Indri escape from RD 5000 to 40000. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 13 | Internal clearance of Indri escape from RD 70000-117000. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 14 | Internal clearance of Hanouri Main Drain from RD 84000-90000 & RD 93000-100000. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 15 | Internal clearance of Manmati Drain from RD 0-8464. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 16 | Internal clearance of Samora Drain from RD 0-8000. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 17 | Internal clearance of Uchani Drain from RD 0-7500 | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 18 | Internal clearance of Hanauri | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 19 | Internal clearance of Phurlak Drain from RD 37000-46000. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 20 | Internal clearance of Bazida Drain from RD 2800-14500. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 21 | Internal clearance of Gharaunda Ganda Nallah from RD 200-2700. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 22 | Internal clearance of Main Drain No.1 from RD 0-39500. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 23 | Internal clearance of M-Drain from RD 0-16500. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 24 | Internal clearance of Gharaunda Ganda Nallah from RD 2700-41500. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 25 | Internal clearance of Panipat Drain from RD 55673 to 76250 | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 26 | Internal clearance of Nohra Drain RD 34100-66500 & 16300-21000 | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 27 | Internal clearance of Puthar Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 28 | Internal clearance of Begumpur Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 29 | Internal clearance of Bhadar Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 30 | Internal clearance of Hartari Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 31 | Internal clearance of Thirana Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 32 | Internal clearance of Try. Drain No. 1 RD 57400-78000 | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 33 | Internal clearance of Atawala-Idyana Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 34 | Internal clearance of Seenk-BahadurpurDr. | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 35 | Internal clearance of Idyana link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 36 | Internal clearance of Qawai Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 37 | Internal clearance of Joshi Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 38 | Internal clearance of Pathari Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 39 | Internal clearance of Try Drain No. III | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 40 | Internal clearance of Lohari Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 41 | Internal clearance of Try Drain No. IV | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 42 | Internal clearance of Tray Drain No. II | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 43 | Internal clearance of Ballah Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 44 | Internal clearance of Gawalra Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 45 | Internal clearance of Jondhan Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 46 | Internal clearance of Jondhan Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 47 | Internal clearance of Bijewa-Chirana, Mudlana Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 48 | Internal clearance of Brahman Majra Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 49 | Internal clearance of Shera Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 50 | Internal clearance of Seenk-Untla Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 51 | Internal clearance of Wazirpur Titana Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 52 | Internal clearance of Vessar Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 53 | Internal clearance of Mandi Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 54 | Internal clearance of Untla Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 55 | Internal clearance of Urlana Kalan Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 56 | Internal clearance of Munak Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 57 | Internal clearance of Jattal Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 58 | Assandh Bund Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 59 | Assandh Sub Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 60 | Sheikhpura Manchuri Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 61 | Nai Nallah Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 62 | Slawan Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 63 | Assandh Main Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 64 | H-Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 65 | Pabana Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 66 | Nissing Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 67 | Shamgarh Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 68 | Kachhwa Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 69 | Nilokheri Drain along GT road | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 70 | Nilokheri Drain along Railway Line | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 71 | Ditch Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 72 | Indri Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 73 | Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 74 | Jhanjhari Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 75 | Jundla Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 76 | Sambhli Link drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 77 | Bahlolpur Link drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 78 | Katlehri Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 79 | Sirsi Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 80 | G-Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 81 | Assandh Pheripheral Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 82 | Assandh Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
| 83 | Bindrala Link Drain | Irrigation | May-18 to June-18 | May-19 to June-19 |
|  | Jhajjar Water Services Circle Jhajjar |
| 1 | Drain No. 8 (RD 202000- to 275000) | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 2 | Bhindawas Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 3 | JLN Escape Channel | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 4 | Baghpur Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 5 | Outfall Drain No. 8 | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 6 | Talao Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 7 | Dhaur Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 8 | Hassanpur Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 9 | Jhajjar Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 10 | Jahangirpur Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 11 | Jhajjar Outfall Link Drain along Farukh Nagar Road. | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 12 | Mattanhail Link Drain along Road | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 13 | Mattanhail Link Drain Along JSB | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 14 | Gwalison Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 15 | New Wazirpur Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 16 | Achhej Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 17 | Mundahera Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 18 | Dujana Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 19 | Birdhana Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 20 | Birdhana Sub Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 21 | Pelpa Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 22 | Jondhi Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 23 | Rankhanda Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 24 | Dubaldhan Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 25 | Khaparwas Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 26 | Dubaldhan Pump House Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 27 | Ladain Pump House Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 28 | Jahazgarh Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 29 | Godhari Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 30 | Ditch Drain along Left side abondoned JSB from RD 105000 to 118250 | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 31 | Ditch Drain along R/side of JLN Feeder from RD 240000-329300(240000-255300, 255400-274350, 274500-290500, 290600-303000, 303500-307000, 308500-314500, 317100-329300). | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 32 | Mattanhail Pump House Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 33 | Ditch Drain along Left side abondoned JSB from RD 140986 to 154986 | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 34 | Beri-Dujana-Dhaur Link drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 35 | Wazirpur Sub-Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 36 | 2 Nos.Ditch Drain along Bhindawas Lake | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 37 | Mangawas Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 38 | Bhindawas Lake Bund | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 39 | Aurangpur Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 40 | Patasni Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 41 | Ritauli Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 42 | Kabulpur Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 43 | Kabulpur Pump House Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
| 44 | Bishan Link Drain | Irrigation | May to June 2018 | 05/19 to 06/19 |
|  | JLN Water Services Circle Rewari |
| 1 | De-silting of Jatusana Drain from Km. 0.000 to 0.610 | Irrigation | 30.06.2018 | 06/2019 |
| 2 | De-silting of Rewari Drain from Km. 0.000 to 7.825 | Irrigation | 30.06.2018 | 06/2019 |
|  | YWS CIRCLE ROHTAK |
| 1 | Bhalaut L /D from RD0 to 12500, Atail L /D 0 to 7600, Baliyana L/D RD 0 to 5300. | Irrigation | 30.06.2018 | 30.06.2019 |
| 2 | Paksmadrain from RD 0 to 77500 | Irrigation | 30.06.2018 | 30.06.2019 |
| 3 | New Baliyana L/D 12500 to 18850, Garhi bohar L/D RD 8800 to 11200, Garhi bohar sub L/D 0 to 5000 and Kheri L/D RD 0 to 22400 | Irrigation | 30.06.2018 | 30.06.2019 |
| 4 | Assan L/D 0 to 24000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 5 | Kiloi L/D 0 tp 36080 | Irrigation | 30.06.2018 | 30.06.2019 |
| 6 | Kiloi Pump House L/D 0 to 3750,Pump House L/D 0 to 2750 | Irrigation | 30.06.2018 | 30.06.2019 |
| 7 | Rithal Mundak L/D 0 to 26000. | Irrigation | 30.06.2018 | 30.06.2019 |
| 8 | Mundhak link drain 0 to 2200, Rithal Narwal Sub L/D no. 1 RD 0 to 2860, and Rithal PH L/D RD 1500 to 4200 | Irrigation | 30.06.2018 | 30.06.2019 |
| 9 | Jassia Drain 0 to 61500 | Irrigation | 30.06.2018 | 30.06.2019 |
| 10 | Makrauli L/D 0 to 30000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 11 | Kahni L/D 0 to 19000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 12 | Kahni Sub L/D 0 to 10500 | Irrigation | 30.06.2018 | 30.06.2019 |
| 13 | kahni sub link drain 2RD 0 To 6500 | Irrigation | 30.06.2018 | 30.06.2019 |
| 14 | Basantpur link drain 0 to 5100,Brhamanwas link drain 0 to 2460 | Irrigation | 30.06.2018 | 30.06.2019 |
| 15 | Dhamar l/drain 0 to 13000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 16 | Dhamar sub link drain no 2 RD 0 to 2600,Dhamar sub link drain 0 to 4674 | Irrigation | 30.06.2018 | 30.06.2019 |
| 17 | Ladhaut L/D 0 to 11000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 18 | Ditch drain along left side of Bhalaut Sub Branch from RD 103800 to 123950. | Irrigation | 30.06.2018 | 30.06.2019 |
| 19 | Ditch Drain right side JLN from RD103820 to 124000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 20 | West jua drain RD 60000 to 103000, Hasangarh L/D 0 to 4300, New Hasangarh L/D 0 to 6888, Hasangarh S/L Drain 0 to 1500, Hamayupur L/D 0 to 3600. | Irrigation | 30.06.2018 | 30.06.2019 |
| 21 | Lakhan Majra Link Drain from RD 0 to 40000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 22 | Lakhan Majra Link Drain from RD 40000 to 80000, | Irrigation | 30.06.2018 | 30.06.2019 |
| 23 | Lakhan Majra Link Drain from RD 80000 to 122100, | Irrigation | 30.06.2018 | 30.06.2019 |
| 24 | Meham Drain from RD 0 to 30000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 25 | Meham Drain from RD 0 to 30000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 26 | Drain No 8 from RD 99400 to 130000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 27 | Samar Gopal Pur L/Dr. 0-24500 | Irrigation | 30.06.2018 | 30.06.2019 |
| 28 | Bhali Anandpur Sub Link Drain no 1 RD 0 to 11800,Ditch drain left side Kahanaur Disty. 103265 to 120000, Baniyani L/Drain 0 to 3800 | Irrigation | 30.06.2018 | 30.06.2019 |
| 29 | Samar Gopal Sub Link Drain RD 0 to 3250, Bahu Akbarpur L/D 0 to 5350 Kharainti L/D 0 to 3250, | Irrigation | 30.06.2018 | 30.06.2019 |
| 30 | Banyani Link Drain from RD 0 to 21300 and Patwapur link drain 0 to 9000. | Irrigation | 30.06.2018 | 30.06.2019 |
| 31 | Chiri Link Drain from RD 0 to 22400 | Irrigation | 30.06.2018 | 30.06.2019 |
| 32 | Khidwali link drain from RD 0 to 25000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 33 | Inder Garh Link Drain RD 0 to 22250 | Irrigation | 30.06.2018 | 30.06.2019 |
| 34 | I/C chiri sub link drain from RD 0 to 9300, I/C Girawar L/Drain 0 to 3750. | Irrigation | 30.06.2018 | 30.06.2019 |
| 35 | I/C of Chiri PH L/Drain Rd 0 to 4000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 36 | Meham Drain 31000 to 45000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 37 | Meham Drain 45000 to 58000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 38 | Meham Drain 58000 to 68500 | Irrigation | 30.06.2018 | 30.06.2019 |
| 39 | Meham Drain 73500 to 85000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 40 | Madina Pump House Link Drain RD 0 to 4500 | Irrigation | 30.06.2018 | 30.06.2019 |
| 41 | Chiri Dhanana Drain RD 0 to 5000 and Nandal L/drain RD 0 to 5000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 42 | South Bahalba Link Drain RD 0 to 14870 | Irrigation | 30.06.2018 | 30.06.2019 |
| 43 | North Bahalba Link Drain RD 0 to 7000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 44 | Gugaheri Link Drain RD 0 to 14300 | Irrigation | 30.06.2018 | 30.06.2019 |
| 45 | Farmana Link Drain RD 0 to 12130 | Irrigation | 30.06.2018 | 30.06.2019 |
| 46 | Ajaib Bharain Link Drain RD 0 to 26500 | Irrigation | 30.06.2018 | 30.06.2019 |
| 47 | Ajaib Sub Link Drain RD 0 to 4400,Ajaib Sub Link Drain No 1 from RD 0 to 3250,Ajaib Bharan Sub Link Drain no 2 RD 0 to 2500 | Irrigation | 30.06.2018 | 30.06.2019 |
| 48 | Kharkara Link Drain RD 0 to 15300 | Irrigation | 30.06.2018 | 30.06.2019 |
| 49 | Seman Pump House Link Drain RD 0 to 7000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 50 | I/C of drain No. 8 from RD 50000 to 73460 | Irrigation | 30.06.2018 | 30.06.2019 |
| 51 | I/C of drain No. 8 from RD 73460 to 78000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 52 | I/C of drain No. 8 from RD 78000 to 99600 | Irrigation | 30.06.2018 | 30.06.2019 |
| 53 | I/C of Meham Drain RD 94200 to 122000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 54 | I/C of Madina L/D RD 0 to 32000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 55 | I/C of behlba L/D RD 0 to 18800. | Irrigation | 30.06.2018 | 30.06.2019 |
| 56 | I/C of Meham Drain RD 122000 to 142000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 57 | SAMPLA P.H LINK DRAIN 0-3750 | Irrigation | 30.06.2018 | 30.06.2019 |
| 58 | DITCH DRAIN ALONG D.L.A DISTY. LEFT 46500-55000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 59 | DITCH DRAIN ALONG D.L.A DISTY. RIGHT 46500-55000. | Irrigation | 30.06.2018 | 30.06.2019 |
| 60 | RITAULI P.H LINK DRAIN 0-4500 | Irrigation | 30.06.2018 | 30.06.2019 |
| 61 | Ditch Drain along JLN Feeder from RD 203000 to 223200 along JLN Feeder. | Irrigation | 30.06.2018 | 30.06.2019 |
| 62 | KANHELI LINK DRAIN 0-19200 | Irrigation | 30.06.2018 | 30.06.2019 |
| 63 | ISMAILA – 11 BISWA LINK DRAIN 0-5600 | Irrigation | 30.06.2018 | 30.06.2019 |
| 64 | ROHTAK LINK DRAIN 0-35400 | Irrigation | 30.06.2018 | 30.06.2019 |
| 65 | BALAND PIPE LINE LINK DRAIN | Irrigation | 30.06.2018 | 30.06.2019 |
| 66 | KARONTHA LINK DRAIN 0-16350 | Irrigation | 30.06.2018 | 30.06.2019 |
| 67 | PAHRAWAR LINK DRAIN 0-9050 | Irrigation | 30.06.2018 | 30.06.2019 |
| 68 | MAINA LINK DRAIN 0-2200 | Irrigation | 30.06.2018 | 30.06.2019 |
| 69 | DRAIN NO. 8 RD 130000-202000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 70 | KAHNAUR LINK DRAIN 0-3000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 71 | KAKRANA LINK DRAIN 0-13500 | Irrigation | 30.06.2018 | 30.06.2019 |
| 72 | DITCH DRAIN ALONG JLN FEEDER 156000 - 179000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 73 | BALAND PUMP HOUSE LINK DRAIN 0-6000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 74 | Ditch Drain along JLN Feeder from RD 179500 to 203000. | Irrigation | 30.06.2018 | 30.06.2019 |
| 75 | DISTRICT JHAJJAR | Irrigation | 30.06.2018 | 30.06.2019 |
| 76 | MATTAN LINK DRAIN 3000 to 36000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 77 | MADANA LINK DRAIN 0 to 17100 | Irrigation | 30.06.2018 | 30.06.2019 |
| 78 | SERIA GOCCHI LINK DRAIN 0-14750 | Irrigation | 30.06.2018 | 30.06.2019 |
| 79 | DIGHAL LINK DRAIN | Irrigation | 30.06.2018 | 30.06.2019 |
| 80 | DIGHAL SUB LINK DRAIN | Irrigation | 30.06.2018 | 30.06.2019 |
| 81 | DHANDLAN LINK DRAIN 1250-51215 | Irrigation | 30.06.2018 | 30.06.2019 |
| 82 | K.C.B DRAIN RD 57000 - 74000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 83 | K.C.B DRAIN RD 74000 - 99000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 84 | K.C.B DRAIN RD 99000 - 139000 | Irrigation | 30.06.2018 | 30.06.2019 |
| Gohana W.S. Divn Gohana |
| 85 | Bali link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 86 | Bhainswan sub link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 87 | Bhainswan link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 88 | Niyat link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 89 | Kakana link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 90 | Kasanda link drain No. I, RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 91 | Kasanda link drain No. II, RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 92 | Bajana Kasandi link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 93 | Kheri Damkan link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 94 | Ditch drain along B.S.B. RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 95 | Ditch drain along JLN RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 96 | Moi Hooda linkdrain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 97 | Moi Hooda sub link draini RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 98 | Bilbilan link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 99 | Rana Kheri link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 100 | Ishapur Kheri drain RD 22500 to 79000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 101 | Wazirpur Khandrai link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 102 | Bhanderi link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 103 | Lakhan Majra link drain RD 119500 to 136300 | Irrigation | 30.06.2018 | 30.06.2019 |
| 104 | Chhapra drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 105 | Bhawar link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 106 | Bhambewa drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 107 | Kohla link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 108 | Gharwal link drain RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| 109 | Field drain No. I & II RD 0 to tail | Irrigation | 30.06.2018 | 30.06.2019 |
| Water Services Division, Bahadurgarh |
| 110 | Sarai Aurangabad Kassar L/D from RD 0 to 34052 | Irrigation | 30.06.2018 | 30.06.2019 |
| 111 | Mandothi Dabodha L/D from RD 10000 to 22065 | Irrigation | 30.06.2018 | 30.06.2019 |
| 112 | Kharman L/D from RD 0 to 7180 | Irrigation | 30.06.2018 | 30.06.2019 |
| 113 | KCB Drain from RD 0 to 57000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 114 | Sankhol L/D from RD 0 to 1850 | Irrigation | 30.06.2018 | 30.06.2019 |
| 115 | Barahi L/D from RD 0 to 4790 | Irrigation | 30.06.2018 | 30.06.2019 |
| 116 | Asaudha P.H. L/D from RD 0 to 4980 | Irrigation | 30.06.2018 | 30.06.2019 |
| 117 | Jakhoda L/D from RD 0 to 1700 | Irrigation | 30.06.2018 | 30.06.2019 |
| 118 | West Jua Drain 0 to 60000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 119 | Kulasi L/D from RD 0 to 27500 | Irrigation | 30.06.2018 | 30.06.2019 |
| 120 | Kidoli Pahaladpur L/D RD 0 to 13000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 121 | Pipli L/D from RD 0 to 10000 | Irrigation | 30.06.2018 | 30.06.2019 |
| 122 | Mangeshpur L/D from RD 34500 to 109500 | Irrigation | 30.06.2018 | 30.06.2019 |
| Gurugram-SWD Leg No. III |
| 123 | B-C | GMDA |  | 28.02.2019 |
| 124 | C-D | GMDA |  | 28.02.2019 |
| 125 | D-E | GMDA |  | 28.02.2019 |
| 126 | E-F | GMDA |  | 28.02.2019 |
| 127 | G-H | GMDA |  | 28.02.2019 |
| 128 | E1-E2 | GMDA |  | 28.02.2019 |
| 129 | F1-F2 | GMDA |  | 28.02.2019 |
| 130 | F3-F3 | GMDA |  | 28.02.2019 |
| Gurugram-SWD Leg No. IV |
| 131 | M2-M | GMDA |  | 28.02.2019 |
| 132 | Q1-Q2 | GMDA |  | 28.02.2019 |
| 133 | R1-R | GMDA |  | 28.02.2019 |
| Gurugram-SWD Leg No. III |
| 134 | A-B | GMDA |  | 31.05.2019 |
| 135 | F-G | GMDA |  | 31.05.2019 |
| 136 | E2-E | GMDA |  | 31.05.2019 |
| 137 | F2-F | GMDA |  | 31.05.2019 |
| Gurugram-SWD Leg No. IV |
| 138 | K1-K | GMDA |  | 31.05.2019 |
| 139 | K2-K | GMDA |  | 31.05.2019 |
| 140 | L1-L | GMDA |  | 31.05.2019 |
| 141 | L2-L | GMDA |  | 31.05.2019 |
| 142 | M1-M | GMDA |  | 31.05.2019 |
| 143 | N-O | GMDA |  | 31.05.2019 |
| 144 | O-P | GMDA |  | 31.05.2019 |
| 145 | P-Q | GMDA |  | 31.05.2019 |
| 146 | Q-R | GMDA |  | 31.05.2019 |
| 147 | Q2-Q3 | GMDA |  | 31.05.2019 |
| 148 | Q3-Q | GMDA |  | 31.05.2019 |
| 149 | Q4-Q3 | GMDA |  | 31.05.2019 |
| Kost-Nallah |
| 150 | A-B | GMDA |  | 31.05.2019 |
| 151 | B-C | GMDA |  | 31.05.2019 |
| Badshapur-Nallah |
| 152 | H-I | GMDA |  | 15.07.2019 |
| 153 | I-J | GMDA |  | 15.07.2019 |
| 154 | K-L | GMDA |  | 15.07.2019 |

Annexure-13

Action Plan of ULBD for de-silting of drains

| Desiltng of Drains |
| --- |
| Name of Town: MC Nissing |
| Sr.No | Name of Drain | Target date of Desilting |
|  | There is no river passing through MC Nissing Limit | NIL |
| Name of Town: MC Yamunanagar |
|  | Surface Drain in Ward No 11, Chaudhary Colony, Shanti Colony, Darba Village and Tjli | 31.03.2019 |
|  | Surface Drain/Nala Azad Nagar Gali No 1 to 14, Dashmesh Colony | 31.03.2019 |
|  | Surface Drain / Nallah in ward No 9, Bhatia Nagar, HP Gas Wala | 31.03.2019 |
|  | Shadipur road | 15.04.2019 |
|  | Hamida Basti | 15.04.2019 |
|  | Choti Line, Govindpura, Kuldeep Nagar, Industrial area, harbanspura, Sasoli road, farakpur fatak, sharma chaki wala and fountain chowk | 30.04.2019 |
|  | Railway Road, Tilak Nagar to Vishnu Colony | 30.04.2019 |
|  | Vivekananad School, professor colony to anand public school, anand public school to govindpuri, peer baba to nischal singh, lajpat nagar,mishra colony to lajpat nagar |  |
|  | Ward no 15, Reliance petrol pump gali, jaswant colony, vijay colony | 0.651840278 |
|  | Ward No 14, peer baba to sugar mill, bye pass road | 30.05.2019 |
|  | Surface Drain prakash chowk, buria village, chaneti, buria chungi to mashjid, dairy complex darwa, sd public school, dd agarwal school | 30.05.2019 |
|  | Surface Drain Jagadhri, Kundi talab to Hanuman gate, vikram chowk to kalyan nagar, dhol wali, Gauri Shankar Mandir to Sant Thomas and new bus stand | 15.06.2019 |
| Name of Town: MC Rohtak |
|  | Kheri Sadh to Baliyana Road | 15.02.2019 |
| Name of Town: MC Palwal |
|  | Nala from Kithwani Chowk to Railway Xing R.O.B | 30.04.2019 |
|  | Nala from N.H-II to city Thana more rasulpur road | 30.04.2019 |
|  | Nala both side Kithwani road Minar gate to N.H-II | 30.04.2019 |
|  | Nala from city Thana chowk to Hathin Gate John Baptist School | 30.04.2019 |
|  | Nala from Bus Stand to Railway Station both side of Railway Road | 30.04.2019 |
|  | Nala from bus stand to Minar gate both side of Railway Road | 30.04.2019 |
|  | Nala from both side of Alawalpur road from committee chowk to ITI | 30.04.2019 |
| Name of Town: MC Sonepat |
|  | Ratia Road Nala | 30.04.2019 |
|  | Bus Stand Road Nala | 30.04.2019 |
| Name of Town: MC Bhiwani |
|  | Jain Chowk to Pani ki Tanki | 30.04.2019 |
| Name of Town: Karnal |
|  | Near PWD Rest house to Bhagwaria Gas Agency | 31.05.2019 |
|  | From Ramgadia Chowk to Mughal Chowk | 31.05.2019 |
|  | From Village Kailash drain to Budhakhera Minor | 31.05.2019 |
|  | Village Uchani Drain | 31.05.2019 |
|  | Village Baldi Drain | 31.05.2019 |
|  | Village Jhanjhari Drain | 31.05.2019 |
|  | Kachwa road to G.T Road NH 44 | 31.05.2019 |
|  | Maharana Partap Chowk to Mughal Chowk | 31.05.2019 |
|  | Hotel Paradise to Meera Ghati Chowk | 31.05.2019 |
|  | Backside of Liberty to Mata Mansa Devi Mandir | 31.05.2019 |
|  | Balmiki Chowk to Novelty Chowk | 31.05.2019 |
|  | Nirankari Bhawan Chowk to Bagwadiya gas agency | 31.05.2019 |
|  | Sant Nikka Singh School to Gasiyara Mandi | 31.05.2019 |
|  | Main Novelty Road Nallah from Novelty Chowk to Meera Ghati | 31.05.2019 |
|  | Jundla Gate to Bhamunanad Chowk | 31.05.2019 |
|  | Jundla Gate to Cheema Baba Peer | 31.05.2019 |
|  | Madan Pur village to Choti Madanpur | 31.05.2019 |
|  | Mugal Canal | 31.05.2019 |
| Name of Town: Kalanaur |
|  | Street of Mochi Mohalla and Dr. Satish | 25.02.2019 |
|  | Street of jodh sachiyar Gurudavara to baba Kutiya or street of girls school | 25.02.2019 |
|  | Street of Mokhra Bye Pass Road to D.A.V. Chowk or street of Ramdass or Ved Gujjar | 25.02.2019 |
|  | Water works road or Kumaharo Wali Basti and Jaat Colony. | 25.02.2019 |
|  | Main Tahshil Road | 25.02.2019 |
|  | Ajit S.T.D. to Shamshan Ghat, Ward No. 2 | 25.02.2019 |
| Name of Town: Radaur |
|  | Old Sk Road | 10.02.2019 |
|  | Basti Pulia to Kheda Mohalla | 20.02.2019 |
|  | Saini Medical to Rama Chownk | 28.02.2019 |
| Name of Town: Sohna |
|  | Sohna Dhani to Baba Mohan ram Mandir in ward | 20.05.2019 |
|  | Berka Main Chowk to Pond in village (Berka) | 20.05.2019 |
|  | Berka road to near Culvert | 20.05.2019 |
|  | Damdama more to Sushil Nagar | 20.05.2019 |
|  | Mandir to Culvert Hari Nagar at Baluda | 20.05.2019 |
|  | Main Delhi Alwar road to New Dharam Vatika on Baluda road | 20.05.2019 |
|  | Near House of Usha to Culvert Shamshan Ghat on Main road Baluda both side | 20.05.2019 |
|  | Hari Nagar to Culvert Tambaku Godown | 20.05.2019 |
|  | Main Palwal road to Near Govt School Lakhuwas | 20.05.2019 |
|  | Johar to Near Mandir Udaka road Lakhuwas | 20.05.2019 |
|  | Sathish tile factory to village Lakhuwas | 20.05.2019 |
|  | Main Bye Pass to Bass Balli Godown to Culvert Palwal road both side | 20.05.2019 |
|  | Saini Colony to culvert Sani Dev Mandir | 20.05.2019 |
|  | Saini Colony to Bass Balli Godown near Culvert | 20.05.2019 |
|  | Near Indri More to Ice Factory | 20.05.2019 |
|  | Haji Umra to Nirankari College near Culvert | 20.05.2019 |
|  | Aggarsain Park to Shandar Hotel, Main Tower both side | 20.05.2019 |
|  | Shandar Hotel to Indri more | 20.05.2019 |
|  | Aggarsain Park to ITI Colony | 20.05.2019 |
|  | Near Police Station to Aggarsain Park | 20.05.2019 |
|  | Lal Hotel to Bus Stand | 20.05.2019 |
|  | Pankaj Singla Garments to Main Bazar to Bus Stand (both side) | 20.05.2019 |
|  | Civil Hospital to Hanuman Bagichi | 20.05.2019 |
|  | Near PHED Office to Rajvir Ghandi Park | 20.05.2019 |
|  | Near Rajiv Gandhi Park to Civil Hospital Berka side | 20.05.2019 |
|  | Main Alwar road to fountaion Chowk | 20.05.2019 |
|  | Meat Market to Near Civil Hospital Gate | 20.05.2019 |
|  | Rajiv Gandhi Park to wine shop Nagli More | 20.05.2019 |
|  | Dheeru Jangra to Main road Chungi No.1 | 20.05.2019 |
|  | Mahindera Agency to near Culvert Dhamdama road (Chungi No.1) | 20.05.2019 |
|  | Main Nagar road to Mangal Nagar near culvert | 20.05.2019 |
|  | From Nangli village along main road both side | 20.05.2019 |
|  | Powerhouse to near Bal Bharti School near Culvert | 20.05.2019 |
|  | Water Supply to Nangli road Saini Colony | 20.05.2019 |
|  | Village Sohna Dhani Main road both side Alwar road | 20.05.2019 |
|  | Near Govt School to Central Park Hill Town | 20.05.2019 |
| Name of Town: Jhajjar |
|  | Delhi Gate to Ambedkar Road | 10.02.2019 |
|  | Advanta Hospital Road Kaccha Babra Road Bye Pass | 16.02.2019 |
|  | Ambedkar Road to Rahniya Road | 25.02.2019 |
|  | Ambedkar Road to Rohtak road bye pass | 25.02.2019 |
|  | Bikaner Road to Talao Road Bye Pass | 20.02.2019 |
|  | Gurudwara Chowk to Chawni Chowk | 15.02.2019 |
|  | Chhara Chungi To Sampla Bye pass | 26.02.2019 |
|  | Laxmi Dharamkanta to Dhaur Chowk via backside of Bus Stand | 28.02.2019 |
| Name of Town: Hodal |
|  | Nala from ramleela madain to Gadhi Road | 31.05.2019 |
|  | Nala from back side in Girl Sen. Sec. School | 31.05.2019 |
| Name of Town: Panipat |
|  | 75 Nos of Drains | 31.05.2019 |